## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
CHNS Analyzer | CHNS | CSIR-NEERI Nagpur | Elementar | vario MICRO Select | 15162059 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | CHNS Analyzer | SEAF | Central Instrumentation Facility | 4300000 | www.elementar.de | Working | Equipment | M/S Elementar Analysensysteme GmbH | info@elementar.de | M/S Elementar India Pvt.Ltd | info@elementar.co.in | sk_lokhande@neeri.res.in
Total Organic Carbon Analyzer | TOC | CSIR-NEERI Nagpur | Elementar | Vario TOC cube | 3811BC1014 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | TOC Analyzer | SEAF | Central Instrumentation Facility | 4200000 | www.elementar.com/en-in | Working | Equipment | M/S Elementar Analysensysteme GmbH | www.elementar.com/en-in | M/S Elementar India Pvt.Ltd | info-india@elementar.com | sk_lokhande@neeri.res.in
Total Organic Carbon Analyzer | TOC | CSIR-NEERI Nagpur | Analytikjena | Multi N/c 3100 | Liquid - N3-1265/AS, Solid-766/S | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | TOC Analyzer | SEAF | Central Instrumentation Facility | 2000000 | www.analytik-jena.com | Working | Equipment | M/S Analytik Jena India Pvt.ltd. | info-india@analytik-jena.com | M/S Analytik Jena India Pvt.ltd. | info-india@analytik-jena.com | sk_lokhande@neeri.res.in
Inductively Coupled Plasma Mass Spectrometer | ICPMS | CSIR-NEERI Nagpur | Perkin Elmer | NexIon 300X | 8IXN1072001 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Metal Analysis | SEAF | Central Instrumentation Facility | 6000000 | www.perkinelmer.com | Working | Equipment | M/s Perkin Elmer | VinaySingh.Chauhan@PerkinElmer.com | India.Servicesupport@PERKINELMER.COM | India.Servicesupport@PERKINELMER.COM | s_nimsadkar@neeri.res.in
Atomic Absorption Spectrometer | AAS | CSIR-NEERI Nagpur | Perkin Elmer | PinAAcle 900F | PFBS12022801 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Metal Analysis | SEAF | Central Instrumentation Facility | 1500000 | www.perkinelmer.com | Working | Equipment | M/s Perkin Elmer | VinaySingh.Chauhan@PerkinElmer.com | India.Servicesupport@PERKINELMER.COM | India.Servicesupport@PERKINELMER.COM | s_nimsadkar@neeri.res.in
Ultra-Performance Liquid Chromatography (NEERI-UPLC) | UPLC | CSIR-NEERI Nagpur | Thermo Fisher Scientific | Vanquish | 8353234 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Separation of Analytes | SEAF | Central Instrumentation Facility | 4500000 | www.thermofisher.com | Working | Equipment | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai |  | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | s_nimsadkar@neeri.res.in
Fluorescence Spectrophotometer | FS | CSIR-NEERI Nagpur | Hitachi | F7000 | 2711009 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Molecular Interaction | SEAF | Central Instrumentation Facility | 2200000 |  | Working | Equipment | M/s Hitach |  |  |  | s_nimsadkar@neeri.res.in
Inductively Coupled Plasma Optical Emission Spectrometer | ICP-OES | CSIR-NEERI, Nagpur | Thermo Fisher Scientific | iCAP 7400 DUO | IC74DC194214 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Trace Metal Analysis | SEAF | Elemental Analysis | 5400000 | www.thermofisher.com | Working | Central Facility | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com |  | ininfo@thermofisher.com | vm_shinde@neeri.res.in
Direct Mercury Analyser | DMA | CSIR-NEERI, Nagpur | MileStone | DMA-80 | 23123825 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Mercury Analysis | SEAF | Central Instrumentation Facility |  |  | Working | Equipment |  |  |  |  | skr_singh@neeri.res.in
Ion Trap Gas Chromatography / Mass Spectrometer | IT-GCMS | CSIR-NEERI, Nagpur | Varian | MS 240 |  | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Pesticide Analysis | SEAF | Central Instrumentation Facility | 7876330 | M/S Varion | Working | Equipment | M/s Varion | M/s Varion | M/s Varion | M/s Varion | kn_gandhi@neeri.res.in
Thermal Desorption Gas Chromatography Mass Spectrometry | TD-GCMS | CSIR-NEERI, Nagpur | Thermo Fisher Scientific | ISQ 7000 | ISQ7N1904005 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | VOC Analysis | SEAF | Central Instrumentation Facility |  | www.thermofisher.com | Working | Equipment | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | skr_singh@neeri.res.in
Ion Chromatograph | IC | CSIR-NEERI, Nagpur | Thermo Fisher Scientific | DIONEX ICS-5000+ | 16020624 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Cation Anion Analysis | SEAF | Central Instrumentation Facility |  | www.thermofisher.com | Working | Equipment | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | skr_singh@neeri.res.in
Ion Chromatograph | IC | CSIR-NEERI, Nagpur | Thermo Fisher Scientific | DIONEX ICS-5000+ | 17090698 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | Cation Anion Analysis | SEAF | Central Instrumentation Facility |  | www.thermofisher.com | Working | Equipment | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | M/s Thermo Fisher Scientific Pvt. Ltd. Mumbai | ininfo@thermofisher.com | skr_singh@neeri.res.in
Fourier transform infra red spectrometer | FTIR | SEAF room 117 | BRUKER, Germany | Invenio-R | 265/e.12664798 | Internal Funding | CSIR, Govt. of India | Lab Reserve | Used for detection of functional groups | SEAF |  | 49448 | www.bruker.com/optik | Working | Optical Instrument | Bruker | shreeram.oak@bruker.com | M/s Bruker India Scientific Pvt.Ltd. | shreeram.oak@bruker.com | s_das@neeri.res.in
1>GAS CHROMATOGRAPH MAKE:PERKIN ELMER 2>GAS CHROMATOGRAPH MAKE:PERKIN ELMER | GC | Room 116, SEAF, CSIR-NEERI | Perkin Elmer | 1>CLARUS 500 2>CLARUS 500 | 1>SNO.650N7030604---1NO. 2> SNO.650N7030605- 1NO. | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | 1>GAS CHROMATOGRAPH MAKE:PERKIN ELMER MODEL:CLARUS 500 SNO.650N7030604---1NO. 2>GAS CHROMATOGRAPH MAKE:PERKIN ELMER MODEL:CLARUS 500 SNO.650N7030605---1NO. | SEAF, CSIR-NEERI | Gas Chromatography | 2414766 | https://www.perkinelmer.com | Functional | Equipment used as central facility in the Institute | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | gs_kanade@neeri.res.in
1>CLARUS 680GC (GAS CHROMATOGRAPH) PERKIN ELMER SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) MAKE:PERKIN ELMER SNO.664N1052101 --1NO. (1 UNIT SET OF 2 ITEMS) | GC-MS | Room 116, SEAF, CSIR-NEERI | Perkin Elmer | GC - Clarus 680, MS - Clarus 600 | 1>CLARUS 680GC SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) SNO.664N1052101 --1NO. | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | 1>CLARUS 680GC (GAS CHROMATOGRAPH) PERKIN ELMER SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) MAKE:PERKIN ELMER SNO.664N1052101 --1NO. (1 UNIT SET OF 2 ITEMS) | SEAF, CSIR-NEERI | Gas Chromatography-Mass Spectrometry | 2843500 | https://www.perkinelmer.com | Functional | Equipment used as central facility in the Institute | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | gs_kanade@neeri.res.in
1>CLARUS 680GC (GAS CHROMATOGRAPH) PERKIN ELMER SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) MAKE:PERKIN ELMER SNO.664N1052101 --1NO. (1 UNIT SET OF 2 ITEMS) | GC-MS | Room 116, SEAF, CSIR-NEERI | Perkin Elmer | GC - Clarus 680, MS - Clarus 600 | 1>CLARUS 680GC SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) SNO.664N1052101 --1NO. | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | 1>CLARUS 680GC (GAS CHROMATOGRAPH) PERKIN ELMER SNO.680511051303 --1 NO. 2>CLARUS 600 MS (EI/CI) MAKE:PERKIN ELMER SNO.664N1052101 --1NO. (1 UNIT SET OF 2 ITEMS) | SEAF, CSIR-NEERI | Gas Chromatography-Mass Spectrometry | 2843500 | https://www.perkinelmer.com | Functional | Equipment used as central facility in the Institute | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | gs_kanade@neeri.res.in
HIGH RESOLUTION GAS CHROMATOGRAPH SECTOR MASS SPECTROMETER (HRGCMS) #GAS CHROMATOGRAPH MAKE:AGILENT, MODEL:7890A SNO.MS22080GCV---1No. #MAGNETIC SECTOR MASS SPECTROMETER MAKE:JEOL, MODEL:JMS 700 SNO.MS1331000990231---1No. | HR-GCMS | Room 116, SEAF, CSIR-NEERI | GC Make : Agilent MS Make : JEOL | #GC MODEL:7890A MS MODEL:JMS 700 | #GAS CHROMATOGRAPH SNO.MS22080GCV #MAGNETIC SECTOR MASS SPECTROMETER SNO.MS1331000990231---1No. | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | HIGH RESOLUTION GAS CHROMATOGRAPH SECTOR MASS SPECTROMETER (HRGCMS) #GAS CHROMATOGRAPH MAKE:AGILENT, MODEL:7890A SNO.MS22080GCV---1No. #MAGNETIC SECTOR MASS SPECTROMETER MAKE:JEOL, MODEL:JMS 700 SNO.MS1331000990231---1No. #COOLING WATER CIRCULATION SY | SEAF, CSIR-NEERI | High Resolution Gas Chromatography Mass Spectrometry | 19679026 | https://www.jeol.com | Functional (LR Mode) Repairs under process for HR mode | Equipment used as central facility in the Institute | Jeol Japan |  | JEOL INDIA PVT. LTD. Unit No.305, 3rd Floor, ABW Elegance Tower, Jasola District Centre, New Delhi 110 02 |  | gs_kanade@neeri.res.in
CLARUS 690 GC WITH ECD, FID AND AUTO SAMPLER & ACCESSORIES MAKE:PERKIN ELMER, MODEL:CLARUS 690, SNO.690S18031502 | GC | Room 116, SEAF, CSIR-NEERI | Perkin Elmer | CLARUS 690 | SNO.690S18031502 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | CLARUS 690 GC WITH ECD, FID AND AUTO SAMPLER & ACCESSORIES MAKE:PERKIN ELMER, MODEL:CLARUS 690, SNO.690S18031502 | SEAF, CSIR-NEERI | Gas Chromatography | 2200000 | https://www.perkinelmer.com | Functional | Equipment used as central facility in the Institute | Perkin Elmer, USA |  | PerkinElmer India Thane, Maharashtra · 022 6230 1700 |  | gs_kanade@neeri.res.in
TRIPLE QUADRUPOLE GAS CHROMATOGRAPH MASS SPECTROMETER (TQ-GCMS) MAKE:AGILENT, MODEL:GC:8890 MS:7000D SNO. GC:CN2033A161, MS:US2035U320 | TQ-GCMS | Room 116, SEAF, CSIR-NEERI | Agilent | MODEL:GC:8890 MS:7000D | SNO. GC:CN2033A161, MS:US2035U320 | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | TRIPLE QUADRUPOLE GAS CHROMATOGRAPH MASS SPECTROMETER (TQ-GCMS) MAKE:AGILENT, MODEL:GC:8890 MS:7000D SNO. GC:CN2033A161, MS:US2035U320 | SEAF, CSIR-NEERI | Gas Chromatography Mass Spectrometry | 7468119 | https://www.agilent.com | Functional | Equipment used as central facility in the Institute | Agilent Technologies USA |  | Agilent Technologies India Pvt. Ltd. (Bangalore) Bengaluru, Karnataka · 080 4061 4256 |  | gs_kanade@neeri.res.in
GAS CHROMATOGRAPH MASS SPECTROMETER QP-2010 ULTRA EI WITH FID, TCD WITH TOTAL ELECTRONIC FLOW CONTROL SNO.020525174706US | GCMS | Room 116, SEAF, CSIR-NEERI | Shimadzu | QP-2010 | SNO.020525174706US | Internal Funding | CSIR-NEERI, Nagpur | Lab Reserve | GAS CHROMATOGRAPH MASS SPECTROMETER QP-2010 ULTRA EI WITH FID, TCD WITH TOTAL ELECTRONIC FLOW CONTROL SNO.020525174706US | SEAF, CSIR-NEERI | Gas Chromatography Mass Spectrometry | 3279971.12 | https://www.toshvin.com/ | Functional | Equipment used as central facility in the Institute | Shimadzu, Japan |  | TOSHVIN ANALYTICAL PVT LTD B No.103, S. J. House, 1st Floor, Sitaram Mills Compound, NM Joshi Marg, Lower Parel, Mumbai, Maharashtra 400011 |  | gs_kanade@neeri.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE