## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Atomic Absorption Spectrophotometer (AAS) | AAS | Central Instruments Lab | PerkinElmer | PinAAcle 900H | PHCS13052102 | External | ICAR, Govt. of India |  | AAS with Flame, FIAS, Graphite Furnace provision for 14 elements | Central Instruments Lab | Central Instruments Lab | 4172000 | www.perkinelmer.com | Up | Characterization | 12000 |  | 37522 | PerkinElmer |  | PerkinElmer | c.shajeesh@perkinelmer.com | ramnath@kvasu.ac.in
Triple Quadrupole GCMSMS | GCMSMS | Central Instruments Lab | Thermo Fisher Scientific | Trace 1300/TSQ 8000MSMS | 715109009/TSQ8140318 | External | ICAR, Govt. of India |  | GCMSMS with FID, ECD andMS detector for Pesticides, fatty acids, phytochemical analysis | Central Instruments Lab | Central Instruments Lab | 9938700 | www.thermofisher.com | Up | Characterization |  |  | 154310 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | muthukumar.m@thermofisher.com | ramnath@kvasu.ac.in
Ultra High Performance Liquid Chromatography (UHPLC) | UHPLC | Central Instruments Lab | Thermo Fisher Scientific | Dionex Softron GmbH |  | External | ICAR, Govt. of India |  | UHPLC with DAD and FLD detector for analysis of antibiotic residues, aflatoxin, fat &water soluble vitamins,sugar and other thermo labile proteins | Central Instruments Lab | Central Instruments Lab | 3113812 | www.thermofisher.com | Up | Characterization |  |  | 57756 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | arun.kumar@thermofisher.com | ramnath@kvasu.ac.in
PROTEAN i12 IEF System for 2D Electrophoresis |  | Central Instruments Lab | Bio-Rad Laboratories | PROTEAN® i12™ IEF System | 559BR2320 | External | ICAR, Govt. of India |  | Isoelectric focussing of proteins & separation by 2D dual electrophoresis | Central Instruments Lab | Central Instruments Lab | 2376788 | www.biorad.co.in | Up | Characterization |  |  | 36915 | Bio-Rad Laboratories |  |  |  | ramnath@kvasu.ac.in
Electroporator |  | Central Instruments Lab | Bio-Rad Laboratories | Xcell Total System | C17BR 10113 | External | ICAR, Govt. of India |  | For transfection of both eukaryotic and prokaryotic cells | Central Instruments Lab | Central Instruments Lab | 396695 | www.biorad.co.in | Up | Fabrication |  |  |  | Bio-Rad Laboratories |  |  |  | ramnath@kvasu.ac.in
Western Blotting Assembly |  | Central Instruments Lab | Bio-Rad Laboratories | Trans-Blot Turbo System | 690BR011940 | External | ICAR, Govt. of India |  | Transfer of separated proteins from gel to paper | Central Instruments Lab | Central Instruments Lab | 460777 | www.biorad.co.in | Up | Characterization |  |  | 96291 | Bio-Rad Laboratories |  |  |  | ramnath@kvasu.ac.in
ChemiDoc MP Imaging System |  | Central Instruments Lab | Bio-Rad Pacific Ltd | Universal Hood III | 731BR01474 | External | ICAR, Govt. of India |  | Imaging of electrophoretic gels by UV, Chemiluminiscence, Chemiflorescence | Central Instruments Lab | Central Instruments Lab | 1688571 | www.biorad.co.in | Up | Characterization |  |  | 23882 | Bio-Rad Pacific Ltd |  | Sreekumar P P | sreekumar_pp@bio-rad.com | ramnath@kvasu.ac.in
Multimode ELISA Plate Reader with Microplate Washer |  | Central Instruments Lab | Thermo Fisher Scientific | Varioskan Flash | 3001-1902 | External | ICAR, Govt. of India |  | Elisa reading, enzyme activity, nucleic acid and protein quantification | Central Instruments Lab | Central Instruments Lab | 2515271 | www.thermofisher.com | Up | Characterization |  |  | 22058 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | rohith.k@thermofisher.com | ramnath@kvasu.ac.in
Freeze Drier Lyophilizer Cold Trap |  | Central Instruments Lab | Operon | Operon FDU 7003S | OPR-2013-00610-E01 | External | ICAR, Govt. of India |  | Drying of biological materials | Central Instruments Lab | Central Instruments Lab | 2304338 | www.operon.co.kr | Up | Characterization |  |  | 161043 | Operon |  |  |  | ramnath@kvasu.ac.in
Rotary Flash Evaporator and Vacuum Concentrator |  | Central Instruments Lab | Hahnshin Scientific Co | HS-2005V-N | V00226 | External | ICAR, Govt. of India |  | For gentle and efficient removal of solvents from extracts by way of evaporation | Central Instruments Lab | Central Instruments Lab | 705375 | http://www.hsscience.co.kr | Up | Fabrication |  |  | 48475 | Analab Instruments India |  | Analab Instruments India | analab_inst@yahoo.com | ramnath@kvasu.ac.in
Gamma Counter |  | Central Instruments Lab | PerkinElmer | WIZARD 2 2470-0010 | DG03130261 | External | ICAR, Govt. of India |  | To take counts per minutes disintegration of gamma emitting isotops | Central Instruments Lab | Central Instruments Lab | 1779115 | www.perkinelmer.com | Up | Analytical Measurement |  |  | 109994 | PerkinElmer |  | PerkinElmer | pramod.samgethathil@perkinelmer.com | ramnath@kvasu.ac.in
NanoDrop Spectrophotometer |  | Central Instruments Lab | Thermo Fisher Scientific | 2000c | H124 | External | ICAR, Govt. of India |  | Quantify and assess purity of DNA, RNA , proteins etc. | Central Instruments Lab | Central Instruments Lab | 645884 | www.thermofisher.com | Up | Characterization |  |  | 7728 | Thermo Fisher Scientific |  |  |  | ramnath@kvasu.ac.in
NanoDrop Fluorospectrometer |  | Central Instruments Lab | Thermo Fisher Scientific | ND3300 | 473 | External | ICAR, Govt. of India |  | Measures multiple fluorophores from a single sample | Central Instruments Lab | Central Instruments Lab | 500000 | www.thermofisher.com | Up | Characterization |  |  |  | Thermo Fisher Scientific |  |  |  | ramnath@kvasu.ac.in
Ultrapure Water Purification System |  | Central Instruments Lab | Merck Millipore | EMD Millipore Synergy-UV | F30A7051SE | External | ICAR, Govt. of India |  | To make type I and type II de-ionised filtered water | Central Instruments Lab | Central Instruments Lab | 461820 | www.merkmillipore.com | Up | Characterization |  |  | 73238 | Merck Millipore |  |  |  | ramnath@kvasu.ac.in
Haematology Analyser |  | Central Instruments Lab | Orphee | Mythic 18vet | 100713-007474 | External | ICAR, Govt. of India |  | Haemogram of 18 RBC/WBC/Platelets parameters | Central Instruments Lab | Central Instruments Lab | 716000 |  | Up | Characterization |  |  | 58289 | Inscon |  | Inscon | sidhick.ma@inscon.in | ramnath@kvasu.ac.in
Ultracentrifuge |  | Central Instruments Lab | Thermo Fisher Scientific | SORVALL WX 100 | 41513282 | External | ICAR, Govt. of India |  | Cell organelles fractionation, plasmid separation, density gradient separation | Central Instruments Lab | Central Instruments Lab | 4061049 | www.thermofisher.com | Up | Characterization |  |  | 263760 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | dinesh.kumar.1@thermofisher.com | ramnath@kvasu.ac.in
High Speed Refrigerated Centrifuge |  | Central Instruments Lab | Thermo Fisher Scientific | Heraeus Biofuge Stratos | 3335 | External | ICAR, Govt. of India |  | Separation compounds based on density | Central Instruments Lab | Central Instruments Lab | 617331 | www.thermofisher.com | Up | Fabrication |  |  | 227648 | Thermo Fisher Scientific |  |  |  | ramnath@kvasu.ac.in
Trinocular Research Microscope |  | Central Instruments Lab | Leica | DM2000LED 11888843 | 372370 | External | ICAR, Govt. of India |  | Dark and bright fluorescence and phase contrast imaging | Central Instruments Lab | Central Instruments Lab | 1540211 | www.leicabiosystems.com | Up | Characterization |  |  | 110591 | Leica |  | Leica | c.sudheesh@leica.microsystems.com | ramnath@kvasu.ac.in
Inverted Research Microscope |  | Central Instruments Lab | Zeiss | AX10VERTA1 | 3849000693/1414-24-0293 | External | ICAR, Govt. of India |  | Dark and bright fluorescence and phase contrast imaging | Central Instruments Lab | Central Instruments Lab | 1669243 | www.zeiss.co.in | Up | Characterization |  |  |  | Zeiss |  |  |  | ramnath@kvasu.ac.in
Autoclave |  | Central Instruments Lab | Tuttnauer | 3840ELVBH | 13030110 | External | ICAR, Govt. of India |  | To sterilize glassware ,liquids, solids, bio-hazardous waste etc. | Central Instruments Lab | Central Instruments Lab | 801676 | www.tuttnaur.com | Up | Fabrication |  |  | 62443 | Tuttnauer |  |  |  | ramnath@kvasu.ac.in
UV-VIS-NIR Spectrophotometer |  | Central Instruments Lab | PerkinElmer | LAMBDA750 | 750L1305101 | External | ICAR, Govt. of India |  | In analytical chemistry for quantitative determination of different analytes | Central Instruments Lab | Central Instruments Lab | 1877400 | www.perkinelmer.com | Down | Characterization |  |  | 9500 | PerkinElmer |  |  |  | ramnath@kvasu.ac.in
Deep Freezer -86 Degree C |  | Central Instruments Lab | Thermo Fisher Scientific |  | 132214801130603 | External | ICAR, Govt. of India |  | Revco Ultra low temperature freezer. For long term storage of biological samples | Central Instruments Lab | Central Instruments Lab | 680342 | www.thermofisher.com | Down | Characterization |  |  | 67953 | Thermo Fisher Scientific |  |  |  | ramnath@kvasu.ac.in
Real Time PCR |  | Central Instruments Lab | Applied Biosystems | Step One Plus | 272008545 | External | ICAR, Govt. of India |  | For sensitive and specific detection and quantification of nucleic acid targets | Central Instruments Lab | Central Instruments Lab | 1248200 | www.thermofisher.com | Up | Characterization |  |  | 78508 | Applied Biosystems |  | Thermo Fisher Scientific | dibyendu.nath@thermofisher.com | ramnath@kvasu.ac.in
Microwave Digestion System (MDS) | MDS | Central Instruments Lab | PerkinElmer | TITAN 8 | 313x3121101 | External | ICAR, Govt. of India |  | For digestion in acidic medium of different samples | Central Instruments Lab | Central Instruments Lab | 1612435 | www.perkinelmer.com | Up | Characterization |  |  | 105645 | PerkinElmer |  | PerkinElmer | c.shajeesh@perkinelmer.com | ramnath@kvasu.ac.in
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | Central Instruments Lab | PerkinElmer | IRL1600300 Specrum 2 | 94763 | External | ICAR, Govt. of India |  | FTIR with KBr press and ATR For finding functional groups in unknown purified liquid and solid samples and to assess the structure stoichiometry, identification of meat samples of different species, level of adulteration | Central Instruments Lab | Central Instruments Lab | 1877400 | www.perkinelmer.com | Up | Characterization |  |  | 10500 | PerkinElmer |  |  |  | ramnath@kvasu.ac.in
Biosafety Cabinet Class II |  | Central Instruments Lab | Thermo Fisher Scientific | FORMA, Class II |  | External | ICAR, Govt. of India |  | To carry out cell culture studies under protection to the laboratory worker and the surrounding environment from pathogens | Central Instruments Lab | Central Instruments Lab | 452288 | www.thermofisher.com | Up | Characterization |  |  | 40000 | Thermo Fisher Scientific |  |  |  | ramnath@kvasu.ac.in
Fluorescence Spectrometer |  | Central Instruments Lab | PerkinElmer | LS 55 | 99507 | External | ICAR, Govt. of India |  | In analytical chemistry for quantitative determination of different analyte | Central Instruments Lab | Central Instruments Lab | 1093320 | www.perkinelmer.com | Down | Characterization |  |  | 19982 | PerkinElmer |  |  |  | ramnath@kvasu.ac.in
Liquid Chromatography Mass Spectrometry (LCMS) | LCMS | Central Instruments Lab | Thermo Fisher Scientific | Ultimate 3000 MSQ PLUS | MSQ21313 | External | ICAR, Govt. of India |  | DAD andMS detector for analysis of antibiotic residues, aflatoxin, fat &water soluble vitamins,sugar and other thermo labile proteins | Central Instruments Lab | Central Instruments Lab | 6683033 | www.thermofisher.com | Up | Characterization |  |  | 53271 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | balachandra.acharya@thermofisher.com | ramnath@kvasu.ac.in
Inductively Coupled Plasma Optical Emission Spectrometer (ICPOES) | ICPOES | Central Instruments Lab | Thermo Fisher Scientific | iCAP7000 series ICAP Duo Full MFC | IC74DC171608 | External | ICAR, Govt. of India |  | In analytical chemistry for quantitative determination of different analyte | Central Instruments Lab | Central Instruments Lab | 3765150 | www.thermofisher.com | Up | Analytical Measurement |  |  | 30724 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | guruswamy.raj@thermofisher.com | ramnath@kvasu.ac.in
Scanning Electron Microscope (SEM) | SEM | Central Instruments Lab | TESCAN | VEGA3 LMU | 1170083 | External | ICAR, Govt. of India |  | To study surface topography and composition of an image | Central Instruments Lab | Central Instruments Lab | 5606555 | www.tescan.com | Up | Characterization | 396510 |  | 20264 | TESCAN |  |  |  | ramnath@kvasu.ac.in
Accelerated Solvent Extractor (ASE) | ASE | Central Instruments Lab | Thermo Fisher Scientific | Dionex ASE 150 | 16040368 | External | ICAR, Govt. of India |  | For efficient extraction of analytes by solvents under less time | Central Instruments Lab | Central Instruments Lab | 1937173 | www.thermofisher.com | Up | Fabrication |  |  | 105645 | Thermo Fisher Scientific |  | Thermo Fisher Scientific | vinod.sangam@thermofisher.co | ramnath@kvasu.ac.in
Fully Automated Biochemical Analyser |  | Central Instruments Lab | Selectra Pro s Lite Netherland |  |  | External | ICAR, Govt. of India |  | analysis of protein serum biochemical parameters | Central Instruments Lab | Central Instruments Lab | 800000 | www.elitechgroup.com | Up | Characterization |  |  | 23010 | Selectra Pro s Lite Netherland |  |  |  | ramnath@kvasu.ac.in
Automated Mammalian Cell Counter |  | Central Instruments Lab | Invitrogen |  | 13081-141 | External | ICAR, Govt. of India |  | To count live and dead cells and measure cell size | Central Instruments Lab | Central Instruments Lab | 250000 | https://www.fishersci.no/shop/products/invitrogen-countess-automated-cell-counter-101-boxes-slides-3/p-4931442 | Up | Analytical Measurement |  |  |  | Biovision |  |  |  | ramnath@kvasu.ac.in
Stereo Zoom Microscope |  | Central Instruments Lab | Vision Engineering | SX45 |  | External | ICAR, Govt. of India |  | To capture images of larger specimen in multidimensional configuration | Central Instruments Lab | Central Instruments Lab | 215410 |  | Up | Characterization |  |  | 20672 |  |  |  |  | ramnath@kvasu.ac.in
Electrolyte Analyser |  | Central Instruments Lab | MEDICA | Easy Electrolytes | 1015041012 | External | ICAR, Govt. of India |  | Sodium, Potassium and Chloride estimation in serum/blood | Central Instruments Lab | Central Instruments Lab | 170476 | www.medicacorp.com | Up | Characterization |  |  | 9000 | LabX Medical Systems |  | LabX Medical Systems | info@labx.in | ramnath@kvasu.ac.in
Homogenizer |  | Central Instruments Lab | Kinematica | Polytron PT 2500E | PF-821-0008-04-14 | External | ICAR, Govt. of India |  | Homogenization of tissues with volumes from 0.05 to 2000 mL | Central Instruments Lab | Central Instruments Lab | 261611 | www.kinematica.ch | Up | Characterization |  |  | 34339 | Spinco Biotech Pvt Ltd |  | Spinco Biotech Pvt Ltd | jerome@spincotech.com | ramnath@kvasu.ac.in