## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Vicon Vero v2.2 |  | KLEF | Vicon | Vero V2.2 2.2MP optical cameras @ 330fps | ve22-s-0087 | External | DST, Govt. of India |  | 8 3D Motion cameras, 1 video camera, Software | ECE | Biomechanics and Vision Computing Research Center | 5000000 |  | Up | Characterization | 4400000 | 600000 |  | Vicon | info@vicon.com | Graphic Devices Mumbai | graphicdevices@vsnl.com | deanrnd@kluniversity.in
Visible NIR PL Spectrophotometer |  | KLEF | Princeton Instruments USA | ACTON5300 |  | External | SERB, DST, Govt. of India |  | Emission can be recorded in visible and NIR regions under 410 and 980 nm excitation wavelengths | Physics | AMRL Lab | 2868000 |  | Up | Characterization |  |  |  | VS Enterprises New Delhi | ivsenterprises@gmail.com |  |  | deanrnd@kluniversity.in
IR Camera |  | KLEF | FLIR | FLIR A655 SC |  | External | SERB, DST, Govt. of India |  | Infrared imaging camera and setup for thermographic non destructive testing application | ECE | Infrared Imaging Center | 2500000 |  | Up | Characterization | [7 empty] | deanrnd@kluniversity.in
Powder X-ray Diffractometer (PXRD) | PXRD | KLEF | Malvern Panalytical | Eymperean | 810-00486898 | External | DST, Govt. of India |  | Powder X-RAY Diffraction is an essential analytical technique for material characterization providing detailed information about the internal lattice of crystalline substances. | Physics |  | 8500000 | https://www.malvernpanalytical.com/en | Up | Characterization |  |  |  | Malvern Panalytical | rajalakshmi.babu@panalytical.com | Malvern Panalytical | rajalakshmi.babu@panalytical.com | deanrnd@kluniversity.in
High Performance Liquid Chromatography (HPLC) | HPLC | KLEF | Agilent Technologies | 1260 Infinity LC with ELSD, DAD and FLD | DEAB600986, DEABW06707, DEAAX08594, G816030007 | External | DST, Govt. of India |  | Liquid chromatography system with ELSD,DAD and FL detectors | Biotechnology | DST FIST Laboratory | 3620000 | https://www.agilent.com/en/product/liquid-chromatography/hplc-systems/preparative-hplc-systems/1260-infinity-ii-bio-inert-analytical-scale-lc-purification-system | Up | Characterization |  |  |  | Agilent Technologies | transactional_india@agilent.com | Agilent Technologies | dinesh_g@non.agilent.com | deanrnd@kluniversity.in
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | KLEF | Anatek Services Pvt Ltd | JASCO-FTIR 4700 | D053761788 | External | DST, Govt. of India |  | FTIR is an effective analytical instrument for detecting functional groups and characterizing covalent bonding information. | Physics |  | 1400000 | https://anatekservices.com/ | Up | Characterization |  |  |  | Anatek Services Pvt Ltd | vishnu@anatekservices.com | Anatek Services Pvt Ltd | vishnu@anatekservices.com | deanrnd@kluniversity.in
Real Time PCR (RTPCR) | RTPCR | KLEF | Thermo Fisher Scientific | QuantStudio 3 | A28567 | External | DST, Govt. of India |  | Real time PCR System | Biotechnology | DST FIST Laboratory | 1350800 | https://www.thermofisher.com/order/catalog/product/A28567 | Up | Characterization | [7 empty] | deanrnd@kluniversity.in
Prototype Machine |  | KLEF Instrumentation Center | Scientech 71 | NVIS 26 | 170419003013 | External | SERB, DST, Govt. of India |  | Prototyping the PCB's | ECE | Fabrication of Antennas Microwaves | 447000 |  | Up | Fabrication
Combinational Analyzer |  | KLEF Instrumentation Center | Anritsu | MS2037C |  | External | SERB, DST, Govt. of India |  | VNA+SA Measurements | ECE | S-Parameter Measurement | 14, 00,000 |  | Up | Characterization