## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No/ Part no | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
WATERS ADVANCED & LATEST UHPLC WITH ACQUITY QDA MASS DETECTOR & PDA DETECTOR | LCMS | Room No. 002,First Floor, iRh | Waters, USA | ARC® UHPLC SYSTEM WITH AUTOSAMPLER / SAMPLE MANAGER ARC® UHPLC COLUMN HEATER STARTUP KIT, ARC® HPLC SYS WITH CHC/CH 2998® PHOTODIODE ARRAY DETECTOR STARTUP KIT, ARC HPLC DETECTOR ACQUITY™ QDA™ MASS SPECTROMETER | 176017041 186186301 200000476 176299801 200000477 176003208 | Internal | Institute | NA | ACQUITY QDa Detector: API Source and ionization modes, Adjustment-free high performance ZSprayTM dual-orthogonal atmospheric pressure; Ion source transfer optics: Dual off-axis ion guides for elimination of neutral noise with increased sensitivity androbustness. Includes high efficiency conjoined stacked ring ion guide and second stage quadrupole ion guide; Acquisition modes Full scan MS Selected Ion Recording (SIR); ionization (API) electrospray (ES) interface for robustness and reliability; Mass range: 30 to 1250 m/z, Scan speed: Automatically-optimized for enhanced data quality for acquisition rates of up to e.g. 10Hz for m/z 100 to 1000 or 20 Hz for m/z 50 to 500; Mass accuracy: better than ±0.2 Da over full mass range; ACQUITY UPLC PDA Detector: Wavelength range 190 to 500 nm; Optical resolution 1.2 nm Digital resolution 0.6 nm/pixel to 500 nm; Light source Prealigned, intelligent technology Deuterium lamp. | Central Research Facility | CRF Facility | 12200000 | https://people.iitism.ac.in/~research/crf/index.php | Up | Characterization | NA | NA | NA | Waters (India) Pvt Ltd Kolkata | subhadip_banerjee@waters.com | Waters (India) Pvt Ltd Kolkata | subhadip_banerjee@waters.com | swapan@iitism.ac.in