## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Table-top X-ray Diffractometer | XRD | CSIR-AMPRI, Bhopal | Rigaku | Mini Flex | HD30771 | Internal Funding | CSIR |  | Source: Copper Kα, Voltage: 30KV, Current: 15mA, Rotation: 2θ | LWMD |  | 3500000 |  | Working | Analytical, Crystallography, Phase analysis | M/s I.R. Technologies Services Pvt Ltd., Navi Mumbai | suparna_k@irtech.in |  | suparna_k@irtech.in | shafeeq.ampri@csir.res.in
High speed camera |  | CSIR-AMPRI, Bhopal | Photron | AX200 type 900K | 10442447134 | Internal Funding | CSIR |  | High Speed Camera Fastcam Mini AX200 540k M-16GB | LWMD |  | 1974488 |  | Not Working | High Speed events capture | M/s Tesscorn systems (I) Pvt. Ltd., Bangalore |  |  |  | gaurav.ampri@csir.res.in
Raman Spectrometer | Raman Spectrometer | CSIR-AMPRI, Bhopal | Airix | STR500 | R02122A | Internal Funding | CSIR |  | Resolution: < 0.5cm-1/pixel, Spectral range: 50-4000cm-1, 2D & 3D Imaging | LWMD |  | 8323520 |  | Not Working | Analytical, Chemical and Spectroscopy Analysis | M/s TechnoS Instruments, Jaipur | avinash.c@technos.in |  | avinash.c@technos.in | shafeeq.ampri@csir.res.in
Differencial Scanning Calorimeter | DSC | CSIR-AMPRI, Bhopal | Mettler Toledo | DSC 1 | B 323405158 | Internal Funding | CSIR |  | Power: 400W, Sensor: FRS5, Temperature: -150C to 600C, Atmosphere: Argon/Nitrogen, | LWMD |  | 3500000 |  | Working | Analytical, Thermal analysis | M/s Mettler Toledo India Pvt. Ltd., Vadodara-390001 | sales.mtin@mt.com |  | sales.mtin@mt.com | shafeeq.ampri@csir.res.in
Particle Size Analyzer | PSA | CSIR-AMPRI, Bhopal | Horiba | LA950-V2 | 514NFKEO | Internal Funding | CSIR |  | Particle size distrubution Analysis using Laser scattering, Inbuilt Sonicator & agitator, Measurement range: 0.1 µm to 3000 µm, Light source: 650nm laser & 405nm LED, Test methods: Dispersion & Dry feeding. | LWMD |  | 3500000 | www.horiba.com | Working | Analytical, Particle size distribution of powder samples | M/s Horiba India Pvt. Ltd., New Delhi-120020 | sales.hin@horiba.com |  | sales.hin@horiba.com | shafeeq.ampri@csir.res.in
Tubular furnace with gas purging |  | CSIR-AMPRI, Bhopal | Nabortherm GmbH | RHS/120/500/13 | RHS/120/500/13 | Internal Funding | CSIR |  | Tubular furnace with hydrogen and nitrogen gas purging : NABERTHERM TUBE Furnace Model “ RSH 120 / 500 / 13 ” - 3 Zone Vacuum / Gas Supply System - 2 Vacuum pump, for Vacuum with Vacuum Connection Kit | LWMD |  | 1113778 |  | Working | Fabrication, Sintering | M/s KG Projects & Equipment Marketing, New Delhi |  |  |  | tilak.ampri@csir.res.in
Fluidized Bed Spray Coating System |  | CSIR-AMPRI, Bhopal | ACG | QUEST-FB | QF23 | Internal Funding | CSIR |  | Fluidized Bed Spray Coating System Model: QUEST-FB Make : ACG | LWMD |  | 1966567 |  | Working | Fabrication, Spray coating |  |  |  |  | tilak.ampri@csir.res.in
Clossed cell alfoam with system with Automation |  | CSIR-AMPRI, Bhopal | ECO science Technology, Bhopal | Customozed arrangement | No Model number | Internal Funding | CSIR | Aluminum composite foam for crash worthiness applications (MLP-102 - Fast Track Translational) | Clossed cell alfoam with system with Automation | LWMD |  | 4410000 |  | Working | Fabrication, Foam making | ECO science Technology, Bhopal | ecoscitech@gmail.com |  | ecoscitech@gmail.com | venkatanch@ampri.res.in
XRD X-Ray Diffractometer |  | CSIR-AMPRI, Bhopal | Rigaku | SmartLab SE | BD74000200-01 | Internal Funding | CSIR |  | X-Ray Diffraction System Smart Lab SE With Smart Lab SE Goniometer | LWMD |  | 9342320 |  | Working | Characterization | M/s I.R. Technologies Services Pvt Ltd., Navi Mumbai |  |  |  | nprashant@ampri.res.in
Hydrualic Press |  | CSIR-AMPRI, Bhopal | Shree Hydraulics | H-Frame | 03/2021/36 | Internal Funding | CSIR | Lightweight Aluminum hybrid foam core multi-layer sandwich panels with metal/ 3D carbon fiber/ Kevlar as face sheets for aerospace, blast resistance and transportation applications ( MLP-211) FTT Project | 150 Ton Hydraulic Press | LWMD |  | 2149000 |  | Working | Fabrication, Pannel making | BVS Enterprises, Bhopal |  |  | bvsenterprises@rediffmail.com | venkatanch@ampri.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE

## Sheet1
Cryo-Attritor Mill | Cryo Ball Mill | CSIR-AMPRI, Bhopal | Union Process |  | Internal Funding | CSIR | Attritor ball milling, Speed: upto 600 RPM, Option for cryo milling, Stainless steel balls & Jar. | LWMD | 1700000 | www.unionprocess.com | Working | Fabrication, Powder/alloy processing. Cryogenic attrition milling | M/s Union Process Inc., Calcutta– 700026 | ritwikgupta@rediffmail.com |  | ritwikgupta@rediffmail.com | shafeeq.ampri@csir.res.in
Planetary Ball Mill | Planetary Ball Mill | CSIR-AMPRI, Bhopal | Insmart |  | Internal Funding | CSIR | Planetary ball milling, Speed: upto 600 RPM, Jar types: SS & WC. | LWMD | 1000000 | www.insmartsystems.in | Working | Fabrication, Powder/alloy processing | M/s Insmart Systems, Hyderabad – 500018 | info@insmartsystems.in | M/s Insmart Systems, Hyderabad – 500018 |  | shafeeq.ampri@csir.res.in
Hot press for spark plasma Sintering facility |  | CSIR-AMPRI, Bhopal | AVAC |  | Internal Funding | CSIR | Hot Press for Spark Plasma Sintering Facility | LWMD | 1648800 |  | Not Working | Fabrication, Sintering |  |  |  |  | gaurav.ampri@csir.res.in
Powder roll Compactor |  | CSIR-AMPRI, Bhopal |  |  | Internal Funding | CSIR | POWDER ROLL COMPACTER | LWMD | 1785000 |  | Working | Fabrication, Sheet making |  |  |  |  | gaurav.ampri@csir.res.in
Split Hopkingson Bar Setup for Tensile Testing |  | CSIR-AMPRI, Bhopal | Artis Tech. |  | Internal Funding | CSIR | Split Hopkingson Bar Setup for Tensile Testing | LWMD | 1932000 |  | Not Working | Testing, Tensile Testing |  |  |  |  | gaurav.ampri@csir.res.in
Digital Optical metallurgical microscope, DM 6000M | Optical Microscope | CSIR-AMPRI, Bhopal | Leica | DM 6000M | Internal Funding | CSIR | Magnification: upto 1500x, Microstructure Analysis software: LAS X | LWMD | 1000000 | www.leica-microsystems.com | Working | Analytical, , Microstructure analysis | M/s DHR Holding India Pvt. Ltd., Mumbai-400070 | Prasad.Belvalkar@leica-microsystems.com |  | Prasad.Belvalkar@leica-microsystems.com | shafeeq.ampri@csir.res.in
Optical Metallurgical Microscope, DM 2700 | Optical Microscope | CSIR-AMPRI, Bhopal | Leica | DM 2700 | Internal Funding | CSIR | Magnification: upto 1000x | LWMD |  | www.leica-microsystems.com | Working | Analytical, Microstructure analysis | M/s DHR Holding India Pvt. Ltd., Mumbai-400070 | Prasad.Belvalkar@leica-microsystems.com |  | Prasad.Belvalkar@leica-microsystems.com | shafeeq.ampri@csir.res.in
Multi Channel Electrochemical work Station |  | CSIR-AMPRI, Bhopal | Bio Logic SAS | VSP300 | Internal Funding | CSIR | Multi-channel Electrochemical Work Station | LWMD | 2416837 |  | Working | Analytical, Electro chemical Analysis |  |  |  |  | sriram@ampri.res.in
Benchtop SEM with EDS |  | CSIR-AMPRI, Bhopal | JEOL | JCM 6000 plus | Internal Funding | CSIR | Benchtop SEM with EDS facility Model: JCM- 6000 Plus Make: Jeol | LWMD | 5381145 |  | Not Working | Analytical, Microstructure Analysis | M/s Jeol India Pvt. Ltd., New Delhi |  |  | infoa@jeolindia.com | gaurav.ampri@csir.res.in