## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
RF-DC Sputter-Thermal-E Beam Deposition Unit | Sputter Unit |  | HHV Advanced Technologies Pvt. Ltd. | Customized | Not available | Others | DST, Govt. of India, BITS Pilani | Enables high-uniformity deposition of metal, oxide, and nitride thin films using DC and RF sputtering, along with e-beam and thermal evaporation for high-purity thin film formation. | SATHI Foundation-BITS Pilani |  | 10053500 |  |  | Microfabrication | sathi@bits-pilani.ac.in
Semiautomatic Wire Bonder System |  |  | Unitemp GmbH | WB-300-U | 102 | Others | DST, Govt. of India, BITS Pilani | Provides high-precision fine-wire interconnections between semiconductor chips and package or substrate pads for advanced device packaging and prototyping. | SATHI Foundation-BITS Pilani |  | 2980920 |  |  | Pacaging | sathi@bits-pilani.ac.in
High Temperature Tube Furnace | Tube Furnace |  | Excel Instruments | customized | Not available | Others | DST, Govt. of India, BITS Pilani | Enables high-precision thermal processing with exact temperature control and atmosphere regulation for diverse material applications. | SATHI Foundation-BITS Pilani |  | 1240000 |  |  | Fabrication(Heat Processing Equiment) | sathi@bits-pilani.ac.in
Electrospinning Unit |  |  | Holmarc Opto-Mechatronics Ltd. | HO-NFES-040 | EQ 7008 | Others | DST, Govt. of India, BITS Pilani | Produces uniform micro- and nanofibers through controlled electrospinning for advanced material and device applications | SATHI Foundation-BITS Pilani |  | 1008800 |  |  | Microfabrication | sathi@bits-pilani.ac.in
Deionized Water Plant | DI Water |  | Merck | Milli-Q | Not available | Others | DST, Govt. of India, BITS Pilani | Provides high-purity deionized water for cleanroom and advanced research applications | SATHI Foundation-BITS Pilani |  | 988590 |  |  | Synthesis | sathi@bits-pilani.ac.in
Oxidation Furnace |  |  | Nano Tec | Customized | Not available | Others | DST, Govt. of India, BITS Pilani | Provides controlled thermal oxidation for high-quality oxide layer formation in semiconductor processing. | SATHI Foundation-BITS Pilani |  | 795000 |  |  | Synthesis (Annealing) | sathi@bits-pilani.ac.in
Thermal Desorption Gas Chromatography Mass Spectroscopy | GCMSMS |  | Thermo Scientific | TSQ 9610 | TSQ96A2310003 | Others | DST, Govt. of India, BITS Pilani | Combines gas chromatography and mass spectrometry with a thermal desorption unit to enable precise identification and quantification of volatile and semi-volatile compounds | SATHI Foundation-BITS Pilani |  | 11800000 |  |  | Analytical | sathi@bits-pilani.ac.in
Thickness Profiler | Dektak |  | Bruker | Dektak XT | DXT-23-2104 | Others | DST, Govt. of India, BITS Pilani | Thin film thickness measurement system | SATHI Foundation-BITS Pilani |  | 3665320 |  |  | Characterization | sathi@bits-pilani.ac.in
Clean Beanch-Fume Hood |  |  | Igene | IG-322FH, IG-422FH | 2324091789, 2324071718B | Others | DST, Govt. of India, BITS Pilani | Provides safe containment and exhaust of hazardous fumes and vapors during laboratory operations | SATHI Foundation-BITS Pilani |  | 330508 |  |  | Lab safety/Utilities | sathi@bits-pilani.ac.in
Vacuum Oven | Oven |  | Splendid Instruments | Not available | Not available | Others | DST, Govt. of India, BITS Pilani | Provides controlled heating and drying under vacuum for sensitive materials and device processing. | SATHI Foundation-BITS Pilani |  | 398000 |  |  | Synthesis (Annealing) | sathi@bits-pilani.ac.in
Electronic Microscope |  |  | Carl Zeiss | Primoster-3 | Not available | Others | DST, Govt. of India, BITS Pilani | Provides high-resolution imaging and analysis of material surfaces and microstructures, enabling detailed observation at the nanoscale. | SATHI Foundation-BITS Pilani |  | 508475 |  |  | Characterization | sathi@bits-pilani.ac.in
Dicing Tool-Manual Scriber |  |  | MTI Corporation | SYJ-400 | 01010006-699 | Others | DST, Govt. of India, BITS Pilani | Precisely slices silicon wafers into individual chips for device fabrication | SATHI Foundation-BITS Pilani |  | 2620025 |  |  | Fabrication | sathi@bits-pilani.ac.in
Direct Laser Writer | Laser Cutting |  | Mutech Microsystems | Not available | 2019 | Others | DST, Govt. of India, BITS Pilani | Used to create high-resolution microstructures with precision and accuracy, enabling advanced device prototyping and microfabrication | SATHI Foundation-BITS Pilani |  | 2614738 |  |  | Fabrication | sathi@bits-pilani.ac.in
Mask Less Photolithography |  |  | Microlight3D | Not available | SPUV-2023-53 | Others | DST, Govt. of India, BITS Pilani | Enables high-resolution micro/nano-pattern printing for flexible electronics, sensors, and biomedical applications. | SATHI Foundation-BITS Pilani |  | 5350000 |  |  | Fabrication | sathi@bits-pilani.ac.in
PECVD | SPUV System |  | Excel Instruments | Customized | Not available | Others | DST, Govt. of India, BITS Pilani | Used for complex material growth and layer-by-layer formation, providing uniform heating and precise control over thin film deposition. | SATHI Foundation-BITS Pilani |  | 5080000 |  |  | Fabrication & Synthesis | sathi@bits-pilani.ac.in
Split 3 Zones CVD | CVD |  | Carbolite Gero Ltd. | TG3120600600-230SN | 22-301921 | Others | DST, Govt. of India, BITS Pilani | Enables precise, layer-by-layer material growth with uniform heating across multiple zones, supporting complex thin film deposition and advanced material development. | SATHI Foundation-BITS Pilani |  | 1848600 |  |  | Fabrication & Synthesis | sathi@bits-pilani.ac.in
Multi Zone CVD | CVD |  | Quarzar Technologies Pvt. Ltd. | QRYSTAL-1100-ATMOS-12 | Not available | Others | DST, Govt. of India, BITS Pilani | Designed for uniform, layer-by-layer growth of complex materials, offering precise temperature control across multiple zones for advanced thin film fabrication | SATHI Foundation-BITS Pilani |  | 2678940 |  |  | Fabrication & Synthesis | sathi@bits-pilani.ac.in
Vapor Generator |  |  | Owlstone Ltd. | V-OVG, OHG-4 | 98 | Others | DST, Govt. of India, BITS Pilani | Produces controlled concentrations of volatile organic compounds (VOCs) with continuous humidity generation, enabling accurate testing and calibration of chemical sensors | SATHI Foundation-BITS Pilani |  | 4830508 |  |  | Analytical | sathi@bits-pilani.ac.in
Semiconductor Parameter Analyzer & Probe Station |  |  | Keysight | B1500A, EPS150COAX | MY62150443,2316914 | Others | DST, Govt. of India, BITS Pilani | Measures electrical properties of devices or chips using fine probes for precise characterization | SATHI Foundation-BITS Pilani |  | 6007038 |  |  | Analytical | sathi@bits-pilani.ac.in
Spin Coating System And Contact Angle Measurement Meter |  |  | Apex Instruments | EZspinA1 | EZSPINA1NA190 | Others | DST, Govt. of India, BITS Pilani | For deposition of uniform thin films and coatings on substrates, enabling precise control over film thickness and surface uniformity | SATHI Foundation-BITS Pilani |  | 550847 |  |  | Analytical | sathi@bits-pilani.ac.in
Hot Air Oven | Oven |  | Acmas Technologies Inc. | ATI-114 | 9153 | Others | DST, Govt. of India, BITS Pilani | Uniform heating and drying of laboratory materials with precise temperature control | SATHI Foundation-BITS Pilani |  | 180000 |  |  | Fabrication (Synthesis & Annealing) | sathi@bits-pilani.ac.in
Hybrid Multimode Microplate Reader |  |  | Biotek (Agilent) | SH1M-SN | 23030304 | Others | DST, Govt. of India, BITS Pilani | Capable of measuring absorbance, fluorescence, and luminescence in a single platform, enabling versatile, high-throughput analysis for biological, chemical, and material research. | SATHI Foundation-BITS Pilani |  | 1533898 |  |  | Analytical | sathi@bits-pilani.ac.in
Electrochemical Workstation |  |  | M/s RVL Scientific and engineering pvt. Ltd. | Not available | Not available | Others | DST, Govt. of India, BITS Pilani | Measures and analyzes electrochemical properties for advanced research applications | SATHI Foundation-BITS Pilani |  | 720000 |  |  | Analytical | sathi@bits-pilani.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE