## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Scanning Electron Microscope with EDS | SEM-EDS | NITTTR Kolkata | JEOL | JSM IT500 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | SEM imaging (SE/BSE/MIX) with EDS, elemental analysis & mapping | Mechanical Engineering | Materials Characterization Lab | 1000 / sample | https://www.nitttrkol.ac.in/media/download/irg/11_Brochure%20ME.pdf | Working | Characterization | saurabh@nitttrkol.ac.in
High Precision Lathe | HPL | NITTTR Kolkata | Panther | 2050/4 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Precision gap-bed lathe for turning operations | Mechanical Engineering | Machine Shop | 1000 / hr | Same as above | Working | Machining | saurabh@nitttrkol.ac.in
Universal Milling Machine | UMM | NITTTR Kolkata | Dhillon Machinery Corp. | Universal | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | End, face, plain & gang milling | Mechanical Engineering | Machine Shop | 1000 / hr | Same as above | Working | Machining | saurabh@nitttrkol.ac.in
Radial Drilling Machine | RDM | NITTTR Kolkata | SMTR | II-38/40 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Drilling, countersinking & reaming up to 38 mm | Mechanical Engineering | Machine Shop | 1000 / hr | Same as above | Working | Machining | saurabh@nitttrkol.ac.in
Universal Testing Machine (100T) | UTM-100 | NITTTR Kolkata | UTE | UTE-100 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Tensile & compression testing as per ASTM | Mechanical Engineering | Testing Lab | 250 / sample | Same as above | Working | Mechanical Testing | saurabh@nitttrkol.ac.in
Electrochemical Machining Setup | ECM | NITTTR Kolkata | ELECTRO-M | ECM | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Advanced electrochemical material removal | Mechanical Engineering | Advanced Manufacturing Lab | 1000 / hr | Same as above | Working | Advanced Machining | saurabh@nitttrkol.ac.in
Automatic Specimen Mounting Press | SMP | NITTTR Kolkata | CMP-P | CMP-P | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Mounting metallographic samples | Mechanical Engineering | Metallography Lab | 400 / sample | Same as above | Working | Sample Preparation | saurabh@nitttrkol.ac.in
Single Disc Polisher | SDP | NITTTR Kolkata | PMV | PMV-T8-I | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Polishing metallographic specimens | Mechanical Engineering | Metallography Lab | 400 / sample | Same as above | Working | Sample Preparation | saurabh@nitttrkol.ac.in
Automatic Grinder-Polisher | AGP | NITTTR Kolkata | Autopol | Autopol-II | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Multi-specimen grinding & polishing | Mechanical Engineering | Metallography Lab | 1000 / hr | Same as above | Working | Sample Preparation | saurabh@nitttrkol.ac.in
Diamond Precision Saw | DPS | NITTTR Kolkata | CDS | CDS-500 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Precision cutting of material samples | Mechanical Engineering | Metallography Lab | 50 / sample | Same as above | Working | Cutting | saurabh@nitttrkol.ac.in
Air Plasma Arc Cutter | PAC | NITTTR Kolkata | Powercut | 63D | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Plasma cutting up to 12–20 mm thickness | Mechanical Engineering | Fabrication Lab | 20 / 50 mm | Same as above | Working | Cutting | saurabh@nitttrkol.ac.in
MIG / GMAW Welding Machine | MIG | NITTTR Kolkata | CPT | CPT-400 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Gas Metal Arc Welding | Mechanical Engineering | Welding Lab | 30 / 50 mm | Same as above | Working | Welding | saurabh@nitttrkol.ac.in
TIG / Pulse TIG Welding Machine | TIG | NITTTR Kolkata | Fronius | MagicWave / TransTig | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | TIG & Pulse TIG welding | Mechanical Engineering | Welding Lab | 60 / 50 mm | Same as above | Working | Welding | saurabh@nitttrkol.ac.in
Submerged Arc Welding Machine | SAW | NITTTR Kolkata | SAW | SAW-1000 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | High-current submerged arc welding | Mechanical Engineering | Welding Lab | 60 / 50 mm | Same as above | Working | Welding | saurabh@nitttrkol.ac.in
Resistance Spot Welding Machine | RSW | NITTTR Kolkata | Electroweld | SP-200 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Pneumatic resistance spot welding | Mechanical Engineering | Welding Lab | 20 / spot | Same as above | Working | Welding | saurabh@nitttrkol.ac.in
Ultrasonic Flaw Detector | UFD | NITTTR Kolkata | DIGISCAN | DS-322 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Non-destructive ultrasonic inspection | Mechanical Engineering | NDT Lab | 200 / test | Same as above | Working | NDT | saurabh@nitttrkol.ac.in
Tool Grinder | TG | NITTTR Kolkata | Pathak | Tool Grinder | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Tool grinding & sharpening | Mechanical Engineering | Tool Room | 200 / test | Same as above | Working | Grinding | saurabh@nitttrkol.ac.in
Metallurgical Microscope | MM | NITTTR Kolkata | Leica | DM-2700M | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Microstructural analysis of materials | Mechanical Engineering | Metallography Lab | 400 / sample | Same as above | Working | Microscopy | saurabh@nitttrkol.ac.in
Surface Roughness Tester | SRT | NITTTR Kolkata | Mitutoyo | SJ-410 | NIL | NITTTR Kolkata | NITTTR Kolkata, Eductation institute | Measurement of surface roughness parameters | Mechanical Engineering | Metrology Lab | 500 / hr | Same as above | Working | Metrology | saurabh@nitttrkol.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE