## Equipment List
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Atomic Absorption Spectrophotometer | AAS | Pilot Plant , Ground Floor | Thermo-Fischer Scientific | ICE3300AA Spectro | AA01191007 | External Funding | Rashtriya Uchchatar Shiksha Abhiyan (RUSA), Government of India | Thermo Fisher iCE3300AA AAS system used for elemental analysis of chemical, environmental, and biological samples. Suitable for qualitative and quantitative analysis, research, and teaching purposes. | Zoology | Central Instrument Facility | 1155194 | https://mithibai.ac.in/ | Working | Spectroscopy | CIF.Research@mithibai.ac.in
ELISA Plate Reader | ELISA Reader | Microbiology | BioTek | Epoch-2 | 190329B | External Funding | Fund for Improvement of S&T Infrastructure (FIST) | ELISA Plate Reader for qualitative and quantitative analysis of pharmaceutical, biochemical, and clinical samples. Used for research, diagnostics, and academic training. | Microbiology | Central Instrument Facility | 431163 | https://mithibai.ac.in/ | Working | Analytical Instruments | CIF.Research@mithibai.ac.in
Fluorescence Microscope | FM | Central Instrumentation Facility, Lab.No.311 | Labomed | LX 400 | 130156885 | Internal Funding | Internal Instituional Fund | Fluorescence Microscope is designed for high-resolution imaging of fluorescently tagged specimens. It allows selective visualization of cellular structures, proteins, and biomolecules using specific fluorophores | Microbiology | Central Instrument Facility | 231000 | https://mithibai.ac.in/ | Working | Microscopy | CIF.Research@mithibai.ac.in
Fourier Transform Infrared Spectrophotometer | FTIR | Central Instrumentation Facility, Lab.No.311 | Agillent Tech India Pvt.Ltd. | Cary 630 | USH4937243 | External Funding | University Grants Commission | Used for identification and structural characterization of chemical compounds by measuring infrared absorption, useful in chemical, pharmaceutical, and material research. | Chemistry | Central Instrument Facility | 747445 | https://mithibai.ac.in/ | Working | Spectroscopy | CIF.Research@mithibai.ac.in
Flame Photometer | FM | Central Instrumentation Facility, Lab.No.311 | Equiptronics | EQ/850A | 116118 | External Funding | Department of Science and Technology (DST), Government of India | Flame Photometer used for quantitative determination of alkali and alkaline earth metals such as sodium, potassium in chemical, biological, clinical, and environmental samples. | Zoology | Central Instrument Facility | 39150 | https://mithibai.ac.in/ | Working | Spectroscopy | CIF.Research@mithibai.ac.in
Gel Documentation System | Gel Doc System | Central Instrumentation Facility, Lab.No.311 | Bio-Rad | Universal Hood II | 721BR19651 | Internal Funding | Internal Instituional Fund | Bio-Rad ChemiDoc XRS+ Gel Documentation System is used for imaging and documentation of nucleic acid and protein gels. Supports chemiluminescence, fluorescence, and colorimetric detection. Suitable for academic research and molecular biology experiments. | Central Instrument Facility | Central Instrument Facility | 1146000 | https://mithibai.ac.in/ | Working | Imaging / Gel Documentation | CIF.Research@mithibai.ac.in
High Performance Thin Layer Chromatography | HPTLC | Central Instrumentation Facility, Lab.No.311 | CAMAG | Linomat 5 & TLC Scanner 4 | Linomat 5 - 260397,Scanner-260313 | External Funding | Department of Science and Technology (DST), Government of India & Fund for Improvement of S&T Infrastructure (FIST) | CAMAG HPTLC system with Linomat 5 sample applicator and TLC Scanner 4 used for qualitative and quantitative analysis of pharmaceutical, herbal, food, and chemical samples. Suitable for method development, fingerprint profiling, purity testing, and academic research applications. | Central Instrument Facility | Central Instrument Facility | 3394337 | https://mithibai.ac.in/ | Working | Chromatography | CIF.Research@mithibai.ac.in
High Performance Liquid Chromatography | HPLC | Central Instrumentation Facility, Lab.No.311 | Shimadzu | LC-20 AD | L20155621316 CD | External Funding | Rashtriya Uchchatar Shiksha Abhiyan (RUSA), Government of India | Shimadzu LC-20AD UFLC system used for fast and high-resolution separation, identification, and quantification of compounds in pharmaceuticals, chemicals, and biological samples. Suitable for analytical research, quality control, and academic applications. | Central Instrument Facility | Central Instrument Facility | 1935562 | https://mithibai.ac.in/ | Working | Chromatography | CIF.Research@mithibai.ac.in
Inverted Tissue Culture Microscope | ITCM | Central Instrumentation Facility, Lab.No.311 | Radical | RTC-7 | 30886 | Internal Funding | Internal Instituional Fund | Radical RTC-7 Inverted Tissue Culture Microscope used for observing live cell cultures, tissue samples, and performing cell biology experiments. Suitable for academic research, tissue culture, and molecular biology studies. | Zoology | Central Instrument Facility | 135229 | https://mithibai.ac.in/ | Working | Microscopy | CIF.Research@mithibai.ac.in
Lyophilizer | Lyophilizer | Central Instrumentation Facility, Lab.No.311 | Labmate | Alpha-1,2 LD PLUS | 27891 | Internal Funding | Internal Instituional Fund | Labmate Alpha-1,2 LD PLUS Lyophilizer used for freeze-drying of biological, pharmaceutical, and chemical samples. Suitable for sample preservation, long-term storage, and research applications. | Central Instrument Facility | Central Instrument Facility | 750000 | https://mithibai.ac.in/ | Working | Freeze Dryer / Drying Equipment | CIF.Research@mithibai.ac.in
Stereo Microscope with Digital Camera | Stereo Microscope | Central Instrumentation Facility, Lab.No.311 | Magnus | TZM6 Trinocular, DC-10 | 19B0334 | External Funding | University Grants Commission | Magnus TZM6 Stereo Microscope used for low-magnification, three-dimensional observation of solid specimens. Suitable for surface examination, biological samples, material inspection, and academic teaching and research applications. | Central Instrument Facility | Central Instrument Facility | 128000 | https://mithibai.ac.in/ | Working | Microscopy | CIF.Research@mithibai.ac.in
Refrigerated Incubator Shaker | RIS | Central Instrumentation Facility, Lab.No.311 | Hexatec Instruments Pvt. Ltd. | HIPL- 035C | 06-21-035c-A-001 | Internal Funding | Internal Instituional Fund | Refrigerated Incubator Shaker used for controlled low-temperature incubation with orbital shaking. Suitable for microbial growth studies, enzyme reactions, protein expression, fermentation studies, and academic research applications. | Microbiology | Central Instrument Facility | 105000 | https://mithibai.ac.in/ | Working | Incubation / Cell Culture Equipment | CIF.Research@mithibai.ac.in
Real Time Polymerase Chain Reaction System | RTPCR | Central Instrumentation Facility, Lab.No.311 | Thermofisher Scientific | QuantStudio 5 | 2725211078 | Internal Funding | Internal Instituional Fund | Thermo Fisher Scientific QuantStudio 5 Real-Time PCR system used for quantitative gene expression analysis, pathogen detection, genotyping, and molecular diagnostics. Suitable for academic research, clinical research, and biotechnology applications. | Central Instrument Facility | Central Instrument Facility | 1098793 | https://mithibai.ac.in/ | Working | Molecular Biology / PCR | CIF.Research@mithibai.ac.in
Refrigerated Centrifuge | RC | Central Instrumentation Facility, Lab.No.311 | REMI | CPR-30 PLUS | ZDIU-24039 | Internal Funding | Internal Instituional Fund | Remi CPR-30 PLUS Refrigerated Centrifuge used for high-speed separation of biological, clinical, and chemical samples under controlled low-temperature conditions. Suitable for molecular biology, biochemistry, clinical research, and academic laboratory applications. | Central Instrument Facility | Central Instrument Facility | 240490 | https://mithibai.ac.in/ | Working | Centrifugation | CIF.Research@mithibai.ac.in
Rotary Evaporator | ROTAVAP | Central Instrumentation Facility, Lab.No.311 | SUPERFIT | R/150 | 189 | Internal Funding | Internal Instituional Fund | Rotary Evaporator used for efficient solvent evaporation and concentration of liquid samples under reduced pressure. Suitable for chemical synthesis, pharmaceutical research, natural product extraction, and academic laboratory applications. | Biochemistry | Central Instrument Facility | 31162 | https://mithibai.ac.in/ | Working | Sample Preparation | CIF.Research@mithibai.ac.in
Spectroflurophotometer | SFP | Central Instrumentation Facility, Lab.No.311 | Shimadzu | RF-6000 | A402456 | External Funding | Rashtriya Uchchatar Shiksha Abhiyan (RUSA), Government of India | Shimadzu RF-6000 Spectrofluorophotometer used for qualitative and quantitative fluorescence analysis of chemical and biological samples. Suitable for pharmaceutical analysis, environmental studies, life science research, and academic applications. | Central Instrument Facility | Central Instrument Facility | 1007750 | https://mithibai.ac.in/ | Working | Spectroscopy | CIF.Research@mithibai.ac.in
UV-Vis Spectrophotometer | UV-1900 | Central Instrumentation Facility, Lab.No.311 | Shimadzu | UV-1900 | A124257 | External Funding | Rashtriya Uchchatar Shiksha Abhiyan (RUSA), Government of India | Shimadzu UV-1900 UV–Visible Spectrophotometer used for qualitative and quantitative analysis of samples based on ultraviolet and visible light absorption. Suitable for chemical analysis, pharmaceutical research and academic applications. | Central Instrument Facility | Central Instrument Facility | 485805 | https://mithibai.ac.in/ | Working | Spectroscopy | CIF.Research@mithibai.ac.in
Ultrasonic Homogenizer | Probe Sonicator | Central Instrumentation Facility, Lab.No.311 | ORCHID | PS 650 | PS-650/18-19/1 | Internal Funding | Internal Instituional Fund | Probe Sonicator used for ultrasonic cell lysis, homogenization, emulsification, and dispersion of biological and chemical samples using a high-energy ultrasonic probe. Suitable for molecular biology, biochemistry, nanotechnology, pharmaceutical, and academic research applications. | Biochemistry | Central Instrument Facility | 211950 | https://mithibai.ac.in/ | Working | Sample Preparation | CIF.Research@mithibai.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE