## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)* | Analysis Charges
MALDI TOF TOF MS 5800 System | MALDI TOF/TOF MS | 1722 1st Floor Centre for Material Characterisation.. | AB SCIEX | 5800 System | NA | Internal Funding | CSIR, Govt. of India | NA | MALDI TOF TOF Mass Spectrometer. For polymers and intact proteins analysis. mz determination. | Centre for Material Characterisation | Mass Spectrometry Facility | 260 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | MALDI MS/MS 8000 MALDI-TOF-MS (+ve or –ve mode) 5000 Peptide mapping 8000 Sample Processing Charges 3000
LC MS MS TOF Triple TOF MS 5600 System | LC MS MS TOF | 1722 1st Floor Centre for Material Characterisation | AB SCIEX | 5600 System | NA | Internal Funding | CSIR, Govt. of India | NA | Triple TOF Mass Spectrometer coupled to EKS MICRO 200 LC system, 2012. For proteomics, peptides characterization. Proteomics and Metabolomics | Centre for Material Characterisation | Mass Spectrometry Facility | 330 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | Targeted quantification of metabolite or peptide by MRM 30000 LC-MS/MS-TOF: Triple TOF MS(IDA and SWATH analysis for relative quantification of proteins) in triplicates of 110 min runs 30000 LC-MS/MS-TOF: Triple TOF MS(PTM analysis of single protein) 20000 LC-MS/MS-TOF: Triple TOF MS(Protein sequencing of single protein) 10000 Sample Processing Charges 3000
LC HRMS Q Exactive Hybrid Quadrupole Orbitrap MS | LC-HRMS | 1718, 1st Floor, Centre for Material Characterisation | Thermo Fisher | Q Exactive, Hybrid Quadrupole Orbitrap MS | SN01126L | Internal Funding | CSIR, Govt. of India | NA | Hybrid Quadrupole Orbitrap Mass Spectrometer coupled to UHPLC system, 2012. For small molecules characterization. | Centre for Material Characterisation | Mass Spectrometry Facility | 230 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Nilakshi Sadavarte nv.sadavarte.ncl@csir.res.in | Protein sequencing of single protein by LC-HRMS (Orbitrap MS) 10000 LC-HRMS, fragmentation analysis of mixture sample: +ve or -ve mode (Orbitrap MS) 12000 LC-HRMS, mixture sample analysis with accurate mass: either +ve or - ve mode, <40 min acquisition (Orbitrap MS) 8000 LC-HRMS, fragmentation analysis of a single molecule (Orbitrap MS) 5000 LC-HRMS analysis of a single molecule with accurate mass: either +ve or -ve mode (Orbitrap MS) 5000 Sample Processing Charges 3000
LCMS For Metabolomics | LC-HRMS For Metabolomics | 1720, 1st Floor, Centre for Material Characterisation | Thermo Fisher | Q Exactive, Hybrid Quadrupole Orbitrap MS | SN01221L | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Mass Spectrometry Facility | NA | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | LC-HRMS
Synapt HDMS LCMS Waters | Synapt-HDMS | Special Appartus Room, 1st Floor, Biochemical Sciences Division | Waters | LC-MS | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Sciences Division | Mass Spectrometry Facility | 400 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | LC-MS
Triple Quadrupole MS LC MS Thermo Fisher | Triple-Quadrupole -MS | 1852, Special Appartus Room, Special Appartus Room, 1st Floor, Biochemical Sciences Division | Thermo Fisher | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Sciences Division | Mass Spectrometry Facility | 70 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | LC-MS
LC MS system Thermo Fisher | LC-MS system | 723, Ground Floor, Biochemical Engineering | Thermo Fisher | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Engineering | Mass Spectrometry Facility | 250 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. RAHUL BHAMBURE rs.bhambure.ncl@csir.res.in | LC-MS
LC MS system Shimadzu | LC-MS system | 135-F, Ground Floor, Main Building | Shimadzu | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Mass Spectrometry Facility | 200 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Paresh Dhepe pl.dhepe.ncl@csir.res.in | LC-MS
LC MS System Agilent | LC-MS system | Ground Floor, Molecular Synthesis and Modeling Laboratory (MSM) | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Mass Spectrometry Facility | 50 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ramana Chepuri vr.chepuri.ncl@csir.res.in | LC-MS
GC MS System Agilent | GC-MS | KG Lab, Ground Floor, Kilo Lab | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Agilent 7890 B GC coupled with 5977A MSD 7890B GC Split / Splitless capillary inlet: Split ratio of up to 7,500:1 Column oven operating temperature range + 4 to 450°C Maximum achievable temperature ramp of 120°C/min Autosampler : Agilent 7693 5977A MSD EI source : Filament : Dual for EI Electron energy: 5-241.5eV Transfer line temperature: 100–350 °C Ion source temperature 150–350 °C Quadrupole temperature 106–200 °C Mass Filter monolithic quartz gold quadrupole. Method development for organic compounds, Organic impurity profile, qualitative as well as quantitative analysis, pharmaceuticals drugs, pesticides, essential oil, fatty acid methyl ester etc. Analysis of samples having mol. Wt. upto 500. Non-polar or volatile compounds. | Organic Chemistry | Mass Spectrometry Facility | 40 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SP Borikar sp.borikar.ncl@csir.res.in | GC-MS 3000
GC MS System Agilent | GC-MS | KG Lab, Ground Floor, Kilo Lab | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Mass Spectrometry Facility | 40 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SHATABDI MUKHERJEE sp.mukherjee.ncl@csir.res.in | GC-MS 3000
GC MS System Shimadzu | GC-MS | PP-I, Room No. 513, Ground Floor, Chemical Engineering & Process Development | Shimadzu | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Mass Spectrometry Facility | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Nilesh Mali na.mali.ncl@csir.res.in | GC-MS 3000
GC MS System Thermo Scientific | GC-MS | KG Lab, Ground Floor, Kilo Lab | Thermo Scientific | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Mass Spectrometry Facility | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Benudhar Punji b.punji.ncl@csir.res.in | GC-MS 3000
GC MS System Thermo Scientific | GC-MS | 240, 1st Floor, Main Building | Thermo Scientific | NA | NA | Internal Funding | CSIR, Govt. of India | NA | GCMS can be used to separate complex mixtures, quantify analytes, identify unknown peaks and determine trace levels of contamination. | Catalysis And Inorganic Chemistry | Mass Spectrometry Facility | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SAKYA SEN ss.sen.ncl@csir.res.in | GC-MS 3000
LC MS System Agilent | LC-MS | KG Lab, Ground Floor, Kilo Lab | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Mass Spectrometry Facility | 50 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mane Prashant pk.mane.ncl@csir.res.in | LC-MS
QTRAP 6500 AB SCIEX | QTRAP | 1852, 1st Floor, Biochemical Sciences Division | AB SCIEX | NA | NA | Internal Funding | CSIR, Govt. of India | NA | QTRAP 6500+ (AB SCIEX) Targeted Proteomics, Targeted Metabolomics (MRM) | Biochemical Sciences Division | Mass Spectrometry Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Kulkarni mj.kulkarni.ncl@csir.res.in | Targeted Metabolomics (MRM) Targeted Proteomics
Environmental Scanning Electron Microscope ESEM FEI Quanta 200 3D | ESEM FEI – Quanta 200-3D | 1709, Ground Floor, Centre for Material Characterisation | FEI Company ThermoFisher | Quanta 200-3D SEM | NA | Internal Funding | CSIR, Govt. of India | NA | Key Specifications: Resolution: 15 to 50 nm (depending on sample) Accelerating Voltage: 500V - 30kV Magnification: 25 x - 1,030 kx Electron source : W emitter Capabilities: Surface morphology at nanometre scale Microanalysis of the surface composition by Energy Dispersive X-ray Spectroscopy (EDAX) Analysis: Characterization of sample in High Vacuum; Low Vacuum; ESEM (Environmental); EDAX (Energy Dispersive X-ray Spectroscopy); Elemental Mapping. | Centre for Material Characterisation | Microscopy Facility | 545 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Selvaraj Kaliaperumal k.selvaraj.ncl@csir.res.in Mr. Ramakrishna Gholap rs.gholap.ncl@csir.res.in | E-SEM Mode 7000 SEM(Low vacuum mode)+EDX 7000 SEM(Low vacuum mode) 5000 SEM+EDX+Mapping 9000 SEM+Mapping 7000 SEM+EDX 6000 SEM 4000
Field Emission Scanning Electron Microscope FESEM FEI NOVA NANO 450 | FEI – NOVA NANO 450 | Ground Floor, Centre for Material Characterisation | NA | FEI – NOVA NANO 450 | NA | Internal Funding | CSIR, Govt. of India | NA | FEI NOVA NANOSEM 450. Resolution: 1nm, Acceleratiting Voltage: 1kV - 30kV. High resolution imaging and surface morphology at nanometer scale in High Vacuum and Low Vacuum mode. EDX ( Energy Dispersive X-ray Spectroscopy) analysis and elemental mapping. | Centre for Material Characterisation | Microscopy Facility | 292 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Selvaraj Kaliaperumal k.selvaraj.ncl@csir.res.in Mr. Ramakrishna Gholap rs.gholap.ncl@csir.res.in | FESEM+EDX+Mapping 12000 FESEM+EDX 9000 FESEM 7000
High Resolution Transmission Electron Microscope HRTEM JEOL JEM F200 | HRTEM | Ground Floor, Centre for Material Characterisation | NA | JEOL JEM F200 | NA | Internal Funding | CSIR, Govt. of India | NA | JEOL JEM F200 HRTEM. Rsolution : 0.19 nm, Accelerating Voltage : 20kV-200kV. High resolution imaging with Bright Field Detector, Dark Field Detector, Electron Diffraction, EDX ( Energy Dispersive X-ray Spectroscopy) analysis and elemental mapping. Normal STEM(Scanning Transmission Electron Microscopy) imaging with HAADF Detector, Bright Field Detector, Dark Field Detector and HRSTEM analysis with elemental mapping. | Centre for Material Characterisation | Microscopy Facility | 655 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Selvaraj Kaliaperumal k.selvaraj.ncl@csir.res.in Mr. Ramakrishna Gholap rs.gholap.ncl@csir.res.in | HRSTEM+Mapping 25000 Normal STEM Imaging (HAADF Detector+Bright Field Detector+Dark Field Detector) 20000 HRTEM+EDX 17000 HRTEM (Bright Field Detector+Dark Field Detector+Electron Diffraction) 15000
Transmission Electron Microscope TEM FEI Tecnai T20 ST | TEM | 1719, Ground Floor, Centre for Material Characterisation | NA | FEI – Tecnai T20 ST | NA | Internal Funding | CSIR, Govt. of India | NA | FEI Tecnai 20 ST TEM. Resoluton : 0.24 nm, Accelerating Voltage : 20kV - 200kV. Imaging at nanometer scale with Electron Diffraction and EDX ( Energy Dispersive X-ray Spectroscopy) analysis. | Centre for Material Characterisation | Microscopy Facility | 406 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Selvaraj Kaliaperumal k.selvaraj.ncl@csir.res.in Mr. Ramakrishna Gholap rs.gholap.ncl@csir.res.in | TEM+EDX 12000 TEM 10000
710 Confocal Microscope Carl Zeiss | 710 Confocal Microscope | J110, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Carl Zeiss | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Microscopy Facility | 120 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | Confocal Microscopy 10000
Fluorescence Microscope Zeiss | Fluorescence Microscope | 948, 1st Floor, Polymer Science and Engineering | Zeiss | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Microscopy Facility | 58 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresha Ranganath pr.suresha.ncl@csir.res.in | Fluorescence Imaging 7500
Atomic Force Microscope AFM | AFM | 1715, Ground Floor, Center for Materials Characterization | CS Instrument | S-SPM-00001 | NA | Internal Funding | CSIR, Govt. of India | NA | AFM Nano observer System is low noise compact sample scanning SPM. It operates both contact and dynamic modes including: Contact mode/Friction (lateral force), Oscillating mode (tapping ). It also include Resiscope module for quantitative Resistance/Current measurement Advanced Electrical Measurements: HD-KFM: Double lock in extension ( includes MFM/EFM and HD KFM) Option for Magnetic field, electric field and high definition KFM | Centre for Material Characterisation | Microscopy Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | STM SThM Kelvin Probe (KPFM) Magnetic (MFM) Electric (EFM) Piezo Responsive (PFM) Conductive (CFM) Tapping Mode Contact Mode
Smartlab X ray diffraction XRD Rigaku | XRD | 908, Ground Floor, Polymer Science and engineering | Rigaku Corporation Japan | SmartLab | NA | Internal Funding | CSIR, Govt. of India | NA | Wide-angle X-ray diffractometer equipped with 9 kW rotating anode | Polymer Science And Engineering | X-ray Facility (PXRD) | 150 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | Powder X-ray diffraction (Regular scan) (15 min) 2000 Powder X-ray diffraction (Regular scan) high end machine (15 min scan) 3000 Powder X-ray diffraction (Regular scan) high end machine (30 min scan) 5000 Powder X-ray diffraction (Regular scan) - 2D scan 5000 Powder X-ray diffraction – 1 hour scan 6000 Powder XRD-HT 10000
Empyrean Malvern Panalytical | Empyrean | 137, Ground Floor, Main Building | Malvern Panalytical | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | X-ray Facility (PXRD) | 120 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Raja Thirumalaiswamy t.raja.ncl@csir.res.in | Powder X-ray diffraction (Regular scan) (15 min) (maximum 4 samples will be accepted) 2000 Powder X-ray diffraction (Regular scan) high end machine (30 min scan) (maximum 3 samples will be accepted) 5000
X Pert PRO Powder XRD PANalytical | PXRD | 1712, Ground Floor, Center for Materials Characterization | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | X-ray Facility (PXRD) | 100 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in Dr. Waichal Rupali rp.waichal.ncl@csir.res.in | PXRD Slow Scan (30 mins) Regular PXRD Scan (15 mins)
Desktop PXRD Miniflex 600 Rigaku | PXRD | 166, Ground Floor, Main Building | Rigaku | Mniflex 600 | NA | Internal Funding | CSIR, Govt. of India | NA | Phase and structure identification, Approx composition, size, crystallinity etc. AAS, XRD, IT,electronics repair and maintaience etc | Catalysis And Inorganic Chemistry | X-ray Facility (PXRD) | 14 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Tejas Gaydhankar tr.gaydhankar.ncl@csir.res.in | Powder X-ray diffraction (Slow Scan) 6000 Powder X-ray diffraction (Regular Scan) 2000
D8 Venture Dual Micro focus Source Bruker | SCXRD | 1705, Ground Floor, Center for Materials Characterization | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Bruker D8 Venture (Cu and Mo Radiation Source). Installed in June 2016. Radiation Source: Micro focus IµS 3.0 radiation source have up to twice the intensity of conventional X-ray microfocus sources. It is completely air cooled and consumes low power. The X-ray tube lifetime is very good. Detector: PHOTON II detector with CPAD technology Software: APEX4 - the most comprehensive software suite for chemical crystallography OXFORD Liq. N2 Cryosystem: Temperature Range 80K - 500K. (1) Data collection on tiny (micron size) crystals (2) Variable Temperature X-ray Intensity Measurement (3) Fast data collection (4) Absolute configuration determination (5)Expertise in Structure solution and refinement of high disorder and twinned crystals (6) Three-dimensional structure determination of organic, inorganic, metal cluster, pharmaceutical compounds (7) Polymorph identification and structural studies (8) X-ray charge density studies (9) Variable Temperature (90 K- 500 K-Powder XRD). | Centre for Material Characterisation | X-ray Facility (Single Crystal XRD) | 350 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | Structure Interpretation and Report (Authorship is mandatory) 5000 Single Crystal Development 5000-10000/- (Depending on the trials attempted) Structure Solution and Refinement (Authorship is mandatory) 15000-30000/- (Depending on the complexity) For unit cell measurements 5000 Sample Data collection 5000
Super Nova Rigaku | SCXRD | 1716, Ground Floor, Center for Materials Characterization | Rigaku | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | X-ray Facility (Single Crystal XRD) | 100 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | Single crystals development by crystallization 5,000-10,000/sample depending on the number of crystallization trials Single-crystal XRD (Small molecule) 5000 Single-crystal XRD (Small molecule) (Phase identification by unit cell measurement) 5000 Single-crystal XRD (Crystal structure determination/analysis) (Small molecule) 15,000-30,000/sample depending on the complexity and disorder modelling Crystal structure interpretation and report 5000 VT-PXRD using Single Crystal XRD instrument 3000 VT-SCXRD (90 K – 500 K) 5000 Single crystal XRD (macromolecule) 5000 Crystal structure analysis of protein crystals (Contact us)
SMART APEX Bruker | SCXRD | 1703, Ground Floor, Center for Materials Characterization | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | X-ray Facility (Single Crystal XRD) | 120 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | Single crystals development by crystallization 5,000-10,000/sample depending on the number of crystallization trials Single-crystal XRD (Small molecule) 5000 Single-crystal XRD (Small molecule) (Phase identification by unit cell measurement) 5000 Single-crystal XRD (Crystal structure determination/analysis) (Small molecule) 15,000-30,000/sample depending on the complexity and disorder modelling Crystal structure interpretation and report 5000 VT-PXRD using Single Crystal XRD instrument 3000 VT-SCXRD (90 K – 500 K) 5000 Single crystal XRD (macromolecule) 5000 Crystal structure analysis of protein crystals (Contact us)
XtaLAB Synergy R Rigaku | SCXRD | 1833, Ground Floor, Biochemical Sciences | Rigaku | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Sciences Division | X-ray Facility (Single Crystal XRD) | 584 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Kiran Kulkarni ka.kulkarni.ncl@csir.res.in | NA
1260 HPLC Agilent | HPLC | KG Lab, Ground Floor, Kilo Lab | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 15 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mane Prashant pk.mane.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
Prominence I Series LC2030C 3D PLUS HPLC Shimadzu | HPLC | KG Lab, Ground Floor, Kilo Lab | Shimadzu | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Prominence i-Series LC2030C 3D PLUS High Performance Liquid Chromatography (Shimadzu). Qualitative and quantitative analysis of the compounds including Organic acids, Chemicals and solvents, Simple aromatic hydrocarbons, Thermally unstable or Non-volatile compounds, Pharmaceutically active drugs, Dyes and their intermediates, Simple amines, Oil samples, Amino acids, Molecules of biological origin (Like lipids and carbohydrates), Compounds in food and beverages, Petroleum products, Pharma and Agro intermediates, Detergents, Insecticides, Pesticides and Sugars. Photo-Diode Array Detector, Auto-Sampler, Column Oven -12 to 900C | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mane Prashant pk.mane.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 3000 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
HPLC Waters | HPLC | KG Lab, Ground Floor, Kilo Lab | Waters | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 36 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Dhiman Sarkar (Retired) d.sarkar.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
HPLC Waters | HPLC | 1723, 1st Floor, Center for Materials Characterization | Waters | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 36 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
Prep HPLC Agilent | HPLC | 220, Ground Floor, Main building(East annex) | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 29 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Udaya Kiran Marelli m.udayakiran.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
HPLC Waters alliance | HPLC | 1852, 1st Floor, Biochemical Sciences Division | Waters alliance | NA | NA | Internal Funding | CSIR, Govt. of India | NA | WATERS HPLC SYSTEM COMPRISING OF M2690XE ALLIANCE SEPARATION MODULE WITH THE SPARES S.NO.C995M4266M GRADIENT PUMP,AUTOSAMPLER,SEAL WA HVACUUM DEGASSER,SAMPLE HEATER COOLER,DUAL PISTON DRIVEN BY TWO INDEPENDENT SYNCHRONIZED MOTORS. SYN CHRONIZED DUAL PRESSURE | Biochemical Sciences Division | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 36 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Snehal More sv.more.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
Gas Chromatography 7890B GC Agilent Technologies | GC | KG LAB, Ground Floor, Kilo Lab | Agilent Technologies | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Agilent 7890 B GC Method development for organic compounds, Organic impurity profile, qualitative as well as quantitative analysis, pharmaceuticals drugs, pesticides, essential oil, fatty acid methyl ester etc. Analysis of samples having mol. Wt. upto 500. Non-polar or volatile compounds. | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | 40 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SP Borikar sp.borikar.ncl@csir.res.in | Gas Chromatography (GC) 1000
Ultra Performance Liquide Chromathography UPLC Shimadzu UV Detector and Fluroscent Detector | UPLC | 1720, 1st Floor, Centre for Material Characterisation | Shimadzu | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Ultra Performance Liquide Chromathography (Shimadzu) UV Detector and Fluroscent Detector, 2023. Detection and quantification of components of complex mixture. Detection and quantification of components of complex mixture. Qualitative and Quantitative Analysis: Mycotoxins: Aflatoxin B1, Aflatoxin M1, Ochratoxin A, Deoxynivalenol, Nivalenol, Zearalenone, T2 toxin, Fumonisin B1, Patulin, Citrinin, Pesticides, Antibiotics, Steroids, Preservatives, Antioxidants, Phytochemicals, Milk Adulterant. | Centre for Material Characterisation | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Vamkudoth Rao v.koteswara.ncl@csir.res.in | UPLC 5000
HPLC HITACHI with RI Detector L 2490 | HPLC | 1852, 1st Floor, Biochemical Sciences | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | HPLC SYSTEM KODEL LACH ROME ELITE CONSISTING OF--- RS 1023000/= L-2130 HTA [I,[ -1NO, SPECIFICATION FLOW ACCURACY +/-2 ul 0.01 T 0.10ml CONVENTIONAL LOW PRESSURE GRADIENT - 1NO ORGANIZER WITH POWER SUPPLY - 1NO DEGASSER NO. OF FLOW PATH - 4NO MAX FLOW RAT L2490 REFRACTIVE INDEX DETECTOR METHOD OF DETECTOR DEFLECTION LIGHT SOURCE TUNGSTEN LAMP REFRACTIVE INDEX RANGE,LINEARITY RANGE,BASE- LINE NOISE,TEMP.CONTROL,EXTERNAL INPUT AUTO ZERO, MAKER,PURGE BASELINE ADJUSTMENT FULL AUTO ZERO-1N 2)L2350 COLUMN OVEN. | Biochemical Sciences Division | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Snehal More sv.more.ncl@csir.res.in | HPLC (UV, UV-RI detector) 1000 HPLC (Quaternary Pump System) Quantification 1500 Per sample (for binary sys. For 30 min run) (Depend on sol sys. and run time)
JAI HPLC with UPS LaboACE LC7080 Plus Series Make Japan Analytical Industry Co Ltd | HPLC | Ground Floor, Kilo Lab | Japan Analytical Industry Co. Ltd. | LaboACE LC-7080 Plus Series | NA | Internal Funding | CSIR, Govt. of India | NA | 1. Data acquisition software: JAI Scan with auto peak detection and RT prediction 2. Detectors: a) UV (fixed at 254 nm plus variable 4 channel from 200 nm to 800 nm b) RI 1.00 – 1.75 3. Single injection volume: 10 mL 4. Purification temperature window: +10 to +70° C 5. Method of sample loading: Liquid sample loading. Reverse phase and normal phase preparative HPLC | Organic Chemistry | Chromatography Facilities (HPLC, GC-MS, GC-LCMS) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Udaya Kiran Marelli m.udayakiran.ncl@csir.res.in | JAIGEL-2HR-40 JAIGEL-2.5HR-40 JAIGEL-3HR-40 JAIGEL-ODS-BP-L-SP-120-10 JAIGEL-ODS-AP-L-SP-120-1 Chiral column
Surface plasmon resonance protein interaction analysis system GE | NA | Special Appartus Room - Dr. Siddharth Bhosale, 1st Floor, Biochemical Sciences | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Sciences Division | Biochemical Characterization Facility | 61 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ashok Giri ap.giri.ncl@csir.res.in | NA
Genetic analyzer Sanger sequencing Thermo | NA | 42, Basement, Main Building | Thermo | NA | NA | Internal Funding | CSIR, Govt. of India | NA | The 3500xl genetic analyzer is a fluorescence-based utilizing capillary electrophoresis for DNA sequencing and fragment analysis. The 3500xl system uses a 24-capillary array and single-line 505 nm, solid-state long-life laser for significantly improved signal uniformity. Integrated software for instrument control, data collection, quality control, and auto-analysis of sample files for base calling and fragment sizing. Average throughput using POP7 and 50 cm array is 264 samples per day for sequ. Microbiology and Biotechnology Specifically designed to support sanger sequencing. | National Collection of Industrial Micro-Organisms | Biochemical Characterization Facility | 110 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Mahesh Dharne ms.dharne.ncl@csir.res.in,ncim.ncl@csir.res.in | Cycle sequenced ready to run samples 600 bases (only for 1000 samples and above) 300 Sequencing of purified PCR product/cloned plasmid DNA (~1200 bases) 2500 Sequencing of purified PCR product/cloned plasmid DNA (~600 bases) 1400 Sequencing of non-purified PCR product(~1200 bases) 3800 Sequencing of pure culture by 16S/ITS/18S/D1-D2 (~600 bases) 3200 Sequencing of pure culture by 16S/18S/other (~1200 bases) 4400 Sequencing of non-purified PCR product(~600 bases) 2497
VITEK 2 compact Biomeriux | NA | 33, Basement, Main Building | Biomeriux | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Compact, automated ID/AST instrument The compact solution for fast, accurate ID/AST testing with expert confidence Space-saving, automated & efficient Works with VITEK® 2 PC LIS-compatible software that evolves with microbiology needs Reduces hands-on time for enhanced workflow & rapid reporting, 2016. Microbiology and Biotechnology Capabilities: The efficiency of the VITEK® 2 COMPACT instrument and VITEK® 2 PC software offers the capacity to help through reliable microbial identification (ID) and antibiotic susceptibility testing (AST). | National Collection of Industrial Micro-Organisms | Biochemical Characterization Facility | 42 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Syed Dastager sg.dastager.ncl@csir.res.in,ncim.ncl@csir.res.in | Identification by VITEK-2 compact 1500
VITEK MS Biomeriux | NA | 33, Basement, Main Building | Biomeriux | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Compact, automated ID/AST instrument The compact solution for fast, accurate ID/AST testing with expert confidence Space-saving, automated & efficient Works with VITEK® 2 PC LIS-compatible software that evolves with microbiology needs Reduces hands-on time for enhanced workflow & rapid reporting, 2016. Microbiology and Biotechnology. Capabilities: The efficiency of the VITEK® 2 COMPACT instrument and VITEK® 2 PC software offers the capacity to help through reliable microbial identification (ID) and antibiotic susceptibility testing (AST). | National Collection of Industrial Micro-Organisms | Biochemical Characterization Facility | 150 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Syed Dastager sg.dastager.ncl@csir.res.in,ncim.ncl@csir.res.in | VITEK-MS 3000
TGA | TGA | F109, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (TGA/STA) | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Kadhiravan Shanmuganathan k.shanmuganathan.ncl@csir.res.in | TGA 3000
TGAQ 5000 | TGA | J118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (TGA/STA) | 20 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in | TGA 3000
TGA 550 | TGA | F109, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (TGA/STA) | 31 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Mrs. Poorvi Purohit pm.purohit.ncl@csir.res.in | TGA 3000
SDT Q600 | SDT | H118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (TGA/STA) | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Sreekumar Kurungot k.sreekumar.ncl@csir.res.in | NA
STA 6000 | STA | J118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (TGA/STA) | 30 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in | NA
STA MS | STA MS | 139, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Thermal Facility (TGA/STA) | 50 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Raja Thirumalaiswamy t.raja.ncl@csir.res.in | STA MS 3000
TG DTA | TG/DTA | 236, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Thermal Facility (TGA/STA) | 120 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Pankaj Poddar p.poddar.ncl@csir.res.in | TG/DTA 3000
Diamond TG DTA | TG/DTA | 139, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Thermal Facility (TGA/STA) | 39 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ratnesh Jha rk.jha.ncl@csir.res.in | TG/DTA 3000
Raman Spectrometer Horiba LabRAM HR800 | Raman | 1704, Ground Floor, CMC (Center for Materials Characterization) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Excitation : He-Ne Laser (632.8 nm, 20 mW), Spectral Range : 50 - 4000 cm-1, Spectral Resolution : 0.35 cm-1/pixel, mirror-based reflective optics, white light illumination in reflection and transmission modes, XY motorized stage with 0.1 micrometer step-size, Linkam stage for temperature-dependent measurements (77 - 800 K). Carbon Nanotechnology - Materials Synthesis and Processing, Raman Spectroscopy. Studies of structural properties, structural disorders/defects, effects of physical and chemical stresses, etc. | Physical And Materials Chemistry | Spectroscopic Facility (FTIR and Raman) | 39 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in Dr. Rupali Waichal rp.waichal.ncl@csir.res.in | Raman Analysis (Room Temperature Normal Scan) 3000 Raman Analysis (Room Temperature Slow Scan) 5000 Raman Analysis (Low Temperature Normal Scan) 5000 Raman Analysis (Low Temperature Slow Scan) 8000
FTIR coupled with Raman | FTIR Raman | 154, Ground Floor, Main Building | Thermo Fisher | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Spectroscopic Facility (FTIR and Raman) | 39 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Raja Thirumalaiswamy t.raja.ncl@csir.res.in | FTIR 1000
FTIR Nicolet Nexus 870 with mid IR FAR IR and Near IR | FTIR | 135, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Spectroscopic Facility (FTIR and Raman) | 39 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Shubhangi Umbarkar sb.umbarkar.ncl@csir.res.in | FTIR 1000
FTIR | FTIR | 908, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Spectroscopic Facility (FTIR and Raman) | 30 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Mrs. Poorvi Purohit pm.purohit.ncl@csir.res.in | FTIR 1000
FTIR with Diamond ATR | FTIR | J-116, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Bruker Tensor II FT-IR spectrometer ATR with Diamond Crystal Chemical identification | Polymer Science And Engineering | Spectroscopic Facility (FTIR and Raman) | 20 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Mrs. Poorvi Purohit pm.purohit.ncl@csir.res.in | FTIR 1000
FTIR Terahertz Bruker | FTIR | 1728, 1st Floor, CMC (Center for Materials Characterization) | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Spectroscopic Facility (FTIR and Raman) | 42 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Sayan Bagchi s.bagchi.ncl@csir.res.in | FTIR 1000
IndiRAM 500 C RRaman Spectrometeraman Spectrometer | Raman Spectrometer | 1715, Ground Floor, Center for Materials Characterization | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | TechnoS IndiRAM CTR 500C Micro Raman Spectrometer. Excitation : Diode Laser : 532 nm, 100 mW , Spectral Resolution : 0.5 cm-1/pixel, mirror-based reflective optics, CCD Detector: Back Illuminated CCD with 2000x256 pixcels Motorized XY stage with controller, auto Focus Z stage. Chemical structure and identity structural disorders/defects Phase and polymorphism Intrinsic stress/strain Contamination and impurity. | Centre for Material Characterisation | Spectroscopic Facility (FTIR and Raman) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | Normal Scan Temperature dependent Raman Spectroscopy Mapping
DSC880 Mettler Toledo | DSC | 1703, Ground Floor, CMC (Center for Materials Characterization) | Mettler Toledo | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Capabilities : -50 to 450 Deg. C | Centre for Material Characterisation | Thermal Facility (DSC) | 20 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | DSC 3000
DSC Q100 Waters | DSC | 906, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Waters | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (DSC) | 35 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Trimukhe Kalpana (Retired) kd.trimukhe@ncl.res.in | DSC 3000
DSC250 with Photo-calorimeter Waters | DSC | F109, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Waters | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Thermal Facility (DSC) | 57 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Asha SK sk.asha.ncl@csir.res.in | DSC 3000
Pyris 6 DSC Perkin Elmer | DSC | 139, Ground Floor, Main Building | Perkin Elmer | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Thermal Facility (DSC) | 20 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ratnesh Jha rk.jha.ncl@csir.res.in | DSC 3000
mDSC Waters | DSC | J118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Waters | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Thermal Facility (DSC) | 20 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Pankaj Poddar p.poddar.ncl@csir.res.in | DSC 3000
UV ViS NIR absorption spectrometer | UV-ViS-NIR | B44, Basement, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Absorbance, transmission and refletance of solution and thin films. | Physical And Materials Chemistry | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 27 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in | UV-ViS-NIR Absorption (Liquid) 2500 UV-ViS-NIR Absorption (Solid) 5000
ViS NIR Photo Luminescence Spectromete | ViS-NIR | B44, Basement, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 60 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in | ViS-NIR Emission
Fluorolog3 Model Fl3 22 SPEX | NA | D116, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | Fl3- 22 SPEX | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 27 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Asha SK sk.asha.ncl@csir.res.in | NA
Spectra Max M5e Multi Detection Reader Spectrmax Spectrophotometer | NA | B12, Basement, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 55 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Dhiman Sarkar (Retired) d.sarkar.ncl@csir.res.in | NA
UV Vis | UV-Vis | 1723, Ground Floor, CMC (Center for Materials Characterization) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 10 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Gonnade rg.gonnade.ncl@csir.res.in | UV-Vis (liquid) 1000 UV-Vis (Solid) 3000
Photoluminiscence | Photoluminiscence | 115, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 65 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Chinnakonda Gopinath (Retied) cs.gopinath.ncl@csir.res.in Dr. Avishek Saha avi.saha.ncl@csir.res.in | UV-Vis Emission
Jasco J815 CD spectropolarimeter | CD spectropolarimeter | 232, 2nd Floor, Main Building | Jasco | J-815 | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Organic Chemistry | Spectroscopic Facility (UV-Vis, NIR & Fluorescence Spectrometer) | 64 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Moneesha Fernandes m.dcosta.ncl@csir.res.in | NA
Inductively Coupled Plasma Optical Emission spectroscopy (ICP OES) | ICP-OES | Cata HP- High Pressure Lab 1208, Ground Floor, High Pressure Laboratory | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Elemental Analysis (CHN, AAS & ICP-OES) | 100 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Mrs. Sheetal Khare sa.khare.ncl@csir.res.in | ICP-OES 4,000/sample (Upto 4 elements) + 500 extra for each element
Atomic Absorption Spectroscopy ppb level | AAS | 806, Ground Floor, Chemical Engineering | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Elemental Analysis (CHN, AAS & ICP-OES) | 40 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Amol Kulkarni aa.kulkarni.ncl@csir.res.in | AAS 1500
CHNS Micro Analysis Thermo Finnigan EA 1112 | CHNS | KG Lab, Ground Floor, Kilo Lab | Thermo Finnigan | EA 1112 | NA | Internal Funding | CSIR, Govt. of India | NA | Thermo Finnigan Flash EA 1112A series. For detection of elements like Carbon, Nitrogen, Hydrogen, Sulfur from solid samples by flash combustion method. Quantitative determination of percentage of carbon, hydrogen, nitrogen and sulfur from organic and inorganic samples. | Organic Chemistry | Elemental Analysis (CHN, AAS & ICP-OES) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SP Borikar sp.borikar.ncl@csir.res.in | Carbon 300 Hydrogen 300 Nitrogen 600 Sulphur 600
DLS Particle Size and Zeta Potential Analyzer | DLS, Zeta | J109, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Brookhaven Instruments | ZetaPALS | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Particle Size Analyzer | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | Zeta Potential Analysis 5000 Particle Size Analysis 5000
3D Dynamic Light Scattering | DLS | J109, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | LS Instruments, Fribourg, Switzerland | 3D DLS | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Particle Size Analyzer | 80 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresh Bhat sk.bhat.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | SLS 10000
Dynamic Light Scattering | DLS | D116, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Particle Size Analyzer | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Asha SK sk.asha.ncl@csir.res.in | NA
Dynamic Light Scattering Instrument Zetasizer Nano ZS90 | Zetasizer | D116, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Malvern | Zetasizer Nano ZS90 | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Particle Size Analyzer | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Asha SK sk.asha.ncl@csir.res.in | Zeta Potential Analyzer 5000 Particle Size Analyzer 5000
ZSU5800 Zetasizer Pro | Zetasizer | 1900, 2nd Floor, Biochemical Sciences | Malvern | ZSU5800 | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Biochemical Sciences Division | Particle Size Analyzer | 37.5 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Bhushan Chaudhari bp.chaudhari.ncl@csir.res.in | Particle Size Analyzer 5000
CPS Particle size analyzer | Particle size | 531-PP1, Ground Floor, Chemical Engineering & Process Development | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Particle Size Analyzer | 45 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Amol Kulkarni aa.kulkarni.ncl@csir.res.in | Particle Size Analyzer 5000
BET Surface Area Analyzer Quanta Chrome | BET | F-107, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Surface Area Analyser (BET & Sorption) | 45 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Shelke Manjusha mv.shelke.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000
BET Surface Area Analyzer Quanta Chrome | BET | D-111, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Surface Area Analyser (BET & Sorption) | 26 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SHATABDI MUKHERJEE sp.mukherjee.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
BET Surface Area Analyzer Quanta Chrome | BET | D-106, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Surface Area Analyser (BET & Sorption) | 29 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SHATABDI MUKHERJEE sp.mukherjee.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
BET Surface Area Analyzer Quanta Chrome | BET | D-111, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Surface Area Analyser (BET & Sorption) | 29 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SHATABDI MUKHERJEE sp.mukherjee.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
High Pressure Gas Sorption Analyzer Quanta Chrome | NA | D-106, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Surface Area Analyser (BET & Sorption) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. SHATABDI MUKHERJEE sp.mukherjee.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
Quadrasorb for Physisorption Quanta Chrome | NA | 139, Ground Floor, Main Building | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (BET & Sorption) | 30 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ratnesh Jha rk.jha.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
Autosorb iQ for Physisorption and Chemisorption Quanta Chrome | NA | 139, Ground Floor, Main Building | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (BET & Sorption) | 40 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ratnesh Jha rk.jha.ncl@csir.res.in | Sorption (Surface Area) Measurement
Autosorb iQ for Physisorption and Chemisorption Quanta Chrome | NA | 139, Ground Floor, Main Building | Quanta Chrome | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (BET & Sorption) | 40 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Ratnesh Jha rk.jha.ncl@csir.res.in | Surface area: Total analysis (as per user requirement) 8000 Surface area (only BET, degassing, He/N, or as per users requirement before analysis) 6000 Surface Area (only BET, degassing 120 deg/2h before analysis) 4000
Low-pressure and High-Pressure Mercury porosity meter Microtrac | Mercury porosity meter | B3, Basement, Main Building | Microtrac BELPORE | Belpore LP S/N – P223271101 P/N – 750-00010000 Belpore HP S/N - P223220901 P/N - 750-00030000 | NA | Internal Funding | CSIR, Govt. of India | NA | The BELPORE mercury porosimeter series for low-pressure (LP), medium-pressure (MP), and high-pressure (HP) reliably and reproducibly measures pore diameters from 1mm to 3.6nm. Fully automatic vertical filling under constantly high vacuum • Pressure range LP: Vacuum up to 450 Kpa, Pressure range HP: 0.1 to 414 MPa • Pore size diameter LP: 1000 µm to 3.25 µm); HP: 15 µm to 0.0036 µm • Particle size diameter LP: 330 µm to 15 µm, Particle size diameter HP: 40 µm - 0.01 µm • Max. detectable volume LP: 0.5 cm3-2 cm3 , Max. detectable volume HP: 0.5 cm3. | Physical And Materials Chemistry | Surface Area Analyser (BET & Sorption) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajesh Kanawade rv.kanawade.ncl@csir.res.in | Pore size diameter (LP: 1000 µm to 3.25 µm); HP: 15 µm to 0.0036 µm) Particle size diameter (LP: 330 µm to 15 µm, HP: 40 µm - 0.01 µm)
Flow Cytometer BD Accuri C6 | NA | 948, 1st Floor, Polymer Science and Engineering | BD Accuri C6 | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Unique Facilities | 31 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresha Ranganath pr.suresha.ncl@csir.res.in | Cell Cyto-meter 5000
Resistance Tomography | NA | PP1-515, Ground Floor, Chemical Engineering & Process Development | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Unique Facilities | 130 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Amol Kulkarni aa.kulkarni.ncl@csir.res.in | NA
Capacitance Tomography | NA | PP1-515, Ground Floor, Chemical Engineering & Process Development | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Unique Facilities | 130 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Amol Kulkarni aa.kulkarni.ncl@csir.res.in | NA
Robolector Pro Microbioreactor system | NA | 729, 1st Floor, Chemical Engineering & Process Development | Microbioreactor system | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Chemical Engineering & Process Development | Unique Facilities | 250 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Anu Raghunathan anu.raghunathan.ncl@csir.res.in | NA
2D IR Coherent | 2D IR | 1733, 1st Floor, CMC (Center for Materials Characterization) | Coherent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Unique Facilities | 37.5 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Sayan Bagchi s.bagchi.ncl@csir.res.in | NA
X ray Photo Spectrometer XPS ESCA | XPS | 1702, Ground Floor, CMC (Center for Materials Characterization) | Thermo Fisher Scientific | K ALPHA | NA | Internal Funding | CSIR, Govt. of India | NA | X_ray Photo Spectrometer and UPS Model- K ALPHA + Make- M/s Thermo Fisher Scientific Instruments UK Vacuum details- a) load lock chamber(Sample loading chamber)- 1.2 X 10*-8 mbar. b) Analyser chamber- 2 X 10*-9 mbar. X-Ray Source- Al K Alfa ( Monochromatic) with 6 ma beam current and 12KV. Instrument is calibrated with Ag3d 352eV Spot Size on the sample- 400 Micrometer Reference for Binding energy- C1s, 284.8eV,S/w:- Avantage Heating:- 120 degrees for bake out and 20 degrees cooling for TMP. Surface analysis (a) XPS Analysis. (b) UPS Analysis. (c) Depth profile analysis with argon sputtering. (d) Mapping and (e) Valence band measurement. X-Ray Photo-electron spectroscopy (XPS) is suitable for analysis of Metals, Bio-Materials, Oxides, Glass, Fibres, Ceramics, Nano-Materials, Powders, Plastics and Polymers. | Centre for Material Characterisation | Surface Area Analyser (XPS & Profilometer) | 300 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Vinod C Prabhakaran cp.vinod.ncl@csir.res.in | ESCA (under near-ambient conditions) 6000 XPS + Depth Profiling 15000 Per hour (+ 6,000/additional) Per Sample XPS + Mapping 15000 XPS+ data analysis (Peak fitting, composition analysis) 15000 Normal XPS+UPS 14000 Normal UPS 9000 Normal XPS 6000
Surface Profilometer | NA | 115, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (XPS & Profilometer) | 26 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Vinod C Prabhakaran cp.vinod.ncl@csir.res.in | NA
Spectroscopic Ellispoemter | NA | 236, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (XPS & Profilometer) | 55 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Pankaj Poddar p.poddar.ncl@csir.res.in | NA
Near ambient pressure photoelectron spectrometer | NA | 115, Ground Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (XPS & Profilometer) | 545 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Vinod C Prabhakaran cp.vinod.ncl@csir.res.in | NA
Molecular Beam IR Integrated Instrument | NA | 296, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Catalysis And Inorganic Chemistry | Surface Area Analyser (XPS & Profilometer) | 150 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Vinod C Prabhakaran cp.vinod.ncl@csir.res.in
Thermal Evaporator Hind HiVac | NA | B44, Basement, Main Building | Hind HiVac | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Miscellaneous | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in | 5000 per deposition (depends on the deposition thickness)
RF and DC sputtering machine LS Instruments | NA | B44, Basement, Main Building | LS-Instruments | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Miscellaneous | 38 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in | (*depends on the deposition
Pulsed Laser Deposition System PLD Excel Mumbai | PLD | B5, Basement, Main Building | Excel Mumbai | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Miscellaneous | 70 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in Dr. Kirandeep Singh kp.singh.ncl@csir.res.in | thickness
DC FC magnetron sputtering system with load lock and 03 cathodes top-down geometry Advanced Process Tech | NA | 299, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Miscellaneous | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in Dr. Kirandeep Singh kp.singh.ncl@csir.res.in | Test
DC RF Magnetron system with 02 cathodes bottom-up geometry Excel Mumbai | NA | 299, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Physical And Materials Chemistry | Miscellaneous | #N/A | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arup Kumar ak.rath.ncl@csir.res.in Dr. Kirandeep Singh kp.singh.ncl@csir.res.in | NA
Cryo Mill | NA | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Miscellaneous | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresha Rangnath pr.suresha.ncl@csir.res.in | Cryo mill 3000 for 10g sample
Universal Testing Machine 1 kN UTM | UTM | 931, 1st Floor, Polymer Science And Engineering | Instron, USA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Polymer Science And Engineering | Miscellaneous | 25 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arun Torris t.arun.ncl@csir.res.in | Universal Testing Machine 1 kN 3000
Dynamic Mechanical Analyzer (DMA) | DMA | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | TA Instruments | NA | NA | Internal Funding | CSIR, Govt. of India | NA | DMA, Model ARES-G2, Make TA Instruments Inc USA. Measurement of visco-elastic properties and thermal transitions of polymers. | Polymer Science And Engineering | Miscellaneous | 150 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Harsh Pol hv.pol.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | Dynamic Mechanical Analysis 10000
Vibrating Sample Magnetometer VSM | VSM | 1707, Ground Floor, CMC (Center for Materials Characterization) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Magnetic Measurement Equipment | 200 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Kirandeep Singh kp.singh.ncl@csir.res.in | Analysis Charges (including report) 4000 SQUID (M-T)/(M-H) any special scan SQUID (M-T) normal scan; 5 -300 K; = 0.5 T 18000 VSM (M-T) normal scan; 5 -300 K; = 0.5 T 15000 SQUID (M-H) ± 6 T at any other Temp.; 5 - 300 K 14000 VSM (M-H) ± 6 T at any other Temp.; 5 - 300 K 12000 SQUID (PPMS) M-H ± 6T at RT 10000 VSM (PPMS) M-H ± 6T at RT 8000 VSM (M-T) = 0.5 T 12500 VSM (M-H) ±1.5 6000
Magnetic Property Measurement System SQUID | SQUID | 1708, Ground Floor, CMC (Center for Materials Characterization) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Magnetic Measurement Equipment | 250 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Kirandeep Singh kp.singh.ncl@csir.res.in | VSM/SQUID Mode: (MT at Temp Range 5K-300K) & (MH at Field Range ± 6 T) Temp Range: 5K & 300K SQUID (M-T) Normal Scan; 5 -300 K VSM Mode (M-T) Normal Scan; 5 -300 K SQUID Mode (M-H) ±6 T at Temp: 5K & 300K VSM Mode (M-H) ±6 T at Temp: 5K & 300K
Physical property measurement system PPMS | PPMS | 236, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Magnetic Measurement Equipment | 250 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Pankaj Poddar p.poddar.ncl@csir.res.in | MPMS
Impedance Analyser | NA | 236, 1st Floor, Main Building | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Centre for Material Characterisation | Magnetic Measurement Equipment | 15 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Pankaj Poddar p.poddar.ncl@csir.res.in | Impedance Analysis 3000
3D Xray Tomography Carl Zeiss | Tomography | 908, Ground Floor, Polymer Science And Engineering | Carl Zeiss | NA | NA | Internal Funding | CSIR, Govt. of India | NA | 3D X-ray Micro-computed Tomography (Micro-CT) or X-ray Microscopy (XRM) 3D X-ray Imaging & Analysis, Measurement time is 4 hours per sample, inclusive of sample loading, image acquisition, image processing and file transfer. Non-invasive 3D Imaging and Analysis | Polymer Science And Engineering | X-Ray Facility (Tomography & XRF) | 530 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Arun Torris t.arun.ncl@csir.res.in | 3D X-ray Micro-computed Tomography (Micro-CT) or X-ray Microscopy (XRM) Rs 25000/sample for imaging + additional 5,000/sample for analysis
XRF Spectrometer | XRF | 1701, Ground Floor, CMC (Center for Materials Characterization) | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | CMC (Center for Materials Characterization) | X-Ray Facility (Tomography & XRF) | 78 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Waichal Rupali rp.waichal.ncl@csir.res.in | XRF 1500
GPC THF Waters and Viscotek | GPC | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Waters and Viscotek | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | PAML ( Polymer and Advanced Material Laboratory) | Chromatography Facilities (GPC) | 50 | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Poorvi Purohit pm.purohit.ncl@csir.res.in Dr. Suresh Bhat sk.bhat.ncl@csir.res.in | High Temp GPC 25000 GPC (CHCl3, THF) 9000 Aq. GPC 7500
GPC THF OmniSec from Malvern | GPC | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | MALVERN | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | PAML ( Polymer and Advanced Material Laboratory) | Chromatography Facilities (GPC) | #N/A | https://caf.ncl.res.in/ | Under maintainance | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Poorvi Purohit pm.purohit.ncl@csir.res.in | High Temp GPC (POLYMER CHAR) 25000
GPC High Temp G7820B 1260 Infinity II Agilent | GPC | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Agilent | 1260 Infinity II | NA | Internal Funding | CSIR, Govt. of India | NA | NA | PAML ( Polymer and Advanced Material Laboratory) | Chromatography Facilities (GPC) | 50 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Poorvi Purohit pm.purohit.ncl@csir.res.in Dr. Suresh Bhat sk.bhat.ncl@csir.res.in | High Temp GPC 25000
GPC DMF Viscotek | GPC | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Viscotek | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | PAML ( Polymer and Advanced Material Laboratory) | Chromatography Facilities (GPC) | 90 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Poorvi Purohit pm.purohit.ncl@csir.res.in | High Temp GPC 25000 GPC (DMF) 9000
GPC SEC Aquesous Agilent | GPC | 931, 1st Floor, Polymer Science And Engineering | Agilent | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Agilent instrument 1100 series with binary pump system. Determination of maolecular weight This instrument is used to determine molecular weight of polymers. | Polymer Science And Engineering | Chromatography Facilities (GPC) | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Suresha Ranganath pr.suresha.ncl@csir.res.in | Size exclusion chromatography 7500
AV 700 MHZ Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | 700 MHz NMR -Solution state (1H, 13C,31P, 15N, etc.)= ₹ 10000/sample for first one hour; ₹ 7500/- for every additional hour. 700 MHz NMR -Solid state (13C, 29Si,15N, 31P, etc.)= ₹ 20000/sample for first one hour; ₹ 7500/- for every additional hour
AV 500 MHZ Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | Solid state= ₹ 14,000/sample for 1 hour, ₹ 4,000/every additional hour. Solution state 1H= ₹ 2500/sample for first one hour; ₹ 1800/- every extra hour
AV NEO 400 MHZ Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | 300/400 MHz NMR -Solid state (13C,29Si, 31P, 15N, etc.)= ₹ 16,000/sample for 4 hours, ₹2,000/every additional hour
AV 200 Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in
AV 300 MHZ Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | Solution State (13C, 31P,15N, 29Si, etc.) = ₹ 5000/sample for first two hour; ₹ 1800/- every additional hour
AV 400 MHZ Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | 400 MHz NMR -Solution state (1H,19F)= ₹ 2000/sample for first one hour;1500/- every extra hour 400 MHz NMR -Solution state (13C, 31P,15N, 29Si, etc.)= ₹ 4000/sample for first 2 hour; ₹1500/- every additional hour
AV 500 MHZ 1 Bruker | NA | 117, Ground Floor, Main Building | Bruker | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | 13C High temperature(10mm probe)= ₹ 10000/sample for first 5 hour; ₹2000/- every additional hour
400 MHZ Jeol | NA | 117, Ground Floor, Main Building | Jeol | NA | NA | Internal Funding | CSIR, Govt. of India | NA | NA | Central NMR Facility | Central NMR Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. T G Ajithkumar tg.ajithkumar.ncl@csir.res.in | 300/400 MHz NMR -Solid state (27Al,23Na. etc.)= ₹ 10,000/per sample for 1 hour, ₹2,000/every extra hour
HEL Reaction Calorimeter RC | RC | Cubicle 8, Ground Floor, High Pressure Laboratory | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Reaction Calorimeter is widely used in chemical and pharmaceutical process development to measure the amount of thermal energy released during a chemical reaction. RC typically consists of a stirred tank reactor in which the temperature of the reaction mass is monitored and controlled accurately. Data obtained under process like conditions is used to evaluate the risk, scalability and criticality of a process & to enable safe scale-up. Process development and Process safety. Reaction Calorimeter can determine heat rate, heat of reaction, adiabatic temperature rise, maximum temperature of synthesis reaction, etc. [Charges mentioned are for reaction time of 1 to 2 hrs, and for one additon step.] | Chemical Engineering & Process Developmen | Reaction Calorimetry and Thermal Screening Unit Facility | #N/A | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajendra Kumar k.rajendra.ncl@csir.res.in | Reaction calorimeter of a non-corrosive chemical process at ambient pressure Reaction calorimeter of a non-corrosive chemical process at high pressure
Thermal Screening Unit TSU | TSU | Cubicle 8, Ground Floor, High Pressure Laboratory | NA | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Thermal Screening Unit testing makes it easy to determine the conditions of temperature, pressure and concentration at which chemicals can be safely stored and handled. TSU testing can be performed for a liquid, slurry and solid samples at 4-5 gm scale. TSU can analyse the sample till 400 °C temperature and 200 bar pressure. Process development and Process safety Thermal and pressure behavior of a chemical over a user defined temperature scan rate (0.1 to 10 °C/min). Time from exotherm to explosion. The "Onset" temperature for the reaction where the exotherm is detected. Pressure “Onset” information. Residual/non-condensable gas generation during a process. Vapor pressure. | Chemical Engineering & Process Developmen | Reaction Calorimetry and Thermal Screening Unit Facility | 120 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Rajendra Kumar k.rajendra.ncl@csir.res.in | Thermal Screening Unit
Rheometer | NA | J-118, Ground Floor, PAML ( Polymer and Advanced Material Laboratory) | Anton Paar, Austria | MCR 301 | NA | Internal Funding | CSIR, Govt. of India | NA | To measure visco-elastic properties of polymer solutions, gels, pastes and elastomers. | Polymer Science And Engineering | Miscellaneous | 65 | https://caf.ncl.res.in/ | Working | Research | NA | caf.office.ncl@csir.res.in | NA | caf.office.ncl@csir.res.in | Dr. Harsh Pol hv.pol.ncl@csir.res.in Dr. Arun Torris t.arun.ncl@csir.res.in | Rheology 7500