## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Artificial Lung Machine (Breathing Simulator) | Breathing Simulator | Mine Ventilation Laboratory | Dragger |  | 72/226 | Institute | Plan fund of Deptt. of Mining Engg. |  | The laboratory performance test of Self Rescuers | Mining Engineering | Mine Ventilation Laboratory | 43,08,000/- | https://mining.iitism.ac.in/ | Up | Characterization | NA | NA | NA | M/s. Joseph Leslie Drager |  | M/s. Joseph Leslie Drager |  | arup@iitism.ac.in
High-pressure gas adsorption isotherm system | GADIS | Methane Drainage and CBM laboratory | Vinci Technology | GADIS | 3 | Government | DST, New Delhi | Methane Drainage Prior to Mining | High-pressure gas adsorption test of powder and chunk sample of material like-Coal, Rock | Mining Engineering | Methane Drainage and CBM laboratory | 1,29,16,136/- |  | Up | Testing Equipment | NA | NA | NA | Premier agency | amitsethi@premierag.in | Premier agency | amitsethi@premierag.in | shubhamkumar96@iitism.ac.in
Thermal Property Analyzer | TPA | Methane Drainage and CBM laboratory | Hot Disk | TPS2500S | 92/296 | Government | CSIR, New Delhi |  | It is used for precision analysis of thermal transport properties of materials of solids and powders | Mining Engineering | Methane Drainage and CBM laboratory | 60,57,285/- |  | Up | Testing Equipment | NA | NA | NA | KAN-THT(India) Pvt. Ltd. | info@thtindia.com | KAN-THT(India) Pvt. Ltd. | info@india.com | arup@iitism.ac.in / shubhamkumar96@iitism.ac.in