## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Femtosecond Pulse Laser |  | MSB 338 C, Second floor | Amplitude Systems | SATSUMA HP2 |  | External | ARDB, Govt. of India |  | Femtosecond pulse laser | Mechanical Engineering | Femtosecond Pulse Laser | 24000000 | https://www.calm-iitm.com/ | Up | Characterization |  |  |  | Advanced Photonics | service@advancedphotonicsindia.com | Advanced Photonics | service@advancedphotonicsindia.com | samuelgl@iitm.ac.in
Laser Welding and Cladding |  | MSB 338 B, Second floor | IPG Photonics | YLR 2000 |  | External | Ministry of Education |  | 2kW continuous laser system for cladding and welding | Mechanical Engineering | Laser Material Processing and Characterization | 5610000 | https://www.calm-iitm.com/ | Up | Characterization |  |  |  | Meera Laser Solutions | satheesh@meeralasers.com | Meera Laser Solutions | satheesh@meeralasers.com | samuelgl@iitm.ac.in
Nanosecond Pulse Laser |  | MSB 332, Second floor | Lumibird | Q Smart 1500 |  | External | Ministry of Education |  | Pulse laser system for surface modification | Mechanical Engineering | Laser Material Processing and Characterization | 4600000 | https://www.calm-iitm.com/ | Under Maintenance | Characterization |  |  |  | Tech-Eclair Scientific Solutions Pvt Ltd | jayasurya@techeclair.com | Tech-Eclair Scientific Solutions Pvt Ltd | jayasurya@techeclair.com | samuelgl@iitm.ac.in
3D Microscope 8220X |  | MSB 332, Second floor | Olympus | DSX1000 with tilting frame |  | External | Ministry of Education |  | 3D Microscope/Profilometer | Mechanical Engineering | Laser Material Processing and Characterization | 3280000 | https://www.calm-iitm.com/ | Up | Characterization |  |  |  | IR Technology Services Pvt Ltd | srihari_g@irtech.in | IR Technology Services Pvt Ltd | srihari_g@irtech.in | samuelgl@iitm.ac.in
Thermomechanical Fatigue (TMF) Testing Machine MTS Landmark | TMF | Ground Floor,MDS, Dept of Mech Engg | MTS USA | MTS-Landmark | MTS Model 370.10 | External | DST, Govt. of India |  | Thermo-mechanical fatigue testing by using MTS Servohydraulic test setup | Mechanical Engineering | Thermo Mechanical Fatigue Testing Facility |  | http://mech.iitm.ac.in/ | Up | Characterization |  |  |  | MTS Systems Corporation USA | kv.balakrishan@mts.com | MTS Testing Solutions P Ltd Bengaluru | koushik.chakraborthy@mts.com | hariharan@iitm.ac.in
Micro Tensile Tester |  | Machine Tool Lab, Manufacturing Engineering section | Instron Singapore | 5948 | U5975 | External | DST, Govt. of India |  | High Precision Micro Tensile Testing Machine | Mechanical Engineering | Micro Mechanical Testing Facilities |  | http://mech.iitm.ac.in/ | Up | Characterization |  |  |  | Instron Singapore |  | Instron India Pvt Ltd |  | skpanigrahi@iitm.ac.in
CNC High Speed Vertical Machining Center 3 Axis |  | Machine Tool Lab, Central Workshop, Dept of Mech. Engg | Jyoti CNC India | K Mill 8 | 60017035-2016 | External | DST, Govt. of India |  | High-Speed(max 15000 rpm) 3 axis CNC Vertical machining center with Laser tool calibration | Mechanical Engineering | High Speed 3 Axis CNC Vertical Machining Center | 10673250 | http://mech.iitm.ac.in/ | Up | Characterization |  |  |  | Jyoti CNC Automation Ltd Rajkot India | info@jyoti.co.in | Jyoti CNC Automation Ltd Rajkot India | info@jyoti.co.in | sathyans@iitm.ac.in
Universal Tensile Testing Machine |  | PEIL lab, MSB, Mechanical Engineering | Zwick | 100kN |  | Internal | Institution |  | 100 kN universal tensile testing machine equipped with video extensometer | Mechanical Engineering |  | 5300000 |  | Up | Characterization |  |  |  | Zwick | shivakumar.venkatesh@zwickroell.com | Zwick |  | hariharan@iitm.ac.in
Field Emission Scanning Electron Microscope (FESEM) | FESEM | MSRC 103 | FEI | Inspect F50 | 9923827 | External | DST, Govt. of India |  | Field emission scanning electron microscope | Mechanical Engineering | FESEM |  | http://mech.iitm.ac.in/ | Up | Characterization |  |  |  | Icon Analytical Equipment Pvt Ltd | sales@iconanalytical.com | Thermo Fisher Scientific | ininfo@thermofisher.com | skpanigrahi@iitm.ac.in