## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Vibration Exciter | VE | 101 | SYSCON INSTRUMENTS PRIVATE LTD | SI-230 | 33696 | Internal Funding | Institution | 1. Parametric study of system parameters for improvement in particle damper performance. | VIBRATION EXCITER | MECH | Vibration Lab | 104500 |  | WORKING | Testing | SYSCON INSTRUMENTS PRIVATE LTD | info@syconinstruments.com | SYSCON INSTRUMENTS PRIVATE LTD | info@syconinstruments.com | principal@sknscoe.ac.in
FFT Analyser, | FFTA | 101 | WELAN TECHNOLOGIES | - | - | External Funding | Institution PAH SUS | 1. Experimental testing and analysis of thermal behavior of rolling element bearing 2. Parametric study of system parameters for improvement in particle damper performance. | FFT Analyser | MECH | Vibration Lab | 1030000 |  | WORKING | Testing | WELAN TECHNOLOGIES | info@welantechnologies.com | WELAN TECHNOLOGIES | info@welantechnologies.com | principal@sknscoe.ac.in
Trinocular Microscope | TM | 110 | SM ENGINEERS PUNE | - | - | Internal Funding | Institution |  | Trinocular Microscope | MECH | Metallurgy | 89414 |  | WORKING | Characterisation/Tesing/Analytical | SM ENGINEERS PUNE | smengine@gmail.com | SM ENGINEERS PUNE | smengine@gmail.com | principal@sknscoe.ac.in
Double disc polishing machine model double disc | DDPM | 110 | SM ENGINEERS PUNE | - | - | Internal Funding | Institution |  | Double disc polishing m0achine model double disc | MECH | Metallurgy | 52650 |  | WORKING | Testing | SM ENGINEERS PUNE | smengine@gmail.com | SM ENGINEERS PUNE | smengine@gmail.com | principal@sknscoe.ac.in
sand muller | SM | 102 | KELSON TASTING EQUIPMENTKOLHAPUR | 148 |  | Internal Funding | Institution |  | sand muller | MECH | Manufacturing Process | 24000 |  | WORKING | Fabtication | KELSON TASTING EQUIPMENTKOLHAPUR | kelsonlab@sanchaarnet.in | KELSON TASTING EQUIPMENTKOLHAPUR | kelsonlab@sanchaarnet.in | principal@sknscoe.ac.in
Sand dryer, | SD | 102 | KELSON TASTING EQUIPMENTKOLHAPUR | 294 |  | Internal Funding | Institution |  | Sand dryer | MECH | Manufacturing Process | 63000 |  | WORKING | Fabtication | KELSON TASTING EQUIPMENTKOLHAPUR | kelsonlab@sanchaarnet.in | KELSON TASTING EQUIPMENTKOLHAPUR | kelsonlab@sanchaarnet.in | principal@sknscoe.ac.in
Hot press | HP | 102 | UNIVERSAL SCIENTIFIC PVT.LTD. | - | - | External Funding | Institution PAH SUS | 1. Utilization of sugar factory industry waste in enhancing wear resistance material properties for automotive application. | Hot press machine | MECH | Manufacturing Process | 67000 |  | WORKING | Characterisation/Tesing/Analytical | UNIVERSAL SCIENTIFIC PVT.LTD. | universal6611@gmail.com | UNIVERSAL SCIENTIFIC PVT.LTD. | universal6611@gmail.com | principal@sknscoe.ac.in
milling machine | MM | 103 | ZENITH ENGG.CARP. | AMAN MODEL-1270 | - | Internal Funding | Institution |  | milling machine | MECH | Machine Shop | 311850 |  | WORKING | Fabtication | ZENITH ENGG.CARP. | info@amanmachines.com | ZENITH ENGG.CARP. | info@amanmachines.com | principal@sknscoe.ac.in
CNC lathe trainer | CNC LM | 103 | SQUARE SYSTEM | SS-PT-100 | - | Internal Funding | Institution |  | CNC lathe trainer | MECH | Machine Shop | 40000 |  | WORKING | Fabtication | SQUARE SYSTEM | squaresys@gmail.com | SQUARE SYSTEM | squaresys@gmail.com | principal@sknscoe.ac.in
Pelton wheel of 1KW capacity with 5 HP supply pump | PW | 104 | S.P.ENGINEERING PUNE | - | 641006 | Internal Funding | Institution |  | Pelton wheel of 1KW capacity with 5 HP supply pump | MECH | Fluid Machinery and Fluid Power | 213750 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Francis Turbine of 3.7 KW capacity with 15 HP supply pump, | FT | 104 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Francis Turbine of 3.7 KW capacity with 15 HP supply pump | MECH | Fluid Machinery and Fluid Power | 479750 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Combined Setup for Basic Hydraulic Trainer & Gear Pump Test Rig | CSHT | 104 | S.P.ENGINEERING PUNE | CI105A-01 | - | Internal Funding | Institution |  | Combined Setup for Basic Hydraulic Trainer & Gear Pump Test Rig | MECH | Fluid Machinery and Fluid Power | 152000 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Pneumatic Trainer Circuit (Basic) | PT | 104 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Pneumatic Trainer Circuit (Basic) | MECH | Fluid Machinery and Fluid Power | 61750 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Refrigeration Tutor | RT | 105 | Modern Refrigeration Service | E7.2RTA-301 | 13.14.08 | Internal Funding | Institution |  | Refrigeration Tutor | MECH | Refrigeration and Conditioning | 55087 |  | WORKING | Testing | Modern Refrigeration Service | alok-joshi@hotmail.com | Modern Refrigeration Service | alok-joshi@hotmail.com | principal@sknscoe.ac.in
A/C Trainer | ACT | 105 | Modern Refrigeration Service | E14.4ACA-101 | M1.OT.13.14.014 | Internal Funding | Institution |  | AC Trainer | MECH | Refrigeration and Conditioning | 61635 |  | WORKING | Testing | Modern Refrigeration Service | alok-joshi@hotmail.com | Modern Refrigeration Service | alok-joshi@hotmail.com | principal@sknscoe.ac.in
Vapour Absorption Refrigeration Tutor | VART | 105 | Modern Refrigeration Service | E4.3VA-601 | MO.1T.13.14.015 | Internal Funding | Institution |  | Vapour Absorption Refrigeration Tutor | MECH | Refrigeration and Conditioning | 46912 |  | WORKING | Testing | Modern Refrigeration Service | alok-joshi@hotmail.com | Modern Refrigeration Service | alok-joshi@hotmail.com | principal@sknscoe.ac.in
Ice Plant Trainer Conditioning | IPTC | 105 | Modern Refrigeration Service | E7.2IPA-301.30K | MO5T.13.14.012 | Internal Funding | Institution |  | Ice Plant Trainer Conditioning | MECH | Refrigeration and Conditioning | 56625 |  | WORKING | Testing | Modern Refrigeration Service | alok-joshi@hotmail.com | Modern Refrigeration Service | alok-joshi@hotmail.com | principal@sknscoe.ac.in
Bomb Calorimeter, | BC | 109 | J.P.TECHNO MASUR SATARA | 557A | 4033 | Internal Funding | Institution |  | Bomb Calorimeter | MECH | Thermodynamics | 68000 |  | WORKING | Testing | J.P.TECHNO MASUR SATARA |  | J.P.TECHNO MASUR SATARA |  | principal@sknscoe.ac.in
Steam Colorimeter | SC | 109 | J.P.TECHNO MASUR SATARA | - | - | Internal Funding | Institution |  | Steam Colorimeter | MECH | Thermodynamics | 80000 |  | WORKING | Testing | J.P.TECHNO MASUR SATARA |  | J.P.TECHNO MASUR SATARA |  | principal@sknscoe.ac.in
Computerized VCR engine setup, | CVCR | 111 | APEX INNOVATION PVT LTD | ED1 | 234-211 | Internal Funding | Institution |  | Computerized VCR engine setup | MECH | I.C. Engines | 505518 |  | WORKING | Testing | APEX INNOVATION PVT LTD | support@apexinnovations.co.in | APEX INNOVATION PVT LTD | support@apexinnovations.co.in | principal@sknscoe.ac.in
Morse Test set up | MT | 111 | APEX INNOVATION PVT LTD | PM-50 | 1303400 | Internal Funding | Institution |  | Morse Test set up | MECH | I.C. Engines | 302599 |  | WORKING | Testing | APEX INNOVATION PVT LTD | support@apexinnovations.co.in | APEX INNOVATION PVT LTD | support@apexinnovations.co.in | principal@sknscoe.ac.in
Cut section model of single cylinder Diesel engine Two stoke | CSMSDETS | 111 | MODTECH ENGINEERING | - | - | Internal Funding | Institution |  | Cut section model of single cylinder Diesel engine Two stoke | MECH | I.C. Engines | 52000 |  | WORKING | Characterisation/Tesing/Analytical | MODTECH ENGINEERING | modtechengg@vsnl.net | MODTECH ENGINEERING | modtechengg@vsnl.net | principal@sknscoe.ac.in
Working model for Demonstration of chassis cut Section of Maruti Van, | WMDCSMV | 112 | INNOVATIVE TECHNO LAB PUNE | CTEV-08 | 131/4/38/01 | Internal Funding | Institution |  | Working model for Demonstration of chassis cut Section of Maruti Van | MECH | Automobile Engineering | 116000 |  | WORKING | Characterisation/Tesing/Analytical | INNOVATIVE TECHNO LAB PUNE | info@innovativetechchnolab.in | INNOVATIVE TECHNO LAB PUNE | info@innovativetechchnolab.in | principal@sknscoe.ac.in
Cut section model of fully floating real axle, | FFRA | 112 | MODTECH ENGINEERING | - | - | Internal Funding | Institution |  | Cut section model of fully floating real axle | MECH | Automobile Engineering | 42663 |  | WORKING | Characterisation/Tesing/Analytical | MODTECH ENGINEERING | modtechengg@vsnl.net | MODTECH ENGINEERING | modtechengg@vsnl.net | principal@sknscoe.ac.in
Forced Convection Apparatus | FCA | 112 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Forced Convection Apparatus | MECH | Heat and Mass Transfer | 45600 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Heat Pipe Apparatus | HPA | 113 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Heat Pipe Apparatus | MECH | Heat and Mass Transfer | 49100 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Pin Fin Apparatus | PFA | 113 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Pin Fin Apparatus | MECH | Heat and Mass Transfer | 49400 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Critical Heat Flux Apparatus | CHHeat Flux ApparatusH | 113 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Critical Heat Flux Apparatus | MECH | Heat and Mass Transfer | 49100 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Parallel and Counter floe Heat Exchanger Apparatus | PCFHEA | 113 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Parallel and Counter floe Heat Exchanger Apparatus | MECH | Heat and Mass Transfer | 49100 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Condensation in drop film (Thurmal Conductivity of metal rod) | TSMR | 113 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Condensation in drop film | MECH | Heat and Mass Transfer | 26600 |  | WORKING | Testing | S.P.ENGINEERING PUNE | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Drawing Hall and Graphics lab | DGL | 212 & 213 | THAKUR ENTERPRISES PUNE | - | - | Internal Funding | Institution |  | Drawing Hall and Graphics lab | MECH | Drawing Hall and Graphics lab | 38160 |  | WORKING | Analytical | THAKUR ENTERPRISES PUNE | thards@rediffmail.com | THAKUR ENTERPRISES PUNE | thards@rediffmail.com | principal@sknscoe.ac.in
Universal Vibration Apparatus | UVA | 202 | S.P.ENGINEERING PUNE | - | - | Internal Funding | Institution |  | Universal Vibration Apparatus | MECH | Theory of Machines | 80750 |  | WORKING | Testing | Universal Vibration Apparatus | speep109@gmail.com | S.P.ENGINEERING PUNE | speep109@gmail.com | principal@sknscoe.ac.in
Optical Flat Apparatus with monochromatic light source | MLS | 203 | ACCURATE SALES &SERVICES PUNE | CE/9(A) | - | Internal Funding | Institution |  | Optical Flat Apparatus with monochromatic light source | MECH | Metrology and Mech. Measurement and ESA Lab | 45125 |  | WORKING | Characterisation/Tesing/Analytical | Optical Flat Apparatus with monochromatic light source | accurate@vsnl.com | ACCURATE SALES &SERVICES PUNE | accurate@vsnl.com | principal@sknscoe.ac.in
Floating Carriage diameter measuring machine with thread measuring wire set | FCDMMTMWS | 203 | ACCURATE SALES &SERVICES PUNE | F.C.D.M.M/C.O/100MM | 558 | Internal Funding | Institution |  | Floating Carriage diameter measuring machine with thread measuring wire set | MECH | Metrology and Mech. Measurement and ESA Lab | 80750 |  | WORKING | Characterisation/Tesing/Analytical | Floating Carriage diameter measuring machine with thread measuring wire set | accurate@vsnl.com | ACCURATE SALES &SERVICES PUNE | accurate@vsnl.com | principal@sknscoe.ac.in
Mitutoyo make surface roughness tester | MSRT | 203 | GLOBAL MARKETING COMPANY | 178/561/02E | 505611607 | Internal Funding | Institution |  | Mitutoyo make surface roughness tester | MECH | Metrology and Mech. Measurement and ESA Lab | 111000 |  | WORKING | Testing | Mitutoyo make surface roughness tester | globalmarketingco.in@gmail.com | GLOBAL MARKETING COMPANY | globalmarketingco.in@gmail.com | principal@sknscoe.ac.in
Profile Projector | PP | 203 | ACCURATE SALES &SERVICES PUNE | 300T | 217 | Internal Funding | Institution |  | Profile Projector | MECH | Metrology and Mech. Measurement and ESA Lab | 137750 |  | WORKING | Characterisation/Tesing/Analytical | Profile Projector | accurate@vsnl.com | ACCURATE SALES &SERVICES PUNE | accurate@vsnl.com | principal@sknscoe.ac.in
12" Diffused Light Polariscope | 1LP | 203 | NUCLEUS SYSTEM SANGLI | - | - | Internal Funding | Institution |  | 12 INCH Diffused Light Polariscope | MECH | Metrology and Mech. Measurement and ESA Lab | 142500 |  | WORKING | Characterisation/Tesing/Analytical | 12" Diffused Light Polariscope |  | NUCLEUS SYSTEM SANGLI |  | principal@sknscoe.ac.in
3-D printer | 3DP | 204 | RSK COMPUTER | KI 350 WT | - | Internal Funding | Institution |  | 3D printer | MECH | Robotics, Mechatronics and Automatic Control Engg. | 60656 |  | WORKING | Fabtication | 3-D printer | erskcomputerhub@gmail.com | RSK COMPUTER | erskcomputerhub@gmail.com | principal@sknscoe.ac.in
Desktop Dell 3040 Optiplex | DD | 205 | SK COMPUTER | - | - | Internal Funding | Institution |  | Desktop Dell 3040 Optiplex | MECH | Computer Lab - I | 90000 |  | WORKING | Analytical/Simulation | Desktop Dell 3040 Optiplex |  | SK COMPUTER |  | principal@sknscoe.ac.in
Dell Optiplex (TM ) 390 DT Base -N- Series. Base | DD | 205 | DELL INDIA PVT LTD | - | - | Internal Funding | Institution |  | Dell Optiplex (TM ) 390 DT Base N Series Base | MECH | Computer Lab - I | 276354 |  | WORKING | Analytical/Simulation | Dell Optiplex (TM ) 390 DT Base -N- Series. Base |  | DELL INDIA PVT LTD |  | principal@sknscoe.ac.in
HP Plotter | HP | 205 | COMPUAGE SYSTEMS | - | - | Internal Funding | Institution |  | HP Plotter | MECH | Computer Lab– II | 60960 |  | UNDER MAINATAINANCE |  | HP Plotter | compuagesys@gmail.com | COMPUAGE SYSTEMS | compuagesys@gmail.com | principal@sknscoe.ac.in
Desktop Dell 3040 Optiplex | DD | 206 | SK COMPUTER | - | - | Internal Funding | Institution |  | Desktop Dell 3040 Optiplex | MECH | Computer Lab - II | 126000 |  | WORKING | Analytical/Simulation | Desktop Dell 3040 Optiplex |  | SK COMPUTER |  | principal@sknscoe.ac.in
Fully Customized Bussiness DESKTOP COMPUTER i3 | FCDC | 206 | UNIK SYSTEC SOLUTION | - | - | Internal Funding | Institution |  | Fully Customized Bussiness DESKTOP COMPUTER i3 | MECH | Computer Lab - II | 444644 |  | WORKING | Analytical/Simulation | Fully Customized Bussiness DESKTOP COMPUTER i3 | accountspune@unik.com | UNIK SYSTEC SOLUTION | accountspune@unik.com | principal@sknscoe.ac.in
Centrifugal Pump | CP | 212 & 213 | TECHNICAL TEACHING EQUIPMENTS | KH1 | OVJAM0056 | Internal Funding | Institution |  | Centrifugal Pump | MECH | Basic Mechanical Engineering | 28500 |  | WORKING | Tesing | Centrifugal Pump |  | TECHNICAL TEACHING EQUIPMENTS |  | principal@sknscoe.ac.in
Pyranometer | PYRA | 109 | SUNNIVA ENCON MUMBAI | - | - | Internal Funding | Institution |  | Pyranometer | MECH | Power Plant Engineering | 76500 |  | WORKING | Tesing | Pyranometer | info@sunnivaencon.com | SUNNIVA ENCON MUMBAI | info@sunnivaencon.com | principal@sknscoe.ac.in
Smart Board | SB | 205 | UNIK SYSTEC SOLUTION | - | - | Internal Funding | Institution |  | Smart Board | MECH | Computer Lab - I | 29665 |  | WORKING | Academic | Smart Board | accountspune@unik.com | UNIK SYSTEC SOLUTION | accountspune@unik.com | principal@sknscoe.ac.in
SENSES INTELLIGENT PANNEL | SIP | 114 | MICROLINE INDIA PVT.LTD. | - | - | Internal Funding | Institution |  | SENSES INTELLIGENT PANNEL | MECH | Virtual class room | 131000 |  | WORKING |  | SENSES INTELLIGENT PANNEL | account1.mumbai@microlineindia.com | MICROLINE INDIA PVT.LTD. | account1.mumbai@microlineindia.com | principal@sknscoe.ac.in
STIR CASTING | SC | 102 | DAPSTECH SCIENTIFIC | - | - | External Funding | Institution PAH SUS | 1. Utilization of sugar factory industry waste in enhancing wear resistance material properties for automotive application. | DAPSTECH SCIENTIFIC | MECH | Manufacturing Process | 109524 |  | WORKING | Characterisation/Tesing/Analytical | DAPSTECH SCIENTIFIC | accounts@dapstechinstrument.com | DAPSTECH SCIENTIFIC | accounts@dapstechinstrument.com | principal@sknscoe.ac.in
WEAR TEST PIN ON DISC | WTPD | 110 | NUNES INSTRUMENTS | - | - | External Funding | Institution PAH SUS | 1. Utilization of sugar factory industry waste in enhancing wear resistance material properties for automotive application. | NUNES INSTRUMENTS | MECH | Metallurgy | 72500 |  | WORKING | Characterisation/Tesing/Analytical | NUNES INSTRUMENTS |  | NUNES INSTRUMENTS | infonuneslnaslnetinstruments.com | principal@sknscoe.ac.in
OIL EXRATCTION M/C | OEM | 111 | NILSAN PRIME INDIA PVT LTD | NS2000 | HSN8479 | External Funding | Institution PAH SUS and RGSTC | 1.Production and Utilization of biodiesel from Neem seed oil and suggesting design modification in diesel engine for rural development of India. | NILSAN PRIME INDIA PVT LTD | MECH | I.C. Engines | 83500 |  | WORKING | Characterisation/Tesing/Analytical | NILSAN PRIME INDIA PVT LTD |  | NILSAN PRIME INDIA PVT LTD |  | principal@sknscoe.ac.in
ULTRA SONIC PRO SONICATER | USPS | 111 | E&IENGINEERING | E&I/750 |  | External Funding | Institution PAH SUS and RGSTC | 1.Production and Utilization of biodiesel from Neem seed oil and suggesting design modification in diesel engine for rural development of India. | E AND I ENGINEERING | MECH | I.C. Engines | 134125 |  | WORKING | Characterisation/Tesing/Analytical | E&IENGINEERING | eandiaengineering@gmail.com | E&IENGINEERING | eandiaengineering@gmail.com | principal@sknscoe.ac.in

## Sheet1
130500

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund