## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Dilatometer |  | NAC-103 | NETZSCH | DIL 402 Expedis- SUPREME | DIL402SUA-0058-L |  |  |  | Measurement of length change as a function of temperature | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Analytical Measurement |  |  |  | NETZSCH Geratebau GmbH |  | NETZSCH | kalirajan.muthukrishnan@netzsch.com | nvrk@iitm.ac.in
BET Surface Area Analyzer |  | NAC-103 | Micromeritics | TriStar II 3020 | 1436 |  |  |  | Automated gas adsorption analyzer for measuring surface areas and pores | Metallurgical and Materials Engineering |  | 2500000 | nvrk.iitm.ac.in | Up | Characterization |  |  |  | Micromeritics |  | Micromeritics |  | nvrk@iitm.ac.in
Differential Scanning Calorimeter (DSC) | DSC | NAC-103 | NETZSCH | DSC 404 F3 | DSC 404 F3A-0280-u | External | Ministry of Education |  | Phase change and Cp measurement of samples from RT-1400 C | Metallurgical and Materials Engineering |  | 16000000 | nvrk.iitm.ac.in | Up | Analytical Measurement |  |  |  | NETZSCH |  | NETZSCH | kalirajan.muthukrishnan@netzsch.com | nvrk@iitm.ac.in
Laser Flash Analyzer (LFA) | LFA | NAC-103 | NETZSCH | LFA 427 | 256 6 085 | External | Ministry of Education |  | Thermal diffusivity measurement of samples from RT- 1450 C | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Characterization |  |  |  | NETZSCH |  | NETZSCH | kalirajan.muthukrishnan@netzsch.com | nvrk@iitm.ac.in
Cooling Centrifuge |  | NAC-207 | REMI | C-24PLUS | ZHBU-05360 |  |  |  | Centrifuge for mixing sloutions upto 20000 RPM | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Fabrication |  |  |  | Remi Elektrotechnik Ltd |  | REMI |  | nvrk@iitm.ac.in
UV-Vis Spectrophotometer |  | NAC-207 | Thermo Fisher Scientific India | Evolution 220 | 5A2T 334001 |  |  |  | Measurement of reflectance, transmiitance and absorbance of materials | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Characterization |  |  |  | Thermo Fisher Scientific India | satheeshkumar.ezhumavil@thermofischer.com | Thermo Fisher Scientific India | satheeshkumar.ezhumavil@thermofischer.com | nvrk@iitm.ac.in
Photoreactor |  | NAC-207 | Heber Scientific | HIPR-MP400 | 1531 |  |  |  | Photocatalytic study and dye degradation | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Characterization |  |  |  | Heber Scientific | heber@vsnl.net | Heber Scientific | heber@vsnl.net | nvrk@iitm.ac.in
Manual Hydraulic Compaction Unit |  | NAC-207 | Nao Tech |  |  | Internal | Institution |  | Pellet making at room temperature | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Up | Research Infrastructure |  |  |  | Nao Tech |  | Nao Tech |  | nvrk@iitm.ac.in
Optical Microscope with Fluorescence Microscopy |  | NAC-103 | Olympus | IX2-ILL100 | 9B13276 | Internal | Institution |  | Bright-field imaging, Phase-contrast imaging, Differential interference contrast (nomarski dic) in both reflection and transmission mode and with fluorescence attachments | Metallurgical and Materials Engineering |  |  | nvrk.iitm.ac.in | Under Maintenance | Characterization |  |  |  | Olympus |  | Olympus |  | nvrk@iitm.ac.in
Ball Mill Fritsch Pulverizer 5 |  | NAC 218-219 | FRITSCH | P5 |  | External | BRNS, Govt. of India |  | The main principle of mechanical milling can be described as the exploitation of high energy grinding to reduce the particle size. In general, the high energy ball milling route is used to yield nanosized particles, | Metallurgical and Materials Engineering |  |  |  | Up | Fabrication |  |  |  | FRITSCH | service@toshniwalbros.com | FRITSCH |  | kgprad@iitm.ac.in
Zoz Simoloyer CM 01 |  | NAC 218-219 | Zoz GmbH | CM01 |  |  |  |  | The main principle of mechanical milling can be described as the exploitation of high energy grinding to reduce the particle size. In general, the high energy ball milling route is used to yield nanosized particles, | Metallurgical and Materials Engineering |  |  |  | Up | Fabrication |  |  |  | Zoz GmbH | office@zoz.de | Zoz GmbH |  | kgprad@iitm.ac.in
Vacuum Arc Melting (VAM) | VAM | NAC 218-219 | VEC Solutions | [5 empty] | synthesis of metallic buttons and suction casting rods | Metallurgical and Materials Engineering |  |  |  | Up | Fabrication |  |  |  | VEC Solutions | vecsblr@gmail.com | VEC Solutions |  | kgprad@iitm.ac.in
Vacuum Heat Treatment Furnace |  | NAC 218-219 | SwamEquip | [5 empty] | Heat treament of metals and other materials | Metallurgical and Materials Engineering |  |  |  | Down | Fabrication |  |  |  | SwamEquip | swamequipchennai@gmail.com | SwamEquip |  | kgprad@iitm.ac.in
Resistance Heating Furnace |  | NAC 218-219 | Indfurr | [5 empty] | Heat treament of metals and other materials | Metallurgical and Materials Engineering |  |  |  | Up | Fabrication |  |  |  | Indfurr | Indfurr@indfurr.com | Indfurr |  | kgprad@iitm.ac.in
Carbolite High Temp Furnace 1600C |  | NAC 218-219 | Carbolite | HTF 18/8 | 20-902388 |  |  |  | Heat treament of metals and other materials | Metallurgical and Materials Engineering |  |  |  | Up | Fabrication |  |  |  | Carbolite | office@verder-scientific.co.in | Verder Scientific | satish@verder-scienticfic.co.in | kgprad@iitm.ac.in
DSC PerkinElmer Diamond DSC 600 C |  | NAC 218-219 | PerkinElmer | Diamond |  |  |  |  | Thermal analysis | Metallurgical and Materials Engineering | DSC |  |  | Down | Characterization |  |  |  | PerkinElmer | office@perkinelmer.com | PerkinElmer |  | kgprad@iitm.ac.in
DSC SETARAM Labsys 1600 C |  | NAC 218-219 | SETARAM | Labsys | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Characterization |  |  |  | ICGC India | lcservice@lcgcindia.com | ICGC India |  | kgprad@iitm.ac.in
Dilatometer SETARAM SETSYS Evolution |  | NAC 218-219 | SETARAM | Setsys | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Analytical Measurement |  |  |  | ICGC India | lcservice@lcgcindia.com | ICGC India |  | kgprad@iitm.ac.in
Particle Size Analyzer (PSA) Microtrac | PSA | NAC 218-219 | Agilent Technologies | Microtrac | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Characterization |  |  |  |  | karthikeyan@metrohm.in |  |  | kgprad@iitm.ac.in
BET Surface Area Analyzer |  | NAC 218-219 |  | smart sorb | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Characterization |  |  |  |  | office@smartinstrument.com |  |  | kgprad@iitm.ac.in
Spark Plasma Sintering (SPS) | SPS | NAC 218-219 | Fuji Electronic Technologies | Dr sinter 6000 | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Characterization |  |  |  |  | info-sps@fdc.co.jp |  |  | kgprad@iitm.ac.in
Compaction Unit |  | NAC 218-219 | Insmart Systems | 25 tons | [5 empty] | Metallurgical and Materials Engineering |  |  |  | Up | Research Infrastructure |  |  |  |  | info@insmartsystems.in |  |  | kgprad@iitm.ac.in
UV Vis Spectroscopy |  | NAC 218-219 | Agilent Technologies | carry 3500 |  |  |  |  | reflectance and transmiitance of materials From UV to visible region | Metallurgical and Materials Engineering |  | 3500000 |  | Up | Characterization |  |  |  | Agilent Technologies |  | Agilent Technologies |  | kgprad@iitm.ac.in
Solar Stimulator |  | NAC 218-219 | Agilent Technologies | 66902 | 50002 |  |  |  | Photocatalytic studies of materials | Metallurgical and Materials Engineering |  | 1200000 |  | Up | Characterization |  |  |  | Newport |  | Newport |  | kgprad@iitm.ac.in
Solar Simulator with Controlled Heating Stage |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | Sciencetech | SLB-300-A | 2068 | Internal | Institution |  | Solar simulator with compact Xe arc lamp source capable of projecting an illumination beam of size 38x38mm at 1 sun intensity with AAA class | Metallurgical and Materials Engineering |  | 700000 | https://sreeramkris.wixsite.com/sreeram | Up | Characterization |  |  |  | IPGI Instruments | info@ipgi.co.in | IPGI Instruments | ipgi.inst@yahoo.in | sreeram@iitm.ac.in
Viscometer with attached Heater |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | AMETEK Brookfield | DV3TLVKJ0 | 86014085 | External | DST, Govt. of India |  | Viscometer with Thermosel Heating Coil, capable of measuring viscosities in the range of 1.2 cP to 6M cP, over temperatures between room temperature to 300 °C | Metallurgical and Materials Engineering |  | 1000000 | https://sreeramkris.wixsite.com/sreeram | Up | Characterization |  |  |  | Amkette Analytics Ltd | info@anmalliance.com | Smart Labtech Pvt Ltd | info@smartlabtech.net | sreeram@iitm.ac.in
Vacuum Oven |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | NANO TEC | NT/VO/90L | 8514 | Internal | Institution |  | Vacuum oven of inner dimensions 450x450x450 mm capable of heating upto temperature of 300 °C with a maximum vacuum level of 0.1 mbar | Metallurgical and Materials Engineering |  | 200000 | https://sreeramkris.wixsite.com/sreeram | Up | Analytical Measurement |  |  |  | NANO TEC | sales@nanoteclab.com | NANO TEC | sales@nanoteclab.com | sreeram@iitm.ac.in
Optical Microscope with Digital Imaging Camera |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | ZEISS | AXIO Scope A1 | 3330010051 | External | DST, Govt. of India |  | Upright microscope with HAL 100 brightfield, darkfield, and transmitted light, with polarizer. The digital camera can record live at 15 fps with 2560 x 1920 bin resolution | Metallurgical and Materials Engineering |  | 1300000 | https://sreeramkris.wixsite.com/sreeram | Up | Characterization |  |  |  | Labmate Asia Pvt Ltd | sales@labmateasia.com | Labmate Asia Pvt Ltd | chennai@labmateasia.com | sreeram@iitm.ac.in
Contact Angle Measurement System |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | Apex Instruments Co Pvt Ltd | ACAM D3 | ACAMD3NA02 | External | DST, Govt. of India |  | Measures static and dynamic contact angles using the sessile drop technique. Both time dependent change and stage-tilting angle dependent change in the contact angle is possible | Metallurgical and Materials Engineering |  | 1000000 | https://sreeramkris.wixsite.com/sreeram | Up | Analytical Measurement |  |  |  | Apex Instruments Co Pvt Ltd | sales@apexicindia.com | Apex Instruments Co Pvt Ltd | support@apexicindia.com | sreeram@iitm.ac.in
Programmable Spin Coater with Temperature Controller |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | Apex Instruments Co Pvt Ltd | Spin NXG-P1 ACH | NXGP1ACHA02 | External | DST, Govt. of India |  | Thin film coater with speed range: 100 - 10000 rpm, and programmable temperature range: ambient to 70 deg. celc. | Metallurgical and Materials Engineering |  | 200000 | https://sreeramkris.wixsite.com/sreeram | Up | Fabrication |  |  |  | Apex Instruments Co Pvt Ltd | sales@apexicindia.com | Apex Instruments Co Pvt Ltd | support@apexicindia.com | sreeram@iitm.ac.in
Single Vessel Dip Coating System with Substrate Heating |  | Soft Matter and Complex Fluids Lab, MME, NAC 214 | Apex Instruments Co Pvt Ltd | Xdip-SV1 DHC | XDIPSV1DHCA03 | External | DST, Govt. of India |  | Thin film coater with dipping and lifting speed range: 0.5 - 450 mm/min. Programmable Temperature Range upto 160 °C. Enclosed in transparent acrylic environmental chamber with inert gas purging port. | Metallurgical and Materials Engineering |  | 200000 | https://sreeramkris.wixsite.com/sreeram | Up | Fabrication |  |  |  | Apex Instruments Co Pvt Ltd | sales@apexicindia.com | Apex Instruments Co Pvt Ltd | support@apexicindia.com | sreeram@iitm.ac.in
Bruker D8 Discover X-ray Diffractometer (XRD) | XRD | HSB 138, Ground Floor | Bruker | D8 Discover | 203192 | Internal | Institution |  | Powder XRD | Metallurgical and Materials Engineering |  | 12823848 | nvrk.iitm.ac.in | Up | Characterization |  |  | 222152 | BRUKER India Scientific Pvt Ltd Germany |  | Bruker | krishna.mahesh@bruker.com | nvrk@iitm.ac.in
PROTO iXRD Residual Stress Analyzer |  | HSB 138, Ground Floor | PROTO | iXRD MG40P FS2 Auto retained Austenite | 90410709 | Internal | Institution |  | Residual Stress Analyzer using XRD | Metallurgical and Materials Engineering |  | 8334182 | nvrk.iitm.ac.in | Up | Characterization |  |  | 130000 | PROTO Manufacturing Ltd Canada | proto@protoxrd.com | Elico Marketing Pvt Ltd | info@elicomarketing.com | nvrk@iitm.ac.in
Next Generation Sequencer (NGS) | NGS | 001A, Block-II, NCTB, Dept. of Biotechnology | Illumina | Next-Seq 500 | NB501115 | External | DST, Govt. of India |  | DNA/RNA sequencing system (WGS, WES, WTS etc.) | Metallurgical and Materials Engineering | National Cancer Tissue Biobank | 32050400 | http://nctb.iitm.ac.in/facilities | Up | Characterization |  |  |  | Premas Life Sciences Pvt Ltd | contact@premaslifesciences.com | Premas Life Sciences Pvt Ltd | contact@premaslifesciences.com | nctb@iitm.ac.in
Optical Scanning Microscope |  | 011, Block-II, NCTB, Dept. of Biotechnology | Carl Zeiss | ApoTome 2 | 3834000917 | External | DST, Govt. of India |  | Fully motorized fluorescence microscope for live cell imaging with ApoTome | Metallurgical and Materials Engineering | National Cancer Tissue Biobank | 9031750 | http://nctb.iitm.ac.in/facilities | Up | Characterization |  |  |  | Carl Zeiss India Bangalore Pvt Ltd | muthukrishnan.perumal@zeiss.com | Carl Zeiss India Bangalore Pvt Ltd | selvarajan.dharmarajan@zeiss.com | nctb@iitm.ac.in
Super Resolution Microscopy (SRM) | SRM | 011, Block-II, NCTB, Dept. of Biotechnology | Carl Zeiss | LSM 710 with ELYRA PS.1 | 2560000124 | External | DST, Govt. of India |  | Super resolution microscopy combined with laser scanning confocal microscope (SR-SIM, PALM and dSTORM) | Metallurgical and Materials Engineering | National Cancer Tissue Biobank | 52837190 | http://nctb.iitm.ac.in/facilities | Down | Characterization |  |  |  | Carl Zeiss India Bangalore Pvt Ltd | muthukrishnan.perumal@zeiss.com | Carl Zeiss India Bangalore Pvt Ltd | selvarajan.dharmarajan@zeiss.com | nctb@iitm.ac.in
MoFlo Astrios EQ Cell Sorter |  | 002, Block-II, NCTB, Dept. of Biotechnology | Beckman Coulter | MoFlo Astrios EQ | V96101110 | External | DST, Govt. of India |  | Sterile cell sorting, Cell Cycle Analysis, Apoptosis assay and Analysis of cell surface markers | Metallurgical and Materials Engineering | National Cancer Tissue Biobank | 47966800 | http://nctb.iitm.ac.in/facilities | Up | Characterization |  |  |  | Beckman Coulter India Pvt Ltd | dseenuvasan@beckman.com | Beckman Coulter India Pvt Ltd | sbabu02@beckman.com | nctb@iitm.ac.in
Local Electrode Atom Probe (LEAP) | LEAP | HSB 134 | CAMECA USA | LEAP 5000XR | R5095 | External | DST, Govt. of India |  | Near atomic scale material charactersation and chemical composition | Metallurgical and Materials Engineering | National Facility for Atom Probe Tomogrphy (NFAPT) |  | https://nfapt.iitm.ac.in/ | Up | Characterization |  |  |  | CAMECA USA | cameca.leap@ametek.com | CAMECA India |  | kgprad@iitm.ac.in
Scanning Electron Microscope Focused Ion Beam Dual Beam System |  | HSB 141 | FEI Netherlands | SEM-FIBHelios G4UX | 9950156 | External | DST, Govt. of India |  | Surface morphology Imaging and Sample preparation system for LEAP | Metallurgical and Materials Engineering | National Facility for Atom Probe Tomogrphy (NFAPT) |  | https://nfapt.iitm.ac.in/ | Up | Characterization |  |  |  | Thermo Fisher Scientific | info@thermofisher.com | Thermo Fisher Scientific India |  | kgprad@iitm.ac.in
Transmission Electron Microscope (TEM) | TEM | HSB 135 | FEI Netherlands | Techani G2 Sprit Twin T12 | D5995/9925995 | External | DST, Govt. of India |  | Transmission imaging mode system | Metallurgical and Materials Engineering | National Facility for Atom Probe Tomogrphy (NFAPT) |  | https://nfapt.iitm.ac.in/ | Up | Characterization |  |  |  | Thermo Fisher Scientific | info@thermofisher.com | Thermo Fisher Scientific India |  | kgprad@iitm.ac.in