## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
BOD Incubator cum Growth Chamber |  | Plant Biotecjnology Lab, 506E | Span Automation | 2022 | NIET/BT/LAB5/30 | External | DST, Govt. of India |  |  | Biotechnology | Biotech Research Facility | 200000 |  | Up | Characterization |  |  |  | Nihar Instruments |  |  |  | hodbiotech@niet.co.in
BOD cum Shaking Incubator |  | Plant Biotecjnology Lab, 506E | Span Automation | 2021 | NIET/BT/LAB5/31 | External | DST, Govt. of India |  |  | Biotechnology | Biotech Research Facility | 62000 |  | Up | Characterization |  |  |  | Nihar Instruments |  |  |  | hodbiotech@niet.co.in
Stereo Microscope |  | Plant Biotecjnology Lab, 506E | Span Automation | 2021 | NIET/BT/LAB5/32-5 | External | DBT, Govt. of India |  |  | Biotechnology | Biotech Research Facility | 4215 |  | Up | Characterization |  |  |  | Nihar Instruments |  |  |  | hodbiotech@niet.co.in
Universal Testing Machine (UTM) | UTM | MST Lab | Mechatronic Control Systems | UTE 40/2011-12/653 |  |  |  |  | TENSILE TEST, COMPRESSION TEST, SHEAR TEST | Mechanical Engineering | Material Testing | 325000 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Impact Testing Machine |  | MST Lab | Mechatronic Control Systems | IT 30/2011-12/654 |  |  |  |  | IZOD, CHARPY TEST | Mechanical Engineering | Material Testing | 40000 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Fatigue Testing Machine (FTM) | FTM | MST Lab | Mechatronic Control Systems | FTM/2011-12/655 |  |  |  |  | FATIGUE TEST | Mechanical Engineering | Material Testing | 140000 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Torsion Testing Machine (TTM) | TTM | MST Lab | Mechatronic Control Systems | TT 10/2011-12/656 |  |  |  |  | TORSION TEST | Mechanical Engineering | Material Testing | 168000 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Rockwell Hardness Testing Machine |  | MST Lab | Mechatronic Control Systems | RABI/2011-12/657 |  |  |  |  | RHN, BHN.VHN | Mechanical Engineering | Material Testing | 85000 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Electronic Tensometer (ETM) PC 2000 | ETM | MST Lab | Kudale Instruments | PC 2000 |  |  |  |  | TENSILE TEST OF SMALL SAMPLES | Mechanical Engineering | Material Testing | 555505 |  | Up | Characterization |  |  |  | Kudale Instruments | kudale@kudaleinstruments.com | Kudale Instruments | kudale@kudaleinstruments.com | hodme@niet.co.in
Polishing Machine |  | MST Lab | Harriss & Tarriss | HT/02- 03/24 |  |  |  |  | MICROSTRUCTURE SAMPLE PREPARATION | Mechanical Engineering | Material Testing | 15950 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Muffle Furnace |  | MST Lab | BP Industries | [5 empty] | HEAT TREATMENT | Mechanical Engineering | Material Testing | 35000 |  | Up | Fabrication |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
Metallurgical Microscope with CCD Camera |  | MST Lab | Radical Instruments | RMM-77 |  |  |  |  | MICROSTRUCTUREEXAMINATION | Mechanical Engineering | Material Testing | 33750 |  | Up | Characterization |  |  |  | Canan Testing Services | canan@canantesting.com | Canan Testing Services | canan@canantesting.com | hodme@niet.co.in
CNC Turning Centre |  | Smart Manufacturing Lab | Batliboi | 16 TC | 1508Y0035 | Internal | Institution Funding (Self Supported) |  | 1. High Quality Balanced Cartridge Spindle Assembly with High Precision Angular Contact Bearings 2. LM Guide ways for fast and accurate positioning of Slides 3. 8 station bi-directional Hydraulic Turret for superior cutting performance 4. Plug and start concept 5. Compact, less floor space with all items like Hydraulic Power Pack, Electrical Cabinet etc. machine mounted 6. Independent Coolant Tank and Chip Tray for ease in cleaning and maintenance 7. Trouble free Servo Motors directly coupled to Ball Screws through Servo Couplings | Mechanical Engineering | PTC Centre of Excellence | 1800000 |  | Up | Fabrication |  |  |  | Batliboi | kp.yadav@batliboi.com | Batliboi | kp.yadav@batliboi.com | hodme@niet.co.in
CNC Vertical Milling Centre |  | Smart Manufacturing Lab | Jyoti CNC Automation Limited | NVU PX20 | 60025083-2018 | Internal | Institution Funding (Self Supported) |  | 1. Broader base foot print and stiff column. 2. Precision linear motion guideways. 3. High Performance 6000rpm rigid BT-40 spindle. 4. Twin arm type auto tool changer with 20 tool. 5. 4th & 5th axis machining by using rotary table. 6. Wide working area. 7. Electrical with quality device and panel A.C. 8. Auto and manual coolant. 9. Rear side efficient chip flow. 10. Centralized and programmable lubrication. | Mechanical Engineering | PTC Centre of Excellence | 2800000 |  | Up | Fabrication |  |  |  | Jyoti CNC Automation Limited | system@finix.jyoti.co.in | Jyoti CNC Automation Limited | system@finix.jyoti.co.in | hodme@niet.co.in
Lathe Machine 12' with Dog Chuck Electric Motor and all standard accessories |  | Manufacturing Lab | Vishal Traders Ghaziabad | [5 empty] | It’s a Lathe Machine of size 12' and equipped with all standard accessories | Mechanical Engineering | Lathe Machine |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Lathe Machine 4' Precision Tools |  | Manufacturing Lab | Precision Tools | [5 empty] | It’s a Capstan Lathe Machine of size 4' and equipped with all standard accessories | Mechanical Engineering | Lathe Machine |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Wood Working Lathe |  | Manufacturing Lab | [7 empty] | Mechanical Engineering | Lathe Machine |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Surface Grinding Machine |  | Manufacturing Lab | Vishal Traders Ghaziabad | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Vertical Drilling Machine |  | Manufacturing Lab | [7 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Power Press |  | Manufacturing Lab | Vishal Traders Ghaziabad | [6 empty] | Mechanical Engineering |  |  |  | Up | Characterization | [7 empty] | hodme@niet.co.in
Radial Drilling Machine |  | Manufacturing Lab | RP Singh & Co. Ludhiana | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Shaper Machine |  | Manufacturing Lab | RP Singh & Co. Ludhiana | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Horizontal Milling Machine |  | Manufacturing Lab | [7 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Vertical Milling Machine |  | Manufacturing Lab | Vishal Traders Ghaziabad | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
MIG Welding Machine |  | Manufacturing Lab | Migatronic | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Muffle Furnace |  | Manufacturing Lab | Migatronic | [6 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Spot Welding Machine |  | Manufacturing Lab | [7 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Arc Welding Machine |  | Manufacturing Lab | [7 empty] | Mechanical Engineering |  |  |  | Up | Fabrication | [7 empty] | hodme@niet.co.in
Emissivity Measuring Device |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Temeperature sensor and volatage regulators | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Heat Transfer Measuring Device through Composite Wall |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Temperature indicator, senors devices | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Thermal Conductor to Measure Conductivity of Insulating Powder |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital temperature indiactor | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Heat Transfer Measuring Device through Lagged Pipe |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital temperature indicator and sensor voltameter | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Thermal Conductivity Measuring Device of Insulating Lab |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Temperature sensor, Ammeter, digital volatmeter | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Thermal Conductivity Measuring Setup of Liquid |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital Voltmeter, Digital ammeter | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Heat Pipe Demonstrator |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Temperature indicator, 3 pipes, sensor, voltage regulator, heating coil | Mechanical Engineering |  |  |  | Up | Characterization | [5 empty] | KC Engineering |  | hodme@niet.co.in
Heat Transfer Measuring Device through Pin Fin |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital Voltmeter, Digital ammeter | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Pool Boiling Measuring Device |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Water heater, transducer | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Unsteady State Heat Transfer Measuring Device |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Thermocouple, Digital temperature measuring device, | Mechanical Engineering |  |  |  | Up | Analytical Measurement | [5 empty] | KC Engineering |  | hodme@niet.co.in
Double Pipe Heat Exchanger Device Parallel Flow and Counter Flow |  | B-Block (415) | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Copper sensor, Digital ammeter, voltameter | Mechanical Engineering |  |  |  | Up | Characterization | [5 empty] | KC Engineering |  | hodme@niet.co.in
Refrigeration Test Rig |  | B-Block (415) I.C. Engine Lab | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Temperature indicator, sensors devices | Mechanical Engineering |  |  |  | Up | Characterization | [5 empty] | KC Engineering |  | hodme@niet.co.in
Water Cooling Tower |  | B-Block (415) I.C. Engine Lab | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital temperature indicator | Mechanical Engineering |  |  |  | Up | Characterization | [5 empty] | KC Engineering |  | hodme@niet.co.in
Vapour Compression Refrigeration System (VCRS) working model |  | B-Block (021) Material testing Lab | KC Engineering |  |  | Internal | Institution Funding (Self Supported) |  | Digital temperature indicator and sensor voltameter | Mechanical Engineering |  |  |  | Up | Characterization | [5 empty] | KC Engineering |  | hodme@niet.co.in
Custom 3D Printer with Slurry attachment |  | Central Instrumentation Lab, NIET Pharmacy Institute | I Print My Things - 3D Prototyping New Delhi | [5 empty] | 3D printing has developed significantly and can now perform crucial roles in many applications, with the most common applications being manufacturing, medicine, architecture, custom art and design, and can vary from fully functional to purely aesthetic applications. | NIET Pharmacy Institute |  | 126000 |  | Up | Characterization |  |  |  | Spakas Information Systems LLP |  |  |  | avijitmazum@yahoo.com
Diffusion Cell Apparatus |  |  | Electrolab India Pvt Ltd | EDC-02 | 2, 62, 219.60 |  |  |  | he diffusion cell apparatus is used to measure in vitro release of drugs from creams, ointments, oils, and gels. | NIET Pharmacy Institute |  |  |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Dissolution Apparatus eight station |  | Central Instrumentation Lab, NIET Pharmacy Institute | Electrolab India Pvt Ltd | TDT-08L | 1111460 | External | AICTE, Govt. of India |  |  | NIET Pharmacy Institute |  | 145000 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Flame Photometer |  | Central Instrumentation Lab, NIET Pharmacy Institute | Elico Ltd Hyderabad | CL-354 | 182 |  |  |  |  | NIET Pharmacy Institute |  | 23000 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Fluorimeter |  | Central Instrumentation Lab, NIET Pharmacy Institute | Systronics | 152 | 424 |  |  |  |  | NIET Pharmacy Institute |  | 30716 |  | Up | Analytical Measurement | [7 empty] | avijitmazum@yahoo.com
FTIR with Hydraulic Press |  | Central Instrumentation Lab, NIET Pharmacy Institute | PerkinElmer | Spectrum-65 | 85069 |  |  |  |  | NIET Pharmacy Institute |  | 1332272 |  | Down | Characterization | [7 empty] | avijitmazum@yahoo.com
Melting Point Apparatus |  | Central Instrumentation Lab, NIET Pharmacy Institute | Labindia Analytical Instruments Pvt Ltd | 10000301 | MR23120210 |  |  |  |  | NIET Pharmacy Institute |  | 178495 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Rotary Evaporator |  | Central Instrumentation Lab, NIET Pharmacy Institute | Rising Sun Enterprises | VR-185 | 83654 |  |  |  |  | NIET Pharmacy Institute |  | 49256 |  | Up | Fabrication | [7 empty] | avijitmazum@yahoo.com
Sonicator |  | Central Instrumentation Lab, NIET Pharmacy Institute |  | 322 | [5 empty] | NIET Pharmacy Institute |  | 78800 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
UV Spectrophotometer |  | Central Instrumentation Lab, NIET Pharmacy Institute | Shimadzu Corporation Japan | UV-1700 | A11024504149LP |  |  |  |  | NIET Pharmacy Institute |  | 450000 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Trinocular Microscope |  | Central Instrumentation Lab, NIET Pharmacy Institute | Radical Instruments | RXLR-3T | 28378 |  |  |  |  | NIET Pharmacy Institute |  | 128120 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Viscometer |  | Central Instrumentation Lab, NIET Pharmacy Institute | Brookfield Engineering Laboratories Inc USA | LBDVE | E-6525783 |  |  |  |  | NIET Pharmacy Institute |  | 148600 |  | Up | Analytical Measurement | [7 empty] | avijitmazum@yahoo.com
Disintegration |  | Central Instrumentation Lab, NIET Pharmacy Institute | Electrolab India Pvt Ltd | ED-2AL | 803058 |  |  |  |  | NIET Pharmacy Institute |  | 1050 |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Conductivity Meter |  | Central Instrumentation Lab, NIET Pharmacy Institute | Elico Ltd Hyderabad | CM-180 | 3889-AF-03 |  |  |  |  | NIET Pharmacy Institute |  | 26935 |  | Up | Analytical Measurement |  |  |  | New Era Scientific |  |  |  | avijitmazum@yahoo.com
Brookfield Rheometer |  | Central Instrumentation Lab, NIET Pharmacy Institute | Brookfield Engineering Laboratories Inc USA | HADV-111U | RY6525994 |  |  |  |  | NIET Pharmacy Institute |  | 320600 |  | Down | Analytical Measurement | [7 empty] | avijitmazum@yahoo.com
2 Station Diffusion Cell Apparatus |  | Central Instrumentation Lab, NIET Pharmacy Institute | Electrolab India Pvt Ltd | EDC-02 | 2101108 |  |  |  |  | NIET Pharmacy Institute |  |  |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
Biochemistry Analyzer |  | Central Instrumentation Lab, NIET Pharmacy Institute |  | BC-300 | JN1409200003 |  |  |  |  | NIET Pharmacy Institute |  |  |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com
pH Meter |  | Central Instrumentation Lab, NIET Pharmacy Institute | Elico Ltd Hyderabad | 246 | 0040 AE 03 |  |  |  |  | NIET Pharmacy Institute |  | 6950 |  | Up | Analytical Measurement | [7 empty] | avijitmazum@yahoo.com
Digital Balance |  | Central Instrumentation Lab, NIET Pharmacy Institute | Citizen Scale | CY 204 | 284274/10 |  |  |  |  | NIET Pharmacy Institute |  |  |  | Up | Analytical Measurement | [7 empty] | avijitmazum@yahoo.com
Colorimeter |  | Central Instrumentation Lab, NIET Pharmacy Institute | Elico Ltd Hyderabad | CL-157 | 5512 |  |  |  |  | NIET Pharmacy Institute |  | 31959 |  | Up | Analytical Measurement |  |  |  | New Era Scientific |  |  |  | avijitmazum@yahoo.com
Microwave Oven |  | Central Instrumentation Lab, NIET Pharmacy Institute |  | 30SC2 | 2507/11/0059 |  |  |  |  | NIET Pharmacy Institute |  |  |  | Up | Characterization | [7 empty] | avijitmazum@yahoo.com