## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
FT-NIR | FTNIR | PA lab 2 | Perkin Elmer | Spectrum Two N | 110817 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Fourier Transform Near-Infrared Spectroscopy (FT-NIR) is an advanced analytical technique used for rapid, non-destructive chemical analysis. | Department of Pharmaceutical Analysis |  | 2222971 |  | Functioning | Equipment | Perkin Elmer | help-desk@perkeinelmer.com | Perkin Elmer | help-desk@perkeinelmer.com | srinivas@niperguwahati.in
Gas Chromatography Mass Spectrometry | GCMS | PA Lab 2 | Agilent Technologies | Intuvo 90005977BMSD | US1923M016 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | GC-MS is a powerful analytical technique that combines gas chromatography (GC) for separation and mass spectrometry (MS) for detection, enabling the identification and quantification of volatile and semi-volatile compounds. | Department of Pharmaceutical Analysis |  | 5697548 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
Flash Chromatography | Flash Chrom | PA Lab 1 | SepaBeam Machine T | NA | SPBT20002001 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Flash chromatography is a type of chromatography used to separate and purify compounds based on their interactions with a stationary phase and a mobile phase. | Department of Pharmaceutical Analysis |  | 1608340 |  | Functioning | Equipment | YMC India | help-desk@ymcindia.com | YMC India | help-desk@ymcindia.com | srinivas@niperguwahati.in
FT-Infrared Spectroscopy | FTIR | PA Lab 1 | Bruker | AlphaII | 210485 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | FTIR (Fourier Transform Infrared) spectroscopy is a technique used to analyze the vibrational modes of molecules. | Department of Pharmaceutical Analysis |  | 1800000 |  | Functioning | Equipment | LabIndia Analytical Instruments | helpdesk@labindia.com | Inkarp | helpdesk@inkarp.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab 2 | Agilent Technologies | hplc1290 | DEAEQ39885 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  | 6916489 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1291 | DEAEQ40300 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1292 | DEAEQ46980 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  | 19153231 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1293 | DEAEQ46987 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1294 | DEAEQ46983 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1295 | DEAEQ46981 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1296 | DEAEQ46978 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1297 | DEAEQ46976 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1298 | DEAEQ46982 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | Agilent Technologies | hplc1299 | DEAEQ46985 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-1 | Agilent Technologies | hplc1300 | DEAC6079878 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  | 3137241 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
High Performance Liquid Chromatography | HPLC | PA Lab-2 | ThermoFisher | Ultimate 3000 | 8150614 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Pharmaceutical Analysis |  | 80286 |  | Functioning | Equipment | ThermoFisher | HELP-DESK@thermofisher.com | ThermoFisher | HELP-DESK@thermofisher.com | srinivas@niperguwahati.in
Radwag Microbalance |  | PA Lab-1 | RADWAG | MYA54Y | 746734 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | A microbalance is a highly sensitive weighing instrument used to measure very small masses, typically in the range of micrograms (μg) to milligrams (mg). | Department of Pharmaceutical Analysis |  | 2017800 |  | Functioning | Equipment | LCGC | helpdesk@lcgc.com | LCGC | services@lcgc.com | srinivas@niperguwahati.in
Radwag Microbalance |  | PA Lab-1 | RADWAG | MYA54Y | 746733 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | A microbalance is a highly sensitive weighing instrument used to measure very small masses, typically in the range of micrograms (μg) to milligrams (mg). | Department of Pharmaceutical Analysis |  |  |  | Functioning | Equipment | LCGC | helpdesk@lcgc.com | LCGC | services@lcgc.com | srinivas@niperguwahati.in
LC-MS/MS TQD | LCTQD | PA Lab-2 | WATERS | XevoTQXS | WBA0532 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | LC-MS/MS (Triple Quadrupole) is a type of mass spectrometry technique used to analyze complex biological samples. The instrument consists of three quadrupole mass analyzers (Q1, Q2, and Q3) that work together to filter and detect ions. | Department of Pharmaceutical Analysis |  | 23751117 |  | Functioning | Equipment | WATERS | helpdesk@waterindia.com | WATERS | services@waterindia.com | srinivas@niperguwahati.in
LC-MS/MS TQD | LCTQD | PA LCMS lab | Agilent Technologies | 6495C | SG2049D204 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | LC-MS/MS (Triple Quadrupole) is a type of mass spectrometry technique used to analyze complex biological samples. The instrument consists of three quadrupole mass analyzers (Q1, Q2, and Q3) that work together to filter and detect ions. | Department of Pharmaceutical Analysis |  | 16316235 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
LC-MS/MS TQD | LCTQD | PA LCMS lab | Agilent Technologies | NA | SG2136G204 | External Funding | department of biotechnology |  | LC-MS/MS (Triple Quadrupole) is a type of mass spectrometry technique used to analyze complex biological samples. The instrument consists of three quadrupole mass analyzers (Q1, Q2, and Q3) that work together to filter and detect ions. | Department of Pharmaceutical Analysis |  | 15285199 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
LC-QTOF | HRMS | PA LCMS lab | Agilent Technologies | NA | SG2048E101 | External Funding | department of sciecne and techology | national centre for pharmacoengineering | LC-MS/MS (Triple Quadrupole) is a type of mass spectrometry technique used to analyze complex biological samples. The instrument consists of three quadrupole mass analyzers (Q1, Q2, and Q3) that work together to filter and detect ions. | Department of Pharmaceutical Analysis |  | 19500000 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
Gas Chromatography tendam Mass Spectrometry | GCMS MS TQD | PA Lab-2 | ThermoFisher | TSQ9610 | TSQ96A2210004 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | GC-MS/MS (QQQ) is a type of mass spectrometry technique used to analyze volatile and semi-volatile compounds in a sample. | Department of Pharmaceutical Analysis |  | 11321781 |  | Functioning | Equipment | ThermoFisher | HELP-DESK@thermofisher.com | ThermoFisher | HELP-DESK@thermofisher.com | srinivas@niperguwahati.in
Induced Coupled Plasma Mass Spectrometry | ICPMS | PA Lab-2 | Agilent | G8403A | SG22452460 | External Funding | Bionest, Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | ICPMS (Inductively Coupled Plasma Mass Spectrometry) is a type of mass spectrometry technique used to analyze the elemental composition of a sample | Department of Pharmaceutical Analysis |  | 11003861 |  | Functioning | Equipment | Agilent Technologies | help-desk@aglient.com | Agilent Technologies | help-desk@aglient.com | srinivas@niperguwahati.in
Preparative LC-MS | PrepLCMS | PA Lab-1 | WATERS | waters3767 | D23X37429I | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Preparative LC-MS (Liquid Chromatography-Mass Spectrometry) is a technique used to separate, identify, and purify large quantities of compounds from complex mixtures. | Department of Pharmaceutical Analysis |  | 12800000 |  | Functioning | Equipment | WATERS | helpdesk@waterindia.com | WATERS | services@waterindia.com | srinivas@niperguwahati.in
MicroCalTM PEAQ ITC | ITC | Medicinal Chemistry | Malvern | PEAQ ITC | MAL1299712MAL1299703 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Isothermal Titration Calorimetry (ITC) is a label-free, quantitative technique used to study binding interactions between molecules (e.g., drug-protein, DNA-ligand, enzyme-substrate) by measuring heat changes during binding events. | Department of Medicinal Chemistry |  | 7300000 |  | Functioning | Equipment | Toshniwal | HELPDESK@PEAK.COM | Toshniwal | service@toshniwalbros.com | pintu@niperguwahati.in
Flash Chromatography | Flash Chrom | Medicinal Chemistry | Buchi | Pure C815 Flash | 1100089318 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Flash chromatography is a type of chromatography used to separate and purify compounds based on their interactions with a stationary phase and a mobile phase. | Department of Medicinal Chemistry |  | 2133706 |  | Functioning | Equipment | Buchi |  | Buchi | padhy.d@buchi.com | pintu@niperguwahati.in
Vanquish Core HPLC System | HPLC | Medicinal Chemistry | Thermo Fisher | BOMVCORENIPER | 83312448331202 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | High-Performance Liquid Chromatography (HPLC) is a technique used to separate, identify, and quantify the components of a mixture. | Department of Medicinal Chemistry |  | 2989070 |  | Functioning | Equipment | Thermo Fisher Scientific |  | Thermo Fisher Scientific | tridiv.choudhury@thermofisher.com | pintu@niperguwahati.in
Glove Box System | Glove Box | Medicinal Chemistry | MBRAUN | MBEasyLabPROI | PRS2583 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  |  | Department of Medicinal Chemistry |  | 4248000 |  | Functioning | Equipment | Inkarp |  | Inkarp | nazrul@inkarp.co.in | pintu@niperguwahati.in
UNIVERSAL TESTING MACHINE | UTM | Medical Devices Testing & Calibration Facility,Department of Medical Devices, NIPER Guwahati | Dak Systems | UTM T72052 HiTech | 6262223 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  | Universal Testing machine | Medical device | Medical Devices Testing and Calbration facility | 3602540 | https://niperguwahati.ac.in/mdtf.html | Working | Equipment | DAK Systems Inc | support@daksystem.com | DAK Systems Inc | support@daksystem.com | mdtf-office@niperguwahati.ac.in
Automated Tissue Processor |  | CAF | Epridia | STB 1202 | STP12239602304 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  |  | PHARMACOLOGY and TOXICOLOGY | CAF | 1958132 |  | Working | Equipment | Dritu Enterprise | info@dritu.com | Md. Saqib Salim |  | anurag@niperguwahati.in
|  | CAF | IWT | Ocenus | 661387 | External Funding | Department of Pharmaceutical, Ministry of Chemicals and fertiliser, Government of India |  |  | PHARMACOLOGY and TOXICOLOGY | CAF | 2918880 |  | Working | Equipment | Samitekinstruments | sales@samitekinstruments.com | Mr Krishna Mr Srawan |  | anurag@niperguwahati.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE