## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
High Throughput DNA and RNA Analysis System |  | CIF | Agilent | Bioanalyzer-2100 | G2940CA | External | DBT, Govt. of India |  | 2100 Bioanalyzer Instrument. Includes the Bioanalyzer instrument (Model G2939B), electrode cartridge, 2100 Expert software, licenses, priming station, vortexer, test chips, and services. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 1347077 |  | Agilent Technologies Singapore | ccc-smt@agilent.com | Imperial Life Sciences (P) Ltd | info@imperialls.com | director@nipgr.ac.in
ABI Prism 3730zl Genetic Analyzer |  | CIF | ABI | Veriti | 2990240021 | External | DBT, Govt. of India |  | 96 Capillaries operating in parallel. The system allows Switching between capillary lengths of 50 cm and 30 cm. Detection system is of high sensitivity and low background to detect and analyse 5 fluorescent dyes simultaneously. Capillary life greater than 300 run. Automatic plate stacker to accommodate 16 micro plates of 96/384 wells. Average length of read with QV20: Short/Standard/Long reads, 550/850/900 bases. Runs per day short/Standard/Long reads, 40/12/8. Base calling Accuracy 98.5 %. Throughput for fragment analysis, approximately 4000 samples /day or greater than 80000 genotypes per day. Sample volume, 10 ul to 50 ul in 96 wells plate, 5ul to 30 ul in 384 well plate. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 21935150 |  | Life Technologies Holdings Pte Ltd |  | Invitrogen Bioservices India Pvt Ltd | elapully.narayanan@liftetech.com | director@nipgr.ac.in
High Performance Thin Layer Chromatography System (HPTLC) | HPTLC | CIF | Camag | TQ8050 | 21505600377 | External | DBT, Govt. of India |  | HPTLC Spectral Range: 190-900mm | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 14944548 |  | Camag | info@camag.com | Amchrom Enterprises India Pvt Ltd | hptlc@amchrom.in | director@nipgr.ac.in
Combined Triple Quadrupole and Iron Trap LCMSMS |  | CIF | Sciex | Qtrap 6500+ Exion UHPLC Micro LC M5 | DY252481904 AB3AD5772423 19-02-35-007 | External | DBT, Govt. of India |  | LC-MS/MS (TQ) Mass range: 5-2000 | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 43200000 |  |  | Sciex | himanshu.tyagi@sciex.com | DHR Holding India Pvt Ltd |  | director@nipgr.ac.in
LC ICPMS System |  | CIF | Agilent | G8421A | SG19123672 | External | DBT, Govt. of India |  | ICP-Mass range: 10-1100 Da | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 12188037 |  |  | Agilent Technologies Singapore | ccc-smt@agilent.com | Agilent Technologies India Pvt Ltd | chatendra.singh@agilent.com | director@nipgr.ac.in
Triple Quadrupole Gas Chromatograph GCMS |  | CIF | Shimadzu | TQ8050 | 021505600377AE | External | DBT, Govt. of India |  | GC-MS/MS (TQ) Mass range: 10- | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 11550000 |  | Shimadzu (Asia Pacific) Pte Ltd | sales@shimadzu.com.sg | Toshvin Analytical Pvt Ltd | vjugran@toshvin.com | director@nipgr.ac.in
Biacore Surface Plasmon Resonance Based System T200 |  | CIF | GE | T200 | 1527033 | External | DBT, Govt. of India |  | Kinetic and affinity data (KD, ka, and kd), specificity, selectivity, concentration,and thermodynamic data | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 14199521 |  | Global Life Sciences Solutions Singapore Pte Ltd |  | Hyclone Life Sciences Solutions India Pvt Ltd | mita.gupta@ge.com | director@nipgr.ac.in
Sciex Triple TOF 6600 System Qtrap 6500+ System |  | CIF | Sciex | TTOF 6600 Qtrap 6500 Plus | EH220041803 DY250771810 | External | DBT, Govt. of India |  | Ideal for high resolution, high sensitive analysis of complex protein and peptide samples Data acquisition workflows - TOF-MS, Information dependent acquisition (IDA) MS/MS, Data independent SWATH® Acquisition Mass range TOF- 5 – 40,000 m/z Mass selection range Q1 - 5 – 2250 m/z TOF-MS mass resolution and acquisition speed - ≥35,000 (FWHM) at 956 m/z, using 10 ms accumulation time TOF-MS/MS mass resolution and acquisition speed - ≥30,000 (FWHM) at 813 m/z, and ≥25,000 (FWHM) at 195 m/z, using 10 ms accumulation time Detector type -4-channel MCP detector with ADC signal processing for extended dynamic range Ionization source - NanoSpray ESI Source Ideal for ultra-low level quantitation of proteins and peptides Mass range - Triple quadrupole: 5 – 2,000 Da, linear ion trap: 50 - 2,000 Da Flexible ionization options - Electrospray (ESI) ionization and heated nebulizer ionization probes. Selective, robust and powerful ion separation Detector type - IonDrive High Energy Detector Polarity switching - 5 msec in MRM and Scheduled MRM modes | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 64500000 |  |  | Sciex |  | DHR Holding India Pvt Ltd | himanshu.tyagi@sciex.com | director@nipgr.ac.in
Confocal Microscope TCS-SP5 |  | CIF | Leica | SP5-MP-OPO | 5100001730 | External | DBT, Govt. of India |  | Confocal Microscope with White Laser | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 45560411 |  | Leica Mikrosysteme Vertrieb GmbH |  | DHR Holding India Pvt Ltd | himanshu.tyagi@sciex.com | director@nipgr.ac.in
Confocal Microscope TCS-SP8 |  | CIF | Leica | TCS SP8 | 8110002362 | External | DBT, Govt. of India |  | Confocal Microscope with UV, Argon and 561nm laser line | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 18683616 |  | Leica Mikrosysteme Vertrieb GmbH |  | DHR Holding India Pvt Ltd | himanshu.tyagi@sciex.com | director@nipgr.ac.in
High Performance Liquid Chromatography Prominence Binary Gradient System | HPLC | CIF | Shimadzu | LC-20AT | SI157094L | External | DBT, Govt. of India |  | Columns : Luna C18 150x4.6mm Luna C18 250x4.6mm Detectors: SPD-20A, RID-10A, SPD -M20A High-performance liquid chromatography (HPLC) is widely used in diverse fields such as pharmaceuticals, and biochemistry to chemistry, the environment, and food products. User will provide all the consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 2132767 |  | Shimadzu (Asia Pacific) Pte Ltd | sales@shimadzu.com.sg | Spinco Biotech Pvt Ltd | delhi@spincotech.com | director@nipgr.ac.in
Gene Pulser Xcell Total System |  | CIF | Bio-Rad | Gene Pulser Xcell | 617BR104078 | External | DBT, Govt. of India |  | Gene Transformation Through High/Low voltage current User will provide all the consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 348912 |  | Bio-Rad Laboratories Pty Ltd |  | Bio-Rad Laboratories (I) Pvt Ltd | sales.india@bio-rad.com | director@nipgr.ac.in
High Throughput Automatic Electrophoresis |  | CIF | Caliper Life Sciences | Caliper LCGX | GX1039N0280 | External | DBT, Govt. of India |  | The LabChip GX assays are based on traditional gel electrophoresis principles that have been transferred to a chip format. The chip format dramatically reduces separation time and provides automated sizing and Quantitation information in a digital format. Charges for usage of the machine only. The chip and kits and other consumables will be arranged by the Users. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 2992258 |  |  | Caliper Life Sciences |  | Imperial Life Sciences (P) Ltd | info@imperialls.com | director@nipgr.ac.in
Foss NIRS DS 2500 Spectrophotometer |  | CIF | Foss Analytical | NIRS DS 2500 | 91739035 | External | DBT, Govt. of India |  | Near Infrared Reflectance spectrophotometer (NIRS) analyzer based on monochromatic technique (1100-2500 nm) for non-destructive determination of different Constituents in solid, liquid and viscous samples. Rapid analysis (<1 min per sample) of protein, fat, fiber, moisture, fatty-acids, amino acids, fibers (crude/NDF/ADF), starch, colour etc. in ground and unground samples like soil, plant (including seeds), animal and microbes as well as testing of color parameters like pigment, astaxanthin, chlorophyll etc. The analyzer allows measurement of samples as low as 15 to 20 grains, which has been well calibrated for various primary and secondary metabolites of oilseed Brassicas at NIPGR. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 3981624 |  | Foss Analytical AB |  | Foss India Pvt Ltd | india@foss.dk | director@nipgr.ac.in
Leica Automated Critical Point Drying System |  | CIF | Leica | EM CPD300 | 602453 | External | DBT, Govt. of India |  | The SEM samples can be dried in the instrument and analyzed for morphological studies on Scanning Electron Microscope. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Fabrication |  | 1737705 |  | Leica Mikrosysteme Vertrieb GmbH |  | DHR Holding India Pvt Ltd | himanshu.tyagi@sciex.com | director@nipgr.ac.in
Motorized Inverted Research Fluorescence Microscope Axio Observer |  | CIF | Carl Zeiss | Palm MicroBeam IV | 1214000173 | External | DBT, Govt. of India |  | Morphological study of samples, Available mode High Vacuum, VPSE for life science samples SE, VPSE BSD Detectors | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 9765746 |  | Carl Zeiss MicroImaging GmbH |  | Carl Zeiss India (Bangalore) PVt Ltd | india@zeiss.co.in | director@nipgr.ac.in
Leica RM2265 Fully Motorized Rotary Microtome |  | CIF | Leica | RM2265 | 0644/062010 | External | DBT, Govt. of India |  | Microtome for sample processing | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 1600979 |  | Leica Mikrosysteme Vertrieb GmbH |  | DHR Holding India Pvt Ltd | himanshu.tyagi@sciex.com | director@nipgr.ac.in
ChemiDoc MP Imaging System |  | CIF | Bio-Rad | Chemi Doc MP | 731BR03332 | External | DBT, Govt. of India |  | For Scanning X-ray films, Blots, 1D Gel etc. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 2488500 |  |  | Bio-Rad Laboratories Pty Ltd |  | Bio-Rad Laboratories (I) Pvt Ltd | sales.india@bio-rad.com | director@nipgr.ac.in
Phosphor Imaging System Typhoon |  | CIF | GE | Tryphoon RGB | 96770222 | External | DBT, Govt. of India |  | Phosphor Imaging, Blots, ID Analysis etc. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 5688475 |  | Global Life Sciences Solutions Singapore Pte Ltd |  | Hyclone Life Sciences Solutions India Pvt Ltd | mita.gupta@ge.com | director@nipgr.ac.in
Polarstar Omega Multidetection Reader |  | CIF | BMG Labtech | Polar Star Omega | 415-1186 | External | DBT, Govt. of India |  | For Absorbance, Fluorescence, Luminescence Biochemical study). User will provide all the consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 2518150 |  | BMG Labtech |  | Biotron Helathcare (I) Pvt Ltd | info@biotronhealthcare.com | director@nipgr.ac.in
Helios Gene Gun System |  | CIF | Bio-Rad | Gene Gun | 297BR2089 | External | DBT, Govt. of India |  | For Gene Transpormation in Live Plants. User will provide all the consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 1270980 |  | Bio-Rad Laboratories Pty Ltd |  | Bio-Rad Laboratories (I) Pvt Ltd | sales.india@bio-rad.com | director@nipgr.ac.in
7900HT Fast Real Time PCR System |  | CIF | ABI | 7900HT | 279002436 | External | DBT, Govt. of India |  | For Relative Quantification, Absolute Quantification, Gene Expression Study etc. Consumables: SYBR Green, 96/384 Well Plate, Adhesive Film will be provided be provided by the facility) User will provide all other consumables on their end. | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 6118880 |  | Thermo Fisher |  | Invitrogen Bioservices India Pvt Ltd | elapully.narayanan@liftetech.com | director@nipgr.ac.in
AKTA Pure M FPLC |  | CIF | GE | U-1500 | 21292 | External | DBT, Govt. of India |  | ÄKTA pure is a flexible and intuitive purification system for proteins, peptides, and nucleic acids from microgram levels to tens of grams of target product in research applications. grams) preparative purification. Columns : Superose 12 10/300GL Resource Q, 6ML User will provide all other consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 3311386 |  | Global Life Sciences Solutions Singapore Pte Ltd |  | Hyclone Life Sciences Solutions India Pvt Ltd | mita.gupta@ge.com | director@nipgr.ac.in
UHPLC |  | CIF | Waters | UPIBSM | L16BUR112G | External | DBT, Govt. of India |  | The ACQUITY UPLC I-Class System is optimized to preserve high-efficiency separations, making it able to realize the full benefits of sub-2-μm columns. The sensitivity of any detector will benefit from improved resolution when the total dispersion from the column and all system components is minimized. Columns : C18 1.7µm 2.1x50mm 2.1x100mm User will provide all other consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization | 3965241 |  |  | Waters Ges.m.b.H Hietzinger |  | Waters (I) Pvt Ltd | Office_Newdelhi@waters.com | director@nipgr.ac.in
Gas Chromatography |  | CIF | Shimadzu | GC-2010ATF | C11324609891 | External | DBT, Govt. of India |  | The GC-2010 is equipped with the tools for high speed analysis, providing labour savings and improving throughput. Introducing a new high-sensitivity FID, enabling the GC-2010 to conduct ultra trace analysis. The highest quality electrical connectors and cables inside of the FID-2010 have been employed to bring you a significant S/N improvement that is 2 times higher sensitivity than the previous model. Up to 4 detectors can be installed. Columns : CBXN-1000 60/80 6ft 2.0MM Capillary Column RTX 225 15MTR, 0.25 MMID, 0.25U Capillary Column RXI-1MS-30M, 0.25MMID, 0.25UM User will provide all other consumables on their end. Charges for usage of the machine only | National Institute of Plant Genome Research | CIF |  | www.nipgr.ac.in | Up | Characterization |  | 2454744 |  | Shimadzu (Asia Pacific) Pte Ltd | sales@shimadzu.com.sg | Toshvin Analytical Pvt Ltd | vjugran@toshvin.com | director@nipgr.ac.in