## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Nano eNabler™ Molecular Printing System | MPS | Material Characterization lab (Centre for Nanotechnology) | Bioforce Nanosciences | Bioforce Nanosciences | 5120 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 12260416 |  | Working | Research & Development | hocnano@iitg.ac.in
Oxidation and Diffusion Furnace | ODF | Core-III | TEMPRESS | TS6304BM | 16-A-965 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Used for doping and oxidation on silicon wafer | Centre for Nanotechnology |  | 25311217 |  | Working | Research & Development | hocnano@iitg.ac.in
Thermal Evaporation System |  | Cleanroom ISO-6 | AVAC Systems | Custom made | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 2495700 |  | Working | Research & Development | hocnano@iitg.ac.in
Cryogenic Photoluminescence Spectrometer | CPL | Material Characterization Lab - L001 | EDINBURGH INSTRUMENTS LTD, UK | FLS1000-DD-stm | H1536 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Used for studying photoluminescence of materials | Centre for Nanotechnology |  | 23579600 |  | Working | Research & Development | hocnano@iitg.ac.in
Thermal and E Beam Evaporation System |  | Cleanroom ISO-6 | HHV | AUTO 500 & BC300 | D1099 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 6913365 |  | Working | Research & Development | hocnano@iitg.ac.in
Raman Spectroscopy |  | Material Characterization lab | Horiba | LabRAM HR | 100120-024980 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Characterization | Centre for Nanotechnology |  | 12494728 |  | Working | Research & Development | hocnano@iitg.ac.in
Atomic Force Microscope | AFM | Material Characterization Lab - L001 | Bruker | Innova SPM AFM | 1B427 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Surface | Centre for Nanotechnology |  | 13836982 |  | Working | Research & Development | hocnano@iitg.ac.in
Electro Spinning Device | ESD | Cleanroom ISO-6 | M/s E-Spin Nanotech Pvt. Ltd. | Model: Super ES-2 | ES-2 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication / Nano fibers | Centre for Nanotechnology |  | 4134162 |  | Working | Research & Development | hocnano@iitg.ac.in
Mask Writer | MW | Cleanroom ISO-5 | M/s KLOE SA, France | Model: Dilase 250 ; prepare masks for microscale patterns | S170125 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 9793267 |  | Working | Research & Development | hocnano@iitg.ac.in
Plasma-Enhanced Chemical Vapor Deposition | PECVD | Cleanroom ISO-6 | Nanomaster | NPE-4000 | 356590 | MEITY | Ministry of Electronics and Information Technology, Govt of India | To deposit thin films of various materials onto a substrate | Centre for Nanotechnology |  | 14332416 |  | Working | Research & Development | hocnano@iitg.ac.in
RF Sputtering |  | Cleanroom ISO-6 | Mantis Deposition Ltd.,U.K | Model:QPREP400 System/thin metal & dielectric film deposition | AT3M-0094 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Deposition | Centre for Nanotechnology |  | 967274 |  | Working | Research & Development | hocnano@iitg.ac.in
Reactive Ion Etching | RIE | Cleanroom ISO-6 | NANO-MASTER, INC | NRE-4000 | 360091 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication and Surface Treatment | Centre for Nanotechnology |  | 16638485.5 |  | Working | Research & Development | hocnano@iitg.ac.in
Field Effect Scanning Electron Microscopy | FESEM | Cleanroom ISO-5 | Jeol | JSM-7610F | SM1765000550055 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Optical characterization | Centre for Nanotechnology |  | 22419575.36 |  | Working | Research & Development | hocnano@iitg.ac.in
Electron Beam Lithography | EBL | Cleanroom ISO-5 | XENOS | XeDraw 2 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 10761360.7 |  | Working | Research & Development | hocnano@iitg.ac.in
Semi-automatic wire Bonder | WB | Material Characterization Lab | TPT Wire Bonder GmbH & Co. | HB16 | 748 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Packaging | Centre for Nanotechnology |  | 4164640.2 |  | Working | Research & Development | hocnano@iitg.ac.in
Hot Press | Hot Press | L-207 | Nano Tec | NT/HOTPRESS | 527 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Pressing | Centre for Nanotechnology |  | 2230200 |  | Working | Research & Development | hocnano@iitg.ac.in
Double Sided Mask Aligner | DSMA | Cleanroom ISO-5 | EV Group | EVG620NT | S170125 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 16754505.2 |  | Working | Research & Development | hocnano@iitg.ac.in
Cryogenic DC Probe station |  | Electrical Characterization Lab - L003 | Lakeshore | CPX100 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electrical characterization | Centre for Nanotechnology |  | 11564194 |  | Working | Research & Development | hocnano@iitg.ac.in
IV-CV Pulse Parametric Analyzer |  | Electrical Characterization Lab - L003 | Keithley | 4200A-SCS | 1451892 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electrical characterization | Centre for Nanotechnology |  | 3868626 |  | Working | Research & Development | hocnano@iitg.ac.in
DC Probe Station |  | Electrical Characterization Lab - L003 | Ever Being | BD-6 | 16027395 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electrical characterization | Centre for Nanotechnology |  | 3522895 |  | Working | Research & Development | hocnano@iitg.ac.in
Impedance Analyzer |  | Electrical Characterization Lab - L003 | Hioki | IM 3590, IM 7581-02 | 171006153, 170945632 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electrical characterization | Centre for Nanotechnology |  | 3299308 |  | Working | Research & Development | hocnano@iitg.ac.in
Contact Angle Goniometer |  | L-306 | KRUSS GmbH | DSA100E | 30015046 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Contact Angle measurement | Centre for Nanotechnology |  | 10263541 |  | Working | Research & Development | hocnano@iitg.ac.in
High Vaccum DC Probe Station |  | Material Characterization Lab | EverBeing | C4 Probe Station | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electrical characterization | Centre for Nanotechnology |  | 10299984 |  | Working | Research & Development | hocnano@iitg.ac.in
3D Bioprinter setup with accessories |  |  | CELLINK | BIOX6 | BIOX-6-S-10002-001 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 6700000 |  | Working | Research & Development | hocnano@iitg.ac.in
Vacuum System for Pulsed Laser Deposition |  |  | Advanced Process Technology Pvt. Ltd. | APT-PLD-001 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | high vacuum thin film deposition system | Centre for Nanotechnology |  | 2892180 |  | Working | Research & Development | hocnano@iitg.ac.in
3D Surface Profilometer |  |  | LynceeTec | M-011-R-X-006 | 340080 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Surface Charactersitics | Centre for Nanotechnology |  | 2497054 |  | Working | Research & Development | hocnano@iitg.ac.in
HPLC |  |  | Agilent | 1260 Infinity II | DEAGQ05235 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Seperate and Identify compounds in a mixture | Centre for Nanotechnology |  | 2500000 |  | Working | Research & Development | hocnano@iitg.ac.in
EDXS |  | Cleanroom ISO-5 | JEOL Ltd | JSM-7610F | JSM-7610F | MEITY | Ministry of Electronics and Information Technology, Govt of India | Elementl Composition | Centre for Nanotechnology |  | 6801242 |  | Working | Research & Development | hocnano@iitg.ac.in
​Computational ​ Server |  |  | HPE ProLiant | DL380 Gen 10 Plus | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Computation | Centre for Nanotechnology |  | 2006000 |  | Working | Research & Development | hocnano@iitg.ac.in
Software Module 3 |  |  | Silvaco | Victory 2D & 3D omni | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 2135238 |  | Working | Research & Development | hocnano@iitg.ac.in
3D Bioactuation setup with accessories |  |  | ITW India Private Limited | Planar Biaxial Bioreactor System | AC-25-6100,202301610001 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Cell Manupulation | Centre for Nanotechnology |  | 10399901 |  | Working | Research & Development | hocnano@iitg.ac.in
Thermal Evaporation System |  | Cleanroom ISO-6 | AVAC Systems Pvt. Ltd. | Custom Made | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Deposition | Centre for Nanotechnology |  | 2495700 |  | Working | Research & Development | hocnano@iitg.ac.in
Large area Semiconductor Device simulation software |  |  | Fluxim | LAOSS | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | simulate the electrical characteristics of semiconductor devices | Centre for Nanotechnology |  | 950000 |  | Working | Research & Development | hocnano@iitg.ac.in
Fume Hood |  |  | Custom Made | 2100x900x2440 | 2586 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Release of gases | Centre for Nanotechnology |  | 248955 |  | Working | Research & Development | hocnano@iitg.ac.in
Ball mill​ |  |  | FRITSCH Gmbh. | Pulverisette 6 Classic Line | 06.2000/05079 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Crushing and grinding the materials | Centre for Nanotechnology |  | 779600 |  | Working | Research & Development | hocnano@iitg.ac.in
Vacuum Oven​ |  |  | TEMPO | TI-136 GWB | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Sample Drying | Centre for Nanotechnology |  | 232460 |  | Working | Research & Development | hocnano@iitg.ac.in
Lab Furniture​ |  |  | Mayuri Furniture | MF-DC-22-23-0086 | MF-DC-22-23-0086 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 2354100 |  | Working | Research & Development | hocnano@iitg.ac.in
Bio Safety Cabinet Class II, B2 |  |  | Clean Air System | CBS1200B2 | 169-02-22-23 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Storage | Centre for Nanotechnology |  | 382257 |  | Working | Research & Development | hocnano@iitg.ac.in
Flourocent Cell Imager |  |  | BioRad | 1450031 | 742BR3475 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Cell Imaging | Centre for Nanotechnology |  | 677733 |  | Working | Research & Development | hocnano@iitg.ac.in
-20°C Upright Freezer |  |  | Celfrost | BFS 345 s | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Free | Centre for Nanotechnology |  | 117600 |  | Working | Research & Development | hocnano@iitg.ac.in
2-10°C Refrigerator |  |  | Celfrost | FKG430 | FKG430-220709370 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Freezing Samples | Centre for Nanotechnology |  | 60180 |  | Working | Research & Development | hocnano@iitg.ac.in
LN2 Container |  |  | IX 750 | INOXCVA | CM-L-3645667 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Freezing Samples | Centre for Nanotechnology |  | 118826 |  | Working | Research & Development | hocnano@iitg.ac.in
Waterbath |  |  | Tempo | Tl-601 | 3114.2K23.01.040 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Temerature controlled heating | Centre for Nanotechnology |  | 49796 |  | Working | Research & Development | hocnano@iitg.ac.in
CO2 Incubator |  |  | Eppendorf | CellXpertClT0 | 6734MG130987 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Cell Culture Growth | Centre for Nanotechnology |  | 702100 |  | Working | Research & Development | hocnano@iitg.ac.in
Real Time PCR System |  |  | Applied Biosystem/Thermo Fisher Scientific | QuantStudio@ 3 Real-Time PCR System | 272326860 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Gene Expression Analysis | Centre for Nanotechnology |  | 1168200 |  | Working | Research & Development | hocnano@iitg.ac.in
Refrigerated Micro Centrifuge |  |  | Eppendorf | S425R | 5943MH606510 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Cold Sample centrifugation | Centre for Nanotechnology |  | 359900 |  | Working | Research & Development | hocnano@iitg.ac.in
Table Top Multipurpose Refrigerated Centrifuge |  |  | Eppendorf | 5910Ri G | 5406LL104607 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Cold Sample centrifugation | Centre for Nanotechnology |  | 873200 |  | Working | Research & Development | hocnano@iitg.ac.in
PHD Ultra Infusion Only Pump |  |  | Harvard Aparatus | 700 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Precise Fluid delivery | Centre for Nanotechnology |  | 590000 |  | Working | Research & Development | hocnano@iitg.ac.in
Single Head Abraser Set |  |  | Taber | 1700 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Surface wear testing | Centre for Nanotechnology |  | 811486 |  | Working | Research & Development | hocnano@iitg.ac.in
Dip Coater |  |  | Spektrodip | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fabrication | Centre for Nanotechnology |  | 250000 |  | Working | Research & Development | hocnano@iitg.ac.in
High End Optical Microscope |  |  | Carl Ziess | LSM 880 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Microscopy | Centre for Nanotechnology |  | 31422683.49 |  | Working | Research & Development | hocnano@iitg.ac.in
GATAN CCD Camera and accessories |  |  | Gatan | Orious SC200B | 17061501W0830 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Electron Microscopy Imaging | Centre for Nanotechnology |  | 4816786 |  | Working | Research & Development | hocnano@iitg.ac.in
Gas Distribution System |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Gas Distributin | Centre for Nanotechnology |  | 915179 |  | Working | Research & Development | hocnano@iitg.ac.in
Exhaust System |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Fume Extraction Unit | Centre for Nanotechnology |  | 209750 |  | Working | Research & Development | hocnano@iitg.ac.in
Controlled Environment Chamber |  |  | Absstem | CEGSC01 | NTC-G090/18 MAR/02 | MEITY | Ministry of Electronics and Information Technology, Govt of India | create replicated environmental conditions for research sample growth and testing | Centre for Nanotechnology |  | 3126835 |  | Working | Research & Development | hocnano@iitg.ac.in
Glovebox |  | Material Characterization Lab - L001 | JACOMEX (France) | GP[CAMPUS]-T2 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Controlled Atmosphere Enclosure | Centre for Nanotechnology |  | 2793655.83 |  | Working | Research & Development | hocnano@iitg.ac.in
PowerEdge R720 2U rack server |  |  | Dell | Poweredge | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 709700 |  | Working | Research & Development | hocnano@iitg.ac.in
Accelrys Software |  |  | PR-14400 MS | PR-14400 MS | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 1797756 |  | Working | Research & Development | hocnano@iitg.ac.in
Computational Servers |  |  | Fujitsu RX300 S8 | Fujitsu RX300 S8 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Data processing, application execution, and managing complicated workloads | Centre for Nanotechnology |  | 2160250.07 |  | Working | Research & Development | hocnano@iitg.ac.in
Coventorware Software |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 839891 |  | Working | Research & Development | hocnano@iitg.ac.in
Comsol Software |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 777405 |  | Working | Research & Development | hocnano@iitg.ac.in
Ansys Software |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Computational Work | Centre for Nanotechnology |  | 717400 |  | Working | Research & Development | hocnano@iitg.ac.in
Desktop Computers |  |  | Acer | Veriton M 200 | UDVHHSI034F2195404 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 617400 |  | Working | Research & Development | hocnano@iitg.ac.in
Comsol Multiphysics |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Computational Work | Centre for Nanotechnology |  | 632625 |  | Working | Research & Development | hocnano@iitg.ac.in
Comsol Multiphysics |  |  | NA | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Computational Work | Centre for Nanotechnology |  | 179555 |  | Working | Research & Development | hocnano@iitg.ac.in
Orion UPS |  |  | Orion | 6KVA/192V 0L | 13L-1331 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Power Backup | Centre for Nanotechnology |  | 147550 |  | Working | Research & Development | hocnano@iitg.ac.in
20KVA On Line UPS system and 6KVA On Line UPS System |  |  | Orion | Astra Series | DS235-30547J | MEITY | Ministry of Electronics and Information Technology, Govt of India | Power Backup | Centre for Nanotechnology |  | 335509 |  | Working | Research & Development | hocnano@iitg.ac.in
HP Laser Printer |  |  | HP | Model P MFP 1536 dnf | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Print | Centre for Nanotechnology |  | 25463 |  | Working | Research & Development | hocnano@iitg.ac.in
Spin Coater |  |  | Apex Instruments. | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Coating | Centre for Nanotechnology |  | 93547 |  | Working | Research & Development | hocnano@iitg.ac.in
Autoclave |  |  | GON engg. Works | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 25935 |  | Working | Research & Development | hocnano@iitg.ac.in
Revolutionary Micro Centrifuge |  |  | REMI | RM-12C | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 25000 |  | Working | Research & Development | hocnano@iitg.ac.in
Hot Air Oven |  |  | Optics Technology. | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Sterilize materials | Centre for Nanotechnology |  | 33778 |  | Working | Research & Development | hocnano@iitg.ac.in
Miniphore UVT Sysytem |  |  | Merck | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 14775 |  | Working | Research & Development | hocnano@iitg.ac.in
Testronix Power Supply |  |  | Testronix | 93c(30V/5A II) | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 15600 |  | Working | Research & Development | hocnano@iitg.ac.in
Microwave Oven |  |  | Samsung Microwave | MC28H5023/134W | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Baking | Centre for Nanotechnology |  | 12500 |  | Working | Research & Development | hocnano@iitg.ac.in
LabGuard Fume Hood With Accessories |  |  | LabGuard. | INVENTA-EX 1200-LCV | INVENTA-EX 1200-LCV | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 283772 |  | Working | Research & Development | hocnano@iitg.ac.in
SPINOT digital magnetic stirrer hot plate. |  |  | SPINOT | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | mixing | Centre for Nanotechnology |  | 23993 |  | Working | Research & Development | hocnano@iitg.ac.in
Handycam |  |  | Sony | HDR-p-j410 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 33200 |  | Working | Research & Development | hocnano@iitg.ac.in
Vacuum pump and Magnetic stirrer hot plate |  |  | ROCKYVAC | vacuum pump 600& SPINOT Magnetic Stirrer | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | mixing | Centre for Nanotechnology |  | 64524 |  | Working | Research & Development | hocnano@iitg.ac.in
Rockyvac Vacuum Pump 600 and Spinot digital Magnetic stirrer hot plate |  |  | ROCKYVAC vacuum pump 600 | ROCKYVAC vacuum pump 600 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 64525 |  | Working | Research & Development | hocnano@iitg.ac.in
Refrigerator |  |  | Samsung | RT30K3983UVSZ | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Sample storage | Centre for Nanotechnology |  | 30900 |  | Working | Research & Development | hocnano@iitg.ac.in
Hand Pallet Truck |  |  | CUMILIFT 550X1150 | CUMILIFT 550X1150 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 15750 |  | Working | Research & Development | hocnano@iitg.ac.in
CCTV Survillance and recording |  |  | Hikvison | DS-2CD2110F-1(S)(W) | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Research & Development | Centre for Nanotechnology |  | 473408 |  | Working | Research & Development | hocnano@iitg.ac.in
Analytical Balance |  |  | Mettler Toledo | ME104 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Weighing | Centre for Nanotechnology |  | 91600 |  | Working | Research & Development | hocnano@iitg.ac.in
Analytical Balance |  |  | Mettler Toledo | ME105 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Weighing | Centre for Nanotechnology |  | 91600 |  | Working | Research & Development | hocnano@iitg.ac.in
Magnetic stirrer with hot plate digital |  |  | Antech | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Mixing | Centre for Nanotechnology |  | 35190 |  | Working | Research & Development | hocnano@iitg.ac.in
Programmable Spin Coating System |  |  | Apex Instruments | spinNXG-P1 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Spin Coating | Centre for Nanotechnology |  | 114100 |  | Working | Research & Development | hocnano@iitg.ac.in
Rotavopor |  |  | BUCHI | Rotavopor R-700 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Remove solvent from a sample | Centre for Nanotechnology |  | 291750 |  | Working | Research & Development | hocnano@iitg.ac.in
Ultrasonic Bath |  |  | Telsonic | TPC-4OH | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | High frequency cleaning and mixing | Centre for Nanotechnology |  | 100250 |  | Working | Research & Development | hocnano@iitg.ac.in
Ultrasonic Processor |  |  | Hielcher Germany | UP400S | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Sonication | Centre for Nanotechnology |  | 497070 |  | Working | Research & Development | hocnano@iitg.ac.in
Digital pH meter |  |  | WTW Germany | inolab PH 7110 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | mesure pH | Centre for Nanotechnology |  | 131865 |  | Working | Research & Development | hocnano@iitg.ac.in
Heat Temperature Vaccum Furnace |  |  | Indfurr | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Heat Treatment | Centre for Nanotechnology |  | 206156 |  | Working | Research & Development | hocnano@iitg.ac.in
Digital UV Ozone cleaning system |  |  | Novascan | PSDP-UV4 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Housing a series of high intensity, low pressure synthetic quartz mercury vapour discharge lamps | Centre for Nanotechnology |  | 472089.15 |  | Working | Research & Development | hocnano@iitg.ac.in
UV visible spectrophotometer |  |  | Shimadzu | UV-2600 | A116654 | MEITY | Ministry of Electronics and Information Technology, Govt of India | UV absorbance light mesurement | Centre for Nanotechnology |  | 1151348 |  | Working | Research & Development | hocnano@iitg.ac.in
Benchtop Incubator cum orbital shaker (XRD Lab) |  |  | NEOLAB | 05I-264 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | To provide optimal conditions for cell growth | Centre for Nanotechnology |  | 80000 |  | Working | Research & Development | hocnano@iitg.ac.in
Rotary Pump |  |  | HVV | FD-12 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Creating Vacuum | Centre for Nanotechnology |  | 91595 |  | Working | Research & Development | hocnano@iitg.ac.in
Class 100 Wet Chemical Station |  |  | NA | GRWB1 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Handling Chemical | Centre for Nanotechnology |  | 503165 |  | Working | Research & Development | hocnano@iitg.ac.in
Refrigerated high speed centrifuge |  |  | Thermo fisher | NA | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Density-based separation of fluids, gas, or liquid | Centre for Nanotechnology |  | 490467 |  | Working | Research & Development | hocnano@iitg.ac.in
Mini Sputter Coater System |  |  | Icon Analytical Equipment Pvt. Ltd. | SC7620 | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Coating | Centre for Nanotechnology |  | 519387 |  | Working | Research & Development | hocnano@iitg.ac.in
High End Refrigerated Centrifuge |  |  | Eppendrof | 5810R | NA | MEITY | Ministry of Electronics and Information Technology, Govt of India | Density-based separation of fluids, gas, or liquid | Centre for Nanotechnology |  | 493500 |  | Working | Research & Development | hocnano@iitg.ac.in
Fuel Cell Testing Lab |  |  | Vartis | IGPI | 82407 | MEITY | Ministry of Electronics and Information Technology, Govt of India | Testing | Centre for Nanotechnology |  | 6579680 |  | Working | Research & Development | hocnano@iitg.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE