## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
QX200 Droplet Digital PCR System |  | CIF I | Bio-Rad | QX200 Droplet Reader | 7713R3463 | Internal Funding | Ministry of Education | Based on water-emulsion droplet technology, Droplet Digital PCR fractionates a DNA sample in up to 25,000 droplets. PCR amplification of the template subsequently occurs in each individual droplet, and counting the positive droplets gives precise, absolute target quantification. | Biotechnology | Central Instrumentation Facility | 7245870 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Multiplex PCR System |  | CIF I | Bio-Rad | Bioplex200System | LX10017312422 | Internal Funding | Ministry of Education | The Luminex multiplex PCR is a compact, bead‑based multiplex analyzer that measures up to 100 analytes in a single sample. It delivers reproducible, high‑quality results from minimal volumes, supporting biomarker discovery, immunology, and drug development. | Biotechnology | Central Instrumentation Facility | 7141505 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Portable Photosynthesis and Fluorescence System |  | CIF I | LI - COR | L16400XT | LCF-2543 | Internal Funding | Ministry of Education | The Portable Photosynthesis System simultaneously measures photosynthetic gas exchange and chlorophyll a fluorescence over the same area in plants and aquatic samples, revealing additional insights into photobiology. Highly extendable, it is capable of measuring gas exchange from soil, insects, and many other sample types for countless experiments. | Biotechnology | Central Instrumentation Facility | 2586006 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
RT – PCR Machine |  | CIF I | Bio-Rad | CFX - 96 Real System | 785BR15865 | Internal Funding | Ministry of Education | The CFX96 Touch System is a powerful, precise, and flexible real-time PCR detection system. real-time PCR instrument combines advanced optical technology with precise temperature control to deliver sensitive, Quickly set up runs and monitor amplification traces in real time on the integrated LCD touch screen, With up to five-target detection, unsurpassed thermal cycler performance, unrivaled stand-alone functionality, and powerful yet easy-to-use software, | Biotechnology | Central Instrumentation Facility | 1250000 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Ultra Centrifuge |  | CIF I | Beckman Coulter | Optima XPN-100 | 22T18246 | Internal Funding | Ministry of Education | The Optima XPN-100 is the premier ultracentrifuge. With networking capability and customizable security and tracking features to ensure chain of custody and compliance, the Optima XPN offers a safe and productive work environment. Equipped with the innovative expert simulation software. Available in 100k, 90k, and 80k RPM configurations. Compatible with extensive rotor. | Biotechnology | Central Instrumentation Facility | 16984320 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
TOC Analyzer |  | CIF I | Analytik Jena | MultiN/C 3100 | N3-2360/AX | Internal Funding | Ministry of Education |  | Biotechnology | Central Instrumentation Facility | 1968240 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
FTIR |  | CIF I | Jasco | FT/IR-4X | A043462111 | External Funding | Ministry of Education | The FT/IR-4X is a powerful FTIR spectrometer, with many features that you find in a research-grade instrument, such as non-hygroscopic KRS-5 windows to prevent damage to the interferometer, a temperature-controlled DLaTGS detector and a high output ceramic source for maximum sensitivity. Permanent optical alignment is guaranteed by corner cube (retro-reflective) mirrors with auto-alignment for maximum energy. | Biotechnology | Central Instrumentation Facility | 1800000 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
HPLC |  | CIF I | Jasco | LC-4000 Plus Series | F086061675 | External Funding | Ministry of Education | HPLC system component is completely stackable into a modest height. Fully integrated with complete system monitoring. All user replaceable components are accessible through the front panel. Vertical leak/drain system to channel away solvent. Integrated earthquake securing option. Multiple pump control for up to 4 gradient pumps in a single system. Up to 5 detectors and 3 column ovens.6 or 10 column and solvent selection for method development. All detectors include 100 Hz acquisition with interchangeable flow cells | Biotechnology | Central Instrumentation Facility | 2808400 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Fermentor |  | CIF I | Eppendrof | Bio Flo 120 | 1390HP001462 | Internal Funding | Ministry of Education | The BioFlo 120 is designed to support scientists in bioprocess R&D with flexibility and ease of use.it is compatible with a variety of autoclavable glass and BioBLU Single-Use Bioreactors. Scalability from 250 mL to up to 40 L. Sensitive mammalian cells as well as high-demand microbial cultures can be processed on a single controller. Auto Culture software feature for an easy start. | Biotechnology | Central Instrumentation Facility | 3328744 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Gas Chromatography |  | CIF I | Anatek Service | GC4000Plus | 4000T-1009 | Internal Funding | Ministry of Education | Gas Chromatography GC-4000 series is Versatile, Precise, Speed It Delivers high analytical performance, which is Computer controlled and Dedicated capillary injection ports and Dual FID, TCD, NPD & ECD Detectors with four injectors to enhance analytical capabilities | Biotechnology | Central Instrumentation Facility | 3504600 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Lyophilizer |  | CIF I | Basil Biosolutions | HC3110P | KHC1P2352505002 | External Funding | Ministry of Education | The freeze dryer (lyophilizer) is a dependable laboratory instrument designed for the effective removal of moisture from a pre-frozen samples by applying a deep vacuum to convert the frozen water molecules directly into vapor, bypassing the liquid phase. This process ensures complete drying while preserving the structure and quality of the drying sample. The system operates at ultra-low temperatures, ranging from -55°C or -110°C, making it suitable for a wide variety of samples, including biological materials, aqueous products, and solvents with low freezing points. The freeze dryer is a practical solution for laboratories needing reliable sample preservation. It serves as a solution for applications in biotechnology, food preservation, environmental science, and research, ensuring samples remain stable and ready for long-term storage or further analysis | Biotechnology | Central Instrumentation Facility | 1673920 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Flow Cytometer |  | CIF I | Becton Dickinson | FACS Canto II | R33896202944 | Internal Funding | Ministry of Education | Automatic loading of up to forty 12 x 75-mm tubes on the BD FACS Canto™ II System without operator intervention, Compressed air to allow a more reliable tube load, An intelligent tube guide mechanism that automatically sends an alert if a tube is not properly positioned for loading,BD patented octagon and trigon detector arrays use serial light reflections to guide signals to their target detectors, resulting in highly efficient light collection and providing maximum signal retention at the detector level. | Biotechnology | Central Instrumentation Facility | 5752320 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in
Multi-Mode Reader |  | CIF I | Spectra MaX | SpectraMaxI3X | NPAB-29-233332 | Internal Funding | Ministry of Education | Molecular Devices latest multi-mode microplate reader which delivers several applications including, Ultra-Violet to visible absorbance detection, fluorescence intensity and multi-colour luminescence. | Biotechnology | Central Instrumentation Facility | 3000000 | https://cutn.ac.in/department-of-biotechnology | Working | Characterisation/Analytical/Testing Equipment | hodbiotechnology@cutn.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE