## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
DSC with Mass flow Control High Temp 500 deg celcious | DSC | VRK 110 | M/s Waters GMBH Austria | DSC Q20 | 2845 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 900 |  | Not working | Characterisation/Analytical | M/s. Waters (India) Private Limited, Bangalore | ta_india@waters.com | Waters (India) Private Limited Bangalore | ta_india@waters.com | sifchem@acad.cutn.ac.in
TGA DSC (STA 8000) RT 900 deg celcious | TGA-DSC | VRK 111 | M/s. Perkin Elmer Singapore PTE Limited, Singapore | STA 8000 | 520A3112805 | Internal Funding | Ministry of Education |  | Simultaneous analysis of TG with DTA mode (ΔT) and DSC (mW) mode for fast enhanced result interpretation Wide temperature range allow measurements from below room temperature to 1600 °C. Superior accuracy and sensitivity in a small package with an attractive price Superior weight, heat flow and temperature accuracy in a small package with an attractive price Top loading balance for ease of sample loading | Chemistry |  | 900 |  | Working | Characterisation/Analytical | M/s. Perkin Elmer India Private Limited, Mumbai | India.Servicesupport@perkinelmer.com | M/s. Perkin Elmer India Private Limited, Mumbai | India.Servicesupport@perkinelmer.com | sifchem@acad.cutn.ac.in
Electro Chemical Analyser (CH Instrument) | CV | VRK 110 | M/s. Sinsil International Pvt. Ltd. Bengaluru | CHI600D+ spl. |  | Internal Funding | Ministry of Education |  | The CHI600D series includes a potentiostat for controlling potential and a galvanostat (in select models) for controlling current. The instrument can perform a wide range of electrochemical techniques, including potential sweep, step, pulse, alternating current (AC), stripping, and scanning electrochemical microscopy. | Chemistry |  | 1800 |  | Working | Characterisation/Analytical | M/s. Sinsil International Pvt. Ltd. Bengaluru | bangalore@sinsil.in | M/s. Sinsil International Pvt. Ltd. Bengaluru | bangalore@sinsil.in | sifchem@acad.cutn.ac.in
GC- FID Gas Chromatography |  | VRK 111 | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | G4350B-7820 | CN14132001 | Internal Funding | Ministry of Education |  | Gas chromatography system designed for routine analyses in small to medium-sized labs. It features electronic pneumatic control (EPC) for precise gas flow and pressure regulation. FID is a widely used detector in GC systems for quantifying organic compounds. | Chemistry |  | 1800 |  | Working | Characterisation/Analytical | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | customercare.india@agilent.com | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | customercare.india@agilent.com | sifchem@acad.cutn.ac.in
Cary 630 FT-IR spectrometer | FT-IR | VRK 110 | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | G8043-64001 | MY13330001 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 270 |  |  | Characterisation/Analytical | M/s. Agilent Technologies India Pvt. Ltd. Chennai | customercare.india@agilent.com | M/s. Agilent Technologies India Pvt. Ltd. Chennai | customercare.india@agilent.com | sifchem@acad.cutn.ac.in
Gel Documentation System | Gdoc | VRK 111 | M/s. Vilber Lourmat, France | S420D | - | Internal Funding | Ministry of Education |  | The Fusion SL-400.EPI is a gel documentation system, likely manufactured by Vilber Lourmat, designed for imaging and analyzing nucleic acid and protein gels. It likely includes features like a darkroom cabinet, a camera with a motorized lens, UV and white light transilluminators, and software for image capture and analysis. This system is used to visualize and document the results of gel electrophoresis, a technique used to separate molecules like DNA and proteins based on their size and charge. | Chemistry |  | 300 |  |  | Characterisation/Analytical | M/s. Labindia Instruments Pvt. Ltd. Chennai | anandharaj.r@eppendorf.co.in | M/s. Eppendorf India Ltd., Chennai | anandharaj.r@eppendorf.co.in | sifchem@acad.cutn.ac.in
HPLC System with Diode Array Detector | HPLC-DAD | VRK 111 | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | G4220B-1290 | DEBAA04515 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical |  |  |  |  | sifchem@acad.cutn.ac.in
UV/ VIS/ NIR (Jasco V-670) UV-VIS-NIR | UV-VIS-NIR | VRK 111 | M/s. JASCO International Co. Ltd. Japan | V-670 | B111661154 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 270 |  |  | Characterisation/Analytical | M/s. Anatek Services Pvt. Ltd., Chennai | services@anatekservices.com | M/s. Anatek Services Pvt. Ltd., Chennai | services@anatekservices.com | sifchem@acad.cutn.ac.in
UV/ VIS/ NIR (Jasco V-670) UV-VIS | UV-VIS-NIR | VRK 111 | M/s. JASCO International Co. Ltd. Japan | V-670 | C005661401 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical | M/s. Anatek Services Pvt. Ltd., Chennai | services@anatekservices.com | M/s. Anatek Services Pvt. Ltd., Chennai | services@anatekservices.com | sifchem@acad.cutn.ac.in
Gel Permeation Chromatography (Malvern Instruments) | GPC | VRK 111 | M/s. Malvern Instruments Limited, UK | GPC5140 | MAL1226485 | Internal Funding | Ministry of Education |  |  | Chemistry |  | 4000 |  |  | Characterisation/Analytical | M/s. Aimil Limited Chennai | salesinfo@malvern.com | M/s. Aimil Limited Chennai | anandharaj.r@eppendorf.co.in | sifchem@acad.cutn.ac.in
Spectrofluorimeter (Model: LS 55) | Fluorescence | VRK 111 | M/s. Perkin Elmer India Private Limited, New Delhi | LS 55 |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 270 |  |  | Characterisation/Analytical | M/s. Perkin Elmer India Private Limited, New Delhi |  | M/s. Perkin Elmer India Private Limited, New Delhi | las-india.servicerequest@perkinelmer.com | sifchem@acad.cutn.ac.in
GC-MS | GC-MS | VRK 111 | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | GC 7890A | CN1034100 | Internal Funding | Ministry of Education |  | The 5975 MSD provides exceptional sensitivity and accurate mass measurements for trace-level compound identification and quantification. The Agilent 7890A GC delivers excellent chromatographic resolution, precise peak integration, and consistent reproducibility. | Chemistry |  | 1800 |  |  | Characterisation/Analytical |  | customercare.india@agilent.com | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | customercare.india@agilent.com | sifchem@acad.cutn.ac.in
MS | MS | VRK 111 | M/s. Agilent Technologies India Pvt. Ltd. Bangalore | MS 5975C | G1701EA | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical |  |  |  | customercare.india@agilent.com | sifchem@acad.cutn.ac.in
LC-MS | LC-MS | VRK 111 | M/s. Thermofischer Scientific India Pvt. Ltd. | LC-MS |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical | 21080000 |  |  |  | sifchem@acad.cutn.ac.in
LC-MS-HRMS | LC-MS-HRMS | VRK 111 | M/s. Thermofischer Scientific India Pvt. Ltd. | LC-MS-HRMS |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 2250 |  |  | Characterisation/Analytical |  |  |  |  | sifchem@acad.cutn.ac.in
NMR Spectroscopy - 1H, 13C, 31P, 19F NMR (CDCl3) | NMR | VRK 112 | M/s. Bruker Biospin AG, Switzerland | AV4400-Avance NEO 400 |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 600 |  |  | Characterisation/Analytical | 28000000 | manjunatha.Bhimachar@bruker.com | M/s. Bruker India Scientific Pvt. Ltd,Bangalore | manjunatha.Bhimachar@bruker.com | sifchem@acad.cutn.ac.in
NMR Spectroscopy - 1H, 13C, 31P, 19F Proton NMR (DMSO) | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 800 |  |  | Characterisation/Analytical
NMR Spectroscopy - 1H, 13C, 31P, 19F NMR (D2O) DMF | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1000 |  |  | Characterisation/Analytical
NMR Spectroscopy - DEPT 135 with CDCl3 | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 800 |  |  | Characterisation/Analytical
NMR Spectroscopy - DEPT 135 with DMSO | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1000 |  |  | Characterisation/Analytical
NMR Spectroscopy - DEPT 135 with (D2O) DMF | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1200 |  |  | Characterisation/Analytical
NMR Spectroscopy - 2D NMR | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical
NMR Spectroscopy - Solid mode NMR | NMR | VRK 112 |  |  |  | Internal Funding | Ministry of Education |  |  | Chemistry |  | 1800 |  |  | Characterisation/Analytical

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE