## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
FTIR with Attachment | Fourier Transform Infra Red Spectroscopy | Instrument Lab | Perkin Elmer | Spectrum TWO | UATR TWO | Internal Funding | Central University of Tamil Nadu |  | Fourier Transform Infrared Spectroscopy, also known as FTIR Analysis or FTIR Spectroscopy, is an analytical technique used to identify organic, polymeric, and, in some cases, inorganic materials. The FTIR analysis method uses infrared light to scan test samples and observe chemical properties. | Physics | Fourier Transform Infrared Spectroscopy | 1960774 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Perkin Elmer Singapore PTE Ltd., Singapore |  | SPECTRALYTIC SCIENTIFIC INDIA PRIVATE LIMITED, Chennai |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Malvern Zete Seizer NANO | Particle size determination and zeta potential(DLS) | Instrument Lab | Malvern | Nano ZSP | ZEN5600 | Internal Funding | Central University of Tamil Nadu |  | It measure the particle size using dynamic light scattering Techniques and Zeta potential of nanoparticles.Optionally it can also determine the microrheology of proteins based on DLS | Physics | Particle size and Zeta Potential Measurement | 4604653 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Aimil Limited. Chennai |  | M/s. Aimil Limited. Chennai |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Confocal Laser Scanning Microscope With attachments CLSM | Confocal Laser Scanning Microscope With attachments(CLSM) | Instrument Lab | Leica | TCS SP8 | TCS SP8-8100000656 | Internal Funding | Central University of Tamil Nadu |  | Conocal Laser Scanning Microscope can be used for biomedical research and surface analysis in material science applications, Offerinf high precision in three dimensional imaging and exact examination of subcellular structures and dynamic process.It also optimal photon efficiency anf high speed, up to 428 frames per second. | Physics | Confocal Laser Scanning Microscope | 22185825 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Leica Microsystem |  | Leica Microsystems, A Division of DHR Holding India Pvt. Ltd, |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
UV Visible Spectrophotometer | UV-Visible Spectrophotometer | Instrument Lab | Shimadzu | UV-1800 | A116355 | Internal Funding | Central University of Tamil Nadu |  | UV-Visible Instrumentation. A spectrophotometer is a device used to measure the transmittance or absorbance of a sample as a function of the wavelength of the electromagnetic spectrum. | Physics | UV-Visible Spectroscopy | 469350 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Toshvin Analytical Pvt. Ltd. |  | Toshvin Analytical Pvt. Ltd.“POORNA”, 1st Floor, 84 R, Sampoornam Avenue, Arcot Road, Vadapalani, Chennai 600 026, India. |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Powder X RAY Diffraction | Powder X-RAY Diffraction | Instrument Lab | Malvern Panalytical | Empyrean | 206828 | Internal Funding | Central University of Tamil Nadu |  | X-ray powder diffraction (XRD) is a rapid analytical technique primarily used for phase identification of a crystalline material and can provide information on unit cell dimensions | Physics | Powder X-RAY Diffraction | 13097128 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Spectris Technologies Pvt Ltd., Unit No 560, 560A, 561, 562,Gurgaon - 122001,Haryana |  | Spectris Technologies Pvt Ltd., Unit No 560, 560A, 561, 562,Gurgaon - 122001,Haryana |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Vector Network Analyser VNA | Vector Network Analyser | Instrument Lab | Rhode & Schwarz | ZVA40 | 1145.1110.42 | Internal Funding | Central University of Tamil Nadu |  | Vector Network Analyzer along with dielectric assessment kit for measuring dielectric constant, It is used to measure the impedance at the end of the open ended coaxial probe, while the DAK sofware calculates the dielectric constant from the measurement.There are three different probes for measuring permittivity at differency frequenies. DAK1.1, DAK 3.5, DAK 12. | Physics | Dielectric Measurement and RF parameters measurement system | 7245000 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | M/s. Rohde @ Schwarz India Pvt. Ltd.,New Delhi |  | M/s. Rohde @ Schwarz India Pvt. Ltd.,New Delhi |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Seebeck Coefficient and Electrical Resistivity Measurement system SBA | Seebeck Coefficient and Electrical Resistivity Measurement system (SBA) | Instrument Lab | Netzsch,Germany | Nemesis SBA458 | SBA45800B-0014 | Internal Funding | Central University of Tamil Nadu |  | Simultaneous determination of Seepbeck cofficient and electrical condutivity of solids. | Physics | Seebeck Coefficient and Electrical Resistivity Measurement system (SBA) from RT-1100DegC | 4521240 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | Netzsch Technologies India Pvt Ltd, No. 39, 2nd Street, Spartan Nagar, Mogappair. Chennai 600 037 |  | Netzsch Technologies India Pvt Ltd, No. 39, 2nd Street, Spartan Nagar, Mogappair. Chennai 600 037 |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
LASER Flash analyser with Specific Heat Cp Measureing System | LASER Flash analyser with Specific Heat (Cp) Measureing System | Instrument Lab | Netzsch,Germany | LFA457 with DSC404 F3 | SN2571328 | Internal Funding | Central University of Tamil Nadu |  | Determination of thermal diffusivity of materials in the range of 0.01 to 1000mm^2/Sec and Determination of Thermal stability of material | Physics | Measurement of Thermal Conductivity, Thermal Diffusivity and Specific Heat Capacity(Cp) from Rt-1000DegC | 10549560 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | Netzsch Technologies India Pvt Ltd, No. 39, 2nd Street, Spartan Nagar, Mogappair. Chennai 600 037 |  | Netzsch Technologies India Pvt Ltd, No. 39, 2nd Street, Spartan Nagar, Mogappair. Chennai 600 037 |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in
Dual Channel Source Meter | Dual Channel Source Meter | Instrument Lab | Keithley | 2636B | 2636B | Internal Funding | Central University of Tamil Nadu |  | It can act as a current/Voltage source as well as it can measure current and voltage in the range of 0.1fA to 1.5A and 100nV to 200V current and voltage respectively This model is able to generate current wave pulse of any arbitary shape.By this model it is possible to take I-V curve of two sample at a time. | Physics | Measurement of I-V for flims | 1641712 | https://cutn.ac.in/department-of-physics/ | Working | Characterisation/Analytical/Testing Equipment | Tektronix India Private Limited,4/2, Samrah Plaza, St. Marks Road,Bangalore 560 001, Karnataka, India |  | Sinetec Technologies, ,Saibaba Colony,Coimbatore-641038 |  | hodphysics@cutn.ac.in, phyoff@acad.cutn.ac.in, phyoff@cutn.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE