## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
HPLC |  | Research Park, IIT Madras | Shimadzu | Prominence | 11 |  |  |  | To separate, identify, and quantitate compounds in liquid samples | IIT Madras Research Park |  | 2390000 |  | Up | Characterization |  |  |  | Shimadzu | infochennai@shimadzu.in | Shimadzu | infochennai@shimadzu.in | merli_bioincubator@incubation.iitm.ac.in
Gas Chromatography (GC) | GC | Research Park, IIT Madras | Shimadzu | 2010 Plus | 24 |  |  |  | For separating and analyzing compounds that can be vaporized without decomposition | IIT Madras Research Park |  | 1487357 |  | Under Maintenance | Characterization |  |  |  | Shimadzu | infochennai@shimadzu.in | Shimadzu | infochennai@shimadzu.in | merli_bioincubator@incubation.iitm.ac.in
RT PCR |  | Research Park, IIT Madras | Roche | LightcyclerR 96 | 12 |  |  |  | a laboratory test that combines reverse transcription of RNA into DNA for the detection of the virus. | IIT Madras Research Park |  | 1151937 |  | Under Maintenance | Characterization |  |  |  | Roche | india.drugsafety@roche.com | Roche | india.drugsafety@roche.com | merli_bioincubator@incubation.iitm.ac.in
Microplate Reader |  | Research Park, IIT Madras | Tecan | Infinite M200 Pro | 15 |  |  |  | Detects light signals produced within a specific wavelength range by samples that have been pipetted into a plate. | IIT Madras Research Park |  | 101709 |  | Up | Characterization |  |  |  | Bioscreen Instruments Pvt Ltd | prabhakar@bioscreen.in | Bioscreen Instruments Pvt. Ltd. | prabhakar@bioscreen.in | merli_bioincubator@incubation.iitm.ac.in
Lyophilizer |  | Research Park, IIT Madras | ScanVac | Cool safe | 30 |  |  |  | Water removal processor used to preserve perishable materials, to extend shelf life or make the material more convenient for transport. | IIT Madras Research Park |  | 600000 |  | Under Maintenance | Characterization |  |  |  | Mastek Instruments Co | info@mastekinstruments.com | Mastek Instruments Co | info@mastekinstruments.com | merli_bioincubator@incubation.iitm.ac.in
FPLC AKTA PURE |  | Research Park, IIT Madras | GE | AKTA Pure | 16 |  |  |  | Preparative method which utilizes higher flow rate and lower pressures to pass buffers and samples through a separating column. | IIT Madras Research Park |  | 4175000 |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Probe Sonicator |  | Research Park, IIT Madras | Labman | PRO-500 | 55 |  |  |  | Commonly used in nanotechnology for evenly dispersing nanoparticles in liquids and for breaking down particles to nano size. | IIT Madras Research Park |  | 194040 |  | Up | Characterization |  |  |  | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | merli_bioincubator@incubation.iitm.ac.in
PCR Thermal Cycler |  | Research Park, IIT Madras | Applied Biosystems | Veriti - 96well | 48 |  |  |  | To amplify segments of DNA via the Polymerase Chain Reaction (PCR). | IIT Madras Research Park |  | 250000 |  | Under Maintenance | Characterization |  |  |  | Thermo Fisher Scientific | customer.reach@thermofisher.com | Thermo Fisher Scientific | customer.reach@thermofisher.com | merli_bioincubator@incubation.iitm.ac.in
UV Spectrophotometer |  | Research Park, IIT Madras | Jasco | V-630 | 19 |  |  |  | Use a light source to illuminate a sample with light across the UV to the visible wavelength range of the electromagnetic spectrum (typically 190 to 900 nm). | IIT Madras Research Park |  | 600000 |  | Under Maintenance | Characterization |  |  |  | Anatek Services Pvt Ltd | chennai@anatekservices.com | Anatek Services Pvt Ltd | chennai@anatekservices.com | merli_bioincubator@incubation.iitm.ac.in
Water System |  | Research Park, IIT Madras |  |  | 5 |  |  |  |  | IIT Madras Research Park |  | 512897 |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Mini Centrifuge |  | Research Park, IIT Madras | Eppendorf | 5424R | 54 |  |  |  | For performing quick spin-downs and are typically designed to spin microfuge or PCR tubes. | IIT Madras Research Park |  | 247000 |  | Up | Fabrication |  |  |  | Eppendorf India Private Limited | info@eppendorf.co.in | Eppendorf India Private Limited | info@eppendorf.co.in | merli_bioincubator@incubation.iitm.ac.in
Big Centrifuge |  | Research Park, IIT Madras | Sigma | 6-16KS | 65 |  |  |  | Used for the separation of liquid material based on its density and weight using the centrifugal force. | IIT Madras Research Park |  | 1183387 |  | Under Maintenance | Fabrication |  |  |  | Sigma | customerserviceindia@merckgroup.com | Sigma | customerserviceindia@merckgroup.com | merli_bioincubator@incubation.iitm.ac.in
Incubator Shaker |  | Research Park, IIT Madras | Scigenics | LE | 33 |  |  |  | To grow the cells, it needs oxygen and nutrients that require shaking so that they can be distributed evenly around the culture by maintaining the optimal conditions for incubating microbes or DNA replications. | IIT Madras Research Park |  | 198000 |  | Up | Fabrication |  |  |  | Scigenics India Private Limited | sales@scigenics.in | Scigenics India Private Limited | sales@scigenics.in | merli_bioincubator@incubation.iitm.ac.in
Incubator Shaker |  | Research Park, IIT Madras | Scigenics | LE.4676.A | 51, 52, 53 |  |  |  | To grow the cells, it needs oxygen and nutrients that require shaking so that they can be distributed evenly around the culture by maintaining the optimal conditions for incubating microbes or DNA replications. | IIT Madras Research Park |  | 198000 |  | Up | Fabrication |  |  |  | Scigenics India Private Limited | sales@scigenics.in | Scigenics India Private Limited | sales@scigenics.in | merli_bioincubator@incubation.iitm.ac.in
Quant Studio DX Real Time PCR (RTPCR) | RTPCR | Research Park, IIT Madras | Applied Biosystems | QuantStudio Dx | 78 |  |  |  | Easy-to-change blocks that can also accommodate array cards, as well as 96-well standard, 96-well Fast, and 384-well plates | IIT Madras Research Park |  | 2328939 |  | Under Maintenance | Characterization |  |  |  | Thermo Fisher Scientific | customer.reach@thermofisher.com | Thermo Fisher Scientific | customer.reach@thermofisher.com | merli_bioincubator@incubation.iitm.ac.in
Fluorescent Microscope |  | Research Park, IIT Madras | Nikon | Eclipse TS 100 | 96 |  |  |  | A light microscope used to study properties of organic or inorganic substances using the phenomena of fluorescence and phosphorescence instead of, or in addition to, reflection and absorption. | IIT Madras Research Park |  | 105859 |  | Up | Characterization |  |  |  | Nikon | nikoninstruments.us@nikon.com | Nikon | nikoninstruments.us@nikon.com | merli_bioincubator@incubation.iitm.ac.in
Fermenter 3L |  | Research Park, IIT Madras | Bioengineering | KLFM – 2.4L | 18 |  |  |  | High-temperature borosilicate glass body with a maximum of 80% liquid load capacity and 0.2 Mpa design pressure. | IIT Madras Research Park |  | 1500000 |  | Up | Fabrication | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Gel Documentation |  | Research Park, IIT Madras | Bio-Rad | XR+ | 47 |  |  |  | For imaging and documentation of nucleic acid and protein suspended within polyacrylamide or agarose gels. | IIT Madras Research Park |  | 648270 |  | Up | Analytical Measurement |  |  |  | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | merli_bioincubator@incubation.iitm.ac.in
Cold Room |  | Research Park, IIT Madras | Scientific Innovations |  | 40 |  |  |  | Insulated, refrigerated space that is designed to maintain a set temperature for storage. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Scientific Innovations | info@scientificinnovations.in | Scientific Innovations | info@scientificinnovations.in | merli_bioincubator@incubation.iitm.ac.in
Gel Electrophoresis |  | Research Park, IIT Madras | Bio-Rad | Mini Protein | 56 |  |  |  | Trays, power supplies, electrodes, cables, gel mixtures, gel dryers, and chemicals such as denaturing agents, gel hardeners, and ampholytes used to separate nucleic acids and proteins based on their size and charge. | IIT Madras Research Park |  | 15000 |  | Under Maintenance | Characterization |  |  |  | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | merli_bioincubator@incubation.iitm.ac.in
Laminar Air Flow (LAF) | LAF | Research Park, IIT Madras |  | CAV1200 | 64 |  |  |  | A device, designed to prevent the equipment and working environment from particles. | IIT Madras Research Park |  | 125000 |  | Up | Fabrication | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Biosafety Cabinet Class II |  | Research Park, IIT Madras | Esco | AC2-3SB | 113 |  |  |  | A ventilated cabinet for personnel, product and environmental protection, often used for microbiological work or sterile pharmacy compounding. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Esco Lifesciences Group | india@escolifesciences.com | Esco Lifesciences Group | india@escolifesciences.com | merli_bioincubator@incubation.iitm.ac.in
Biosafety Cabinet Class II |  | Research Park, IIT Madras | Esco | AC2-4SB | 26 |  |  |  | A ventilated cabinet for personnel, product and environmental protection, often used for microbiological work or sterile pharmacy compounding. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Esco Lifesciences Group | india@escolifesciences.com | Esco Lifesciences Group | india@escolifesciences.com | merli_bioincubator@incubation.iitm.ac.in
Hot Air Oven |  | Research Park, IIT Madras | New Tech Scientific Instruments | 100 L | 6 |  |  |  | Sterilization of materials such as glassware, chemicals, and sealed containers. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | New Tech Scientific Instruments | newtechscientific6@gmail.com | New Tech Scientific Instruments | newtechscientific6@gmail.com | merli_bioincubator@incubation.iitm.ac.in
Hot Air Oven |  | Research Park, IIT Madras | Neuation | NLLO1SE | 50 |  |  |  | Sterilization of materials such as glassware, chemicals, and sealed containers. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Neuation | info@neuation.com | Neuation | info@neuation.com | merli_bioincubator@incubation.iitm.ac.in
Rotary Vacuum Evaporator |  | Research Park, IIT Madras | Heidolph Instruments |  | 88 |  |  |  | The efficient and gentle removal of solvents from samples by evaporation. | IIT Madras Research Park |  |  |  | Up | Fabrication |  |  |  | Heidolph Instruments | customer-service@heidolphpersia.com | Heidolph Instruments | customer-service@heidolphpersia.com | merli_bioincubator@incubation.iitm.ac.in
Peristaltic Pump |  | Research Park, IIT Madras | Tarsons | Rockyvac300 | 37 |  |  |  | A type of positive displacement pump used for pumping a variety of fluids. The fluid is contained in a flexible tube fitted inside a circular pump casing. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Tarsons | info@tarsons.com | Tarsons | info@tarsons.com | merli_bioincubator@incubation.iitm.ac.in
Cell Culture |  | Research Park, IIT Madras |  |  | 6 |  |  |  | The removal of cells from an animal or plant and their subsequent growth in a favorable artificial environment. | IIT Madras Research Park |  | 70000 |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Ultrasonicator |  | Research Park, IIT Madras | Labman | LUMC-6 | 2 |  |  |  | Uses sound waves to agitate particles in a given solution. In addition, it converts an electrical signal into physical vibration that can break substances apart. | IIT Madras Research Park |  | 70000 |  | Up | Characterization |  |  |  | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | merli_bioincubator@incubation.iitm.ac.in
Ultrasonicator |  | Research Park, IIT Madras | Labman | LMUC-8 | 59 |  |  |  | Uses sound waves to agitate particles in a given solution. In addition, it converts an electrical signal into physical vibration that can break substances apart. | IIT Madras Research Park |  | 70000 |  | Up | Characterization |  |  |  | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | Labman Scientific Instruments Pvt Ltd | info@labman.co.in | merli_bioincubator@incubation.iitm.ac.in
Fermentor 50L |  | Research Park, IIT Madras | Biojenik Engineering | Biojenik-50L | 90 |  |  |  | Built in stainless steel with flower embossed exterior. The bottom of the tank is rounded and welded for easy cleaning and that is used to carry out the fermentation process utilising microorganisms. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Fermentor 2.4L |  | Research Park, IIT Madras | Bioengineering | KLFM-2.4L | 18 |  |  |  | A device that is used to carry out the fermentation process utilising microorganisms. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Cooling Incubator Static |  | Research Park, IIT Madras | Remi | CI-3S | 27, 80 |  |  |  | Carry out applications that require temperatures ranging from -10° to +80°C. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Remi | instrumentchennai@remigroup.com | Remi | instrumentchennai@remigroup.com | merli_bioincubator@incubation.iitm.ac.in
Cooling Incubator Static |  | Research Park, IIT Madras | Yoga Scientific | Static | 43 |  |  |  | Carry out applications that require temperatures ranging from -10° to +80°C. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Autoclave |  | Research Park, IIT Madras | Equitron Medica Pvt Ltd | 7440SLEFA | 4 |  |  |  | Steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel | IIT Madras Research Park |  | 140000 |  | Up | Characterization |  |  |  | Equitron Medica Pvt Ltd | info@medicainstrument.com | Equitron Medica Pvt Ltd | info@medicainstrument.com | merli_bioincubator@incubation.iitm.ac.in
Autoclave |  | Research Park, IIT Madras | Equitron Medica Pvt Ltd | Pad - mini | 5 |  |  |  | Steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel | IIT Madras Research Park |  | 140000 |  | Up | Characterization |  |  |  | Equitron Medica Pvt Ltd | info@medicainstrument.com | Equitron Medica Pvt Ltd | info@medicainstrument.com | merli_bioincubator@incubation.iitm.ac.in
Autoclave |  | Research Park, IIT Madras | Equitron Medica Pvt Ltd | Pad - mini | 87 |  |  |  | Steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel | IIT Madras Research Park |  | 140000 |  | Up | Characterization |  |  |  | Equitron Medica Pvt Ltd | info@medicainstrument.com | Equitron Medica Pvt Ltd | info@medicainstrument.com | merli_bioincubator@incubation.iitm.ac.in
Autoclave |  | Research Park, IIT Madras | Equitron Medica Pvt Ltd | SLE-FA | 89 |  |  |  | Steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel | IIT Madras Research Park |  | 140000 |  | Up | Characterization |  |  |  | Equitron Medica Pvt Ltd | info@medicainstrument.com | Equitron Medica Pvt Ltd | info@medicainstrument.com | merli_bioincubator@incubation.iitm.ac.in
Milli Q System |  | Research Park, IIT Madras | Inexus | 2232(W3T199771) | 17 |  |  |  | combines ultraviolet photo-oxidation and ultrafiltration technologies in one purification system and produces pyrogen- and RNase-free ultrapure water that is ultra-low in organics. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Inexus | cs@inexusbio.com | Inexus | cs@inexusbio.com | merli_bioincubator@incubation.iitm.ac.in
Milli Q System |  | Research Park, IIT Madras | Evoqua | LaboStar TWF UV7 | 85 |  |  |  | combines ultraviolet photo-oxidation and ultrafiltration technologies in one purification system and produces pyrogen- and RNase-free ultrapure water that is ultra-low in organics. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Benchtop Refrigerated Centrifuge Mini |  | Research Park, IIT Madras | Remi | RM-12C | 67 |  |  |  | Added benefit of cooling to protect from sample degradation caused by heat generated by the action of spinning | IIT Madras Research Park |  | 1100000 |  | Up | Characterization |  |  |  | Remi | instrumentchennai@remigroup.com | Remi | instrumentchennai@remigroup.com | merli_bioincubator@incubation.iitm.ac.in
Electroporator |  | Research Park, IIT Madras | Bio-Rad | Genepulser Xcell | 94 |  |  |  | Exponential or square-wave pulses to deliver the pulses optimal for the cell type | IIT Madras Research Park |  |  |  | Up | Fabrication |  |  |  | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | Biorad Laboratories India Pvt Ltd | cts_india@bio-rad.com | merli_bioincubator@incubation.iitm.ac.in
Electrophoresis DNA |  | Research Park, IIT Madras | Medox | Medox-310 | 77 |  |  |  | Trays, power supplies, electrodes, cables, gel mixtures, gel dryers, and chemicals such as denaturing agents, gel hardeners, and ampholytes used to separate nucleic acids and proteins based on their size and charge. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Medox Biotech India Pvt Ltd | info@medoxbio.com | Medox Biotech India Pvt Ltd | info@medoxbio.com | merli_bioincubator@incubation.iitm.ac.in
Dry Block Heater |  | Research Park, IIT Madras | IKA | DBH-1S000 | 36 |  |  |  | Used for temperature uniformity, stability, and ensure temperature accuracy. | IIT Madras Research Park |  | 64865 |  | Up | Characterization |  |  |  | IKA | info@ika.in | IKA | info@ika.in | merli_bioincubator@incubation.iitm.ac.in
Dry Block Heater |  | Research Park, IIT Madras | IKA | DBH-1S00 | 95 |  |  |  | Used for temperature uniformity, stability, and ensure temperature accuracy. | IIT Madras Research Park |  |  |  | Under Maintenance | Characterization |  |  |  | IKA | info@ika.in | IKA | info@ika.in | merli_bioincubator@incubation.iitm.ac.in
Trinocular Microscope |  | Research Park, IIT Madras | Labomed | LX 400 | 44 |  |  |  | Three BF objectives (10X, 20X, and 40X) and one phase-contrast objective. The eyepiece is inclined 45°. A double-layer mechanical stage, quadruple nosepiece, coaxial coarse and fine focusing knobs, LWD condenser, 9W LED light source, and frosted blue filter are also present. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Labomed | sales@labomedworld.com | Labomed | sales@labomedworld.com | merli_bioincubator@incubation.iitm.ac.in
Fluorescent Microscope |  | Research Park, IIT Madras | Nikon | Eclipse TS 100 | 96 |  |  |  | An optical microscope that uses fluorescence instead of, or in addition to, scattering, reflection, and attenuation or absorption, to study the properties of organic or inorganic substances. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Nikon | nikoninstruments.us@nikon.com | Nikon | nikoninstruments.us@nikon.com | merli_bioincubator@incubation.iitm.ac.in
Inverted Microscope |  | Research Park, IIT Madras | Nikon | Eclipse TS 100 | 106 |  |  |  | A microscope with its transmitted light source and condenser above the stage pointing down, while the objectives and turret are below the stage pointing up. | IIT Madras Research Park |  |  |  | Up | Characterization |  |  |  | Nikon | nikoninstruments.us@nikon.com | Nikon | nikoninstruments.us@nikon.com | merli_bioincubator@incubation.iitm.ac.in
Fume Hood |  | Research Park, IIT Madras | Labrizon |  | 32,73,83 |  |  |  | An enclosure that safely contains and ventilates hazardous fumes, vapors, gases and dust generated by chemical processes performed inside. | IIT Madras Research Park |  | 371000 |  | Up | Fabrication | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Vacuum Pump |  | Research Park, IIT Madras | Paul Life Science | DOA-P730-BN | 76 |  |  |  | Equipment capable of generating a partial or low-pressure vacuum by pushing gas or air molecules out of a sealed chamber. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
NanoDrop |  | Research Park, IIT Madras | Thermo Fisher Scientific | NanodropOne C | 49 |  |  |  | Measures the concentration of DNA, RNA, and protein in a 2-µL drop on a pedestal. | IIT Madras Research Park |  | 822523 |  | Up | Characterization |  |  |  | Thermo Fisher Scientific | ininfo@thermofisher.com | Thermo Fisher Scientific | ininfo@thermofisher.com | merli_bioincubator@incubation.iitm.ac.in
Refrigerator 5 degree C |  | Research Park, IIT Madras | Cryotech | Cryotech_5 | 21 |  |  |  | Stationary device that is designed to contain and use refrigerant gas to establish or maintain colder than ambient temperatures in a confined space | IIT Madras Research Park |  | 73000 |  | Up | Characterization |  |  |  | Cryotech | info@cryotech.org | Cryotech | info@cryotech.org | merli_bioincubator@incubation.iitm.ac.in
Deep Freezer -20 degree C |  | Research Park, IIT Madras | Cryotech | Cryotech_20 | 23 |  |  |  | An appliance solely designed for freezing samples that does not include a refrigerator compartment. | IIT Madras Research Park |  | 173500 |  | Up | Characterization |  |  |  | Cryotech | info@cryotech.org | Cryotech | info@cryotech.org | merli_bioincubator@incubation.iitm.ac.in
Tangential Flow Filtration (TFF) | TFF | Research Park, IIT Madras | GE |  | 75 |  |  |  | Separation and purification of biomolecules by utilizing ultrafiltration membranes. Used to concentrate and desalt sample solutions ranging from 10 mL to thousands of liters. | IIT Madras Research Park |  |  |  | Up | Characterization | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Vortex Mixer |  | Research Park, IIT Madras | Remi | CAM101 | 42, 105 |  |  |  | For mixing small vials of liquid. | IIT Madras Research Park |  |  |  | Up | Fabrication | [7 empty] | merli_bioincubator@incubation.iitm.ac.in
Vortex Mixer |  | Research Park, IIT Madras | Neuation | iSWIX VT | 46 |  |  |  | For mixing small vials of liquid. | IIT Madras Research Park |  |  |  | Up | Fabrication |  |  |  | Neuation | info@neuation.com | Neuation | info@neuation.com | merli_bioincubator@incubation.iitm.ac.in
UHPLC |  | Research Park, IIT Madras | Shimadzu | N-series | 20 |  |  |  | Used to separate different constituents of a compound | IIT Madras Research Park |  | 4900000 |  | Up | Characterization |  |  |  | Shimadzu | infochennai@shimadzu.in | Shimadzu | infochennai@shimadzu.in | merli_bioincubator@incubation.iitm.ac.in