## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Real Time PCR LC480 |  | SRMIST - RRP506 | Rosche Diagnostics | Light Cycler 480II | 27672 | External | DST, Govt. of India |  | High-throughput PCR platform (96- or 384-well plates) LightCycler 480 Xenon Lamp SYBR Green I, ResoLight dye for high-resolution melting, hydrolysis probes, HybProbe probes, SimpleProbe probes analysis LightCycler® 480 Software | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 2000000 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Rosche Diagnostics India Pvt Ltd | india.cd@roshce.com | Roche Products (India) Pvt Ltd | india.cd@roshce.com | dean.iiism@srmist.edu.in
Confocal Microscope |  | SRMIST - RRP505 | Carl Zeiss Microimaging Germany | LSM 700 | 2601000621 | External | DST, Govt. of India |  | Four solid state lasers (405, 488, 555, and 639 nm) Objectives -10X dry, 20X dry, 25X oil , 40X dry, and 63X oil. Z Stack (3D Imaging) Technique. Live cell imgaing Technique. Zen2010- imaging and quantifying software. CLSM | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 12080500 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Carl Zeiss Microimaging Germany | info.de@zeiss.com | Carl Zeiss Microimaging Germany | service@zeiss.co.in | dean.iiism@srmist.edu.in
Fluorescence Microscope |  | SRMIST - RRP504 | Carl Zeiss Microimaging Germany | AxioScope | 3324000351 | External | DST, Govt. of India |  | HBO100 460nm, 519nm, 625nm, filters Phase contrast and Bright field imaging 10x, 20x 40x, 100x (oil) objectives | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 1194990 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Carl Zeiss Microimaging Germany | info.de@zeiss.com | Carl Zeiss Microimaging Germany | service@zeiss.co.in | dean.iiism@srmist.edu.in
Flow Cytometer FACS |  | SRMIST - RRP507 | BD FACSCalibur | BD FACS calibur sort | E-97501340 | External | DST, Govt. of India |  | Dual-laser 488nm, 635nm Detecters 530nm, 585nm, 670nm and 661nm. | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 7599999 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Biocorporals Chennai | service_india@bd.com | BD FACSCalibur | service_india@bd.com | dean.iiism@srmist.edu.in
UV Spectrometer |  | SRMIST - RRP502 | Lab India Pvt Ltd | UV-3200 | 1106013 | External | DST, Govt. of India |  | Automatic eight cell spectrophotometer Range of 190-1100nm. | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 976560 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Lab India Pvt Ltd Chennai | enquiry@labindia.com | Lab India Pvt Ltd Chennai | service@labindia.com | dean.iiism@srmist.edu.in
ELISA Microplate Reader |  | SRMIST - RRP504 | Thermo Fisher Scientific | Multiscango | 1510-00609C | External | DST, Govt. of India |  | UV & photometric assays 96- and 384-well microplates. Single cell Range of 190-1100nm. | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 2433915 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Sakthi Instruments and Services | sales@thermofisher.com | Thermo Fisher Scientific | services.informatics@thermofisher.com | dean.iiism@srmist.edu.in
Nuclear Magnetic Resonance Spectroscopy (NMR) | NMR | B.ARCH-AA-001, SRMIST, KTR | Bruker BioSpin International AG Switzerland | AVANCE III | 10042771 | External | DST, Govt. of India |  |  High Performance Digital NMR Sprectrometer  Magnet System- Shim System/Lock Channel  Stainless Steel Cabinet  RF Section- Transmitter/Receiver- Multilink HPPR Preamplifier  Bruker PC Workstation and Software  Software-Topspin  Peripheral Devices/User Interface  AH0015 B-SVT Bruker Digital Temperature Control System  AH0206 GRASP-II Gadient Spectroscopy and Gradient Shimming  AH0051-500 Ultra Long Holdtime dewar, Standard bore only  AH0070 Helium Transfer line  BH2101 QNP Switching module for BLAXH  PH3723-500 SmartProbe BB(F)-H-D 5mm-AZ  AH0020 Low Temperature Accessory  Z10321 Spectroscopy Package  Z53144 Nitrogen Refill Set  BBI Broad Band Inverse Probe H-BB-D 5mm-Z  ATM Accessory for Automatic Tunbing and Matching for BBI  SampleXpressLite, 15m  5mm Spinner  XSERV-500-1  Inverse Triple Resonance Probehead 1.7mm TXI 400-700MHz | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 26558643 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/ | Up | Characterization |  |  |  | Bruker India Scientific Pvt Ltd | manjunatha.Bhimachar@bruker.com anil.kumar@bruker.com | Bruker India Scientific Pvt Ltd | bala.murugan@bruker.com | dean.iiism@srmist.edu.in
Liquid Chromatography Mass Spectrometry (LCMS) | LCMS | RRP-513, SRMIST, KTR | Shimadzu Japan | LCMS-2020 | O10154800471SA | External | DST, Govt. of India |  | *Solvent Pumps LC-20AD *PDA Detector SPD M20A *CBM-20A System controller with LC solution software *Analytical column *Rheodyne Injector 7725i *Security Guard Cartridge C18 *Nitrogen generator *LCMS-2020 | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 8940341 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Spincotech Pvt Ltd Chennai | spincocare@spincotech.com | Spincotech Pvt Ltd Chennai | spincocare@spincotech.com | dean.iiism@srmist.edu.in
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | RRP-513, SRMIST, KTR | Bruker Germany | Alpha-T | 200393 | External | DST, Govt. of India |  | *High Humidity ZnSe Optics[W303/D-U] *OPUS/MENTOR Software *15ton Hydraulic Press *13mm KBr die *Agate Mortar & Petle * Liquid Demountable cell with KBr window | Interdisciplinary Institue of Indian System of Medicine (KTR Campus) |  | 1141920 | https://www.srmist.edu.in/research/research-wings/iiism/infrastructure/outsourcing-workshops/ | Up | Characterization |  |  |  | Labindia Analytical Instruments Pvt Ltd Mumbai | servicecoordinator@labindia.com | Labindia Analytical Instruments Pvt Ltd Mumbai | servicecoordinator@labindia.com | dean.iiism@srmist.edu.in
UV-Vis Spectrometer Cary 60 Spectrophotometer |  | Room No: 702, CV Raman Block | Agilent Technologies | G6860AA | 310083430 | External | INOPOL |  | Carry UV-VIS Sphectrophotometer,:310083430 dated 06/04/2021 | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Agilent Technologies | agilent@discover.agilent.com |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Centrifuge |  | Room No: 702, CV Raman Block | REMI |  |  | External | EDIFY |  |  | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | BVN Instruments | BVNchennai@gmail.com |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Lyophilizer |  | Room No: 702, CV Raman Block | BenchtopPRO |  |  |  | SRM Start-up grant |  | Lyophilizer | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization | [6 empty] | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Microwave Assisted Digestion Extraction Unit |  | Room No: 702, CV Raman Block |  | 910905 |  |  | SRM Start-up grant |  | CEM-MARS | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Scigenics Biotech | sales@scigenics.in |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Alpha Counter |  | Room No 815 |  | PNC-Alpha |  |  |  |  | Alpha Counter | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Analytical Measurement |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Alpha Spectrometer |  | Room No 815 | Electronic Enterprises Pvt Ltd | PNC Alpha | 1158 |  |  |  | Alpha Spectrometer | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
GM Counter |  | Room No 815 |  | PNC-1G |  |  |  |  | GM Counter | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Analytical Measurement |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Gamma Spectrometer |  | Room No 815 | [6 empty] | Gamma Spectrometer | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Lyophilizer |  | Room No 815 | Martin Christ | Alpha 12 LD |  |  |  |  | Lyophilizer | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Labmate Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Ultra Low Background Beta Counter for Counting only |  | Room No 815 | Protean Instrument | BCS36A |  |  |  |  | Ultra Low Background Beta Counter. (For Counting Only)- 228Ra, 90Sr, 137Cs, 210Pb | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Analytical Measurement |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Ultra Low Background Beta Counter for Sample Processing and Counting |  | Room No 815 | Protean Instrument | BCS36A |  |  |  |  | Ultra Low Background Beta Counter. (For Sample Processing & Counting) 228Ra, 90Sr, 137Cs, 210Pb | Research in Environment, Sustainability Advocacy and Climate CHange (REACH) (KTR Campus) |  |  |  | Up | Analytical Measurement |  |  |  | Electronic Enterprises Pvt Ltd |  |  | head.reach@srmist.edu.in | head.reach@srmist.edu.in
Bioanalyzer 2000 |  | 108 | Agilent Technologies | 2100 | DE54107778 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | Bioanalyzer system is an established automated electrophoresis solution for the sample quality control of biomolecules. The system integrates an instrument, data processing software, reagents, and a microfluidic chip specific for DNA, RNA, or protein analysis. It is suitable for next-generation sequencing (NGS), gene expression, biopharmaceutical, and genome editing workflows, delivering highly precise analytical evaluation of various sample types. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Genomics | 19600000 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Agilent Technologies | customercare.india@agilent.com | Agilent Technologies | customercare.india@agilent.com | srmdbt.ktr@srmist.edu.in
Bio-Plex 200 |  | 108 | Bio-Rad | 200 | LX10017198422 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | Bioplex 200 is a multiplex ELISA system based on Luminex’s xMAP technology. By combining advanced fluidics, optics, and digital signal processing with proprietary microsphere (“bead”) technology, xMAP Technology enables a high degree of multiplexing within a single sample volume. The system has capacity to detect upto 100 different analytes from a single sample in a single reaction well. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform | 7090327 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Bio-Rad |  | Bio-Rad |  | srmdbt.ktr@srmist.edu.in
Covaris DNA Sonicator |  | 102 | Covaris | M220 | SN004056 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | Enables multi-sample batch preparation, capable of processing a wide range of sample types and volumes. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Genomics |  | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Covaris | ApplicationSupport@covaris.com | Covaris | applicationsupport@covaris.com | srmdbt.ktr@srmist.edu.in
Cryostat Microtome |  | 105 | Leica | CM 1520 | 0795/06.2016 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | An accurate diagnosis relies on precise sections. Precise sections rely on the right type of microtome or cryostat. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Bio Imaging Facility | 4004035 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Imperial Life Science Pvt Ltd |  |  |  | srmdbt.ktr@srmist.edu.in
Fluorescence Microscope |  | 105 | Leica | DM6 | 431809 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | The Leica DM6 is an upright digital research microscope with 19 mm sCMOS camera imaging port that can easily capture quality images. Automated Koehler light management ensures that images are publication ready. The Fluorescence Intensity Manager (FIM) provides fast and reproducible regulation of the excitation light to effectively protect the specimen from photo bleaching. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Bio Imaging Facility |  | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Leica | schenk@leica-microsystems.com | Leica | schenk@leica-microsystems.com | srmdbt.ktr@srmist.edu.in
Microarray |  | 107 | Agilent Technologies | IVD | SG16234541 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | The Agilent Microarray Scanner is a laser induced fluorescence scanner designed to read microarrays printed on a standard 1 inch x 3 inch glass slides. The SureScan scanner measures the fluorescence intensity of labeled sample nucleic acid (DNA and RNA) bound to microarrays. Its ability to measure fluorescence from two dyes simultaneously facilitates all two-color microarray studies. The dyes compatible with the system are Cyanine 3 and Cyanine 5, and Alexa 647, 555, and 660. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform |  | http://sdbt.srmonline.net/ | Down | Characterization |  |  |  | Agilent Technologies | customercare.india@agilent.com |  | customercare.india@agilent.com | srmdbt.ktr@srmist.edu.in
NGS NextSeq 500 |  | 108 | Illumina | NextSeq 500 | NB501651 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | NextSeq 500 works on Illumina’s proven Sequencing by synthesis (SBS) technology which enables rapid sequencing of whole genomes, exomes, targeted panels, and transcriptomes in a single run. With SBS v2 chemistry, the NextSeq Series provides exceptional accuracy at any coverage level. The NextSeq 500 instrument is capable of generating read lengths as follows: single-end 75 bp, single-end 150 bp, paired-end 2 x 75 bp, and paired-end 2 x 150 bp. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Genomics | 26597759 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Premas |  | Premas |  | srmdbt.ktr@srmist.edu.in
dPCR QuantStudio 3D |  | 107 | Applied Biosystems |  | 237271049 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | The instrument displays absolute quantification in copies/µL and a quality flag. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform | 3589673 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Thermo Fisher Scientific |  | Thermo Fisher Scientific |  | srmdbt.ktr@srmist.edu.in
RTPCR QuantStudio 5 |  | 107 | Applied Biosystems |  | 27250516 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | QuantStudio 5 is Real time PCR machine supports 5 different dyes. Real time monitoring of amplification and melt curve analysis | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform |  | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Thermo Fisher Scientific |  | Thermo Fisher Scientific |  | srmdbt.ktr@srmist.edu.in
Qubit |  | 107 | Invitrogen | V3 |  | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  |  | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform | 195000 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Thermo Fisher Scientific |  | Thermo Fisher Scientific |  | srmdbt.ktr@srmist.edu.in
SeqStudio Genetic Analyzer |  | 108 | Applied Biosystems |  | 232000689 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | Automated Cartridge system with 4 cappilary system which reduces run time and prouduces high quality data | SRM-DBT platform for advanced life science technologies (KTR Campus) | Genomics | 5916206 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Thermo Fisher Scientific |  | Thermo Fisher Scientific |  | srmdbt.ktr@srmist.edu.in
Thermocycler Nexus Gradient |  | 107 | Eppendorf |  | 6331FN812625 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | The Eppendorf Mastercycler nexus gradient is a gradient thermal cycler supporting over 12 columns. The nexus gradient has a gradient range of 4-99°C with an aluminum thermal block and 96x 0.2 ml PCR tubes or 77x 0.5 ml PCR tubes or 1x 96 well PCR plate capacity. | SRM-DBT platform for advanced life science technologies (KTR Campus) | Molecular Platform | 257250 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Eppendorf | info@eppendorf.co.in | Eppendorf | info@eppendorf.co.in | srmdbt.ktr@srmist.edu.in
MALDI TOF MS MS |  | 102 | Bruker | UltrafleXtreme II |  |  |  |  | Bruker MALDI-TOF (UltrafleXtreme II) is next gen MALDI TOF machine used for peptide identfication and protein sequencing. The innovative smartbeam-II™ laser enables ultra-high data acquisition speed in both MS and MS/MS | SRM-DBT platform for advanced life science technologies (KTR Campus) | Proteomics | 19600000 | http://sdbt.srmonline.net/ | Down | Characterization |  |  |  | Bruker | murugesan.baskar@bruker.com | Bruker | murugesan.baskar@bruker.com | srmdbt.ktr@srmist.edu.in
IVIS Small Animal Live Imaging System |  | 102 | PerkinElmer | Series III | IS1749N7325 | Dept. of Biotechnology | Det. Of Biotech, Govt. of India & SRMIST |  | The IVIS® Spectrum in vivo imaging system combines 2D optical and 3D optical tomography in one platform. The system uses leading optical technology for preclinical imaging research and development ideal for non-invasive longitudinal monitoring of disease progression, cell trafficking and gene expression patterns in living animals. | SRM-DBT platform for advanced life science technologies (KTR Campus) | SPF Animal Facility | 8600000 | http://sdbt.srmonline.net/ | Up | Characterization |  |  |  | Imperial Life Sciences Pvt. Ltd |  | Imperial Life Sciences Pvt. Ltd |  | srmdbt.ktr@srmist.edu.in
Differential Scanning Calorimetry (DSC) and Thermogravimetric Analysis (TGA) |  | RRP-501 | NETZSCH Germany | STA 2500 Regulus and DSC 214 Polyma |  | SRM IST and DST-FIST |  |  | Thermogravimetry analysis and Differential Scanning Calorimetry | Department of Chemistry (KTR Campus) |  |  | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | NETZSCH Geratebau GmbH | sridevi.chandrasekaran@netzsch.com | Netzsch Technologies India Pvt Ltd | kalirajan.muthukrishnan@netzsch.com | swamians@srmist.edu.in
Gas Chromatography (GC) | GC | RRP 501 | Agilent Technologies | GC 7820 | CN18152021 | External | DST, Govt. of India |  | Gas Chromatography | Department of Chemistry (KTR Campus) |  | 965000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Agilent Technologies | debesh.parija@agilent.com | Agilent Technologies | debesh.parija@agilent.com | samarenr@srmist.edu.in
High Resolution Mass Spectrometry (HRMS) Facility | HRMS | RRP 003 | Agilent Technologies | G6230BA | SG17317605 | SRMIST | Seed Grant |  | High-Resolution Mass Spectrometry | Department of Chemistry (KTR Campus) |  | 8900000 | https://schy.srmonline.net/index.php | Down | Characterization |  |  |  | Agilent Technologies | debesh.parija@agilent.com | Agilent Technologies | debesh.parija@agilent.com | chandrug@srmist.edu.in
UV-Visible Spectrometer Cary 60 |  | ARC 203 | Agilent Technologies | Cary 60 | MY21119216 |  | SERB |  | UV-Visible spectrometer | Department of Chemistry (KTR Campus) |  | 744000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Agilent Technologies | debesh.parija@agilent.com | Agilent Technologies |  | venkatrv1@srmist.edu.in
Biosensor Tester |  | CHI Biosensor Testor |  | CHI INC | CHI 760E |  | Seed Grant |  | Semiconducting Single-Walled Carbon Nanotube - Based Field Effect Transistor Biosensors For Multianalyte Detection In Food Samples | Department of Chemistry (KTR Campus) | Electrochemical Workstation | 1439130 |  | Up | Characterization |  |  |  | Sinsil International Pvt Ltd | bangalore@sinsil.in | Sinsil International Pvt Ltd | bangalore@sinsil.in | karthiks13@srmist.edu.in
RRDE |  | CHI Biosensor Testor |  | CHI INC | CHI 760E |  | Seed Grant |  | Semiconducting Single-Walled Carbon Nanotube - Based Field Effect Transistor Biosensors For Multianalyte Detection In Food Samples | Department of Chemistry (KTR Campus) | Electrochemical Workstation |  |  | Up | Characterization |  |  |  | Sinsil International Pvt Ltd |  | Sinsil International Pvt Ltd | bangalore@sinsil.in | karthiks13@srmist.edu.in
Battery Cycler WBCS3000 |  | RRP410 |  | WBCS3000 |  |  | ECR-SERB |  | Electrochemical | Department of Chemistry (KTR Campus) | Materials Electrochemistry Lab |  |  | Up | Characterization |  |  |  | Techscience Services Pvt Ltd | info@techscience.co.in | Techscience Services Pvt Ltd | ravichandran@techscience.co.in | prasantn1@srmist.edu.in
Potentiostat Galvanostat |  | RRP410 |  | AUTM204 |  |  | SRG-SERB |  | Electrochemical, Autolab | Department of Chemistry (KTR Campus) | Materials Electrochemistry Lab | 1199000 |  | Up | Characterization |  |  |  | Metrohm India Private Limited | info@metrohm.in | Metrohm India Private Limited | chandra.kumar@metrohm.in | prasantn1@srmist.edu.in
BET Surface Area Analyzer |  | RRP-003 | Quantachrome | Autosorb iQ3 |  | SRM IST | Seed grant |  | Surface Area Analyzer | Department of Chemistry (KTR Campus) |  | 4723767 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Anton Paar India Pvt Ltd | ishita.sharma@anton-paar.com | Anton Paar India Pvt Ltd | ishita.sharma@anton-paar.com | shanmugs2@srmist.edu.in
Powder X-ray Diffractometer (PXRD) PANalytical Xpert3 | PXRD | MCA block | Malvern Panalytical | DY5472 |  | External | DST, Govt. of India |  | Powder X-ray diffractometer | Department of Chemistry (KTR Campus) |  | 5500000 | https://schy.srmonline.net/facilities.php | Down | Characterization | [5 empty] | Malvern Panalytical | rajalakshmi.babu@malvernpanalytical.com | palashi@srmist.edu.in
Inert Atmosphere Glove Box System |  | Biotechnology building - B105 | IT Technologies Singapore | Danvec-Vortex | Prime | Private organisation - SRM IST | Seed grant |  | Inert atmosphere glove box xyxtem | Department of Chemistry (KTR Campus) |  | 2179430 | https://schy.srmonline.net/facilities.php | Up | Fabrication |  |  |  | IT Technologies Singapore | dana@ittech.com.sg | IT Technologies Singapore | dana@ittech.com.sg | ananthak@srmist.edu.in
Fourier Transform Infrared Spectrophotometer (FTIR) | FTIR | RRP-003 | Shimadzu | IR TRACER-100AH |  | SRM IST | Seed grant |  | Fourier Transform Infrared Spectrophotometer | Department of Chemistry (KTR Campus) |  | 2235625 | https://schy.srmonline.net/services.php | Down | Characterization |  |  |  | Toshvin Analytical Pvt Ltd | muthuselvam@toshvin.com | Toshvin Analytical Pvt Ltd | muthuselvam@toshvin.com | shanmugs2@srmist.edu.in
Microwave Reactor |  | RRP-409 | Anton Paar | Multiwave-Pro |  | SRM IST | Seed grant |  | Microwave reactor | Department of Chemistry (KTR Campus) |  | 1828152 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Anton Paar | karthick.venugopal@anton-paar.com | Anton Paar India Pvt Ltd | karthick.venugopal@anton-paar.com | kumarard@srmist.edu.in
Freeze Dryer |  | RRP-409 | Labconco | Freezone 4.5 |  | SRM IST | Seed grant |  | Freeze dryer | Department of Chemistry (KTR Campus) |  | 900000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Labconco | mnajeeb@biogentek.org | Biogentek BG (I) Pvt Ltd | mnajeeb@biogentek.org | kumarard@srmist.edu.in
Biologic Battery Cycler BCS 800 |  | RRP-405 | BioLogic | BCS 800 |  | External | DST, Govt. of India |  | Electrochemical | Department of Chemistry (KTR Campus) |  | 1693000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | BioLogic France |  | BioLogic Science Instruments |  | maiyalat@srmist.edu.in
Time Resolved Photoluminescence (TRPL) Setup | TRPL | ARC 203 |  | FLS1000 | H1277 | SRM IST | Seed grant |  | Spectrofluorimeter with TCSPC | Department of Chemistry (KTR Campus) |  | 6000000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Specialise Instruments | rajib@simc.co.in | Specialise Instruments | atul@simc.co.in | venkatrv1@srmist.ediu.in
Agilent 1260 Infinity II GPC System with MDS Detector |  | ARC 203 | Agilent Technologies |  |  | SRM IST | Seed grant |  | Gel permeation Chromatography, 1260 Infinity II Multidetector GPC/SEC System | Department of Chemistry (KTR Campus) |  | 3434000 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Agilent Technologies Singapore Pte Ltd | debesh.parija@agilent.com | Agilent Technologies | debesh.parija@agilent.com | samarenr@srmist.edu.in
Flash Chromatography |  | Isolera | Biotage India | UV detector |  |  | SERB-SRG |  | Flash Chromatography | Department of Chemistry (KTR Campus) |  |  |  | Up | Characterization |  |  |  | Biotage India | Ravindra.Gowda@biotage.com | Biotage India | Ravindra.Gowda@biotage.com | gopinatp1@srmist.edu.in
Contact Angle Measuring System |  | RRP-409 | Kyowa Interface Science Co Ltd | KYOWA DMs-40 | SRM/CHY/DST-SERB/ECRA-FGCS-OWS/CA/2018-2019 | External | DST, Govt. of India |  | Contact angle goinometer | Department of Chemistry (KTR Campus) |  | 824157 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Kyowa Interface Science Co Ltd | ramani@agaramindia.com | Agaram Industries | ramani@agaramindia.com | kumarard@srmist.edu.in
Electrochemical Workstation Fuel Cell Analyser M204 |  | RRP 806 | Autolab Netherlands | M204 |  | Seed grant | SRM |  |  | Department of Chemistry (KTR Campus) |  | 1165415 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Autolab Netherlands | chandra@metrohm.in | Metrohm India Private Limited | jansi@metrohm.in | maiyalat@srmist.edu.in
Pine RRDE |  | RRP 806 |  |  |  | Seed grant | SRM |  |  | Department of Chemistry (KTR Campus) |  | 850107 | https://schy.srmonline.net/services.php | Up | Characterization |  |  |  | Pine Research Instrumentation Inc | nandan@bat-sol.com | Bat-Sol Equipments and Technology | nandan@bat-sol.com | maiyalat@srmist.edu.in
Planetary Mono Mill PULVERISETTE 6 Classic Line |  | RRP 304 | FRITSCH GmbH Germany | Pulverisette 6 |  | Govt | SERB-CRG |  | Planetary Mono Mill, Ball Mill | Department of Chemistry (KTR Campus) |  | 9000 |  | Up | Fabrication |  |  |  | FRITSCH GmbH Germany | blr@toshniwalbros.com | Toshniwal Brothers (SR) Private Limited | blr@toshniwalbros.com | swamians@srmist.edu.in
Dissolution Tester |  | AA203 | Agilent Technologies | 708-DS |  | SRM Start up | SRM |  | Dissolution tester with cell enhencer | Department of Chemistry (KTR Campus) |  | 1380000 | https://schy.srmonline.net/facilities.php | Up | Characterization |  |  |  | Agilent Technologies India Pvt Ltd | nitin_g@agilent.com | Agilent Technologies India Pvt Ltd | nitin_g@agilent.com | palashi@srmist.edu.in
TEM JEOL JEM 2100 Plus | TEM | RRP 005 | JEOL Japan | JEM-2100 PLUS | EM1753000320032 | GOVT | MNRE |  | Imaging of the crystallographic structure of a sample at an atomic scale | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 51345429 | https://scif.srmonline.net/facilities.php | Up | Characterization |  |  |  | JEOL India Pvt Ltd | info@jeolindia.com | JEOL India Pvt Ltd | info@jeolindia.com | malarp@srmist.edu.in
FESEM Thermo Fisher Scientific Apreo S LoVac | FESEM | RRP 003 | Thermo Fisher Scientific | Apreo S LoVac | 9952652 | SRM Fund |  |  | Imaging of Morphology and topography of the sample. Elemental composition analysis | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 23560000 | https://scif.srmonline.net/products.php | Up | Characterization |  |  |  | Thermo Fisher Scientific | ininfo@thermofisher.com | Thermo Fisher Scientific | ininfo@thermofisher.com | malarp@srmist.edu.in
XRD Bruker |  | RRP004 | Bruker | KFL Cu2KC | 539815 |  | MNRE |  | Crystal structure and orientation of powder, solid and liquid samples | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 10468735 | https://scif.srmonline.net/products.php | Up | Characterization |  |  |  | Bruker Singapore Pte Ltd | sales.sg@bruker.com | Bruker India Scientific Pvt Ltd | info.bna@bruker.com | malarp@srmist.edu.in
BET Quantachrome Autosorb |  | RRP 002 | Quantachrome | ASIQM0002000-6 | 14717022101 |  | MNRE |  | Fully automated analyzer for surface area, pore volume and pore size measurements. | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 3972134 | https://www.anton-paar.com/in-en/products/details/autosorbr-iq-series/ | Under Maintenance | Characterization |  |  |  | Quantachrome Instruments | https://www.anton-paar.com | Anton Paar |  | malarp@srmist.edu.in
Incident Photon to Current conversion Efficiency (IPCE) Measurement System | IPCE | RRP 401 | Bentham United Kingdom | TMC300 PVE300 | 25487 | External | DST, Govt. of India |  | IPCE measures the ratio of photocurrent to the rate of incident photons, i.e. it measures the ratio of photocurrent to the rate of incident photons. IPCE measurements correlate a solar cell's efficiency with the Short Circuit current measurements of cells under one sun illumination. | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 4075000 |  | Up | Analytical Measurement |  |  |  | Bentham Instruments Ltd |  | ATOS Instruments Marketing Services | atos@atosindia.com | malarp@srmist.edu.in
ELISA Plate Reader and NanoQuant Spectrometer |  | RRP 212 | Tecan Switzerland | M200 | [5 empty] | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 1257283 |  | Up | Characterization | [7 empty] | malarp@srmist.edu.in
Real Time PCR |  | RRP 212 | Bio-Rad USA | CFX Connect 96 |  |  |  |  | RT-PCR/q-RT-PCR | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF |  | https://www.bio-rad.com/en-in/product/cfx-connect-real-time-pcr-detection-system?ID=LN5TFG15 | Up | Characterization | [7 empty] | malarp@srmist.edu.in
Chemi Documentation System and Gel Documentation System |  | RRP 212 | Syngene USA | Chemi-XRQ |  |  |  |  | ChemiDoc/GelDoc | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 1174092 |  | Up | Characterization | [7 empty] | malarp@srmist.edu.in
Mini Micro Pulse LiDAR (MiniMPL) | MiniMPL | RRP901 | Droplet Measurement Technologies USA | MPL 5023 |  |  | MOES |  | to measure aerosols and clouds | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM MPL | 82,00, 000 | https://www.dropletmeasurement.com | Up | Characterization |  |  |  | Droplet Measurement Technologies | customer-contact@dropletmeasurment.com |  |  | malarp@srmist.edu.in
Optical Microscope |  | RRP 810 | Leica Microsystems China | DM 2700M | 369231 |  | SRM Fund |  | Microscopic level Imaging view for solid materials | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 1594289 | https://www.leica-microsystems.com | Up | Characterization | [7 empty] | malarp@srmist.edu.in
Vickers Hardness Tester |  | RRP 810 | Matsuzawa Japan | VMT-X7S | VM0440X |  | SRM Fund |  | Testing hardness of materials | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 840490 | http://www.matsuzawa-ht.com | Up | Characterization |  |  |  | Matsuzawa Co Ltd | support@matsuzawa-ht.com |  |  | malarp@srmist.edu.in
Zetasizer |  | RRP 002 | Malvern | ZEN3690 | MAL1111244 |  | SRM Fund |  | It is used to measure particle size and zeta potential. | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 2659926 | https://www.malvernpanalytical.com/en/support/product-support/zetasizer-range/zetasizer-nano-range/zetasizer-nano-zs90 | Up | Characterization |  |  |  | Malvern Instruments Limited | www.malvern.com | Malvern | ravisankar.online@yahoo.co.in | malarp@srmist.edu.in
Plasma Cleaner |  | RRP 610 |  |  | 117057 |  | MNRE |  |  | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 562400 | www.plasma.com | Up | Fabrication |  |  |  | Diener Electronic |  |  |  | malarp@srmist.edu.in
PL Fluorolog 3 |  | RRP 808 | HORIBA Scientific | Fl3C-211 | 1758C-4514-FL |  | SRM Fund |  |  | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 8364517 | https://static.horiba.com/fileadmin/Horiba/Company/About_HORIBA/Readout/R07E/RE07-14-066.pdf | Up | Characterization |  |  |  | Laser Spectra Services India Pvt Ltd | knk@laser-spectra.com | Laser Spectra Services India Pvt Ltd | knk@laser-spectra.com | malarp@srmist.edu.in
Optical Profiler MicroXAM 800 |  | RRP 002 | KLA Tencor USA | MicroXAM 800 | 3600247 |  | SRM Fund |  |  | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 5294612 | https://www.kla.com/products/instruments/optical-profilers | Up | Characterization |  |  |  | KLA Tencor USA | instruments@kla.com | KLA Tencor USA | instruments@kla.com | malarp@srmist.edu.in
Class AAA Solar Simulator |  | RRP 603 | Newport Corporation | 94023A | 452 |  | SRM Fund |  |  | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF | 2610020 | https://www.equipx.net/uploads/Newport%20Oriel/NewportIQE200.pdf | Up | Characterization |  |  |  | Laser Spectra Services India Pvt Ltd | knk@laser-spectra.com | Laser Spectra Services India Pvt Ltd | knk@laser-spectra.com | malarp@srmist.edu.in
Potentiostat Galvanostat Electrochemical Workstation |  | RRP313 | BioLogic | VSP | 300 |  | MNRE, GOI |  | Electrochemical characterization CV, LSV, Impedence Spectroscopy | SCIF:SRM Central Instrumentation Facility (KTR Campus) | SRM SCIF |  | https://www.stinstruments.com/electrochemistry/potentiostat-galvanostat-eis/vsp-300-potentiostat/ | Up | Characterization |  |  |  | BioLogic | abiramman.rajhendran@biologic.net | BioLogic Science Instruments Pvt Ltd | abiramman.rajhendran@biologic.net | malarp@srmist.edu.in
Multichannel Electrochemical Workstation with Battery Tester |  | H402 | OrigaLys France and Neware USA |  |  |  | SRMIST |  | Cyclic Voltammetry,Linear Sweep Voltammetry, EIS, Charge/Discharge | Physics and Nanotechnology (KTR Campus) |  | 3321547 |  | Up | Characterization |  |  |  | RSI India | venkatesh@rsindia.net |  |  | hod.phy.ktr@srmist.edu.in
Scanning Probe Microscope (SPM) | SPM | H402 | Park Systems Corporation | XE7 |  |  | SRMIST |  | AFM, MFM, EFM, STM, Nano Indendation | Physics and Nanotechnology (KTR Campus) |  | 5665800 |  | Up | Characterization |  |  |  | Forevision Instruments Pvt Ltd |  |  |  | hod.phy.ktr@srmist.edu.in
X-ray Diffraction (XRD) | XRD | H402 | Panalytical |  |  |  | SRMIST |  | Powder, Thin film X-Ray diffraction | Physics and Nanotechnology (KTR Campus) |  | 5100000 |  | Up | Characterization |  |  |  | Spectris Technologies Pvt Ltd |  |  |  | hod.phy.ktr@srmist.edu.in
Stand Alone Light Source System |  | UB 1202 |  | LS | LS30/5 |  | SRMIST |  | Exposure with timer & intensity controller | Physics and Nanotechnology (KTR Campus) |  |  |  | Up | Characterization |  |  |  | OAI USA |  |  |  | hod.phy.ktr@srmist.edu.in
UV Visible NIR Spectrophotometer |  | RRP205 | Agilent Technologies Singapore Pte Ltd | Cary 5000 |  |  | SRMIST |  | Measure 175 to 3300 nm using a PbSmart NIR detector for extended 8 Abs photometric range. Versatile set of accessories for spectral and diffuse reflectance measurements and refractive index estimation and fiber optic probes to enable measurements at liquid-liquid interfaces. | Physics and Nanotechnology (KTR Campus) |  | 3929079 | https://www.agilent.com/en/product/molecular-spectroscopy/uv-vis-uv-vis-nir-spectroscopy/uv-vis-uv-vis-nir-systems/cary-5000-uv-vis-nir | Up | Characterization |  |  |  | Agilent Technologies India Pvt Ltd | customercare.india@agilent.com |  |  | hod.phy.ktr@srmist.edu.in
Magneto Optical Kerr Effect (MOKE) Setup | MOKE | RRP408 | Holmarc Opto-Mechatronics Ltd | HO-MOKE LB215 |  |  | SERB |  | Measurement of Kerr rotation in magnetic thin film, hysteresys loop measurement | Physics and Nanotechnology (KTR Campus) |  | 917259 |  | Up | Characterization |  |  |  | Holmarc Opto-Mechatronics Ltd | sales@holmarc.com |  |  | hod.phy.ktr@srmist.edu.in
Cryogenic Probe Station |  | RRP205 | Lake Shore Cryotronics Inc | PS100 |  |  | SRMIST |  | Electrical transport measurement of two, three, and four terminbal devices from room temperature down to 77 K | Physics and Nanotechnology (KTR Campus) |  | 4587329 |  | Up | Characterization |  |  |  | Specialise Instruments Mumbai |  | Quantum Design India Pvt Ltd | sanjay@qd-india.com | hod.phy.ktr@srmist.edu.in
Hall Effect Setup |  | RRP617 | SES Instruments Pvt Ltd | DPS 175 |  |  | SERB |  | Determination of carrier concentration in semicondutors and measurement of resistance in the presence of applied field | Physics and Nanotechnology (KTR Campus) |  | 169013 |  | Up | Characterization |  |  |  | SES Instruments Pvt Ltd | info@sesinstruments.com |  |  | hod.phy.ktr@srmist.edu.in
Semiconductor Parameter Analyzer |  | RRP205 | Tektronix Asia Ltd | SCS4200A |  |  | SRMIST |  | Advanced measurement hardware for DC I-V, C-V, and pulsed I-V measurement types | Physics and Nanotechnology (KTR Campus) |  | 2924721 | https://www.tek.com/en/products/keithley/4200a-scs-parameter-analyzer | Up | Characterization |  |  |  | Tektronix India Pvt Ltd |  |  |  | hod.phy.ktr@srmist.edu.in
Micro Raman Spectrometer |  | RRP 106 | HORIBA |  |  |  | SRMIST |  | Laser wavelengths: 325, 532, 633 and 785 nm, Resolution: 0.4 cm-1 (@532 nm) | Physics and Nanotechnology (KTR Campus) |  | 12400000 |  | Up | Characterization | [7 empty] | hod.phy.ktr@srmist.edu.in