## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Spectrum Analyzer with accessories |  |  | Rohde and Schwarz | FSH8/ HL300 | ID: 1309.6000K08-115872-Xi | Internal | Institution |  | (9KHz-9GHz.), For PG | School of Electrical Sciences |  | 802955 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) and Analysis Channel | DSO |  | Agilent and Keysight | DSOX 2002A |  | Internal | Institution |  |  | School of Electrical Sciences |  | 556500 |  | Up | Characterization
Relay Training System |  |  | Festo Germany | 8007-OA | G-358736, G-351145 | Internal | Institution |  | 15062669 Protective Relaying Training System(0.2 kW) | School of Electrical Sciences |  | 3117406 |  | Up | Characterization
Smart Grid Training System |  |  | Festo Germany | 8010-CA | G-361048, G-361107 | Internal | Institution |  | 15062669 Smart Grid Technology Training System | School of Electrical Sciences |  | 3044665 |  | Up | Characterization
Arbitrary Function Generator (AFG) | AFG |  | Tektronix | AFG3051C | C010861, C010863, C010864 | Internal | Institution |  | 50 MHz, Both UG & PG | School of Electrical Sciences |  | 194400 |  | Up | Characterization
Digital Multimeter and Clamp Meter Fluke 107 and 362 |  |  | Fluke | Fluke 107 & Fluke 362 | 38270051WS, 38270052WS, 39380183WS, 39380185WS | Internal | Institution |  | Digital Multimeter and Clamp Meter, DM & DCM. It will be used for both UG & PG Student | School of Electrical Sciences |  | 20200 |  | Up | Characterization
Instrumentation Lab Trainer Kit |  |  | Anshuman Tech Private Limited | MIT-12,MIT-3,MIT-5,MIT-7,MIT-6,XPO MIT | Experiment Kit Sl No.: 1706003, 1704001, 1704001, 1705003, 1704001 Master Kit Sl No.: 1704002, 1704004, 1704005 and 1704007 | Internal | Institution |  | Master kit: +/- 12V,500mA,Variable 7V to 14V,Output wave form-sine tangular And square,TTL o/p frequency:1Hz to 200Hz,on board DC voltage measurement:2V/20V Used by Under Graduate student in MEI LAb | School of Electrical Sciences |  | 109794 |  | Up | Characterization
DC Power Supply 12 Nos FD1502 10 Nos and LD 3202 02 Nos |  |  | Aplab Limited | FD1502 & LD3202 | H003DPS0817029 to 38 and H011D32020617053 to 54 | Internal | Institution |  | APLAB Linear, Modular dual Tracking Power Supply OUTPUT ±15V/2A, Model: FD1502 and APLAB Regulated Bench, Rack Adaptable, Dual Output Power Supply, Output: 0-32V/0-2A, Model: LD3202 SIGNAL PROCESSING LAB,ROOM NO-112 | School of Electrical Sciences |  | 126720 |  | Up | Characterization
Control Experiment setup |  |  | Arvind Instruments | DCM-01,ACP-01,DCP-01,DCS-01,ML-01,FG-01 |  | Internal | Institution |  | Supply Voltage:220 ,50 Hz,Operating voltage:12V,Current rating maximum1 A,12-15 Watt Used by Under graduate student to perform lab experiment in Control Lab | School of Electrical Sciences |  | 175366 |  | Up | Characterization
Dual Ridge Broadband and Horn Antenna |  |  | Rohde and Schwarz | HF907 | 102514 | Internal | Institution |  | Horn Antenna, For PG | School of Electrical Sciences |  | EURO 4900 |  | Up | Characterization
EMG Machine |  |  | Allengers |  | 17HA6005SFP072030019 | Internal | Institution |  | PORTABLE 2 CHANNEL EMG/EP/NCS SYSTEM BSP LAB,ROOM-111, SCORPIO 2 CHANNEL (MEDICAL EQUIPMENT) | School of Electrical Sciences |  | 195000 |  | Up | Characterization
QUAD FPAA Development Kit |  |  | Anadigm |  | 64083125130180 | Internal | Institution |  | 3.3 V QUAD FPAA Development Kit-AN231K04-QUAD4 with accessories, EDA Software. Make-Anadigm SIGNAL PROCESSING LAB,ROOM NO-112 | School of Electrical Sciences |  | 160125 |  | Up | Characterization
Fitter and Element |  |  | Ultrafilter India Pvt Ltd | VSS)009-1/2"-5 Microns SS04/10-5 Micron | 2K18-0252 & 2K18-0253 | Internal | Institution |  | It will be used for PG Student | School of Electrical Sciences |  | 41356 |  | Up | Characterization
Optical Component |  |  | Ocean Optics Inc | DH-2000-BAL, Probe Model: T200-RT-VIS-NIR, T300-RT-UV-VIS, RT-2MM | S/n- 0020203, Probe: EOS-A1245800(T300), EOS-A1245800(T200) | Internal | Institution |  | Deuterium & Tungsten Halogen, Transmission Dip Probe ( 200m,300m, 200-2500nm) For PG | School of Electrical Sciences |  | 689000 |  | Up | Characterization
Two Port Fiber Pigtailed AO Modulator and Frequency RF Driver |  |  | Brimrose | AMM-100-20-50-1550-2FP-SMHP, FFA-100-B1-F0.25 | S/n- 1805-SY-17027, Driver: S/n- 1800-AE-17028 | Internal | Institution |  | Wavelenght: 1550mm±30nm,P=1W,Freq: 100MHz, For PG | School of Electrical Sciences |  | 305000 |  | Up | Characterization
CWDM and DW Laser Source and Detector Module |  |  | Akademika Lab Solutions | FOL-CWDM, FOL-DUAL | S/n- 1805134, S/n- 1005105 | Internal | Institution |  | CWDM, Laser Source Wavelenght 1310nm-1550nm) For UG | School of Electrical Sciences |  | 415950 |  | Up | Characterization
Analog and Digital Trainer |  |  | Akademika Lab Solutions | BEL-ADT | 1802453, 1802452, 1803077,1803039, 1802451, 1802455, 1803042, 1803081, 1803045, 1803043, 1802454, 1803041, 1707057, 1803040, 1803038, 1803037 | Internal | Institution |  | Trainer kit, For UG | School of Electrical Sciences |  | 183986 |  | Up | Characterization
Network and Data Security Trainer kit |  |  | Benchmark Electronic Systems | i-SECURIT | 330125 and 330126 | Internal | Institution |  | COMPUTER NETWORKS LAB | School of Electrical Sciences |  | 584850 | http://www.benchmark-electronics.com/network-security.html | Up | Characterization
Dual Channel 60 MHz Arbitrary Function Generator |  |  | Tektronix | AFG1062 | 1752387, 1752395, 1752397, 1752419, 1752426, 1752439, 1752440, 1752441, 1752444, 1752447, 1752449, 1752452, 1752453, 1752456, 1752457,1753049, 1753051, 1813043, 1813075, 1813079 | Internal | Institution |  | 60MHz, 2CH. For UG | School of Electrical Sciences |  | 929124 |  | Up | Characterization
Digital Tachometer |  |  | Systems |  | 15-094,15-099,15-121, 16-934 | Internal | Institution |  | 5 Digits, 0-50,000 RPM BOTH UG & PG, CONTACT TYPE | School of Electrical Sciences |  | 9251 |  | Up | Characterization
Cathode Ray Oscilloscope (CRO) 30 MHz | CRO |  |  | SM203G | 18059189-9194,9196-97,9202,9207 | Internal | Institution |  | 30MHZ ANALOG, SCIENTIFIC, FOR UG | School of Electrical Sciences |  | 215250 |  | Up | Characterization
Fume Hood |  |  |  | BPL126 | BPL 126 | Internal | Institution |  | BPLS. For PG | School of Electrical Sciences |  | 176400 | http://www.bplab.in/ | Up | Fabrication
Analog and Digital Universal Trainer Kit |  |  | Tirupati Electronics | MicroLab-IV | B080, B081,B082, B083,B084,B086, B087,B088,B089, B090 | Internal | Institution |  | Trainer Kit, For UG | School of Electrical Sciences |  | 118096 |  | Up | Characterization
Digital Multimeter |  |  | Fluke | 15B+ | 42670277WS,278WS,279WS, 280WS,281WS,282WS,283WS , 284WS,285WS,286WS, 40880372WS,373WS,374WS, 376WS,380WS,42530421WS , 422WS,423WS,424WS,425WS | Internal | Institution |  | Voltage: DC: 1000 volts; AC: 1000 volts; DC Accuracy: ± 0.5% + 3 digit; AC Accuracy: ± 1% + 3 digit Current: DC: 10 amps; AC: 10 amps; DC Accuracy: ± 1.5% + 3 digit; AC Accuracy: ± 1.5% + 3 digit Resistance: 40 M ohm; Resistance Accuracy: ± 1.5% + 3 digit Capacitance: 1000 μF; Capacitance Accuracy: ± 5% + 5 digit Used by Under graduate student in MEI Lab | School of Electrical Sciences |  | 106785 |  | Up | Characterization
Supercapacitor Modules |  |  | Maxwell Technologies | BMOD0058E016B02 | (i) M01635F18166L0777, (ii)M01635F18166L0771, (iii)M01635F18166L0772, (iv)M01635F18166L0766, (v)M01635F18166L0848 | Internal | Institution |  | 16V, 58F, PG | School of Electrical Sciences |  | 76125 |  | Up | Characterization
Trainer Board |  |  | Tirupati Electronics |  | BB01 to BB16 | Internal | Institution |  | Power Output:+5Vmax current:100mA Output:+3.3V max current -150mA ,Output:+15V max current32mA,Output:-15V max current-32mA Used by Under graduate student in MEI Lab, BREAD BOARD SYSTEM | School of Electrical Sciences |  | 47998 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization
Multiple DC Power Supply |  |  | MINE | MI-PS3302 |  | Internal | Institution |  | 0-30DC REGULATED, FOR UG | School of Electrical Sciences |  | 432600 |  | Up | Characterization