## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Soldering Station (SS) | SS |  | Weller | WSD8LI | 14135/175180, 14135/175159 | Internal | Institution |  | 80Watt., 230V AC, Both UG & PG | School of Electrical Sciences |  | 49348 |  | Up | Characterization
Digital Storage Oscilloscope (DSO) | DSO |  | Tektronix | TBS2102 | C030858, C030860 | Internal | Institution |  | 100MHz, Both UG & PG | School of Electrical Sciences |  | 194880 |  | Up | Characterization
DC Power Supply (DCPS) | DCPS |  | Aplab Limited | L3202 | H011L32020219031, H011L32020319036, H011L32020319059 | Internal | Institution |  | 0-32V DC , 2A, Both UG & PG | School of Electrical Sciences |  | 24570 |  | Up | Characterization
Dual Channel Arbitrary Function Generator 60 MHz |  |  | Tektronix | AFG 1062 | 1826090, 1826091, 1826093, 1826094, 1826097, 1826099, 1826105, 1826106, 1826111, 1848044 | Internal | Institution |  | 60MHz 2CH, For UG | School of Electrical Sciences |  | 464562 |  | Up | Characterization
ZedBoard |  |  | Digilent Inc | 410-248 | DAC87AC, DAA5860, DAA3D3B, DAA581B, DAA5A46 | Internal | Institution |  | ZYNQ-7000 ARM, ZB, FOR UG&PG | School of Electrical Sciences |  | 156450 |  | Up | Characterization
Dual DC Regulated Power Supply input |  |  | Aplab Limited | LD6410 | HO11D64110619012, HO11D64100619013 | Internal | Institution |  | 64VRegulated DC Source, For UG & PG | School of Electrical Sciences |  | 119700 |  | Up | Characterization
Digital Multimeter (DM) | DM |  | Fluke | 107 | 47080456WS, 457WS, 458WS, 459WS, 460WS | Internal | Institution |  | It will be used for both UG & PG Student | School of Electrical Sciences |  | 23888 |  | Up | Characterization
DM Fluke 107 | DM |  | Fluke | 107 | 45260426WS, 427WS, 428WS, 429WS, 430WS | Internal | Institution |  | Both UG & PG | School of Electrical Sciences |  | 23888 |  | Up | Characterization
Supply of three phase 400 KKM Transmission Line Simulation Study Unit |  |  | JSK | JSK-3PH-TSSU |  | Internal | Institution |  |  | School of Electrical Sciences |  | 249375 |  | Up | Characterization
Fiber Optic Video Microscope |  |  | FIS FI | VM400USB | 12192000 | Internal | Institution |  | 400X Video Microscope, For UG & PG | School of Electrical Sciences |  | 58065 |  | Up | Characterization
DFB Diode 1550 nm |  |  |  | 1550nmDFB |  | Internal | Institution |  | FC/APC,20nW o/p, China, For PG | School of Electrical Sciences |  | 28262 |  | Up | Characterization
Control Experimental setup |  |  | Arvind Instruments | ACP-01, DCP-01, ML-01, DCS-01, ACS-01, SM-01, PID-01, CD-02, TCS-02, CD-02, LIC-01, DCM-01, DC-01, LSS-01, SD-01, RCS-01 |  | Internal | Institution |  | Supply Voltage:220 ,50 Hz,Operating voltage:12V,Current rating maximum1 A,12-15 Watt Used by Under graduate student to perform lab experiment in Control Lab | School of Electrical Sciences |  | 463160 |  | Up | Characterization
Dual Channel Arbitrary Function Generator 25 MHz |  |  | GW Instek | AFG-2225 | GET891349-361-380-374-381-385-GET902614-2630-2632-2623-GET911508-511-GET891367-1393-GET902608 | Internal | Institution |  | 25MHZ, AG, FOR UG | School of Electrical Sciences |  | 465000 |  | Up | Characterization
Soldering Station and Isolation Current Probe |  |  | Weller and Tektronix | TO053440699N, A622 | 154 36/19 8290, 154 35/19 8024, 154 36/19 8266, 11SS22712DV | Internal | Institution |  | 80Watt, 230V, 100KHz, STI, Both UG & PG | School of Electrical Sciences |  | 144260 |  | Up | Characterization
Current Probe with BNC Adapter |  |  | Chauvin Arnoux | E3N | 103834TAH, 103843TAH, 103847TAH | Internal | Institution |  | 100KHz, CPPA, PG | School of Electrical Sciences |  | 154350 |  | Up | Characterization
Workstation |  |  | Tyrone Systems | CAMARERO SS40TR-34L | TX20472005, TX20482005 | Internal | Institution |  | WS, Both UG & PG | School of Electrical Sciences |  | 307388 |  | Up | Characterization
Isolated Channel Oscilloscope (ICO) | ICO |  | Tektronix | TPS2024B | TPS2024BC032083, TPS2024BC032084 | Internal | Institution |  | 200MHz: 2GS/s: 4 Isolated Channels, PG | School of Electrical Sciences |  | 899100 |  | Up | Characterization
Multimedia Projector |  |  | Maxell |  | (1). F9LR00019 (2). F9LR00030 (3). F9LR00020 (4). F9LR00026 (5). F9LR00014 (6). F9LR00029 (7). F9LR00031 (8). F9LR00035 (9). F9LR00034 (10). F9LR00021 (11). F9LR00036 (12). F9LR00025 | Internal | Institution |  | Maxell with USB Wireless Adapter, Projector with USB Wireless Adapter, For Labs use | School of Electrical Sciences |  | 598800 |  | Up | Characterization
Server and Monitor |  |  | Dell | Dell EMC PowerEdge R740 and Dell UP3216Q | 2D5GY23 & DS90SS2 | Internal | Institution |  | S&M, COMPUTER ARCHITECTURE LAB | School of Electrical Sciences |  | 1620950 | https://www.dell.com/en-in/work/shop/productdetailstxn/poweredge-r740 | Up | Characterization
Embedded ARM Processor Trainer Board |  |  | Kitek | E87-02 |  | Internal | Institution |  | ARM EMBEDDED, FOR UG | School of Electrical Sciences |  | 105000 | https://researchdesignlab.com | Up | Characterization
Dual Channel DC Power Supply |  |  |  | PSD3210-2 | 2001075,76,79, 2005081,82,84,85, 2007087,89,90 | Internal | Institution |  | 32Volt,10A,Dual Channel, Scientific, It will be used for both UG & PG Student | School of Electrical Sciences |  | 346500 |  | Up | Characterization
dSPACE MicroLabBox |  |  | DynaFusion | ACE MLBX 1302T | 926730,1004839 and 902071,806738 | Internal | Institution |  | DMB, It will be used for both UG & PG Student | School of Electrical Sciences |  | 1496250 | https://www.dynafusiontech.com/ | Up | Characterization
Dual Channel Function Generator |  |  | GW Instek | AFG-2225 | GEU861642,GET924551 | Internal | Institution |  | It will be used for both UG & PG Student | School of Electrical Sciences |  | 66200 | https://www.gwinstek.com | Up | Characterization
DC Power Supply (DCPS) | DCPS |  | Aplab Limited | L6430, L3202 | H011L64300320001, H011L64300320002 H011L32021219147, H011L32021219151 | Internal | Institution |  | 0-32V DC , 2A, Both UG & PG | School of Electrical Sciences |  | 219450 | https://www.aplab.com/ | Up | Characterization
Multifunction DAS and Sensor Assortment |  |  | NI | RIO-1900 |  | Internal | Institution |  | 6002-240-006 My RIO Stater kit,210-283 Breadboard Adapter,310-079 power cable Pigtail For Under graduate student to perform lab experiment | School of Electrical Sciences |  | 674466 |  | Up | Characterization
IF Study Card 8259 | [5 empty] | Internal | Institution |  |  | School of Electrical Sciences |  | 22990 |  | Up | Characterization
Raspberry Pi 4 for RESP Lab | [5 empty] | Internal | Institution |  | Raspberry Pi 4 (4GB),Raspberry Pi 4 (2GB),LCD for Raspberry Pi 3.2inch,LCD for Raspberry Pi 5inch SIGNAL PROCESSING LAB,ROOM NO-112 | School of Electrical Sciences |  | 156450 |  | Up | Characterization