## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Binary High Performance Liquid Chromatography (HPLC) | HPLC | M-G-05-06 | Systronics | LC 138(B) |  | External | DST, Govt. of India |  | It is used for quantitative estimation of organic functional groups | Chemistry | Central Research Lab |  |  | Up | Characterization
Millipore |  | M-G-05-06 | Merck India | DQ3 |  | External | DST, Govt. of India |  | Ultra pure water purifcation system | Chemistry | Central Research Lab |  |  | Up | Characterization
Fermenter |  | MF-02 | Bioferma | Bioractor 01-02 |  | External | DST, Govt. of India |  | Bio-fertilizer production, fermentation, waste treatment, etc. | Zoology | Central Research Lab |  |  | Up | Fabrication
GM Counter Setup GC 602A for radioactive radiations |  | M-G-04 | Nucleonix Systems Private Limited | Nucleonix GC-602A |  | External | DST, Govt. of India |  | Study and count of radioactive radiations from radioactive sources. | Physics | Central Research Lab |  |  | Up | Characterization
High End GPU Workstation |  | M-G-04 | Netweb Technologies India Pvt Ltd | Tyrone Camarero-DS300TR-48 |  | External | DST, Govt. of India |  | Software based Computational work. Xeon Processor, 128 GB RAM, NVIDIA Graphic Card, HDD-2*2000 GB SATA with SSD and Full HD Monitor Liquid cooled Model. | Physics | Central Research Lab |  |  | Up | Characterization
Trinocular Microscope |  | MF-01 | Olympus | Olympus cx-41-TR |  | External | DST, Govt. of India |  | Microscope is used for studying microscopic details of stained cultures of bacteria, fungi, and haematology cell for undergraduate students of Botany & Microbiology. | Botany | Botany Lab |  |  | Up | Characterization
Digital Camera attached with Microscope |  | MF-01 | Olympus | Cannon EOS series |  | External | DST, Govt. of India |  | Camera is used to obtain microphotograph of studied material for above maintained purpose | Botany | Botany Lab |  |  | Up | Characterization
Mono Quartz Distillation unit Assembly with Power Supply (DAPS) | DAPS | MF-01 | Borosil Limited | Borosil Cat no. 3363042 |  | External | DST, Govt. of India |  | Single distill water is used for media preparation of Microbiology studies of UG Classes. | Botany | Botany Lab |  |  | Up | Characterization
PC based Double Beam UVV Spectrophotometer |  | MF-01 | Systronics | 2201 |  | External | DST, Govt. of India |  | Spectrophotometer is in use for practical related to microbiology for growth curve and enzyme studies. PC based double beam U-V–V Spectrophotometer (including operating software, Laptop & Printer) | Botany | Botany Lab |  |  | Up | Characterization
Synthesis Reactor Microwave |  | MG-05-06 | Anton Paar GmbH | Monowave 200 |  | External | DST, Govt. of India |  | Used for synthesis method development and optimization, provides rapid uniform heating with immersing temperature sensing system along with real time pressure reading. | Chemistry | Chemistry Lab |  |  | Up | Characterization
High Precision Water Bath |  | MG-05-06 | Scientech Instruments | SE-135 |  | External | DST, Govt. of India |  | For evaporation and heating under controlled condition | Chemistry | Chemistry Lab |  |  | Up | Characterization
Digital Melting Point |  | MG-05-06 | Scientech Instruments | SE-174 |  | External | DST, Govt. of India |  | Determination of Melting Point | Chemistry | Chemistry Lab |  |  | Up | Characterization
Vacuum Pump Compressor |  | MG-05-06 | Scientech Instruments | SE-173 |  | External | DST, Govt. of India |  | Used for filtration under vacuum using glass crucible. | Chemistry | Chemistry Lab |  |  | Up | Characterization
Clevenger Apparatus 1000 ml |  | MG-05-06 | Borosil |  |  | External | DST, Govt. of India |  | Extraction of oil | Chemistry | Chemistry Lab |  |  | Up | Characterization
Horizontal Electrophoresis Unit with Power Supply |  | MF-02 | HiMedia | LA851 |  | External | DST, Govt. of India |  | Mainly used in separating mixtures containing DNA and RNA molecules | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Digital Balance |  | MF-02 | Wensar | PGB 200 |  | External | DST, Govt. of India |  | Weighing various chemicals for media, reagents and buffer | Zoology and Biotechnology | Zoology Lab |  |  | Up | Analytical Measurement
Shaker Incubator Heating |  | MF-02 | Bio Technics India | BTI-39 |  | External | DST, Govt. of India |  | Mass culturing of bacterial cells isolated from different sources by shaking at a specific temperature. | Zoology and Biotechnology | Zoology Lab |  |  | Up | Fabrication
Water Bath |  | MF-02 | Scientech Instruments | Se-133 (A) |  | External | DST, Govt. of India |  | To incubate Samples at constant temp. | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Thin Layer Chromatography |  | MF-02 | Sentwin |  |  | External | DST, Govt. of India |  | Used to separate non-volatile mixtures, identify compounds present in a given mixture | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Paper Chromatography |  | MF-02 | Laby | PC- 10 |  | External | DST, Govt. of India |  | For Analyzing Complex Mixtures, Separating Colored pigments, amino acids, sugars, lipids etc. | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Soxhlet Apparatus |  | MF-02 | Bio Technics India | BTI |  | External | DST, Govt. of India |  | Extraction of lipids and other molecules from a solid sample | Zoology and Biotechnology | Zoology Lab |  |  | Up | Fabrication
Refrigerated Microcentrifuge with Rotor Head and Voltage Stabilizer |  | MF-02 | Laby | T 55 |  | External | DST, Govt. of India |  | Separation of cellular organelle, protein and nucleic acid | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Autoclave |  | MF-02 | Scientech Instruments | SE-101 |  | External | DST, Govt. of India |  | Wet sterilization of media, cotton plug, glassware and other instruments | Zoology and Biotechnology | Zoology Lab |  |  | Up | Fabrication
Hot Air Oven |  | MF-02 | Scientech Instruments | SE-127 |  | External | DST, Govt. of India |  | Dry heat sterilization and incubation of media and samples | Zoology and Biotechnology | Zoology Lab |  |  | Up | Fabrication
Binocular Research Microscope |  | MF-02 | Olympus Magnus | CH20i No. 16G0578 |  | External | DST, Govt. of India |  | For Analyzing Complex Mixtures, Separating Colored pigments, amino acids, sugars, lipids etc. | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Compound Microscope |  | MF-02 | Olympus Magnus | HSA model |  | External | DST, Govt. of India |  | To examine microscopic organism and histological slides | Zoology and Biotechnology | Zoology Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Desktop Computer HP280 GTMT Intel Core I3 |  | MF-06 | Hewlett Packard | HP 280 GT MT |  | External | DST, Govt. of India |  | for Computer practical in Computer Sc. Lab (12 systems) | Computer Science | UG Lab |  |  | Up | Characterization
Single Trace Oscilloscope 10 MHz |  | M-G-04 | Mars Edpal Instruments Pvt Ltd | ME 3010 |  | External | DST, Govt. of India |  | Measurement of frequency and voltage of A.C. signals, CRO | Physics | Physics Lab |  |  | Down | Characterization
Digital Nanometer |  | M-G-04 | Omega Electronics | DNM - 021 |  | External | DST, Govt. of India |  | Measuring nano-current of AC signals | Physics | Physics Lab |  |  | Up | Analytical Measurement
AC Milli Volt Meter 0-300 V |  | M-G-04 | Omega Electronics | ACV-25 |  | External | DST, Govt. of India |  | To measure AC milli voltages | Physics | Physics Lab |  |  | Up | Analytical Measurement
Audio Frequency (AF) Generator 10 Hz to 1 MHz | AF | M-G-04 | Omega Electronics | AO-309 |  | External | DST, Govt. of India |  | Generator of Ac signals of different frequency and shape | Physics | Physics Lab |  |  | Up | Characterization
Study of Thermo EMF using Platinum Resistance Thermometer |  | M-G-04 | Amarsons Industries |  |  | External | DST, Govt. of India |  | Study and measurement of thermo emf. ACCULAB AMARSONS’ INDUSTRIES | Physics | Physics Lab |  |  | Up | Characterization
Measurement of resistivity of Semiconductor by Four Probe Method |  | M-G-04 | Scientific Equipment and Services Instruments Pvt Ltd | DFP-02 |  | External | DST, Govt. of India |  | Measurement of resistivity of semiconductors | Physics | Physics Lab |  |  | Up | Analytical Measurement
Hall Effect experiment setup with all accessories |  | M-G-04 | Osaw Industrial Products Pvt Ltd | SK-006 |  | External | DST, Govt. of India |  | Study of Hall Effect and identifying the n-type/p-type | Physics | Physics Lab |  |  | Up | Characterization
Newtons ring experiment setup with all accessories |  | M-G-04 | Optochem International |  |  | External | DST, Govt. of India |  | Study of Newton’s rings | Physics | Physics Lab |  |  | Up | Characterization
Absorption Spectrum of Iodine Vapour with all accessories |  | M-G-04 | Amarsons Industries |  |  | External | DST, Govt. of India |  | Study of Absorption spectrum of Iodine vapour. ACCULAB AMARSONS’ INDUSTRIES | Physics | Physics Lab |  |  | Up | Characterization
Planks constant apparatus with all accessories |  | M-G-04 | Optochem International |  |  | External | DST, Govt. of India |  | Determination of Planck’s constant | Physics | Physics Lab |  |  | Up | Characterization
Magnetic Hysteresis Loop Tracer with all accessories WO CRO |  | M-G-04 | Scientific Equipment and Services Instruments Pvt Ltd | HLT-111 |  | External | DST, Govt. of India |  | Hysteresis loop tracing of ferromagnetic materials | Physics | Physics Lab |  |  | Up | Characterization
Cathode Ray Oscillograph (CRO) 30 MHz Dual Channel Dual Trace with inbuilt 30 MHz FC | CRO | M-G-04 | Scientific Mes Technik Pvt Ltd | Sm-410 |  | External | DST, Govt. of India |  | To study, compare and superimpose two AC signals measuring frequency and voltage of AC signals | Physics | Physics Lab |  |  | Up | Characterization
Laser experiment with He Ne Laser with all accessories |  | M-G-04 | Optochem International |  |  | External | DST, Govt. of India |  | Study of laser light characteristics | Physics | Physics Lab |  |  | Up | Characterization
Mercury Hg Vapour Lamp 80 Watt with choke is fitted inside wooden box |  | M-G-04 | Philips Electronics India Limited |  |  | External | DST, Govt. of India |  | Mercury light source for optics lab | Physics | Physics Lab |  |  | Up | Characterization
Michelson Interferometer with built in Sodium source and with all accessories |  | M-G-04 | Osaw Industrial Products Pvt Ltd | SK-002 |  | External | DST, Govt. of India |  | To study the Michelson fringes using Michelson Interferometer | Physics | Physics Lab |  |  | Up | Characterization
Study of Zeeman Effect with all accessories |  | M-G-04 | Optochem International |  |  | External | DST, Govt. of India |  | Study of Zeeman Effect, an opto-magnetic phenomenon | Physics | Physics Lab |  |  | Up | Characterization
Digital Frequency Counter 20 MHz |  | M-G-04 | Omega Electronics | DFC-20 M |  | External | DST, Govt. of India |  | To measure the frequency of AC signal | Physics | Physics Lab |  |  | Up | Analytical Measurement
Sodium Vapour Lamp 55 w with Transformer |  | M-G-04 | Mars Edpal Instruments Pvt Ltd | 55 wt |  | External | DST, Govt. of India |  | Light source for optics experiment | Physics | Physics Lab |  |  | Up | Characterization
e/m Apparatus by Bar Magnet Method |  | M-G-04 | Omega Electronics | EM-30 |  | External | DST, Govt. of India |  | To find the electronic charge and mass ratio of electron | Physics | Physics Lab |  |  | Up | Characterization
Energy Band Gap by Four Probe Method |  | M-G-04 | Mars Edpal Instruments Pvt Ltd | ME-167 |  | External | DST, Govt. of India |  | To determine energy band gap of semiconductor | Physics | Physics Lab |  |  | Up | Characterization
Diode Laser Diffraction Experiment |  | M-G-04 | Omega Electronics | ES-361 |  | External | DST, Govt. of India |  | To find the wavelength of Laser light and study the Diffraction using Diode Laser | Physics | Physics Lab |  |  | Up | Characterization
Characteristics of Solar Cell ES 290 |  | M-G-04 | Omega Electronics | ES-290 |  | External | DST, Govt. of India |  | To study the characteristics of Solar Cell | Physics | Physics Lab |  |  | Up | Characterization