## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
High Resolution Transmission Electron Microscope | HRTEM | Room No. 002, Ground Floor, iRh | Thermo Scientific | Talos F200X G2 | 9953086 | Internal | Institute | NA | HRTEM line resolution : 0.10 nm; HRSTEM Resolution: 0.16 nm; Brightness of X-FEG: 1.8 × 109 A /cm2 srad (@200kV); Super-X EDS system : 4 SDD symmetric design; Energy resolution : ≤136 eV for Mn-Kα and 10 kcps (output); Elemental Analysis : B to U; Elemental Mapping : B to U; 3D Tomography; Dark Field and Bright field Imaging | Central Research Facility | CRF Facility | 64285920 | https://people.iitism.ac.in/~research/crf/index.php | Up | Characterization | NA | NA | NA | Thermo Fisher Scientific India Pvt Ltd | ininfo@thermofisher.com | Thermo Fisher Scientific India Pvt Ltd | ininfo@thermofisher.com | hrtem_crf@iitism.ac.in; gcnayak@iitism.ac.in