## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Die Electric Breakdown Tester |  |  | Sensors India | SENSORS SI DBDT 20 | SI DBDT 20 | External Funding | Institution funding self supported |  |  |  |  | 650900 |  |  | Electrical |  |  |  |  | bhagalpur@cipet.gov.in
FTIR |  |  | Thermo Fisher Scientific India Pvt Ltd | THERMO FISHER SCIENTIFIC NICOLET SUMMIT PRO | NICOLET SUMMIT PRO | External Funding | Institution funding self supported |  |  |  |  | 1770000 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
TGA Apparatus |  |  | BioZed Engineering Pvt Ltd | TA Instruments Discovery TGA 55 | DIscovery TGA 55 | External Funding | Institution funding self supported |  |  |  |  | 3125820 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Automized Izod Charphy Impact Tester |  |  | AIMIL Ltd | Tinius Olsen Testing IT504 | IT504 | External Funding | Institution funding self supported |  |  |  |  | 3309192 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Cold Water Bath |  |  | Dinesh Scientific | Dinesh Scientific DS 1265 | DS 1265 | External Funding | Institution funding self supported |  |  |  |  | 192104 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Rockwell Hardness Tester |  |  | Banbros Engineeing Pvt Ltd | Banbros BRSN D | BRSN D | External Funding | Institution funding self supported |  |  |  |  | 336047 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Universal Testing Machine |  |  | HEM Techsys Private Limited | HEMTECH HT U2510 and HT LTE | HT U2510 and HT LTE | External Funding | Institution funding self supported |  |  |  |  | 1923400 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
WVTR |  |  | HEM Techsys Private Limited | PERMTECH PERMEH2O S | PERMEH2O S | External Funding | Institution funding self supported |  |  |  |  | 3410200 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
Melt Flow Rate Tester |  |  | HEM Techsys Private Limited | HEMTECH HT MFI ABACWLPC | HT MFI ABACWLPC | External Funding | Institution funding self supported |  |  |  |  | 649000 |  |  | Rhelogical |  |  |  |  | bhagalpur@cipet.gov.in
Comparative Tracking Index |  |  | San Engineering Company | CSR ELEKTRONIKS CSR ELEKTRONIKS | CSR ELEKTRONIKS | External Funding | Institution funding self supported |  |  |  |  | 599543 |  |  | Electrical |  |  |  |  | bhagalpur@cipet.gov.in
Deep Freezer |  |  | San Engineering Company | ARCADE ARC 2220 HDF | ARC 2220 HDF | External Funding | Institution funding self supported |  |  |  |  | 185959 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Falling Weight Impact Tester |  |  | P S I Sales Private Limited | P S I PLC 27 | PLC 27 | External Funding | Institution funding self supported |  |  |  |  | 110649 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Environmental Stress Cracking Resistance |  |  | P S I Sales Private Limited | P S I PLC 30 | PLC30 | External Funding | Institution funding self supported |  |  |  |  | 111829 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
Volume and Surface Resistivity Tester |  |  | Khushboo Scientific Pvt Ltd | SIVANANADA LS3BM | LS3BM | External Funding | Institution funding self supported |  |  |  |  | 263730 |  |  | Electrical |  |  |  |  | bhagalpur@cipet.gov.in
Gloss Meter |  |  | Khushboo Scientific Pvt Ltd | Rhopoint Novo Gloss Trio 20 30 85 and Novo Gloss 45 45 Deg | Rhopoint Novo Gloss Trio 20 30 85 and Novo Gloss 45 45 Deg | External Funding | Institution funding self supported |  |  |  |  | 317066 |  |  | Optical |  |  |  |  | bhagalpur@cipet.gov.in
Elmendrof Tear Tester |  |  | Khushboo Scientific Pvt Ltd | ASIAN TEST ATE ETT 1 | ATE ETT 1 | External Funding | Institution funding self supported |  |  |  |  | 276710 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Hydrostatic Pressure Tester |  |  | Elemech Pneumatic Industries | ELEMECH EPI HPTP 09 | EPI HPTP 09 | External Funding | Institution funding self supported |  |  |  |  | 812430 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Notch Cutter |  |  | Elemech Pneumatic Industries | ELEMECH EPI 250 | EPI 250 | External Funding | Institution funding self supported |  |  |  |  | 258066 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Glow Wire Tester |  |  | Elemech Pneumatic Industries | ELEMECH EPI GWT 01 | EPI GWT 01 | External Funding | Institution funding self supported |  |  |  |  | 382320 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Hot Water Bath |  |  | Elemech Pneumatic Industries | ELEMECH EPI HWB 09 | EPI HWB 09 | External Funding | Institution funding self supported |  |  |  |  | 210276 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
HDT VSP Apparatus |  |  | Venture Instrumentation Technology Pvt Ltd | COESFELD VICAT HDT COMPACT | VICAT HDT COMPACT | External Funding | Institution funding self supported |  |  |  |  | 3221046 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Double Beam UV Spectrophotometer |  |  | Perkin Elmer India Pvt Ltd | PerkinElmer Lamba 365 | Lamba 365 | External Funding | Institution funding self supported |  |  |  |  | 1416000 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
Gas Chromatography |  |  | Perkin Elmer India Pvt Ltd | PerkinElmer Clarus 690 | Clarus 690 | External Funding | Institution funding self supported |  |  |  |  | 4484000 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
Atomic Absorption Spectrophotometer |  |  | Shiva Global Teknosys | ANALYTIK JENA AG GERMANY ZEEnit 700P | Analytik Jena AG germany ZEEnit 700P | External Funding | Institution funding self supported |  |  |  |  | 5841000 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
UV Weather O Meter |  |  | Venture Instrumentation Technology Pvt Ltd | QLAB CORPORATION QUVSE230G4 | QUVSE230G4 | External Funding | Institution funding self supported |  |  |  |  | 1225548 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Differential Scanning Calorimetry |  |  | Perkin Elmer India Pvt Ltd | PerkinElmer DSC 4000 | DSC 4000 | External Funding | Institution funding self supported |  |  |  |  | 2301000 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Hot Air Oven 100 kg |  |  | Labtherm Scientific Products | LABTHERM LSP001HOV100KG | LSP001HOV100KG | External Funding | Institution funding self supported |  |  |  |  | 76700 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Arc Resistance |  |  | Arcom Enterprises | ARCOM AE ART | AE ART | External Funding | Institution funding self supported |  |  |  |  | 743400 |  |  | Electrical |  |  |  |  | bhagalpur@cipet.gov.in
Burst Strength Tester |  |  | EIE Instruments Pvt Ltd | VIPL PT 101SH50 | PT 101SH50 | External Funding | Institution funding self supported |  |  |  |  | 162899 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Free Falling Dart Impact Tester |  |  | Khushboo Scientific Pvt Ltd | STECH | STECH | External Funding | Institution funding self supported |  |  |  |  | 119180 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Opacity Tester |  |  | Elemech Pneumatic Industries | Elemech EPI OT 016 | EPI OT 016 | External Funding | Institution funding self supported |  |  |  |  | 82527 |  |  | physical property testing |  |  |  |  | bhagalpur@cipet.gov.in
Haze and Clarity Meter |  |  | Elemech Pneumatic Industries | Elemech EPI HC 030 | EPI HC 030 | External Funding | Institution funding self supported |  |  |  |  | 404058 |  |  | Optical |  |  |  |  | bhagalpur@cipet.gov.in
Carbon Black Content Tester |  |  | Elemech Pneumatic Industries | Elemech EPI CBC 017 | EPI CBC 017 | External Funding | Institution funding self supported |  |  |  |  | 134559 |  |  | Chemical |  |  |  |  | bhagalpur@cipet.gov.in
Muffle Furnance |  |  | Elemech Pneumatic Industries | Elemech EPI MF 010 | EPI MF 010 | External Funding | Institution funding self supported |  |  |  |  | 63197 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Limiting Oxygen Index Apparatus |  |  | Shree Enterprises | SE 60 | SE 60 | External Funding | Institution funding self supported |  |  |  |  | 212400 |  |  | flammability testing |  |  |  |  | bhagalpur@cipet.gov.in
Melting Point Appartus |  |  | Dinesh Scientific | DS MPA 400 | DS MPA 400 | External Funding | Institution funding self supported |  |  |  |  | 326119 |  |  | Thermal |  |  |  |  | bhagalpur@cipet.gov.in
Punching Press |  |  | Srimathy Engineers | ESSARRAM HARIHAR SICO HPC 30 | SICO HPC 30 | External Funding | Institution funding self supported |  |  |  |  | 1392400 |  |  | Mechanical |  |  |  |  | bhagalpur@cipet.gov.in
Environmental Chamber |  |  | World Invent Scientific Technologies Pvt Ltd | Wist WTENV 100 W2 | WTENV 100 W2 | External Funding | Institution funding self supported |  |  |  |  | 415000 | [7 empty] | bhagalpur@cipet.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE