## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Probe Station |  | Characterisation lab | SUSS Microtech | PM8 |  |  |  |  | Characterization, Probe Station with probe shield, anti-vibration table and chiller for variable temperature. | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
Wire Bonder |  | Characterisation lab | TPT Wire Bonder | HB05 |  |  |  |  | Characterization | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
Four Probe Resistivity Measurement Setup |  | Characterisation lab | SES instruments pvt. Ltd | CCS-001 |  |  |  |  | Characterization | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
Metal Sputtering Unit |  | Characterisation lab | Millman Thin films System Pvt Ltd. | MM199 |  |  |  |  | Device fabrication | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Fabrication
Semiconductor Characterization System |  | Characterisation lab | Keithley | 4200 SCS |  |  |  |  | DC Characterization | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
Nanovoltmeter |  | Characterisation lab | Keithley | 2182A |  |  |  |  | DC Characterization | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
High Voltage Source Measure Unit |  | Characterisation lab | Keithley | 237 |  |  |  |  | DC Characterization | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
High Frequency RF Measurement Setup |  | Characterisation lab | Agilent | Agilent PNA-L Series |  |  |  |  | RF Characterization, Agilent PNA-L Series Vector Network Analyzer Agilent ESA-E Series Spectrum Analyzer, Agilent PSG E8267D Vector Signal Generator Agilent EPM-P Series Power Meter, Agilent NFA Series Noise Figure Analyzer, Agilent 346C K01 RF Noise Source | Centre for VLSI and Nanotechnology | Characterization Lab |  |  | Up | Characterization
Sentaurus 2D TCAD |  | Nanoelectronics lab | Synopsys | [5 empty] | Device Simulation | Centre for VLSI and Nanotechnology | Nanoelectronics Lab |  |  | Up | Research Equipment
EDA Tools |  | Integrated circuit and system design lab | [6 empty] | Circuit Simulation, EDA tools for design, simulation and verification (functional, timing, physical) for analog, digital, custom, mixed signal and RF IC domains from Cadence, Synopsys and Mentor Graphics | Centre for VLSI and Nanotechnology | Integrated Circuit and System Design Lab |  |  | Up | Research Equipment
High Performance Computing Cluster |  | High Performance computation lab | Intel Nehalem | [5 empty] | Device Simulation, Cluster of 1 Head node, 10 rack mount compute nodes, 5 tower model compute nodes. Head node with 2 CPUs | Centre for VLSI and Nanotechnology | High Performance Computation Lab |  |  | Up | Research Equipment
FPGA Kits |  | National mems design centre | Xilinx and Altera | [5 empty] | SoC Design, FPGA kits and programming software | Centre for VLSI and Nanotechnology | National MEMS Design Centre |  |  | Up | Research Equipment
COMSOL Multiphysics Simulation Software Environment |  | National mems design centre | COMSOL | [5 empty] | MEMS Design | Centre for VLSI and Nanotechnology | National MEMS Design Centre |  |  | Up | Software