## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
5 Ton Capacity EOT Crane with Cross Control Panel |  | Earthquake Engineering Lab | [6 empty] | Loading & Unloading of Test Samples on Shake Table Equipments | Department of Applied Mechanics | Earthquake Engineering Lab |  |  | Up | Research Equipment
Concrete Block Making Machine |  | Strength of Materials Lab | FISA | [5 empty] | For Making Concrete Block | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Rion Hand Held FFT Signal Analysis |  | Structural Instrumentation Lab | [6 empty] | Vibrating Testing | Department of Applied Mechanics | Structural Instrumentation Lab |  |  | Up | Research Equipment
Universal Testing Machine |  | Strength of Materials Lab | Yama | UTE-100 |  |  |  |  | For Universal Testing Work, Universal Testing Machine 100 ton Capacity | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Rion Vibration Meter |  | Structural Instrumentation Lab |  | VM-82 |  |  |  |  | Vibration Testing | Department of Applied Mechanics | Structural Instrumentation Lab |  |  | Up | Research Equipment
Shake Table |  | Dynamic Lab | [6 empty] | Dynamic Testing, Shake Table Max Payload 30Kg | Department of Applied Mechanics | Dynamic Lab |  |  | Up | Research Equipment
Concrete Tester |  | Structural Instrumentation Lab | [6 empty] | Concrete Testing | Department of Applied Mechanics | Structural Instrumentation Lab |  |  | Up | Research Equipment
Shake Table |  | Earthquake Engineering Lab | BISS | [5 empty] | Dynamic Testing | Department of Applied Mechanics | Earthquake Engineering Lab |  |  | Up | Research Equipment
STE IZOD CHARRY Pendulum Impact Tester |  | Strength of Materials Lab | [6 empty] | Impact Testing | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Ultrasonic Pulse Analyzer |  | Structural Analysis Lab |  | S8-E4900 |  |  |  |  | Concrete Testing, Ultrasonic Pulse Analyzer C-UPV | Department of Applied Mechanics | Structural Analysis Lab |  |  | Up | Research Equipment
Multi Test Compression Testing Machine |  | Advance Concrete Technology Lab |  | MCC8 |  |  |  |  | Concrete Testing | Department of Applied Mechanics | Advance Concrete Technology Lab |  |  | Up | Research Equipment
Concrete Mixer Machine |  | Advance Concrete Technology Lab | [6 empty] | Concrete Mixing, Concrete Mixer Machine 80L Capacity | Department of Applied Mechanics | Advance Concrete Technology Lab |  |  | Up | Research Equipment
Salt Spray Chamber |  | Advance Concrete Technology Lab | [6 empty] | Corrosion Testing | Department of Applied Mechanics | Advance Concrete Technology Lab |  |  | Up | Research Equipment
Rockwell Cuin Brinell Hardness Testing Machine |  | Strength of Material Lab | [6 empty] | Hardness Testing of Different Types of Metal | Department of Applied Mechanics | Strength of Material Lab |  |  | Up | Research Equipment
Hydraulic Cylinder Jack with Hose and Power Pack |  | Advance Concrete Technology Lab | [6 empty] | Compression Testing | Department of Applied Mechanics | Advance Concrete Technology Lab |  |  | Up | Research Equipment
Data Acquisition System |  | Strength of Materials Lab | [6 empty] | Structural Testing | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Digital Rebound Hammer |  | Strength of Materials Lab | Proceq | Silver Schmidt |  |  |  |  | Concrete Testing | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Ultrasonic Pulse Velocity Meter |  | Strength of Materials Lab |  | Pundit |  |  |  |  | Concrete Testing | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment
Rebar Locator |  | Strength of Materials Lab | Proceq | Profoscope Plus |  |  |  |  | Concrete Testing | Department of Applied Mechanics | Strength of Materials Lab |  |  | Up | Research Equipment