## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Gas Chromatography |  | Dr. J.D. Ekhe | Agilent Technologies | Spectrometer |  |  |  |  | Qualitative analysis of suitable organic compounds | Department of Chemistry | Dr. J.D. Ekhe |  |  | Up | Research Equipment
Gas Chromatography |  | Dr. J.D. Ekhe | Shimadzu | 17DIRI |  |  |  |  | Qualitative analysis of suitable organic compounds | Department of Chemistry | Dr. J.D. Ekhe |  |  | Up | Research Equipment
High Temperature High Pressure Reactor |  | Dr. J.D. Ekhe | Parr Instrument | 1308.289 |  |  |  |  | High Temp Reactions | Department of Chemistry | Dr. J.D. Ekhe |  |  | Up | Research Equipment
Karl Fischer |  | Dr. J.D. Ekhe | VEEGO | Matic-MD00 |  |  |  |  | Moisture% in oils | Department of Chemistry | Dr. J.D. Ekhe |  |  | Up | Research Equipment
Probe Sonicator |  | Dr. Anupama Kumar | Science World | Probe-20/12/6 |  |  |  |  | For demonstration to PG students in organic practical & for research purpose | Department of Chemistry | Dr. Anupama Kumar |  |  | Up | Research Equipment
Microwave Oven |  | Dr. Anupama Kumar | LG | 210EMxx102610 |  |  |  |  | For demonstration to PG students in organic practical & for research purpose | Department of Chemistry | Dr. Anupama Kumar |  |  | Up | Research Equipment
High Performance Liquid Chromatography (HPLC) |  | Dr. Anupama Kumar | Water | [5 empty] | For demonstration to PG students in Analytical practical & for research purpose | Department of Chemistry | Dr. Anupama Kumar |  |  | Up | Research Equipment
Analytical Balance |  | Dr. A. Kumar | Shimadzu | AUW-220D |  |  |  |  | For research purpose | Department of Chemistry | Dr. A. Kumar |  |  | Up | Research Equipment
Orbital Shaking Incubator |  | Dr. S. Laxami Gayatri | EiE Instrument | E-20 |  |  |  |  | Adsorption Studies | Department of Chemistry | Dr. S. Laxami Gayatri |  |  | Up | Research Equipment
Refrigerator |  | Dr. S. Laxami Gayatri | LG | LG-190 |  |  |  |  | Storage of Microbial Culture/Chemicals | Department of Chemistry | Dr. S. Laxami Gayatri |  |  | Up | Research Equipment
Autoclave |  | Dr. S. Laxami Gayatri | BTI | BTI-02 |  |  |  |  | Sterilization | Department of Chemistry | Dr. S. Laxami Gayatri |  |  | Up | Research Equipment
Dehumidifier |  | HPLC Room | Scientific India | DH-15(D) |  |  |  |  | To control the humidity of the room for the safety of FTIR | Department of Chemistry | HPLC Room |  |  | Up | Research Equipment
UV-VIS Spectrophotometer |  | HPLC Room | Shimadzu | UV-1800 |  |  |  |  | To measure the absorbance in UV and visible region | Department of Chemistry | HPLC Room |  |  | Up | Research Equipment
Spectrophotometer |  | HPLC Room | Shimadzu | 206-7350-38 |  |  |  |  | To measure the absorbance in UV and visible region | Department of Chemistry | HPLC Room |  |  | Up | Research Equipment
Analytical Column |  | HPLC Room | Purpospher Star | RP18E |  |  |  |  | For demonstration to PG students in Analytical practical | Department of Chemistry | HPLC Room |  |  | Up | Research Equipment
Platinum Crucible |  | Store | [6 empty] | Research purpose | Department of Chemistry | Store |  |  | Up | Research Equipment
Millipore Water Purifier |  | Down Stairs Lab. | Millipore | Elix5 |  |  |  |  | Water for Research purpose | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Rotary Vacuum Evaporator |  | Down Stairs Lab. | Kumar | KI-90SP |  |  |  |  | Evaporation of the solvent under reduced pressure | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Icematic Ice Flaker |  | Down Stairs Lab. | Casetel Macspa | F-80C |  |  |  |  | Ice for practical work | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Water Bath Shaker |  | Down Stairs Lab. | Remi | RSB-12 |  |  |  |  | Volatile Chemical | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Oil Bath High Temperature |  | Down Stairs Lab. | Sonar | SO-250 |  |  |  |  | Volatile Chemical | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Flocculator |  | Down Stairs Lab. | Kumar | KI-89-10 |  |  |  |  | Continues Stirrer | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Furnace |  | Down Stairs Lab. | Therelek | 1400 C |  |  |  |  | Heating at up 1400 oC | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
High Vacuum Pump |  | Down Stairs Lab. | Promivac | P-300 |  |  |  |  | Filtration | Department of Chemistry | Down Stairs Lab. |  |  | Up | Research Equipment
Physical Absorption Analyzer |  | Dr. S.S. Umare Lab | Quanta Chrome | High Speed |  |  |  |  | Measurement of surface area and pore size of samples | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
High Speed Centrifuge |  | Dr. S.S. Umare Lab | Remmi | PR24 |  |  |  |  | Separation of fine particles | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
High Speed Centrifuge |  | Dr. S.S. Umare Lab | Remmi | PR24 |  |  |  |  | Separation of fine particles | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
Furnace |  | Dr. S.S. Umare Lab | Therelek | R Type |  |  |  |  | Heating at up 900 oC | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
Microwave Reactor |  | Dr. S.S. Umare Lab | China National | [5 empty] | Microwave Synthesis of compounds | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
Quartz Reactor |  | Dr. S.S. Umare Lab | Quartz | IWQZ |  |  |  |  | Degradation of Pollutants under UV Light | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
Revol High Speed Centrifuge |  | Dr. S.S. Umare Lab | Remi | R-24 |  |  |  |  | Separation of fine particles | Department of Chemistry | Dr. S.S. Umare Lab |  |  | Up | Research Equipment
Rheometer |  | Dr. Chayan Das | Future Foundation | Xgen100 |  |  |  |  | Rheological study of polymer/elastomer materials | Department of Chemistry | Dr. Chayan Das |  |  | Up | Research Equipment
Universal Testing Machine (UTM) |  | Dr. Chayan Das | Tinius Olesen Pvt. Ltd. | H10KT |  |  |  |  | Stress- strain study of polymer/elastomer materials | Department of Chemistry | Dr. Chayan Das |  |  | Up | Characterization
Thermo Gravimetry Differential Thermal Analyzer (TGDTA) |  | Dr. Chayan Das | Hitachi | 7200 |  |  |  |  | Thermogravimetric study | Department of Chemistry | Dr. Chayan Das |  |  | Up | Research Equipment
Differential Scanning Calorimeter |  | Dr. Chayan Das | Netzsch | DSC 204 F1 |  |  |  |  | Thermoanalytical analysis of polymer material | Department of Chemistry | Dr. Chayan Das |  |  | Up | Research Equipment
Hydraulic Press Hot Plate |  | Dr. Chayan Das | Technosearch Instruments | PF-M-15 |  |  |  |  | Vulacanisation of elastomer materials | Department of Chemistry | Dr. Chayan Das |  |  | Up | Research Equipment
Hardness Tester |  | Dr. Chayan Das | BSE | SHR-A-Gold |  |  |  |  | Hardness testing of elastomer materials | Department of Chemistry | Dr. Chayan Das |  |  | Up | Research Equipment
Potentiostat |  | Dr. Ramani Motghare | Advance Measurement | PARSTAT-4000 |  |  |  |  | Electro-analytical studies like………… Cyclic voltammetry, DPV, AdS-DPV, SWV, LSV, EIS, chrono-amperometry, chromopotentiometry, Coluometry, electrogravimetry, charge discharge studies, corrosion studies, Storage batteries and fuel cell studies, etc | Department of Chemistry | Dr. Ramani Motghare |  |  | Up | Research Equipment
Gamry Potentiostat |  | Dr. Ramani Motghare | Advance Measurement | Gamry interface 1000 |  | Government | DST |  | Electro-analytical studies like………… Cyclic voltammetry, DPV, AdS-DPV, SWV, LSV, EIS, Coluometry and electrogravimetry, charge discharge studies, corrosion studies, Storage batteries and fuel cell studies, etc | Department of Chemistry | Dr. Ramani Motghare |  |  | Up | Research Equipment
Analytical Balance |  | Dr. S.K. Nayak | Shimadzu | AUX-220 |  |  |  |  | Measurement of chemicals for accuracy | Department of Chemistry | Dr. S.K. Nayak |  |  | Up | Research Equipment
Temperature Control Microscope |  | Dr. S.K. Nayak | Linkam | [5 empty] | For Liquid crystalline phase analysis with temperature | Department of Chemistry | Dr. S.K. Nayak |  |  | Up | Research Equipment
Optical Microscope |  | Dr. S.K. Nayak | Nikon | [5 empty] | Single Crystals and liquid crystals texture image using polarized optical microscope | Department of Chemistry | Dr. S.K. Nayak |  |  | Up | Research Equipment
Rotavapor Vacuum Pump |  | Dr. S.K. Nayak | Inkarp Instrument | [5 empty] | Organic compound purification and solvent evaporation | Department of Chemistry | Dr. S.K. Nayak |  |  | Up | Research Equipment
Analytical Balance |  | Dr. S. Halder | Mettler Toledo | [5 empty] | To measure the accurate weight of chemicals | Department of Chemistry | Dr. S. Halder |  |  | Up | Analytical Measurement
Rotary Evaporator |  | Dr. S. Halder | Incrap | [5 empty] | Evaporation of the solvent under reduced pressure | Department of Chemistry | Dr. S. Halder |  |  | Up | Research Equipment
Electronics Balance |  | Dr. A. Banerjee | Mettler Toledo | [5 empty] | Accurate weighing of chemicals used for reaction | Department of Chemistry | Dr. A. Banerjee |  |  | Up | Research Equipment
pH Meter |  | Dr. A. Banerjee | Mettler Toledo | FP-20 |  |  |  |  | Accurate measurement of pH for aqueous solutions | Department of Chemistry | Dr. A. Banerjee |  |  | Up | Research Equipment
Furnace |  | UPS Lab | Hecon | HCS-HTF-I-1400 |  |  |  |  | To provide very high temperature | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
Microprocessor UV-VIS Spectrophotometer |  | UPS Lab | Electronics India | E12371 |  |  |  |  | To measure the absorbance in UV and visible region | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
Conductivity Meter |  | UPS Lab | Systronics | 307 |  |  |  |  | To measure the conductance | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
TDS Meter |  | UPS Lab | Systronics | [5 empty] | To measure the terbidity | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
Furnace |  | UPS Lab | Therelek | 1400 C |  |  |  |  | To provide very high temperature | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
UV-VIS Spectrophotometer |  | UPS Lab | Systronics | S117 |  |  |  |  | To measure the absorbance in UV and visible region | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
High Vacuum Pump |  | UPS Lab | Promivac | P-300 |  |  |  |  | For suction purposes | Department of Chemistry | UPS Lab |  |  | Up | Research Equipment
Spectrofluorometer |  | Dr. S.K. Ghosh | Jasco International | FP-3800ST |  |  |  |  | To measure fluorescence emission | Department of Chemistry | Dr. S.K. Ghosh |  |  | Up | Research Equipment
Liquid Nitrogen Cooling Unit |  | Dr. S.K. Ghosh | Jasco |  |  | Government | DST |  | To maintain very low temperature | Department of Chemistry | Dr. S.K. Ghosh |  |  | Up | Research Equipment
Fluorescence Pico Master |  | Dr. S.K. Ghosh | Photon Technology | [5 empty] | For Time correlated single photon measurement | Department of Chemistry | Dr. S.K. Ghosh |  |  | Up | Research Equipment
Magnetic Stirrers |  | Dr. S.K. Ghosh | Heidolph | PTFE |  |  |  |  | For stirring sample | Department of Chemistry | Dr. S.K. Ghosh |  |  | Up | Research Equipment
Analytical Balance |  | Dr. Sangesh Zodape | Shimadzu | AUW-220D |  |  |  |  | Accurate weighing of chemicals | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Analytical Measurement
Density and Sound Velocity Meter |  | Dr. Sangesh Zodape | Anton Parr | [5 empty] | To measure the density | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Research Equipment
Centrifuge Machine |  | Dr. Sangesh Zodape | Remi | PR2 |  |  |  |  | For centrifuging purpose | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Research Equipment
Ultrasonic Interferometer |  | Dr. Sangesh Zodape | Mittal | F-05 |  |  |  |  | To measure ultrasonic velocity | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Research Equipment
Refrigerated and Heating Circulator |  | Dr. Sangesh Zodape | Julabo | F32-ME |  |  |  |  | To maintain low and high temperature, Refrigerated and heating Circulator or cryostat | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Research Equipment
Digital Abbe Refractometer |  | Dr. Sangesh Zodape | Scientific India | DR-194B |  |  |  |  | To measure the refractive index | Department of Chemistry | Dr. Sangesh Zodape |  |  | Up | Research Equipment
Analytical Balance |  | Dr. A.V. Wankhade | Shimadzu | AUW-220D |  |  |  |  | Weighing of Chemicals | Department of Chemistry | Dr. A.V. Wankhade |  |  | Up | Analytical Measurement
Heidolph Rotary Evaporator |  | Dr. Umesh Pratap | Heidolph | [5 empty] | Evaporation of the solvent under reduced pressure | Department of Chemistry | Dr. Umesh Pratap |  |  | Up | Research Equipment