## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Warranty End Date (Valid Till) | Category* | Alert to be sent (Email id)* | PRISM Service Category* | Year of Purchase* | Purpose / Application of Equipment | Operational Status* | AMC End Date (Valid Till) | Access Restrictions | Remarks | Pre-Experiment Support* | Post-Experiment Support* | Charges for Pre Experiment Support | Charges for Post Experiment Support
Transmission Electron Microscope | TEM |  | JEOL | JEM-2100/ EMI743001890189 | JEM-2100/ EMI743001890189 | Internal Funding | CSIR, Govt. of India | HR-TEM. JEOL JEM-F2100 high-resolution field-emission TEM, accelerating voltage 20–200 kV, TEM point resolution ≤0.19 nm, lattice resolution 0.10 nm, STEM resolution 0.14 nm, Cold/Schottky FEG, high-magnification TEM/STEM imaging, with EDS/EELS and digital-camera options. | Light Stock Processing Division LSPD |  | 50000000 |  | Characterization | amit.sharma@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Chemisorption with Mass Analyser |  |  | Micromeritics | Autochem HP 2950 | Autochem HP 2950 | Internal Funding | CSIR, Govt. of India | Chemisorption with Mass Analyser. Micromeritics AutoChem HP 2950 high-pressure chemisorption analyzer with mass spectrometer interface, pressure capability up to 1000 psia, temperature : upto 900°C, TCD detector, programmable gas-flow control, and capability for pulse chemisorption/ TPR/ TPD/ TPO/ TPSR. | Light Stock Processing Division LSPD |  | 10000000 |  | Characterization | amit.sharma@csir.res.in | D | 2019 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Chemisorption Analyser |  |  | Micromeritics | Autochem II 2920 | Autochem II 2920 | Internal Funding | CSIR, Govt. of India | Chemisorption Analyser. Micromeritics AutoChem II 2920 automated chemisorption analyzer with TCD, temperature : upto 900°C, TPR/ TPD/ TPO, four MFC-controlled gas channels, 12 gas inlet ports, quartz FlowThru™ sample tube, and automated temperature/gas-flow control. | Light Stock Processing Division LSPD |  | 5000000 |  | Characterization | amit.sharma@csir.res.in | D | 2009 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
TGA | TGA |  | Perkin Elmer | TGA-8000 | TGA-8000 | Internal Funding | CSIR, Govt. of India | Thermogravimetric Analysis. Analysis of solid samples (02mg-10mg), Thermal stability study from room temperature to 900°C in presence of Air/N2. | Light Stock Processing Division LSPD |  | 4000000 |  | Characterization | amit.sharma@csir.res.in | D | 2019 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Raman Analyser |  |  | Horiba Scientific | LabRAM HR Evolution | LabRAM HR Evolution | Internal Funding | CSIR, Govt. of India | The Labram HR evolution is a fully integrated confocal raman microscope instrument offering full automation and high versatility. Its spectrograph combines the high luminosity of a single stage spectrometer and the high spectral resolution because of its long focal length (800mm). Wavelength range from 200nm to 2000nm, measurements : micro and Macro and The labram evolution utilizes HORIBA scientific's Labspec 6 spectroscopy suite. | Light Stock Processing Division LSPD |  | 10000000 |  | Characterization | amit.sharma@csir.res.in | D | 2019 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
BET Analyser |  |  | Micromeritics | ASAP2020 | ASAP2020 | Internal Funding | CSIR, Govt. of India | High-resolution surface-area and porosity analyzer, with micropore capability and mesopore capability, Measurement : Gas adsorption/ physisorption, Sample capacity : 1 analysis port + 2 degas ports, Degassing : ambient to 450°C, Cryogen : Liquid N₂; 3 L Dewar | Light Stock Processing Division LSPD |  | 3000000 |  | Characterization | amit.sharma@csir.res.in | D | 2015 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Bench Top Powder XRD |  |  | Proto | AXRD Bench Top Powder Differaction system | AXRD Bench Top Powder Differaction system | Internal Funding | CSIR, Govt. of India | Analysis of powder samples or films from 10-80, 2 theta value <0.03 degree 2theta resolution | Light Stock Processing Division LSPD |  | 3000000 |  | Characterization | amit.sharma@csir.res.in | D | 2015 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC MS |  |  | Agilent Techonologies | 78090 | 78090 | Internal Funding | CSIR, Govt. of India | Analysis of non-polar compounds with boiling point upto 220°C | Light Stock Processing Division LSPD |  | 6000000 |  | Analytical Measurement | amit.sharma@csir.res.in | D | 2017 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Chemisorption Analyzer |  |  | Microtrac | Belcat-II (467) | Belcat-II (467) | Internal Funding | CSIR, Govt. of India | TPR & TPD (NH3 & CO2), TCD detector, Tempearture : upto 1100°C | Light Stock Processing Division LSPD |  | 7000000 |  | Characterization | amit.sharma@csir.res.in | D | 2024 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Automated Micro Carbon Residue Tester | MCR |  | TANAKA Scientific | ACR-M3 | ACR-M3 | Internal Funding | CSIR, Govt. of India | Fully compliant with ASTM D4530 and ISO 10370. Measuring Range: 0.10% to 30% (m/m) carbon residue. Coking Temperature: up to 500°C. Sample Capacity: up to 12 samples. Sample Size: 0.15–1.5g. Gas Flow Regulation: Uses nitrogen gas, automatically regulated at dual test rates of 150 mL/min and 600 mL/min. Control Unit: PC-935 alongside a visual nitrogen gas flow meter. Power Requirements: 220–240V AC; Maximum consumption: 1.5- 1.6 kW. | Distillate and Heavy Oil Processing Division DHOPD |  | 2500000 |  | Analytical Measurement | monojit.nandi@csir.res.in | D | 2015 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Autotitrator |  |  | Metrohm | OMNIS | OMNIS | Internal Funding | CSIR, Govt. of India | OMNIS Titrator metrohm Argintometry and Iodimetery and Acid Base Titration | Distillate and Heavy Oil Processing Division DHOPD |  | 2200000 |  | Analytical Measurement | monojit.nandi@csir.res.in | D | 2024 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Ionexchange chromatography |  |  | Metrohm | 850 Professional IC |  | Internal Funding | CSIR, Govt. of India | 850 Professional IC, for the analysis of anion. | Distillate and Heavy Oil Processing Division DHOPD |  | 3600000 |  | Analytical Measurement | monojit.nandi@csir.res.in | D | 2009 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Universal Micro Tribo Tester |  |  | M/s. Rtec Instruments, 1810 Oakland Road, Ste B, San Jose, CA, 95131 | Micro tribotester | 2014 | Internal Funding | CSIR, Govt. of India | Tribotester with rotary and reciprocating drive, 2D load cell: 2-200N and data acquisition software for control and recording | Tribology |  | 5183000 |  | Data Monitoring | naseem.ahamad@csir.res.in | D | 2014 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Vane Pump wear Test Rig |  |  | M/s. Eaton Fluid Power Ltd. Pune | Pump wear test facility | 2020 | Internal Funding | CSIR, Govt. of India | Test sand 35 VQ with rigid mounting for motor, pump reservoir and other components, Rotary intra-vane pump, Cartridge type, 6, 7, Vickers 35VQ25A-11*20, Chiller and Generator, Electric Motor speed: 2400 RPM with 93 kW (125 hp) | Tribology |  | 21945000 |  | Data Monitoring | naseem.ahamad@csir.res.in | D | 2020 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Total Organic Carbon Analyser (TOC) |  |  | Shimadzu | Liq.-TOC-L, Solid- SSM5000A | Liq.-TOC-L, Solid- SSM5000A | Internal Funding | CSIR, Govt. of India |  | Material Resource Efficiency Division MRED |  | 3108000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2012 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Thermo-Gravimetric Analyser (TGA) |  |  | Shimadzu | DTG-60 | DTG-60 | Internal Funding | CSIR, Govt. of India | TGA Analyser | Material Resource Efficiency Division MRED |  | 2362000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2014 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC-MS |  |  | Agilent | 7890B/5977A | 7890B/5977A | Internal Funding | CSIR, Govt. of India | GC-MS | Material Resource Efficiency Division MRED |  | 13650000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2014 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Py-GC/MS |  |  | Shimadzu, CDS Analytical | GC-2014ATF, MS-QP2020, Pyroprobe -CDS 5200HPR | Py-GC/MS Analyser | Internal Funding | CSIR, Govt. of India | Py-GC/MS Analyser | Material Resource Efficiency Division MRED |  | 8786000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2017 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Proximate Analyser (VM/ASH/FC) |  |  | Eltra | Eltra Thermostep | Proximate Analyser | Internal Funding | CSIR, Govt. of India | Proximate Analyser | Material Resource Efficiency Division MRED |  | 3314000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2020 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
DSC |  |  | Perkin Elmer | DSC-8000 | DSC Analyzer | Internal Funding | CSIR, Govt. of India | DSC Analyzer | Material Resource Efficiency Division MRED |  | 4790000 |  | Analytical Measurement | dilip.mahato@csir.res.in | D | 2020 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
High pressure Homogenizer |  |  | GEA Niro Soavi | Panda Plus | Panda Plus | Internal Funding | CSIR, Govt. of India |  | Applied and Environmental Biotechnology Division AEBD |  | 2015265 |  | Research Infrastructure | jyoti.porwal@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
FPLC |  |  | AKTA Pure | 2186711 | 2186711 | Internal Funding | CSIR, Govt. of India |  | Applied and Environmental Biotechnology Division AEBD |  | 2200000 |  | Analytical Measurement | jyoti.porwal@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Microplate reader |  |  | Spectramax M2e | DE06259 | DE06259 | Internal Funding | CSIR, Govt. of India |  | Applied and Environmental Biotechnology Division AEBD |  | 2200000 |  | Analytical Measurement | jyoti.porwal@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
CARBON RESIDUE (MICRO METHOD) |  |  | TANAKA Scientific | MCR | MCR | Internal Funding | CSIR, Govt. of India |  | Analytical Sciences Division ASD |  | 2500000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC- SIM DIST (PRODUCT) |  |  | Agilent | 7890 B | GC SIMDIS | Internal Funding | CSIR, Govt. of India |  | Analytical Sciences Division ASD |  | 3700000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2017 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
DENSITY BY DENSITO-METER (DISTILLATES) SP.GRAVITY/API |  |  | Anton Paar | DMA 4500 M | Density Analyser | Internal Funding | CSIR, Govt. of India |  | Analytical Sciences Division ASD |  | 2500000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
FLASH POINT (PMCC) |  |  | ISL France | FP83 | Flash Point Apparatus | Internal Funding | CSIR, Govt. of India |  | Analytical Sciences Division ASD |  | 3000000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
FLASH POINT (OPEN CUP) |  |  | Manual | Manual | Manual | Internal Funding | CSIR, Govt. of India |  | Analytical Sciences Division ASD |  | 3000000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GUM (EXISTENT) |  |  | Koehler | Koehler | Koehler | Internal Funding | CSIR, Govt. of India | as per ASTM D381: Standard Test Method for Gum Content in Fuels by Jet Evaporation | Analytical Sciences Division ASD |  | 2500000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
SULFUR (XRF) |  |  | Oxford Instrument, China | Model: Lab-X3500SCL | Model: Lab-X3500SCL | Internal Funding | CSIR, Govt. of India | as per ASTM D4294: Standard Test Method for sulfurContent in Fuels by EDXRF | Analytical Sciences Division ASD |  | 5000000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
SULFUR & Nitrogen (by UVF) |  |  | Mitsubishi Chemical Analytech | NSX-2100 V | NSX-2100 V | Internal Funding | CSIR, Govt. of India | as per ASTM D5453 and ASTM D4629: Standard Test Method for sulfur and Nitrogen Content in Fuels by UVF | Analytical Sciences Division ASD |  | 5250000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2018 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
THERMAL OXIDATION STABILITY, ATF, JFTOT |  |  | PAC | JFTOT 230 MARK IV | JFTOT 230 MARK IV | Internal Funding | CSIR, Govt. of India | as per ASTM D3241: Standard test method for Thermal Oxidation stability of Aviation Turbine Fuel by JFTOT | Analytical Sciences Division ASD |  | 5200000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
WATER CONTENT KF (COULOMETRIC) |  |  | Metrohm | 831 KF Coulumeter | 831 KF Coulumeter | Internal Funding | CSIR, Govt. of India | as per ASTM D6304: Standard Test Method for Determination of Water in Petroleum Products, Lubricating Oils, and Additives by Coulometric Karl Fischer Titration | Analytical Sciences Division ASD |  | 2500000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Lubricity, HFRR |  |  | PCS instruments , UK | HFRR D1666 | HFRR D1666 | Internal Funding | CSIR, Govt. of India | as per ASTM D6079: Determination of Evaluating Lubricity of Diesel Fuels by the High-Frequency Reciprocating Rig (HFRR) | Analytical Sciences Division ASD |  | 6450000 |  | Analytical Measurement | vishwas.saini@csir.res.in | D | 2014 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
500MHZ NMR Spectrometer with Liquid and Solid facility |  |  | Bruker | Avance III AV500 10015624 | Avance III AV500 10015624 | Internal Funding | CSIR, Govt. of India | Bruker AVANCE-III 500 MHz with VT capacity and following probes:5mm BBFO,4mmCPMAS,4mmHRMAS,5mmTBI | Analytical Sciences Division ASD |  | 33500000 |  | Analytical Measurement | babita.behera@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
FTIR FAME analyser |  |  | Perkin Elmer | Frontier | Frontier | Internal Funding | CSIR, Govt. of India | mid IR 4000-400cm-1, DTGS detector, accessories UATR, HATR, Biodiesel analysis in diesel using ASTM D-7371 | Analytical Sciences Division ASD |  | 4606021 |  | Analytical Measurement | babita.behera@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (DHA) |  |  | Agilent Technologies | 7890B | 7890B | Internal Funding | CSIR, Govt. of India | as per ASTM D6730 | Analytical Sciences Division ASD |  | 3500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (BENZENE/ TOTAL AROMATICS/TOTAL OLEFIN) |  |  | Scion Instruments | 436 | 436 | Internal Funding | CSIR, Govt. of India | as per ASTM D6730 | Analytical Sciences Division ASD |  | 3500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (RGA) |  |  | Scion Instruments | 456 | 456 | Internal Funding | CSIR, Govt. of India | as per ASTM D7833 | Analytical Sciences Division ASD |  | 4000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (OXYGENATES) |  |  | Dani Instruments | Master | Master | Internal Funding | CSIR, Govt. of India | as per ASTM D4815 | Analytical Sciences Division ASD |  | 3000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (FAME/GLYCERIDES) |  |  | Scion Instruments | 8300 | 8300 | Internal Funding | CSIR, Govt. of India | as per ASTM D6584 | Analytical Sciences Division ASD |  | 2000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (SCD) |  |  | Agilent Technologies | 7890B | 7890B | Internal Funding | CSIR, Govt. of India | as per ASTM D5623 & ASTM D5504 | Analytical Sciences Division ASD |  | 4000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC (TOGA) |  |  | Scion Instruments | 8500 | 8500 | Internal Funding | CSIR, Govt. of India | as per ASTM D3612 | Analytical Sciences Division ASD |  | 4500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC-FID-MS |  |  | Agilent Technologies | 8300, 8700SQ | 8300, 8700SQ | Internal Funding | CSIR, Govt. of India | as per ASTM D6730 | Analytical Sciences Division ASD |  | 2300000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
HPLC |  |  | Shimadzu Scentific Instruments | Prominance | Prominance | Internal Funding | CSIR, Govt. of India | as per IP 391/ASTM D6591/BS EN 12916 & IS 1448 (PART 202) & ASTM D7419 | Analytical Sciences Division ASD |  | 3500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
HPLC |  |  | Agilent Technologies | 1260 | 1260 | Internal Funding | CSIR, Govt. of India | Reverse Phase Applications | Analytical Sciences Division ASD |  | 3500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Oxidation Stability by Rancidity Meter |  |  | Metrohm | 83 Professional biodiesel rancimat | 83 Professional biodiesel rancimat | Internal Funding | CSIR, Govt. of India | EN 15751 | Analytical Sciences Division ASD |  | 2500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC-MS |  |  | ThermoFisher Scientific | Trace 1300 | Trace 1300 | Internal Funding | CSIR, Govt. of India | Organic compounds analysis | Analytical Sciences Division ASD |  | 6000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
XRD (PANanalytical) |  |  | PANanalytical | Empyrean | Empyrean | Internal Funding | CSIR, Govt. of India | Multi-purpose X-ray diffractometer Measure all sample types. | Analytical Sciences Division ASD |  | 17000000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
TGA DSC |  |  | Waters Instruments Pvt. Ltd | Discovery SDT -650 | Discovery SDT -650 | Internal Funding | CSIR, Govt. of India | Temperature Range: Ambient to 1500 °C | Analytical Sciences Division ASD |  | 5800000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
ICP OES |  |  | ThermoFisher Scientific | Model: iCAP PRO XP Duo | Model: iCAP PRO XP Duo | Internal Funding | CSIR, Govt. of India | Detection and quantification of metals in organic and aqueous samples | Analytical Sciences Division ASD |  | 6500000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
AAS |  |  | ThermoFisher Scientific | Model :iCE FIOS | Model :iCE FIOS | Internal Funding | CSIR, Govt. of India | Detection and quantification of metals in organic and aqueous samples | Analytical Sciences Division ASD |  | 2430977 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
FESEM |  |  | ThermoFisher Scientific, (FEI Netherland) | Model: Quanta 200F | Model: Quanta 200F | Internal Funding | CSIR, Govt. of India | Micrographs, elemental mapping and composition | Analytical Sciences Division ASD |  | 21700000 |  | Analytical Measurement | bhanu.vempatapu@csir.res.in | D |  |  |  |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC-FID |  |  | Agilent Technologies | 8890 | 8890 | Internal Funding | CSIR, Govt. of India | Gas Chromatograph with Flame Ionization Detector (GC-FID) and auto sampler | Chemical and Material Sciences Division CMSD |  | 2300000 |  | Characterization | praveen.khatri@csir.res.in | D | 2024 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
Viscometer |  |  | Anton Paar | SVM 3000 | SVM 3000 | Internal Funding | CSIR, Govt. of India |  | Chemical and Material Sciences Division CMSD |  | 2000000 |  | Characterization | praveen.khatri@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
PARTICLE SIZE ANALYZER |  |  | Beckman Coulter | Beckman Coulter | Beckman Coulter | Internal Funding | CSIR, Govt. of India |  | Chemical and Material Sciences Division CMSD |  | 2500000 |  | Characterization | praveen.khatri@csir.res.in | D | 2010 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
CHNS ANALYZER |  |  | Elementar Germany | Vario micro cube | Vario micro cube | Internal Funding | CSIR, Govt. of India | Equiped with autosampler with up to 120 positions for solid samples. Can analyze liquid samples also. C= 0-100%, H= 0-100%, N= more than 100 ppm, S= more than 500 ppm | Bio Fuels Division BFD |  | 2500000 |  | Analytical Measurement | rohitk.iip@csir.res.in | D | 2013 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
BET SURFACE AREA EQUIPMENT (Physisorption) |  |  | Microtrac, BEL, Japan | BELSORP-Max | BELSORP-Max | Internal Funding | CSIR, Govt. of India | Adsorptive Gas- N2, Specific Surface area- 10-1000 m2/g, Pore Size- 0.32-50 nm | Bio Fuels Division BFD |  | 5500000 |  | Characterization | rohitk.iip@csir.res.in | D | 2009 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
MICRORGA |  |  | Agilent Tecnologies | Agilent micro rga 490 | Agilent micro rga 490 | Internal Funding | CSIR, Govt. of India | quad-channel system that runs parallel analyses to completely separate inert/permanent gases and hydrocarbons(c1-c6) | Bio Fuels Division BFD |  | 3576000 |  | Analytical Measurement | rohitk.iip@csir.res.in | D | 2018 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
GC MASS |  |  | Agilent Tecnologies | Agilent 5977 MSD | Agilent 5977 MSD | Internal Funding | CSIR, Govt. of India | single quadrupole mass spectrometer designed for gas chromatography-mass spectrometry (GC/MS) analysis. It features a mass range of 1.6 to 1050 u, a maximum scan speed of 20,000 u/s | Bio Fuels Division BFD |  | 6908900 |  | Analytical Measurement | rohitk.iip@csir.res.in | D | 2016 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
2D GC |  |  | Agilent Tecnologies | Agilent 7890B | Agilent 7890B | Internal Funding | CSIR, Govt. of India | modulation Type: Flow modulation via Capillary Flow Technology (CFT), Oven Temperature Range: Ambient +4 °C up to 450 °CTemperature Ramps / Steps: Up to 20 temperature ramps with 21 operational steps. [1] )Oven Cooling Rate: Rapid cool-down from 450 °C to 50 °C in approximately 4 minuteColumn Supported Detectors: Accommodates high-speed detectors compatible with fast second-dimension peak widths (such as FID) with acquisition rates up to 50 Hz . | Bio Fuels Division BFD |  | 2077700 |  | Analytical Measurement | rohitk.iip@csir.res.in | D | 2014 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes
HPLC |  |  | Shimadzu | SHIMADZU Prominence Isocratic HPLC System | SHIMADZU Prominence Isocratic HPLC System | Internal Funding | CSIR, Govt. of India | UV/Vis Wavelength Range: 190 nm to 800 nm (Deuterium [D_2] & Tungsten [W] lamps), Detector 2 (RI) RID-10A Refractive Index Detector (Deflection-type),Injection Volume Range 0.1 µL to 100 µL (standard) | Bio Fuels Division BFD |  | 2500000 |  | Analytical Measurement | rohitk.iip@csir.res.in | D | 2012 |  | Working |  | Restricted to operator and concerned authorized employees only |  | Yes | Yes

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR

## Departments (hidden)
AFLAD
Analytical Sciences Division ASD
Applied and Environmental Biotechnology Division AEBD
Bio Fuels Division BFD
Business Development Division
Chemical and Material Sciences Division CMSD
Combustion Lab
Distillate and Heavy Oil Processing Division DHOPD
Light Stock Processing Division LSPD
Material Resource Efficiency Division MRED
Modeling Simulation and Scale up Division MSSD
Separation Processes Division SPD
Tribology
Upstream and Wax Rheology Division UWRD
Upstream Division UD