## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Transmission Electron Microscope | TEM | Lab-01 | JEOL | 2100F | EM17210038 | Internal Funding | Institution |  | The JEOL JEM-2100F is a high-resolution field emission transmission electron microscope (FE-TEM) designed for advanced materials characterization. With its high-brightness field emission gun (FEG), excellent imaging capabilities, and versatile analytical features, the 2100F is ideal for applications in nanotechnology, materials science, and life sciences. | Advanced Instrumentation Research Facility |  | 19731840 |  | Working | Atomic structure imaging of nanomaterials, Crystal structure and orientation analysis, Elemental mapping at the nanoscale, Defect analysis in semiconductors and metals, Biological specimen imaging (with cryo-preparation) | JEOl Asia Pte. Ltd., Singapore |  | JEOL India Pvt. ltd. |  | directorairf@mail.jnu.ac.in
Gas Chromatograph Mass Spectrometer | GC-MS | Lab-02 | Shimadzu | TQ GCMS 2030 | O217657 | Internal Funding | Institution |  | The Shimadzu GCMS-TQ2030 is a high-performance triple quadrupole gas chromatograph mass spectrometer (GC-MS/MS) designed for sensitive and selective quantification of trace-level compounds. It integrates Shimadzu’s advanced gas chromatography with tandem mass spectrometry capabilities, making it ideal for complex sample matrices in environmental, food safety, forensics, pharmaceuticals, and petrochemical analysis. | Advanced Instrumentation Research Facility |  | 11938276 |  | Working | Environmental Analysis: VOCs, SVOCs, pesticides, and PAHs in air, water, and soil, Food Safety: Pesticide residues, food additives, flavor/fragrance profiling, Forensic and Toxicology: Drug screening, toxicants in biological samples, Pharmaceuticals: Impurity profiling, residual solvents, Petrochemicals: Hydrocarbon profiling, additive analysis | Shimadzu Asia Pacific Pte. Ltd., Singapore |  | Toshvin Analytical Pvt. Ltd., New Delhi |  | directorairf@mail.jnu.ac.in
Flow Cytometer | FACS | Lab-04 | Sysmex | CYFLOW CUBE 8 | 2302032831 | Internal Funding | Institution |  | The Sysmex CyFlow Cube 8 is a compact, fully integrated flow cytometer designed for high-performance, multiparameter cellular analysis. Featuring 3-laser and 8-parameter capability, it is ideal for immunophenotyping, cell counting, and fluorescence-based assays in clinical, research, and industrial settings. Its compact design and walk-away automation options make it especially suitable for decentralized labs, field use, and high-throughput applications. | Advanced Instrumentation Research Facility | AIRF | 3304000 |  | Working | Immunophenotyping: Analysis of lymphocyte subsets, T/B/NK cells, and HLA markers, Hematology: CD4/CD8 counting, leukocyte differentiation CD4/CD8 counting, leukocyte differentiation, Clinical Diagnostics: HIV/AIDS monitoring, immune status evaluation, Microbiology: Bacterial viability, microbial community analysis, Plant & Environmental Science: Ploidy analysis, algae and yeast studies, Cell Viability & Apoptosis: Detection using Annexin V, PI, and other markers | Sysmex India Pvt. Ltd. |  | Sysmex India Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
Scanning Electron Microscope | SEM | Lab-05 | Zeiss | EVO40 | EVO400568 | Internal Funding | Institution |  | The Zeiss EVO 40 is a versatile scanning electron microscope (SEM) designed for high-resolution imaging and surface analysis of a wide range of materials. With its user-friendly interface and robust imaging capabilities, it is well-suited for routine analysis in materials science, life sciences, semiconductors, and industrial quality control. The EVO 40 supports both high and low vacuum modes, enabling the examination of both conductive and non-conductive specimens with minimal preparation. | Advanced Instrumentation Research Facility | AIRF | 14652061 |  | Working | Materials Science: Fractography, phase identification, particle analysis, Biological Sciences: Imaging of uncoated biological tissues, plant materials, Forensics: Surface characterization, trace evidence analysis, Geology: Mineral structure, rock morphology, microfossil imaging, Quality Control & Industrial Inspection: Failure analysis, contamination detection, microelectronics inspection | Car Zeiss, United Kingdom |  | Car Zeiss India (Bangalore) Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
Focused Ion Beam FIB Field Emission Scanning Electron Microscope FESEM with Electron Beam Lithography EBL | FIB FESEM with EBL | Lab-05 | TESCAN | LYRA 3 XMU | 1160038 | Internal Funding | Institution |  | The TESCAN LYRA 3 XMU is a state-of-the-art Focused Ion Beam – Scanning Electron Microscope (FIB-SEM) system designed for advanced nanofabrication, imaging, and analysis. It integrates high-resolution SEM imaging with precise FIB milling, making it ideal for cross-sectional analysis, TEM sample preparation, and 3D tomography. The LYRA 3 XMU is particularly well-suited for materials science, semiconductor research, failure analysis, and life sciences applications. | Advanced Instrumentation Research Facility | AIRF | 25886276 |  | Working | Materials Science: Steels and metal alloys, ceramics and hard coatings, glass, polymers, etc. Life Sciences: Biomedical engineering, cell and tissue morphology, pharmaceuticals, etc. Semiconductors: Ball grid array, wire bonding, micro-electro-mechanical system, etc | Tescan Brno, Czech Republic |  | Labindia Instruments Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
Combined Confocal Raman Atomic Force Microscope | AFM Raman | Lab-08A | Witec | ALPHA 300RA | 10014001190 | Internal Funding | Institution |  | The WITec alpha300 RA is an advanced hybrid microscopy platform that combines confocal Raman spectroscopy with atomic force microscopy (AFM) in a single instrument. This system allows for the simultaneous or sequential acquisition of chemical, structural, and topographical information at the nanoscale, making it a powerful tool for multidisciplinary research in materials science, life sciences, nanotechnology, and chemistry. | Advanced Instrumentation Research Facility | AIRF | 9846103 |  | Working | Materials Science: Polymer blends, nanocomposites, 2D materials (e.g., graphene, MoS₂), Semiconductors: Strain/stress mapping, contamination analysis, Life Sciences: Imaging of cells, tissues, and biomolecules (label-free), Pharmaceuticals: API and excipient mapping in tablets, crystallinity studies, Nanotechnology: Nanoscale structural and chemical property correlation | WiTEC Gmbh, Germany |  | ToshniWal Brothers Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
Circular Dichroism CD Spectrometer | CD | Lab-11 | Applied PhotoPhysics | Chirascan | 18308 | Internal Funding | Institution |  | The Applied Photophysics Chirascan is a highly sensitive Circular Dichroism (CD) spectrometer designed for the analysis of chiral molecules, including proteins, nucleic acids, and other biomolecules. It provides accurate, high-resolution measurements of the optical activity of samples in solution, offering critical insights into protein folding, secondary structure, molecular conformation, and interactions. With its intuitive interface and advanced technology, the Chirascan is a powerful tool for structural biochemistry and molecular biology research. | Advanced Instrumentation Research Facility | AIRF | 13283860 |  | Working | Protein Structural Analysis: Determining secondary structure content of proteins (α-helix, β-sheet, random coil), Monitoring conformational changes, folding/unfolding transitions, and protein-ligand interactions, Nucleic Acids and RNA: Assessing the secondary structure of DNA/RNA and their interactions with proteins or other molecules, Biomolecular Interactions: Studying protein-protein, protein-DNA, or protein-ligand binding by observing conformational changes, Pharmaceutical Development: Protein stability studies, aggregation behavior, and formulation development, Quality Control in Biotech: Validation of protein structure in biologic drug production, vaccine formulation, and recombinant proteins | Applied Photo Physics Ltd., UK |  | AIMIL Pvt Ltd. |  | directorairf@mail.jnu.ac.in
Laser Scanning Confocal Microscope | LSCM | Lab-12 | Olympus | FV1000 | 2432 | Internal Funding | Institution |  | The Olympus FV1000 is a high-performance laser scanning confocal microscope designed for high-resolution, fluorescence-based imaging of fixed or live biological specimens. It provides precise optical sectioning and 3D reconstruction capabilities, allowing detailed visualization of cellular and subcellular structures. The system supports advanced imaging modalities including time-lapse, multi-channel fluorescence, FRAP, and FRET, making it a versatile platform for a wide range of life sciences and biomedical research applications. | Advanced Instrumentation Research Facility | AIRF | 14320434 |  | Working | Cell Biology: Visualization of organelles, cytoskeletal structures, and protein localization, Neuroscience: Imaging of neural structures, synapses, and calcium signaling, Developmental Biology: Observation of morphogenesis and embryo development in real time, Cancer Research: Analysis of tumor microenvironments, cell proliferation, and apoptosis, Microbiology: Imaging of microbial biofilms and intracellular pathogens, Immunology: Studying immune cell behavior and interactions | Olympus Singapore PTE Ltd, Singapore |  | DSS Image Tech Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
Fourier Transform Infrared Spectroscopy | FTIR | Lab-12A | Perkin Elmer | Frontier Mir | 116034 | Internal Funding | Institution |  | The PerkinElmer Frontier MIR is a high-performance Fourier-Transform Infrared (FTIR) spectrometer designed for precise and versatile molecular analysis in the mid-infrared (MIR) region. With advanced optical design, user-friendly software, and modular expandability, it is ideal for applications in material science, polymers, pharmaceuticals, environmental testing, and chemical research. The system delivers exceptional sensitivity and resolution for qualitative and quantitative analysis of solids, liquids, and gases. | Advanced Instrumentation Research Facility | AIRF | 2696730 |  | Working | Polymer and Plastic Analysis: Identification of polymer types, additives, and degradation products, Pharmaceuticals: API characterization, raw material verification, formulation analysis, Environmental Testing: Identification of pollutants, microplastics, and contaminants in soil or water, Food and Agriculture: Detection of adulterants, quality control of fats/oils, and moisture content, Chemical Industry: Functional group identification, reaction monitoring, and quality control, Forensics and Art Conservation: Analysis of unknown substances, paints, and historical artifacts | Perkin Elmer Singapore Pte. Ltd., Singapore |  | Spectralytic Scientific India Pvt Ltd, Thane, Maharashtra |  | directorairf@mail.jnu.ac.in
Physical Property Measurement System | PPMS | Lab-22 | Croyogenics | J3120 | CH40415101104A | Internal Funding | Institution |  | The Cryogenics J3120 PPMS is a versatile and automated platform designed for the precise measurement of various physical properties of materials under controlled temperature and magnetic field conditions. It is widely used in materials science, condensed matter physics, and nanotechnology research to investigate properties such as electrical resistivity, thermal conductivity, magnetic susceptibility, and heat capacity. | Advanced Instrumentation Research Facility | AIRF | 26120200 |  | Working | Materials Science: Investigation of novel materials and their properties. Condensed Matter Physics: Study of phase transitions, quantum phenomena, and critical behavior. Nanotechnology: Characterization of nanomaterials and nanostructures. Semiconductor Research: Analysis of electronic and thermal properties of semiconductor materials. Superconductivity Studies: Measurement of superconducting properties under varying temperature and magnetic fields | Vico Scientific Sales Private Limited/ Cryogenic Limited UK |  | Specialise Instruments Pvt Ltd/ Cryogenic Limited UK |  | directorairf@mail.jnu.ac.in
Liquid Nitrogen Plant | LN2 | Lab-25A | Stirling | StirLIN 1 Compact | I08714 | Internal Funding | Institution |  | The Stirling StirLIN-1 Compact is a compact, standalone liquid nitrogen (LN₂) generator designed for on-site production of high-purity liquid nitrogen. Utilizing the Stirling cycle, this system offers a reliable and efficient solution for laboratories, research institutions, and industrial applications requiring a consistent supply of LN₂. | Advanced Instrumentation Research Facility | AIRF | 10094393 |  | Working | Cryopreservation: Preservation of biological samples, cells, and tissues. Superconducting Magnets: Cooling of superconducting magnets in MRI machines and other equipment. Spectroscopy: Low-temperature measurements in Raman and photoluminescence spectroscopy. Material Science: Testing of materials at cryogenic temperatures. Research Laboratories: General laboratory applications requiring a reliable LN₂ supply. | Stirling Cryogenics & Regrigeration BV (Stirling), The Netherlands |  | Stirling Cryogenics India Pvt. Ltd. |  | directorairf@mail.jnu.ac.in
500 MHz Nuclear Magnetic Resonance NMR Spectrometer with solid state attachment CPMAS | NMR | Lab-25B | Bruker | Avance III 500 MhZ | Z1026871007 | Internal Funding | Institution |  | The Bruker Avance III 500 MHz NMR Spectrometer is a high-performance nuclear magnetic resonance (NMR) system designed for both solution-state and solid-state applications. Operating at a magnetic field strength of 11.7 Tesla, it provides exceptional sensitivity and resolution, making it ideal for structural elucidation, dynamics studies, and material characterization. The solid-state attachment enhances its capabilities, enabling detailed analysis of solid samples such as powders, polymers, and biomaterials. | Advanced Instrumentation Research Facility | AIRF | 27392127 |  | Working | Materials Science: Characterization of polymers, ceramics, and composite materials. Pharmaceuticals: Analysis of drug formulations and polymorphs. Biomaterials: Study of protein aggregates, lipid bilayers, and other biological solids. Nanotechnology: Investigation of nanomaterials and nanocomposites. Catalysis: Examination of solid catalysts and catalytic processes. | Bruker BioSpin International AG, Switzerland |  | Bruker India Scientific Pvt. Ltd., Mumbai |  | directorairf@mail.jnu.ac.in
Surface Plasmon Resonance SPR Spectrometer and Potentiostat Galvanostat | Surface Plasmon Resonance (SPR) Spectrometer and Potentiostat Galvanostat | Lab-28 | Autolab | ESPRIT | SPR0197 | Internal Funding | Institution |  | The Autolab ESPRIT is a dual-channel SPR instrument designed for real-time, label-free analysis of biomolecular interactions. It utilizes angular scanning SPR detection with high frequency (76 Hz) and sensitivity, making it suitable for studying kinetics, affinity constants, and molecular interactions. The system includes an autosampler for high-throughput analysis and offers the option to integrate electrochemical measurements. | Advanced Instrumentation Research Facility | AIRF | 8168904 |  | Working | Corrosion Studies: Investigation of corrosion mechanisms and protective coatings. Energy Storage: Characterization of batteries and supercapacitors. Sensors: Development and testing of electrochemical sensors. Material Science: Study of electrode materials and surface modifications. | Eco-Chemie BV, The Netherlands |  | Metrohm India Pvt Ltd |  | directorairf@mail.jnu.ac.in
XRD Protein Crystallization | XRD Protein | Lab-29 | TTP Labtech | Mosquito | 1544 | Internal Funding | Institution |  | The TTP Labtech Protein crystallization robot Mosquito Crystal is the ideal liquid handling tool for setting up protein crystallisation drops in high throughput screening plates. Vapour diffusion and LCP methods are supported. Mosquito offers solutions and protocols for sitting drop or microbatch in all commercially available multi-well plates and provides a solution for hanging drop on a 96 well format. | Advanced Instrumentation Research Facility | AIRF | 5880607 |  | Working | Protein Crystallization Screening: Efficiently set up and screen a variety of crystallization conditions to identify optimal conditions for crystal growth. Additive and Seeding Studies: Investigate the effects of different additives or seeding techniques on crystallization outcomes. High-Throughput Structural Biology: Accelerate the process of obtaining high-quality protein crystals for X-ray diffraction analysis. Membrane Protein Crystallization: Utilize in conjunction with specialized techniques like lipidic cubic phase (LCP) for challenging membrane protein targets.​ | TTP Labtech, UK |  | SPT Labtech |  | directorairf@mail.jnu.ac.in
X Ray Irradiator | X-RAD | Lab-08C | Precision X Ray Inc USA | 225 XL | 19121021448 | External Funding | DST, Govt. of India | DST PURSE | The X-RAD 225XL is a high-performance, self-shielded cabinet X-ray irradiator designed for biological and preclinical research applications. It offers precise, high-energy irradiation with a broad energy range, making it suitable for small animal studies, cell cultures, and radiation therapy research | Advanced Instrumentation Research Facility | AIRF | 12467927 |  | Not Working | Small Animal Irradiation: Suitable for whole-body and targeted irradiation studies in rodents. ​Cell Irradiation: Ideal for in vitro studies involving cell cultures. ​ Stem Cell Research: Facilitates studies on stem cell behavior under radiation exposure. ​Cancer Research: Supports tumor radiosensitization and radiation therapy studies. ​Sterile Insect Technique: Aids in sterilization processes for insect population control. ​Viral Inactivation: Utilized in the inactivation of viruses for research purposes. | PXI (PRECISION X-RAY), USA |  | Inkarp Instruments Pvt. Ltd. |  | directorairf@mail.jnu.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE