## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Field Emission Scanning Electron Microscope | FESEM | Room No. 0102, Block 01 | Thermo Fisher | Apreo 2S | 9962216 | Internal Funding | Ministry of Education | NA | Resolution: 0.9 nm at 1 kV 0.8 nm at 1 kV (beam decel.) 1.0 nm at 1 kV, 10 mm working distance (beam decel.) 0.8 nm at 500 V (beam decel.) 1.2 nm at 200 V (beam decel.) Standard detectors: ETD, T1, T2, T3, IR-CCD, Nav-Cam+ | Physical Sciences | Central Advanced Instrumental Facility | 78183361 | https://www.thermofisher.com/in/en/home/electron-microscopy/products/scanning-electron-microscopes/apreo-sem.html | Running | Research | FEI Company of USA | anup.biswas@thermofisher.com | IISER Berhampur | fesem@iiserbpr.ac.in | fesem@iiserbpr.ac.in
X-Ray Photoelectron Spectroscopy | XPS | Room No. 0102, Block 01 | Ulvac-PHI | Genesis | 740456 Rev. 1 | Internal Funding | Ministry of Education | NA | <5 microns microprobe size in x and y for Al X-ray source and <14 microns for Cr X-ray source | Physical Sciences | Central Advanced Instrumental Facility | 69050359 | https://www.phi.com/surface-analysis-equipment/genesis.html#features | Running | Research | Icon Analytical Instruments Pvt. Ltd., Mumbai | sales@iconanalytical.com | IISER Berhampur | xps@iiserbpr.ac.in | xps@iiserbpr.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE