## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Warranty End Date (Valid Till) | Category* | Alert to be sent (Email id)* | PRISM Service Category* | Year of Purchase* | Purpose / Application of Equipment | Operational Status | AMC End Date (Valid Till) | Access Restrictions | Remarks | Pre-Experiment Support* | Post-Experiment Support* | Charges for Pre Experiment Support | Charges for Post Experiment Support
Colorimeter | CLR | Jagatpur PG College, Varanasi | Systronics | Colorimeter 106 | NA | Institution | Jagatpur PG College Varanasi | An instrument which is used for the quantitative analysis of colored compounds by measuring the absorbance of the light at a particular wavelength by the solution. | Department of Biotechnology / Microbiology | Biotechnology/Microbiology Laboratory | 10000 | Not Applicable | Analytical Instruments | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Quantitative estimation of colored compounds, water quality analysis, food analysis | Operational | nil | Open to students under lab supervisor supervision only | Regular calibration required | Yes | Yes | 0 | 0
Autoclave | AUTCL | Jagatpur PG College, Varanasi | National Scientific | Thermostat | NA | Institution | Jagatpur PG College Varanasi | Microbiology and biotechnology pressure chamber for steam autoclave at 121°C for sterilization of equipments and culture media. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 15000 | Not Applicable | Sterilization Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Sterilization of glassware, culture media, and instruments used in microbiology experiments | Operational | nil | Open to students under lab supervisor supervision only | Safety check before each use; pressure gauge calibration required | Yes | Yes | 0 | 0
BOD Incubator | BOD-INC | Jagatpur PG College, Varanasi | NA | NA | NA | Institution | Jagatpur PG College Varanasi | The Biological Oxygen Demand Incubator was used to measure the amount of dissolved oxygen consumed by the biological organisms in the water sample after 5 days of incubation at 20°C. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 40000 | Not Applicable | Incubator / Environmental Chamber | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | BOD determination of water and wastewater samples; microbiological incubation studies | Operational | nil | Open to students under lab supervisor supervision only | Temperature must be maintained at 20°C ± 1°C | Yes | Yes | 0 | 0
Autopipette (100-1000 µL) | APIP-1000 | Jagatpur PG College, Varanasi | Universal | NA | NA | Institution | Jagatpur PG College Varanasi | Single channel adjustable volume autopipette suitable for precise liquid transfer in biochemical, molecular biology and analytical experiments (100-1000µL). | Department of Microbiology / Biotechnology | Biotechnology Laboratory | 3000 | Not Applicable | Liquid Handling Instrument | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Precise volumetric liquid transfer in PCR, ELISA, biochemical assays and titrations | Operational | nil | Open to students under lab supervisor supervision only | clean tips must be used | Yes | Yes | 0 | 0
Oven (Hot Air Oven) | HAO | Jagatpur PG College, Varanasi | SHIVAM | SHI-102 | NA | Institution | Jagatpur PG College Varanasi | Oven in which the glassware or other laboratory materials are dried or dry heat sterilized at temperatures up to 250°C. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 15000 | Not Applicable | Heating Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Dry heat sterilization, drying and baking of laboratory glassware and materials | Operational | nil | Open to students under lab supervisor supervision only | Do not exceed 250°C; periodic thermostat calibration required | Yes | Yes | 0 | 0
Weighing Machine (Electronic Balance) | E-BAL | Jagatpur PG College, Varanasi | KROY | Super | CTZ-BAL-2020-006 | Institution | Jagatpur PG College Varanasi | Precision electronic analytical balance with readability up to 0.001 g, used for accurate weighing of chemicals and substances in the laboratory. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 3000 | 2025-09-30 | Weighing Instrument | shalini222003@gmail.com; sndeeptbt001@gmail.com | Analytical | NA | Accurate weighing of chemicals, reagents, and samples for laboratory experiments and formulations | Operational | nil | Open to students under lab supervisor supervision only | Level calibration required; avoid vibrations and drafts near balance | Yes | Yes | 0 | 0
Magnetic Stirrer | MAG-STR | Jagatpur PG College, Varanasi | NA | NA | NA | Institution | Jagatpur PG College Varanasi | A laboratory device that uses a rotating magnetic field to cause a stir bar immersed in a liquid to spin very quickly, thus stirring the solution. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 5000 | Not Applicable | Mixing Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Mixing and stirring of solutions, reagents and culture media in microbiology and biochemistry experiments | Operational | nil | Open to students under lab supervisor supervision only | Handle with care; do not place on ferromagnetic surfaces | Yes | Yes | 0 | 0
Deep Freezer | DP-FRZ | Jagatpur PG College, Varanasi | NA | NA | NA | Institution | Jagatpur PG College Varanasi | A low-temperature storage unit capable of maintaining temperatures between -40°C to -86°C, used for long-term preservation of biological samples, enzymes, and reagents. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 80000 | Not Applicable | Storage Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | NA | Long-term storage of biological samples, enzymes, culture stocks, vaccines and temperature-sensitive reagents | Operational | nil | Open to students under lab supervisor supervision only | Temperature must be monitored daily; do not overload; keep door closed when not in use | Yes | Yes | 0 | 0
Centrifuge Machine | CNTRFG | Jagatpur PG College, Varanasi | REMI | RM12C | NA | Institution | Jagatpur PG College Varanasi | A laboratory device that uses centrifugal force to separate mixtures based on density differences, used for separating cells, organelles, proteins, and other biological components from suspensions. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 25000 | Not Applicable | Separation Equipment | shalini222003@gmail.com; sadeeptbt001@gmail.com | General Lab Equipment | NA | Separation of cells, serum, plasma, precipitates and biological macromolecules in microbiology and biochemistry experiments | Operational | nil | Open to students under lab supervisor supervision only | Balance the rotor before use; do not exceed maximum RPM; inspect rotor regularly for cracks | Yes | Yes | 0 | 0
Water Bath | WB-TH | Jagatpur PG College, Varanasi | National Scientific | Thermostat | NA | Institution | Jagatpur PG College Varanasi | A thermostatically controlled water bath used for incubating samples at a constant temperature over a long period of time, suitable for microbiology and biochemistry applications. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 10000 | Not Applicable | Heating Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | 2025 | Temperature-controlled incubation of biological samples, serological tests, enzyme reactions and media preparation | Operational | nil | Open to students under lab supervisor supervision only | Regular temperature calibration required | Yes | Yes | 0 | 0
Autoclave | AUTCL-AD | Jagatpur PG College, Varanasi | Auto Dynamic | NA | NA | Institution | Jagatpur PG College Varanasi | High-performance autoclave by Auto Dynamic for steam sterilization at 121°C, used for sterilization of laboratory equipment, glassware, and culture media in microbiology and biotechnology applications. | Department of Microbiology / Biotechnology | Biotechnology/Microbiology Laboratory | 20000 | Not Applicable | Sterilization Equipment | shalini222003@gmail.com; sandeeptbt001@gmail.com | General Lab Equipment | 2025 | Sterilization of glassware, culture media, and instruments used in microbiology and biotechnology experiments | Operational | nil | Open to students under lab supervisor supervision only | Safety check before each use; pressure gauge calibration required | Yes | Yes | 0 | 0

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR
CSIR, Govt. of India
DST, Govt. of India
ICFRE