## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Dynamic Mechanical Analyzer |  | PMD | Triton Technology Ltd. UK | Tritec 2000 DMA | 3061212 | Institute fund | Institution Funding (Self Supported) | Measurement of glass transition temperatire of polymers and composites | BMT Wing |  | 2375041 | www.sctimst.ac.in | working | Internal Funding | csc@sctimst.ac.in
Atomic Force Microscope |  | PMD | Nanosurf, Switzerland | Nanosurf CoreAFM | 79-24-175 | SEED/SCSP/2019/117, dated March 20, 2020 | DST, Govt. of India | Surface analysis at nanoscale, measurement of surface roughness, phase contrast imaging, adhesion measurements using force-distance curve | BMT Wing |  | 3887818 | www.sctimst.ac.in | working | External | csc@sctimst.ac.in
Fourier Transform Infrared spectrometer (FTIR) |  | CAF | Thermo Fischer Scientific | iS50 | AUP2110397 | External Funding | DST, Govt. of India | Infrared spectrometer for the functional group analysis of materials in solid (powder, films, sheets, etc) and liquid forms. Material identification using in built database also possible. | BMT Wing |  | 3017996 | www.sctimst.ac.in | working | Thermal analysis | csc@sctimst.ac.in
Simultaneous Thermal Analyzer (STA) |  | CAF | Hitachi | STANEXTA200 | 25112058G5-01 | External Funding | DST and Institution | Thermal analyzer capable of performing thermogravimetric analysis and differential thermal analysis simultaneously. Useful for analyzing samples for thermal stability, compositional analysis, filler content, etc., as per international standards. | BMT Wing |  | 3994300 | www.sctimst.ac.in | working | Thermal analysis | csc@sctimst.ac.in
Differential Scanning Calorimetry (DSC) |  | CAF | Hitachi | DSCNEXTA200 | 25111103L0-01 | External Funding | DST and Institution | DSC is capable of detecting the thermal transitions of materials such as melting, crystallization, glass transition and measuring the thermodynamic arameters associated with these transitions | BMT Wing |  | 4189000 | www.sctimst.ac.in | working | Thermal analysis | csc@sctimst.ac.in
Differential Scanning Calorimetry (DSC) |  | CAF | TA Instruments | Q100 | A10-05707 | External Funding | DST and Institution | DSC is capable of detecting the thermal transitions of materials such as melting, crystallization, glass transition and measuring the thermodynamic arameters associated with these transitions | BMT Wing |  | 1815652 | www.sctimst.ac.in | working | Thermal analysis | csc@sctimst.ac.in
Confocal Raman Microscope (CRM) |  | CAF | WITec GmbH, Germany | Alpha300 RA | 120-01010-054 | External Funding | DST, Govt. of India | CRM is capable of performing micro-Raman spectroscopic analysis of samples and Raman chemical mapping of surfaces. | BMT Wing |  | 11100800 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
Spectrofluorometer |  | CAF | JASCO Inc. Japan | FP-8200 | CO25561448 | External Funding | DBT, Govt. of India | Spectrofluormeter capable of analysing the emission characteristics of samples in solution form | BMT Wing |  | 874800 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
Analytical Gel Permeation Chromatograph/High Performance Liquid Chromatograph (GPC/HPLC) |  | CAF | Waters Inc., USA | Waters 600 | B056CE155E | External Funding | DST and Institution | The HPLC module is capable of detection and quantification of organic analytes like biomarkers, drugs, metabolites, small organic molecules, etc in mixtures. The GPC module is capable of analyzing the molecular weight of polymers with respect to polymer standards. | BMT Wing |  | 2389096 | www.sctimst.ac.in | working | Chromatographic analysis | csc@sctimst.ac.in
High Performance Liquid Chromatograph (HPLC) |  | CAF | Shimadzu, Japan | LC-2010A HT | C21244504999LP | External Funding | DST, Govt. of India | HPLC system equipped with an autosampler can analyze batches of samples at a stretch for the detection and quantification of analytes. | BMT Wing |  | 1606500 | www.sctimst.ac.in | working | chromatographic analysis | csc@sctimst.ac.in
Headspace-Gas Chromatograph (HS-GC) |  | CAF | Perkin Elmer, USA | Clarus 580 | 580S11031205 | External Funding | DST and Institution | Headspace Gas chromatograph equipped with FID detector can analyze analytes like ethylene oxide residuals, residual solvents, residual hydrocarbons etc. | BMT Wing |  | 1824533 | www.sctimst.ac.in | working | Chromatographic analysis | csc@sctimst.ac.in
Universal Testing Machine (UTM) |  | CAF | Instron, USA | BioPuls 3345 | 3345R7953 | External Funding | DST and Institution | UTM capable of analyzing samples for their mechanical properties in tension and compression modes | BMT Wing |  | 1953762.5 | www.sctimst.ac.in | working | Mechanical Testing | csc@sctimst.ac.in
Texture Analyzer |  | CAF | Stable Micro Systems, UK | TA.XT Plus | 12011 | External Funding | DST, Govt. of India | UTM capable of analyzing samples for their mechanical properties in tension and compression modes | BMT Wing |  | 1035194 | www.sctimst.ac.in | working | Mechanical Testing | csc@sctimst.ac.in
Double beam UV-visible spectrophotometer (UV-Vis) |  | CAF | Thermo Fischer Scientific | Evolution one plus | EV2A140020 | External Funding | DST, Govt. of India | A double-beam UV-visible spectrometer equipped with an integrating sphere is capable of analyzing solid and liquid samples in absorbance, transmission, and reflectance modes. | BMT Wing |  | 2505000 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
Handheld X-Ray Fluorescence analyser (XRF) |  | CAF | Sci Aps | X200 | 3760 | External Funding | DST, Govt. of India | Portable handheld XRF analyzer capable of alloy grade analysis, RoHS compliance testing, and Precious metal analysis | BMT Wing |  | 1218000 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
Viscometer |  | CAF | New port scientific | RVA starchmaster | 2092294-SNA | External Funding | DST, Govt. of India | Solution Viscometer Capable of Viscosity analysis and Pasting property analysis of starch, rice, oats, etc. | BMT Wing |  | 1015325 | www.sctimst.ac.in | working | viscosity analyser | csc@sctimst.ac.in
INDUCTIVELY COUPLED PLASMA OPTICAL EMISSION SPECTROMETER |  | BIC | Perkin Elmer | OPTIMA 5300 DV | 077N6070602 | Internal Funding | Institution | OPTICAL EMISSION SPECTROMETER. | BMT Wing |  | 4492800 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
X-RAY DIFFRACTOMETER |  | BIC | BRUKER | D8 ADVANCE | 206127 | Internal Funding | Institution Funding (Self Supported) | BRUKER AXS D8 ADVANCE SERIES II AUTOMATED POWDER X-RAY DIFFRACTOMETER SYSTEM BASIC HARDWARE AND SOFTWARE UNIT | BMT Wing |  | 4830720 | www.sctimst.ac.in | working | Chracterization | csc@sctimst.ac.in
FTIR SPECTROMETER |  | BIC | THERMO ELECTRON CORPORATION | NICOLET 5700 | NICOLET 5700 | Internal Funding | Institution |  | BMT Wing |  | 1442660 | www.sctimst.ac.in | working | Spectroscopic Analsysis | csc@sctimst.ac.in
HPLC-mass spectrometry (LC-MS) |  | MIT | Shimadzu, Japan | LCMS-8045 | 11406001123AE | External Funding | DBT-SAHAJ | Used to separate,detect, and quantify chemical compounds in complex samples. | BMT Wing |  | 20881654 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Leica Mica Confocal microscope |  | MIT | Leica Microsystems, Germany | MICA WideFocal LiveCell | 643859 | External Funding | DBT-SAHAJ | An advanced imaging platform that integrates high-resolution flurescence microscopy. | BMT Wing |  | 19998640 | www.sctimst.ac.in | working | Microscopy | csc@sctimst.ac.in
Beckman Coulter CytoFLEX S flow |  | MIT | Beckman Coulter, United States | CytoFLEX S | BG44121 | External Funding | DBT-SAHAJ | Compact bench-top instrument used for advanced cell analysis | BMT Wing |  | 5000000 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Digital PCR |  | MIT | Qiagen, Hulsterweg 82, Netherlands | Qiagen 911000 | 1667 | External Funding | DBT-SAHAJ | Used for highly precise nucleic acid quantification. | BMT Wing |  | 3153599 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
QIAGEN Rotor-Gene Q real-time PCR |  | MIT | Qiagen, Hulsterweg 82, Netherlands | Qiagen Rotor gene 5 plex | R0322247 | External Funding | DBT-SAHAJ | Used for relative and absolute quantification of nucleic acids. | BMT Wing |  | 1369399 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Autoclave |  | MIT | BMT Medical Technology, BRNO Czech Republic. | SPHP E 636-1ED | 5200241 | Internal Funding | Institution Funding (Self Supported) | Used to sterilize laboratory materials using high-pressure steam | BMT Wing |  | 42699825 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Metafer |  | TOX | Zeiss , Germany | AxioImager M1 | Sl.no.3516000769 | Internal Funding | Institution Funding (Self Supported) | Used for scoring chromosomal aberrations | BMT Wing |  | 2288941 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Beckman Coulter CytoFLEX flow |  | TOX | Beckman Coulter, United States | Cytoflex | BA43120 | External Funding | DST, Govt. of India | For doing cellular assays | BMT Wing |  | 2677500 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Imaging Flowcytometer |  | TOX | Merck Amnis Flowsight | Amnis Flowsight | S/N 799-033606-FS309 | External Funding | DST, Govt. of India | For doing cellular assays | BMT Wing |  | 5789460 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Confocal Microscope |  | TOX | Olympus | Fluoview | FV3000 | External Funding | DST, Govt. of India | Imaging platform | BMT Wing |  | 8617000 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
Inverted fluorescence microscope |  | TIC | Lecia, Germany | Lecia microsysteme GMBH | 62380802152 | Internal Funding | Institution Funding (Self Supported) | The microscope is a fully automated inverted imaging system designed for advanced 2D and 3D biological analysis, offering high-resolution phase contrast, brightfield, and multi-channel fluorescence imaging | BMT Wing |  | 3685832 | www.sctimst.ac.in | working | Microscopy | csc@sctimst.ac.in
Tissue and Organ printing system |  | TIC | RegenHu, Switzerland | 3D Discovery | 201L0P0AA37192 | External Funding | DST, Govt. of India | The tissue and organ printing 3D bioprinter system is a multi-modal platform designed to meet advanced research and preclinical needs | BMT Wing |  | 15572000 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
DLP based 3D bioprinter |  | TIC | CellLink, Sweden | LUMEN X Gen 3 | LX013250112 | External Funding | ICMR | The bioprinter works Digital Light Processing technology to fabricate three-dimensional biological structures by projecting patterned light onto a photosensitive bioink, solidifying it layer by layer with high precision | BMT Wing |  | 4497983 | www.sctimst.ac.in | working | bioprinter | csc@sctimst.ac.in
3D fluorescence imaging microscope |  | TIC | Evident, Japan | IX3-CBH | 5G48447 | External Funding | ICMR | For cytotoxicity and cytocompatibility evaluation as test service. | BMT Wing |  | 6018000 | www.sctimst.ac.in | working | characterization | csc@sctimst.ac.in
OEC 9900 ELITE DIGITAL MOBILE MOTORIZED CARM |  | DIMT | GE | OEC 9900 ELITE | 986 | Internal Funding | Institution Funding (Self Supported) | OEC 9900 ELITE DIGITAL MOBILE MOTORIZED CARM | BMT Wing |  | 10145410 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
HEARTLUNG MACHINE HL-20 CLASSIC JOSTRA |  | DIMT | JOSTRA | HL-20 CLASSIC | 1034 | Internal Funding | Institution Funding (Self Supported) | HEARTLUNG MACHINE HL-20 CLASSIC JOSTRA | BMT Wing |  | 3910946 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
INVERTED RESEARCH MICROSCOPE-DMI3000B |  | DIMT | LEICA | DMI3000B | 960 | Internal Funding | Institution Funding (Self Supported) | INVERTED RESEARCH MICROSCOPE-DMI3000B | BMT Wing |  | 2139590.86 | www.sctimst.ac.in | working | Research | csc@sctimst.ac.in
VETERINARY ULTRASOUND MACHINE |  | DIMT | MINDRAY | CC 70 VET | 1026 | Internal Funding | Institution Funding (Self Supported) | VETERINARY ULTRASOUND MACHINE | BMT Wing |  | 2090624 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
ANAESTHESIA WORKSTATION STOCK NO.1062 |  | DIMT | ALLIED MEDICAL | MEDITEC NEPTUNE PLUS | 1062 | Internal Funding | Institution Funding (Self Supported) | ANAESTHESIA WORKSTATION STOCK NO.1062 | BMT Wing |  | 2104793 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Cytoflex Laser Scanning Cytometer |  | TRU | BECKMAN COULTER INDIA PVT LTD | Cytoflex | BB41292 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 4650744 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Cytoflex Laser Scanning Cytometer |  | TRU | BECKMAN COULTER INDIA PVT LTD | A00-1-1102 | BB49379 | External Funding | DST, Govt. of India |  | BMT Wing |  | 2441250 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Continuous flow centrifuge- Lynx6000 |  | TRU | THERMO ELECTRON LED GMBH | Sorvall Lynx 6000 | 42376568 | External Funding | DST, Govt. of India |  | BMT Wing |  | 2063093 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
AKTA Prime Plus Excl System |  | TRU | GE Healthcare BIOSCIENCES LTD | AKTA Prime plus 11-0013-13 | 1619000 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 2640647 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Vilber image analyser |  | TRU | VILBER LOURMAT | V.070 | 18200593 | External Funding | DST, Govt. of India |  | BMT Wing |  | 2795430 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
iQ5 Multicolour Real time PCR |  | TRU | BIO-RAD PACIFIC LTD | iQ5Optical Module | 575BR 2932 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 2026445 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Rheometer |  | TRU | ANTON PAAR INDIA PVT LTD. | MCR102,MCR302 | 83147616 | External Funding | DST, Govt. of India |  | BMT Wing |  | 2939952 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Continuous Flow Centrifuge - Avanti |  | TRU | BECKMAN COULTER INTERNATIONAL | AVANTI J26XPI | JXT07C07 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 4050000 | www.sctimst.ac.in | working | Testing | csc@sctimst.ac.in
Ultra Centrifuge - Optima L |  | TRU | BECKMAN COULTER INTERNATIONAL | OPTIMA L90K | COL07B01 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 5477625 | www.sctimst.ac.in | working |  | csc@sctimst.ac.in
Inverted Research Microscope |  | TRU | Leica microsystems | DMi8 automated | 639294 | Internal Funding | Institution Funding (Self Supported) |  | BMT Wing |  | 2832000 | www.sctimst.ac.in | working |  | csc@sctimst.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE