## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Disdrometer with rainfall sensor, rain gauge and data logger |  | NIOT | Disdrometer - OTT Parsivel | Disdrometer - OTT Parsivel Laser sensor | PA2-452938 | Others | Institution Funding (Self Supported) | Meteorological instruments used to measure and record rainfall characteristics, wind speed/direction, and precipitation data for accurate weather monitoring. |  |  | 2920024 |  |  | analytical measurement | sanjana.niot@gov.in
Autonomous Underwater Recording system |  | NIOT | JASCO applied sciences CANADA | JASCO applied sciences CANADA | 1325 | Others | Institution Funding (Self Supported) | An autonomous underwater recorder that continuously captures and stores high-quality underwater sound data for long-term ambient noise and marine monitoring studies. |  |  | 5000000 |  |  | analytical measurement | sanjana.niot@gov.in
Shock and Vibration Tester |  | NIOT | Spectral Dynamics | SD-301-440 | S1004004 | Others | Institution Funding (Self Supported) | To test and evaluate the shock and vibration withstanding capacity of system under test |  |  | 5186000 | https://www.spectraldynamics.com/ |  | analytical measurement | chithra.niot@gov.in
Environmental Chamber |  | NIOT | Votsch Industrietechnik, GmbH, Germany | VC34150 | 59566142750010 | Others | Institution Funding (Self Supported) | To test and evaluate the performance of the system/equipment under test under specified temperature and humidity |  |  | 2828000 | www.weiss-technik.com |  | analytical measurement | chithra.niot@gov.in
Corrosion Chamber |  | NIOT | Weizz Technik GmbH, Germany | SC-1000 | 59226099720010 | Others | Institution Funding (Self Supported) | To test and evaluate the corrosion resistivity of equipment/item under test |  |  | 1565000 | www.weiss-technik.com |  | analytical measurement | chithra.niot@gov.in
EMI/EMC Analyser |  | NIOT | KeySight technologies | N9038B | MY62210105 | Others | Institution Funding (Self Supported) | To measure and analyse electromagnetic interference |  |  | 9145932 | https://www.keysight.com/ |  | analytical measurement | chithra.niot@gov.in
Multi Mode Digital Sonar System (Acoustic Sub Bottom Profiler and Side Scan Sonar) |  | NIOT | Meridata Finland | MDDSS | MDDSS | Others | Institution Funding (Self Supported) | To image under water objects in 1D and 2D |  |  | 12388200 | https://meridata.fi/mddssindepth.shtml |  | analytical measurement | chithra.niot@gov.in
Total Organic Carbon (TOC) analyzer |  | NIOT | Skalar | FORMACS HT-water samples PRIMACS MCS - Solid samples | 244200-FORMACS | Others | Institution Funding (Self Supported) | To measure the organic carbon content in environmental water and solid samples |  |  | 8369895 | https://www.skalar.com/products/formacs-total-organic-carbon-total-nitrogen-analyzers |  | analytical measurement | dharani.niot@gov.in
Contrinuos Flow Nutrient analyzer (Auto analyzer) |  | NIOT | Skalar | SAN++ Classic | 250943 | Others | Institution Funding (Self Supported) | To measure the nutrients (nitrate, nitrite, ammonia, silicate, phosphate, total nitrogen, total phosphate) in environmental water samples |  |  | 9645517 | https://www.skalar.com/products/formacs-total-organic-carbon-total-nitrogen-analyzers |  | analytical measurement | dharani.niot@gov.in
Flow Imaging Microscopy |  | NIOT | YOKOGAWA | Flow Imaging Microscopy 8100 | 21044 | Others | Institution Funding (Self Supported) | This is imaging microscope with a wide measurement range and high-precision image analysis capabilities. |  |  | 14036745 | http://www.yokogawa.com/in |  | analytical measurement | dharani.niot@gov.in
Inductive Coupled Plasma-Mass Spectrometer (ICP-MS) |  | NIOT | Perkin Elmer | NexION1100 | 313X4060601 | Others | Institution Funding (Self Supported) | To measure the heavy and trace metals present in the environmental water and solid samples |  |  | 27517633 | Ref link |  | analytical measurement | dharani.niot@gov.in
Multimode Microplate Reader |  | NIOT | Tecan | Tecan Infinite Mplex | 2310002861 | Others | Institution Funding (Self Supported) | A versatile, monochromator-based multimode microplate reader designed for high-performance absorbance, fluorescence, and luminescence assays in life science research |  |  | 2336400 | https://www.tecan.com/ |  | analytical measurement | dharani.niot@gov.in
Superspeed Centrifuges |  | NIOT | Thermo Scientific | LYNX 6000 | 43353031 | Others | Institution Funding (Self Supported) | A high-performance floor model centrifuge designed for large-volume, high-speed laboratory applications, offering up to 6L capacity (6 x 1000 mL) and speeds reaching 100,605 x g (29,000 rpm) |  |  | 2843500 | https://www.thermofisher.com/ |  | analytical measurement | dharani.niot@gov.in
High Resolution Scanning Electron Microscope |  | NIOT | Jeol India Pvt. LTD | JSM - IT800 | SM1040005250525 | Others | Institution Funding (Self Supported) | A high-resolution scanning field emission electron microscope (HR-SEM) is an advanced imaging instrument that uses a finely focused electron beam to produce nanometer-scale images of surfaces, with resolutions down to sub-nanometer levels. |  |  | 51139769 | https://www.jeol.com |  | analytical measurement | dharani.niot@gov.in
Microbial Phenotypic Microarray system |  | NIOT | Biolog Inc | BIOLOG GEN III Microstation System | 2206230A | Others | Institution Funding (Self Supported) | The Microbial Identification Test Panel (GEN III Microplate) uses 94 unique biochemical tests to profile and identify a broad range of gram-negative and gram-positive bacteria. The test panel provides a “Phenotypic Fingerprint” of the microorganism that is used to identify it at the species or strain level |  |  | 3246867.8 | https://www.biolog.com |  | analytical measurement | dharani.niot@gov.in
Fully automated multicapillary fluorescence based Sanger DNA sequencer and fragment analyser |  | NIOT | Thermo Fisher Scientific | SeqStudio8 flex System | 23214-010 | Others | Institution Funding (Self Supported) | The Applied Biosystems SeqStudio 8 Flex Genetic Analyzer offers design improvements and technological advances to the capillary electrophoresis (CE) workflow. It delivers gold-standard Sanger sequencing and fragment analysis data quality, ideal for Microbial identification |  |  | 9592765.2 | https://www.thermofisher.com |  | analytical measurement | dharani.niot@gov.in
Hyperbaric chamber |  | NIOT | EPSI | EPSI | HTF 900 | Others | Institution Funding (Self Supported) | To test equipments at high pressure conditions for simulating underwater conditions. It can simulate pressures from 0 to 900 bar |  |  | 30000000 |  |  | analytical measurement | gnanaraj.niot@gov.in
FBG Sensor System (Strain & Temperature) with Data Interrogator |  | NIOT | HBK | FS22DI | 46840705823 | Others | Institution Funding (Self Supported) | To monitor strain on HDPE pipe underwater using optical FBG sensors. |  |  | 3300000 |  |  | analytical measurement | phani.niot@gov.in
Partial pressure CO2 sensor |  | NIOT | Pro-Oceanus | CO2-Pro CV | 45-550-76 | Others | Institution Funding (Self Supported) | Discrete partial pressure CO2 sensor for field carbon concentration measurements. |  |  | 3560000 |  |  | analytical measurement | muthukumaravel.niot@gov.in
Calibration Test Facility (CTF) |  | NIOT | Multivendor | Heterogeneous: | - | Others | Institution Funding (Self Supported) | The CTF is equipped with WMO-recommended reference sensors for RIC laboratories, including a chilled mirror for humidity, a platinum resistance thermometer for air temperature, a digital gas piston gauge for air pressure, a peristaltic pump for precipitation, and a standard digital source for analog channel calibration. Temperature and conductivity sensors are calibrated using computer-controlled temperature baths with high-accuracy references, with temperature traceable to SPRT standards and conductivity traceable to IAPSO standard seawater. |  |  | 70000000 |  |  | analytical measurement | srs.niot@gov.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE