## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Liquid Chromatography System | LCMS | Main Building, 1st floor, Room No 337 | Shimadzu Pvt Ltd | LCMS 2020 | 001015490D6915A | Internal Funding | CSIR, Govt. of India | Liquid Chromatography System(LCMS) | Fluoro-Agro Chemical Division | NA | 4606120 |  | working | Analytical Equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Gas Chromatography System with FID & NPD | GC | Main Building, 1st floor, Room No 226 | Agilent Technologies Pvt Ltd | GC8890,G3540A | US2504A012 | Internal Funding | CSIR, Govt. of India | Gas Chromatography System with FID & NPD | Fluoro-Agro Chemical Division | NA | 3450000 |  | working | Analytical Equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Analytical HPLC System with PDA Detector | HPLC | Semiochemicals | Shimadzu | LC-20AD | 228-45567-91 | Internal Funding | CSIR, Govt. of India | Analytical HPLC System with PDA Detector | Fluoro-Agro Chemical Division | NA | 2300000 |  | Working | Analytical Equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Gas Chromatography-Electroantennographic Detection (GC-EAD) | GC-EAD | Semiochemicals | Agilent | GC-8890 | CN2229A200 | Internal Funding | CSIR, Govt. of India | Gas Chromatography-Electroantennographic Detection | Fluoro-Agro Chemical Division | NA | 7198541 |  | Working | Analytical Equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Shimadzu single quadrupole GCMS-QP2020 NX gas chromatograph-mass spectrometer (GC-MS) | GC-MS | Semiochemicals | Shimadzu | GCMS-QP2020NX | O21745802205 | Internal Funding | CSIR, Govt. of India | Shimadzu single quadrupole GCMS-QP2020 NX gas chromatograph-mass spectrometer (GC-MS) | Fluoro-Agro Chemical Division | NA | 4717500 |  | Working | Analytical Equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Gas Chromatography | GC | CSIR-IICT | Scion | 8500 | 8500000022 | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 2200000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Gas Chromatography | GC | CSIR-IICT | Agilent | 8890 | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 2400000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Pressure Distillation Unit |  | CSIR-IICT | AdiChem Technolgoy Pvt. Ltd | Custom design | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 2218000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Tubular Reactor | TR | CSIR-IICT | Amar Equipment Pvt. Ltd | Custom design | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 4800000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
2 port glove box | Glov Box | CSIR-IICT | Ranvac technologies | Custom design | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 2500000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Ultra Low Refrigerated Circulator | ULR | CSIR-IICT | JULABO | Magio MS-1000FF | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 2160435 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Syringe Pump | Pump | CSIR-IICT | SEPTECH | 500X syringe pump | 681240827 | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 3776000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, lrsingh.iict@csir.res.in
Pressure Reactor | PR | CSIR-IICT | Autoclave Engineers | NA | NA | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 4100000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, punnanagender.iict@csir.res.in
Tubular Reactor 3' | TR3 | CSIR-IICT | RL Solutions | Custom design | na | Internal Funding | CSIR, Govt. of India | NA | Fluoro-Agro Chemical Division | NA | 5000000 |  | functional | laboratory equipment | chairfac.iict@csir.res.in, chairbdrm.iict@csir.res.in, punnanagender.iict@csir.res.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE