## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
SPARK EMISSION SPECTROMETER | CMTI/MTL/BAIRD-01 | MATERIAL TESTING LAB | BAIRD | DV6S | 3187a | Internal Funding | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al Base) | Material and Metallurgy | Chemical analysis of Metals & Alloys | 3053678 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
SPARK EMISSION SPECTROMETER | CMTI/MTL/BAIRD-02 | MATERIAL TESTING LAB | THERMOFISCHER SCIENTIFIC | ARL 3460 | 6760 | Internal Funding | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al Base) | Material and Metallurgy | Chemical analysis of Metals & Alloys | 7324600 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
PORTABLE OPTICAL EMISSION SPECTROMETER | CMTI/MTL/TXC25-05 | MATERIAL TESTING LAB | AMATEK GMBH | TXC25 | 30110 | Internal Funding | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al ,Ni,Zn,Ti,Co Base) | Material and Metallurgy | Chemical analysis of Metals & Alloys | 3713276 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
XRF-COATING THICKNESS | CMTI/MTL/XRF-03 | MATERIAL TESTING LAB | FISHER GMBH | XDL B | SN070001727 | Internal Funding | CMTI ,Bengaluru | Metalic Coating thickness Measurment(0.01 Micron To 30 Micron) | Material and Metallurgy | Metalic Coating thickness Measurment | 1614240 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
DUAL SCOPE-COATING THICKNESS | CMTI/MTL/XRF-04 | MATERIAL TESTING LAB | FISHER GMBH | MP40E-S | SN070001728 | Internal Funding | CMTI ,Bengaluru | Metalic& Non Metallic Coating thickness Measurment(1.0 Micron to 1000 Micron) | Material and Metallurgy | Coating thickness Measurment | 212610 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
ELECTRONIC ANALYTICAL BALANCE | CMTI/MTL/Balance-06 | MATERIAL TESTING LAB | SARTORIUS | MC 210 S | 12009736 | Internal Funding | GAP1901401,ARDB,CMTI ,Bengaluru | 0.001 g to 250 gr | Material and Metallurgy | Weighing Balance | 188790 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
ELECTRONIC ANALYTICAL BALANCE WITH DENSITY KIT | CMTI/MTL/Balance-07 | MATERIAL TESTING LAB | SHIMADZU | UW220D | 450042006 | Internal Funding | CMTI ,Bengaluru | 0.001 g to 250 gr | Material and Metallurgy | Weighing Balance | 180000 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
ELECTROLYTIC ANALYSER-COPPER ESTIMATION | CMTI/MTL/Analyser-08 | MATERIAL TESTING LAB | TOSHNIVAL | E-30 | 42 | Internal Funding | CMTI ,Bengaluru | Elrctro Gravimetric Analyser | Material and Metallurgy | Wet Chemical Analysis | 67200 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
BROOK FIELD DIGITAL VISCOMETER | CMTI/MTL/Viscometer-09 | MATERIAL TESTING LAB | BROOKFEILD | LVDV-11 +PRO | RTP80054 | Internal Funding | CMTI ,Bengaluru | Hydraulic Oil Viscosity Cheking | Material and Metallurgy | Wet Chemical Analysis | 444933 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
OAKTON PC2700 BENCHTOP PH METER | CMTI/MTL/PH meter-10 | MATERIAL TESTING LAB | OAKTON | PC2700 | 2910296 | Internal Funding | GAP1901401,ARDB,CMTI ,Bengaluru | Solution Ph Level Checking | Material and Metallurgy | Solution Ph Level Checking | 123637 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
CERAMIC FIBER MUFFLE FURNACE | CMTI/MTL/Furnace-11 | MATERIAL TESTING LAB | SIP LAB | SL-MF-7L-MS | 2019072-67106 | Internal Funding | GAP1901401,ARDB,CMTI ,Bengaluru | Muffel Furnace for heattreatment Process | Material and Metallurgy | Muffel Furnace for heattreatment Process | 141750 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
ROTARY VACUUM PUMP 4 BAR 220V | CMTI/MTL/Vaccume Pump-12 | MATERIAL TESTING LAB | MERCK | XI0422050 | BM9EA4364K | Internal Funding | GAP1901401,ARDB,CMTI ,Bengaluru | Solution filtration | Material and Metallurgy | Solution filtration | 66228 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
CARBO and SULFUR ANALYSER | CMTI/CRMF/CS/01 | Certified Reference Material Facility | HORIBA | EMIA 20E | YLY57W20 | Internal Funding | DPP2204001,8/C3,CMTI,BENGALORE | Measures carbon and sulfur content in Steel, Cast iron, Non-ferrous alloys, Ceramics, Minerals, Metal bearing ores and Refractory materials | Material and Metallurgy | Measures carbon and sulfur content in Steel, Cast iron, Non-ferrous alloys, Ceramics, Minerals, Metal bearing ores and Refractory materials | 9732184 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
OXYGEN ITROGEN and HYDROGEN ANALYSER | CMTI/CRMF/ONH/02 | Certified Reference Material Facility | HORIBA | EMGA 30E | XBTM6W00 | Internal Funding | DPP2204001/C3,CMTI,BENGALORE | The concentration of Oxygen, Nitrogen and Hydrogen in ferrous based metals (cast iron and steels) and non-ferrous alloys (titanium and copper) other inorganic materials and ceramics | Material and Metallurgy | Chemical analysis of Metals & Alloys | 12000000 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
WAVELENGTH DISPERSIVE XRF SPECTROMETER | CMTI/CRMF/WDXRF/03 | Certified Reference Material Facility | THERMOFISCHER SCIENTIFIC | ARL PERFORM'X | 9961734 | Internal Funding | DPP2204001,C3,CMTI,BENGALORE | Be to Am Element Quantitative Analysis, Solid, Liquid & Powder analysis, X-ray tube power 4.2 kW, Gearless goniometer, Crystals 8 nos., Complete characterization of unknown materials science samples, Small spot analysis and elemental mapping using WD-XRF for failure analysis or defect detection Equipped with Flow Proportional Counter 3300 kcps & Scintillation detector 2300 kcps | Material and Metallurgy | Chemical analysis of Metals & Alloys | 35000000 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
OPTICAL EMISSION SPECTROMETER OES | CMTI/CRMF/OES/04 | Certified Reference Material Facility | THERMOFISCHER SCIENTIFIC | ARL i-SPARK 8860 | 9963187 | Internal Funding | DPP2204001,C3,CMTI,BENGALORE | Metal & Metal Alloys (Ferrous and non- ferrous ) analysis, Failure analysis, identification of trace metals | Material and Metallurgy | Chemical analysis of Metals & Alloys | 16300000 | https://cmti.res.in/chemical-and-metallurgy/ | active | Analytical Measurement | labservices@cmti.res.in
XRAY DIFFRACTION XRD Operando | CMTI/CRMF/XRD/05 | Certified Reference Material Facility | ANTON PAAR | XRDynamic-500 | 84833723 | Internal Funding | DPP2204001,C3,CMTI,BENGALORE | High resolution XRD for crystalline phase detection, Grazing incidence XRD (GI-XRD), Small Angle X-Ray scattering (SAXS), X-ray Reflectivity (XRR), operando application i.e., phase analysis during electrochemical analysis i.e., charge-discharge and cyclic voltammetry for energy storage devices (battery, supercapacitor, solar cell etc) testing application, mapping through microdiffraction, pair distribution function study, in-situ non-ambient XRD, phase quantification, residual stress analysis of small component (non-ferrous) | Material and Metallurgy | Chemical analysis of Metals & Alloys | 22000000 | https://cmti.res.in/chemical-and-metallurgy/ | active | chracterization | labservices@cmti.res.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
CSIR, Govt. of India
DST, Govt. of India
ICFRE