## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Micro Raman Spectrometer | Raman | Raman Spectroscopy Laboratory, First Floor, Block-A Building, Navrachana University, Vasna-Bhayli Road, Bhayli, Vadodara-391410, Gujarat | In-house built (Shamrock spectrometer with Andor CCD, Oxxius laser- 532 nm, Nikon microscope) | Shamrock spectrometer: SR-500i-A-R; Andor CCD: iDUS420 OE; Oxxius laser: LCX-532S-100-CSB-PPF ; Nikon microscope: Eclipse LV100ND | Shamrock spectrometer: SR-2933; Andor CCD: CCD-21633; Oxxius laser: LAS-04400; Nikon microscope: 205154 | External Funding | SERB, DST, Govt. of India |  | Raman Spectroscopy Laboratory | Micro-Raman Spectrometer | 3661857 |  | Working | Characterisation/Analytical Equipment | pallavig@nuv.ac.in

## Sheet1
Sr no. | Instruments Details | Make | Model | Supplier's name | Invoice No. | Invoice amount | Year/Month of Purchase | Funding | Location | Qty | Asset No. | Remarks
Research Lab Equipments
1 | Monochromator | Shamrock | SR-500i-A-R | ATOS Instruments Marketing Services | 026694- | 1439845.5 | 2018-02-21 | DST-SERB | Raman Laboratory | 1
2 | CCD Camera | Andor | iDUS420 OE | ATOS Instruments Marketing Services | 026694- |  | 2018-02-21 | DST-SERB | Raman Laboratory | 1
3 | Mounting platform for monochromator | Holmarc Opto-Mechatronics Pvt. Ltd. | HSN Code-9033 | Holmarc Opto-Mechatronics Pvt. Ltd. | H831 | 165739.39 | 2018-03-22 | DST-SERB | Raman Laboratory | 1
4 | 532 nm razor edge dichroic laser beam splitter | Semrock | LPD02-532-25x36x1.1 | Laser Science (I) Services Pvt.Ltd. | SO/2018-19/010 | 62475 | 2018-04-26 | DST-SERB | Raman Laboratory | 1
5 | Power Supply Accessories for Monochromator, Laser and Microscope; UPS:- Batttery- 12V 26 ah Exide smf ; Battery Rack ; Transformer output Isoation: 2.0 kva sag power ; (3 yrs. Extended warranty) | APC | UPS APC SRC 3 KUXI Online | Sunce Infosolutions Pvt. Ltd. | SIPL/BRD/917 (SIPL/BRD/334) | 73995 | 2018-04-01 | DST-SERB | Raman Laboratory | 1
6 | Laser- 532nm 100mW fixed power | Oxxius | LCX-532S-200-CSB-PPA | Dynotech Instruments Pvt Ltd | IN18-0001 | 608468.49 | 2018-01-08 | DST-SERB | Raman Laboratory | 1
7 | Microscope- Raman | Nikon | Eclipse LV100ND | TOWA OPTICS INDIA PVT. LTD | EMJ0629 | 881700 | 2018-06-11 | DST-SERB | Raman Laboratory | 1
8 | Raman Computer to run control software and CCD | Dell | Optiplex 3050 MT(i5U3ND0-N1803050MTIN8) |  | - | 44100 |  | DST-SERB | Raman Laboratory | 1
9 | Optics and Mounts for Laser beam steering to monochromator | Holmarc Opto-Mechatronics Pvt. Ltd. | HSN Code- 9033 | Holmarc Opto-Mechatronics Pvt. Ltd. | H229 | 66286.58 | 2018-06-23 | DST-SERB | Raman Laboratory | 1
10 | DPSS Laser mount | Holmarc Opto-Mechatronics Pvt. Ltd. | HOM-DPSS-19090 | Holmarc Opto-Mechatronics Pvt. Ltd. | H423 | 9960 | 2018-08-28 | DST-SERB | Raman Laboratory | 1
11 | Frame for ARG Fitover 150mmX85mm- Laser Goggles | Professional Industrial Engg. Company, Mumbai | HSN Code- 9004 | Professional Industrial Engineering Company, Mumbai | 8/2019-20 | 15000 | 2019-06-20 | DST-SERB | Raman Laboratory | 1
12 | X-Translation Stage (Single axis) (TS-90) | Holmarc Opto-Mechatronics Pvt. Ltd. | HSN Code: 9033 | Holmarc Opto-Mechatronics Pvt. Ltd. | H1287 | 14312 | 2020-03-31 | DST-SERB | Raman Laboratory | 1
13 | Kinematic mirror mounts, circular mirror and lens adaptors, Kinematic obj. mount, filter wheel, Plano silver and aluminum mirrors | Holmarc Opto-Mechatronics Pvt. Ltd. | KMC-CS-25; KLM-T-C; CA-25-RMS, KMMOH; HO-PCMS 25; HO-PCMA-25 FW-1-1 | Holmarc Opto-Mechatronics Pvt. Ltd. | H1288 | 40831 | 2020-03-31 | DST-SERB | Raman Laboratory | 1 each
14 | Zero Order Quarter Wave Plate | Holmarc Opto-Mechatronics Pvt. Ltd. | HO-WZQ-22M-532 | Holmarc Opto-Mechatronics Pvt. Ltd. | H1289 | 28529 | 2020-03-31 | DST-SERB | Raman Laboratory | 1
15 | Multi Order Quarter Wave Plate | Holmarc Opto-Mechatronics Pvt. Ltd. | HSN Code: 9002 | Holmarc Opto-Mechatronics Pvt. Ltd. | H420 | 16758 | 2018-08-21 | DST-SERB | Raman Laboratory | 1
16 | 45 degree mirror holder | Holmarc Opto-Mechatronics Pvt. Ltd. | 45-MM-25, HSN Code: 9033 | Holmarc Opto-Mechatronics Pvt. Ltd. | H533 | 903 | 2018-09-22 | DST-SERB | Raman Laboratory | 1
17 | 532nm , 12.5mm, OD6 blocking notch filter | Edmund Optics | HSN Code-9002 | Infrared Optics | 2395 | 67473 | 2020-02-27 | DST-SERB | Raman Laboratory | 1
18 | Silicon based touch screen portable laser power meter | Edmund Optics | #34514 | Infrared Optics | 2394 | 125483 | 2020-02-27 | DST-SERB | Raman Laboratory | 1
19 | 532 nm Razor edge LWP filter E- grade, 25 mm | Semrock | LP03-532RE-25 | Laser science | SO/2019-20/029 | 91350 | 2019-05-17 | DST-SERB | Raman Lab | 1 | Asset label not available
20 | Plano-convex lens, uncoated (Raman); f = 100.3 mm, Ø1'' UV fused Silica Plano-Convex Lens | Semrock (THORLABS, USA) | Part no.- LA4380 | Laser science | 9/2019-20 | 15151.2 | 2019-06-20 | DST-SERB | Raman Lab | 1 | Asset label not available
21 | Lyot depolarizer (10x10x6 mm) | Holmarc Opto-Mechatronics Pvt. Ltd. | HO-LDP-10 | Holmarc Opto-Mechatronics Pvt. Ltd. | H286 | 36052 | 2020-08-27 | DST-SERB | Raman Lab | 1 | Asset label not available
22 | Precision polarizer mount; OD: 25mm/ 1'' with tilt | Holmarc Opto-Mechatronics Pvt. Ltd. | PMP-25 | Holmarc Opto-Mechatronics Pvt. Ltd. | H285 | 9761 | 2020-08-27 | DST-SERB | Raman Lab | 1 | Asset label not available

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE