## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Preclinical CT Scan System | microCT | Translational Preclinical Imaging and Radiotherapy Facility | PERKINELMER USA | QuantumGX2 microCT System | BR72000013-01 | Government | Department of Atomic Energy | ANIMAL IMAGING AT ACTREC | Precilincal CT Scan System for small rodents | ACTREC | Translational Preclinical Imaging and Radiotherapy Facility | 57659500 | https://www.revvity.com | Functional | Research Instrument |  |  |  | PERKINELMER INDIA PVT LTD (Name changed to Revvity Healthcare (India) Pvt. Ltd.) |  | Revvity Healthcare (India) Pvt. Ltd. | india.servicesupport@revvity.com
PET Scan System for small Animal | microPET | Translational Preclinical Imaging and Radiotherapy Facility | BIOEMTECH GREECE | β-eye micro PET | 2.SCC-201901-005 | Government | Department of Atomic Energy | Radiological Research Unit for Spontaneous Animal Cancers | Precilincal PET Scan System for small rodents | ACTREC | Translational Preclinical Imaging and Radiotherapy Facility | 8370957 | info@bioemtech.com | Functional | Research Instrument |  |  |  | BIOEMTECH | info@bioemtech.com | Fusion Scientific Laboratories Pvt. Ltd. | shivprakash.pandey@fstin.com
SPECT Scan System for small Animals | microSPECT | Translational Preclinical Imaging and Radiotherapy Facility | BIOEMTECH GREECE | γ-eye micro SPECT | 1.SGC-201901009 | Government | Department of Atomic Energy | Radiological Research Unit for Spontaneous Animal Cancers | Precilincal SPECT Scan System for small rodents | ACTREC | Translational Preclinical Imaging and Radiotherapy Facility | 8370957 | info@bioemtech.com | Functional | Research Instrument |  |  |  | BIOEMTECH | info@bioemtech.com | Fusion Scientific Laboratories Pvt. Ltd. | shivprakash.pandey@fstin.com
XRAY Irradiator | Irradiator | Translational Preclinical Imaging and Radiotherapy Facility | Precision X-ray Inc.,USA | Precision X-RAD225XL | 2205-12079-67 | Government | Department of Atomic Energy | ANIMAL IMAGING AT ACTREC | XRAY Irradiator for small rodents, cells and tissues | ACTREC | Translational Preclinical Imaging and Radiotherapy Facility | 20795190 | SALES@PXINC.COM | Functional | Research Instrument |  |  |  | Inkarp Instruments Pvt Ltd,Hyderabad | service@inkarp.co.in | Spark Scientific Private Ltd | sales@sparksci.in
Invivo Animal Imaging System | IVIS SPECTRUM | Molecular Imaging Facility, ACTREC | Revvity HealthCare | IVIS Spectrum | IS1343N6426 | Government | Department of Atomic Energy | ANIMAL IMAGING AT ACTREC | InVitro & (2D and 3D) InVivo Bioluminescence, Fluorescence (with 10 Ex. Filter and 18 Em. Filters) and Cherenkov imaging | ACTREC | Molecular Imaging Facility ACTREC | 27867950 | https://actrec.gov.in/molecular-imaging | Functional | Research Instrument |  |  |  | Revvity HealthCare |  | Revvity HealthCare | Meghraj.Zadikar@revvity.com
Invivo Animal Imaging System with CT | IVIS SPECTRUM CT | Molecular Imaging Facility, ACTREC | Revvity HealthCare | IVIS Spectrum CT | IS2305N8961 | Government | Department of Atomic Energy | ANIMAL IMAGING AT ACTREC | InVitro & (2D, 3D and CT) InVivo Bioluminescence, Fluorescence (with 10 Ex. Filter and 18 Em. Filters) and Cherenkov imaging | ACTREC | Molecular Imaging Facility ACTREC | 59832580 | https://actrec.gov.in/molecular-imaging | Functional | Research Instrument |  |  |  | Revvity HealthCare |  | Revvity HealthCare | Meghraj.Zadikar@revvity.com
Mass Spectrometry Instrument | nLC-ESI-Q-TOF | Mass Spectrometry Facility,ACTREC | SCIEX India Pvt. Ltd. | Triple TOF 5600 Plus | BN22011311 | Government | Department of Atomic Energy | Capacity Building and Development of Novel Cutting Edge Research Activitie | This platform used for proteomics, labeled & label free quantification as well as metabolomics studies. | ACTREC | Mass Spectrometry Facility | 40000000 | www.SCIEX.com | Functional | Research Instrument |  |  |  | SCIEX | sachin.ambetkar@sciex.com | SCIEX | babla.pendam@sciex.com
MALDI Mass Spectrometer | MALDI/ESI-Q-TOF | Mass Spectrometry Facility,ACTREC | Waters India Pvt. Ltd. | Synapt XS High Definition Mass Spectrometer | DBC322 | Government | Department of Atomic Energy | Capacity Building and Development of Novel Cutting Edge Research Activitie | Mainly used for proteomics, labeled & label free quantification as well as metabolomics & lipidomics studies. | ACTREC | Mass Spectrometry Facility | 50000000 | www.Waters.com | Functional | Research Instrument |  |  |  | JK Scientific Solutions | jkscientificsolutions@gmail.com | Waters | Padmanabh_Mukhedkar@waters.com
Triple Quadrupole Mass Spectrometer | Triple Quadrupole | Mass Spectrometry Facility,ACTREC | Waters India Pvt. Ltd. | Triple Quadrupole | WDA0718 | Government | Department of Atomic Energy | Capacity Building and Development of Novel Cutting Edge Research Activitie | This platform will be useful for targeted proteomics studies and for protein validation studies. | ACTREC | Mass Spectrometry Facility | 22300000 | www.Waters.com | Functional | Research Instrument |  |  |  | JK Scientific Solutions | jkscientificsolutions@gmail.com | Waters | Padmanabh_Mukhedkar@waters.com
High Resolution Mass Analyzer Spectrometer | Orbitrap | Mass Spectrometry Facility,ACTREC | Thermo Fisher Scientific India Pvt. Ltd. | Orbitrap Exploris 480 | MA1118C | Government | Department of Atomic Energy | Capacity Building and Development of Novel Cutting Edge Research Activitie | Specially with high resolution Mass Spec Platform for extensively Proteomics studies as well as Labeled & Label Free Quantification studies. | ACTREC | Mass Spectrometry Facility | 60000000 | www.Thermofisher.com | Functional | Research Instrument |  |  |  | Thermo Fisher India Pvt. Ltd. | sneha.choukekar@thermofisher.com | Thermo Fisher India Pvt. Ltd. | brijesh.pandey@thermofisher.com
SANGER SEQUENCER | 3500 Genetic Analyser | Genomics Facility, ACTREC | Invitrogen THERMOFISHER | 3500 Genetic Analyser | 22111-261 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Sanger Sequencer | ACTREC | Genomics Facility, ACTREC | 636450 | www.Thermofisher.com | Functional | Research Instrument |  |  |  | Invitrogen THERMOFISHER | www.Thermofisher.com | Invitrogen ThermoFisher | dheeraj.chaudhari@thermofisher.com
SANGER SEQUENCER | 3730 DNA Analyser | Genomics Facility, ACTREC | Invitrogen THERMOFISHER | 3730 DNA Analyser | 25101-001 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Sanger Sequencer | ACTREC | Genomics Facility, ACTREC | 10926880 | www.Thermofisher.com | Functional | Research Instrument |  |  |  | Invitrogen THERMOFISHER | www.Thermofisher.com | Invitrogen ThermoFisher | dheeraj.chaudhari@thermofisher.com
Fluorescence Activated Cell Sorter | FACS ARIA | Flow Cytometry Facility, ACTREC | BD Biosciences | FACSAria III Special order Research Product | P650110520001 | Government | Department of Atomic Energy | Basic and Translational Research | Cell Sorter- 4 Way sorting, 18 Colors 20 Parameters | ACTREC | Flow Cytometry Facility, ACTREC | 14367500 | https://www.bdbiosciences.com/en-in | Functional | Research Instrument |  |  |  | BD Biosciences | bdbindia@bd.com | BD Biosciences | service_india@bd.com
Fluorescence Activated Cell Sorter | FACS ARIA | Flow Cytometry Facility, ACTREC | BD Biosciences | FACSAria Special order System | P9M400001 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Cell Sorter- 4 Way sorting, 11 Colors Parameters | ACTREC | Flow Cytometry Facility, ACTREC | 21146597 | https://www.bdbiosciences.com/en-in | Functional | Research Instrument |  |  |  | BD Biosciences | bdbindia@bd.com | BD Biosciences | service_india@bd.com
Flow cytometer-Cell Analyser | FACS Attune | Flow Cytometry Facility, ACTREC | ThermoFisher Scientific | Attune NxT Acoustic Focusing Cytometer | 2AFC215060217 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Cell Analyser | ACTREC | Flow Cytometry Facility, ACTREC | 8094042 | https://www.thermofisher.com/ | Functional | Research Instrument |  |  |  | ThermoFisher Scientific | customer.reach@thermofisher.com | ThermoFisher Scientific | ininfo@thermofisher.com
Transmission Electron Microscope | TEM | ACTREC | JEOL, Japan | JEM 1400 PLUS | 1848002530253 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Transmission Electron Microscope | ACTREC | Electron Microscope Facility | 35145941 | https://www.jeol.com/in/ | Functional | Research Instrument |  |  |  | JEOL India Pvt. Ltd. | info@jeolindia.com | JEOL India Pvt. Ltd. | support@jeolindia.com
Laser Confocal Microscope | LSM780 | Digital Imaging Facility, ACTREC | CARL ZEISS | 780 | 2504000617 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Confocal with inverted microscope 5 lasers- 405nm, 488nm multiline, 561nm,594nm, 633nm, Incubation set up for time lapse imaging, 2 dry objectives- 10x and 20x, 3 Oil Immersion objectives -40x, 63x, 100x, PMT and Gasp detectors , acquisiton and analysis software ZEN Black | ACTREC | Digital Imaging Facility, ACTREC | 48755832 | https://www.zeiss.com/microscopy/en/products/light-microscopes/confocal-microscopes.html | Functional | Research Instrument
Laser Confocal Microscope | LEICA SP8 STED | Digital Imaging Facility, ACTREC | LEICA Microsystems | SP8 | 8100000786 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Confocal with STED application- inverted microscope 5 lasers- 405nm, 488nm, White light laser, Incubation set up for time lapse imaging, 2 dry objectives- 10x and 20x, 3 Oil Immersion objectives -40x, 63x, 100x, Hyd and PMT detectors, acquisiton and analysis software LAS | ACTREC | Digital Imaging Facility, ACTREC | 59141958 | https://www.leica-microsystems.com/products/confocal-microscopes/ | Functional | Research Instrument
Laser Confocal Microscope | SPINNING DISK | Digital Imaging Facility, ACTREC | 3i-INTELLIGENT IMAGING INNOVATION + DSS IMAGETECH | MICROSCOPE IX83, OLYMPUS | 70071 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Spinning Disc Confocal with- inverted microscope 5 lasers- 405nm, 488nm, 561nm, 640nm lasers , Incubation set up for time lapse imaging, 3 dry objectives- 4x, 10x and 20x, 3 Oil Immersion objectives -40x, 60x, 100x, 2 EMCCD camera, acquisiton and analysis software Slidebook | ACTREC | Digital Imaging Facility, ACTREC | 28500014 | https://www.intelligent-imaging.com/spinning-disk-confocal | Functional | Research Instrument
Laser Confocal Microscope | NIKON LCM | Digital Imaging Facility, ACTREC | NIKON INSTRUMENTS INC. | ECLIPSE T2 | 550429 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Confocal with inverted microscope 4 lasers- 405nm, 488nm, 561nm, 633nm, Incubation set up for time lapse imaging, 2 dry objectives- 10x and 20x, 3 Oil Immersion objectives -40x, 60x, 100x, PMT detectors, acquisiton and analysis software NIS Elements AR | ACTREC | Digital Imaging Facility, ACTREC | 14800000 | https://www.microscope.healthcare.nikon.com/products/confocal-microscopes/ax | Functional | Research Instrument
Upright Microscope | ZEISS UPRIGHT MICROSCOPE | Digital Imaging Facility, ACTREC | CARL ZEISS | AXIOIMAGER Z.1 |  | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Widefield upright microscope with 4 dry objectives- 5x, 10x, 20x,40x and 3 oil objectives 40x, 63x, 100x, halogen and HBO lamo as source of illumination, colour camera, acquisiton and analysis software ZEN Blue | ACTREC | Digital Imaging Facility, ACTREC |  | https://www.micro-shop.zeiss.com/en/us/system/Upright+microscopes/1004/ | Functional | Research Instrument
Upright Microscope | ZEISS UPRIGHT MICROSCOPE | Digital Imaging Facility, ACTREC | OLYMPUS, DSS IMAGETECH | BX63 |  | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Widefield upright microscope with 4 dry objectives- 5x, 10x, 20x,40x and 3 oil objectives 40x, 60x, 100x, halogen and HBO lamp as source of illumination, 1 colour + 1 monochrome camera | ACTREC | Digital Imaging Facility, ACTREC |  | https://www.dssimage.com/bx63.html | Functional | Research Instrument
Inverted Microscope | NIKON INVERTED MICROSCOPE | Digital Imaging Facility, ACTREC | LAB INDIA INSTRUMENTS | ECLIPSE Ti | X8839 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Widefield inverted microscope with 4 dry objectives- 4x, 10x, 20x,40x and 2 oil objectives 60x, 100x, halogen and LED as source of illumination, 2 monochrome camera | ACTREC | Digital Imaging Facility, ACTREC | 12494527 | https://www.labindiainstruments.com/eclipse-ti2-series.html | Functional | Research Instrument
Live Cell Imaging System | INCUCYTE | Digital Imaging Facility, ACTREC | SARTORIUS | S3 | IC51702 | Government | Department of Atomic Energy | NEW AREAS IN BASIC CANCER RESEARCH | Multi User live cell imaging and Analysis system with microsocpe inside the incubator , two colour (R+G) imaging option with 4x, 10x 20x objectives only, with auto focus option, all types of plates - 35mm, 60mm and multiwell plates can be imaged for long hours , 1 monochrome camera, software for analysis | ACTREC | Digital Imaging Facility, ACTREC | 8734250 | https://www.sartorius.com/en/products/live-cell-imaging-analysis | Functional | Research Instrument