## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Multi function sensor development tool XDK kit | XDK kit | NITK Surathkal Mechanical Department Automation Lab 1 | Robert Bosch GmbH | 262-XDK110 | 90318000DE | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110016 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Programmable sensor device and IoT prototyping platform with an open SDK for any use case | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | SM Electronic Technologies Pvt. Ltd
Table top programmable 4 axes CNC turning and milling machine | The portable CNC | NITK Surathkal Mechanical Department Automation Lab 1 | The cool tool GmbH |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110017 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | This is a modular CNC which can be used to build a CNC turning, milling and 4 axix CNC milling center on a table top for understanding of CNC concepts | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | The Precision Engg. Co.
Sensorics Module | Sensorics | NITK Surathkal Mechanical Department Automation Lab 2 | Pepperl & Fuchs (India) Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110018 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | All in one sensor kit, Position measurement and vision system kit , Optical code rail measurement system kit, Position measurement and vision system kit: Position coded vision sensor, Position guided vision system, Light grid measurement unit, Actuator Sensor interface, Siemens PLC | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Pepperl & Fuchs (India) Pvt. Ltd
AGV based FMS Module | AGV - FMS | NITK Surathkal Mechanical Department Automation Lab 1 | MTAB Engineers (P) Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | For existing CNC turning and milling machine Automatic door, Pneumatic chuck, 2 axes loading and unloading arm for lathe and 3 axes loading and unloading arm for mill, work bench, Automated storage and retrieval systems (ASRS), Automated Guided vehicle (AGV) Intermediate transfer stations, Transfer conveyor, | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | MTAB Engineers (P) Ltd
2KVA & 3KVA Single phase input output servo stabilizer | Servo Stabilizer | NITK Surathkal Mechanical Department Automation Lab 1 | Techser Power Solutions Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Techser Power Solutions Pvt. Ltd
Hydraulic Control Module Assembly kit | Hydraulcs system | NITK Surathkal Mechanical Department Automation Lab 2 | Bosch Rexroth (India) Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | The modular kit for training hydraulic circuits and electro hydraulic circuits | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Bosch Rexroth (India) Pvt. Ltd
Pneumatic Control Module Assembly kit | Pneumatic system | NITK Surathkal Mechanical Department Automation Lab 2 | Bosch Rexroth (India) Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | The modular kit for training pneumatic circuits and electro pneumatic circuits | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Bosch Rexroth (India) Pvt. Ltd
Conveyor Belt Kit | Conveyor Belt | NITK Surathkal Mechanical Department Automation Lab 1 |  |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | The Precision Engg. Co.
Factory I/O software | Factory I/O | NITK Surathkal Mechanical Department Automation Lab 1 |  |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Factory I/O is a 3D factory simulation for learning automation technologies. Designed to be easy to use, it allows to quickly build a virtual factory using a selection of common industrial parts. Factory I/O also includes many scenes inspired by typical industrial applications, ranging from beginner to advanced difficulty levels. | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | MTAB Engineers (P) Ltd
Robotic Arm | Robotic Arm | NITK Surathkal Mechanical Department Automation Lab 1 |  |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Robotic Arm (4 axis)(01 Nos) pay load 500 g with 3D printer kit, laser and pen holder | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | The Precision Engg. Co.
Desktop Computer | Computer | NITK Surathkal Mechanical Department Automation Lab 1 | Dell India Ltd. |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | CITO Infotech Pvt Ltd
Component Inspection Platform | CIP | NITK Surathkal Mechanical Department Automation Lab 1 | MTAB Engineers (P) Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Sree Vaari Technology
Vision based Quality Inspection Camera | VQIC | NITK Surathkal Mechanical Department Automation Lab 1 | MTAB Engineers (P) Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Sree Vaari Technology
Inspection Interface Unit | IIU | NITK Surathkal Mechanical Department Automation Lab 1 | MTAB Engineers (P) Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Sree Vaari Technology
Servo Stabilizer | Servo Stabilizer | NITK Surathkal Mechanical Department Automation Lab 1 | Techser Power Solutions Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | 12KVA 3 Phase in and output servo controlled voltage stabilizer with Isolation Transformer | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Techser Power Solutions Pvt. Ltd
Robot mobile training cell | Robot mobile training cell | NITK Surathkal Mechanical Department Automation Lab 1 | Kuka India Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Robot mobile training cell- Full module from Kuka robot, articulated, 6 axis, 700mm reach and 6 kg pay load | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Paramount Weldtrode Pvt. Ltd
Standard Robotic cell | Standard Robotic cell | NITK Surathkal Mechanical Department Automation Lab 1 | Kuka India Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Standard Robotic cell intergrated with complete MIG welding unit from Kuka robot, articulated, 6 axis, 120mm reach and 10 kg pay load. | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Paramount Weldtrode Pvt. Ltd
Fluidic muscle | Fluidic muscle | NITK Surathkal Mechanical Department Automation Lab 1 | Festo India Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Fluidic muscle with fittings from Festo India, DMSP-10-200N | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Festo India Pvt. Ltd
Stepper Motor and Accessories | Stepper Motor and Accessories | NITK Surathkal Mechanical Department Automation Lab 1 | Vyapti Tecnica Solutions LLP |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Vyapti Tecnica Solutions LLP
XYZ stage assembly | XYZ stage assembly | NITK Surathkal Mechanical Department Automation Lab 1 | Vyapti Tecnica Solutions LLP |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory |  | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Vyapti Tecnica Solutions LLP
Dispensing actuator | Dispensing actuator | NITK Surathkal Mechanical Department Automation Lab 1 | Vyapti Tecnica Solutions LLP |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Dispensing actuator with heating elements and cooling system for thermal actuator | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Vyapti Tecnica Solutions LLP
Digital pressure switch | Digital pressure switch | NITK Surathkal Mechanical Department Automation Lab 1 | Metal work Pneumatic India Pvt Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Digital pressure switch with 4mm female connector and 1/4" x 6 mm straight connector (2Nos). M12 X1 Pre-Wired 8 pin 90 degree connector and cable 5m length | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Metal work Pneumatic India Pvt Ltd
Proportional precision pressure regulator | Proportional precision pressure regulator | NITK Surathkal Mechanical Department Automation Lab 1 | Metal work Pneumatic India Pvt Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Proportional precision pressure regulator Series "REGTRONIC" 1/4" | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Metal work Pneumatic India Pvt Ltd
Linear Mechanism with drives | Linear Mechanism with drives | NITK Surathkal Mechanical Department Automation Lab 1 | Vyapti Tecnica Solutions LLP |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Linear Mechanism with drives | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Vyapti Tecnica Solutions LLP
Human Machine Interface | Human Machine Interface | NITK Surathkal Mechanical Department Automation Lab 1 | Vyapti Tecnica Solutions LLP |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Human Machine Interface | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Vyapti Tecnica Solutions LLP
ModBus Data Logger | ModBus Data Logger | NITK Surathkal Mechanical Department Automation Lab 1 | Libratherm Instruments Pvt Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | ModBus Data Logger with Software and Wifi Transmission | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Libratherm Instruments Pvt Ltd
Automation Studio software | Automation Studio software | NITK Surathkal Mechanical Department Automation Lab 1 | Famic Technologies Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Automation Studio software and Automation Studio I/O Interface Box | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | IndiaSoft Technologies (P) Ltd
Thermal Imager | Thermal Imager | NITK Surathkal Mechanical Department Automation Lab 2 | Testo India Pvt Ltd | Testo 868 |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Testo thermal image camera | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Testo India Pvt Ltd
Laser Distance sensor | Laser Sensor | NITK Surathkal Mechanical Department Automation Lab 2 | Micro-Epsilon India Private Ltd | ILD1420-10(900) |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Laser optical displacement sensor with measuring range 10 mm | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Micro-Epsilon India Private Ltd
Electropneumatic pressure regulator | Electropneumatic pressure regulator | NITK Surathkal Mechanical Department Automation Lab 1 | SMC Corporation (India) Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Electropneumatic pressure regulator (EPR), Accessories, Air Preparation and Distribution | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | SMC Corporation (India) Pvt. Ltd
Ethernet KRL 2.2 | Ethernet KRL 2.2 | NITK Surathkal Mechanical Department Automation Lab 1 | Kuka India Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | KUKA Ethernet KRL 2.2 | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Paramount Weldtrode Pvt. Ltd
EMG sensor kit | EMG sensor kit | NITK Surathkal Mechanical Department Automation Lab 2 | SKRIP Electronics |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | EMG & ECG Amplifier with required accessories | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | SKRIP Electronics
Automation Studio Input/output Interface Box | I/O Box | NITK Surathkal Mechanical Department Automation Lab 1 | IndiaSoft Technologies (P) Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Automation Studio Input/output Interface Box | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | IndiaSoft Technologies (P) Ltd
Robot Sensor Interface 3.3 | Robot Sensor Interface 3.3 | NITK Surathkal Mechanical Department Automation Lab 1 | Kuka India Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Robot Sensor Interface 3.3 | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Paramount Weldtrode Pvt. Ltd
IoT Controller Kit with Software | IoT Controller Kit | NITK Surathkal Mechanical Department Automation Lab 2 | HYDAC (India) Pvt. Ltd. |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | IoT Controller Kit | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | HYDAC (India) Pvt. Ltd.
IoT Sensors, Pressure, flow, temperature and Aqua sensors with manifold and couplings | IoT Sensors | NITK Surathkal Mechanical Department Automation Lab 2 | HYDAC (India) Pvt. Ltd. |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | IoT Sensors, Pressure, flow, temperature and Aqua sensors with manifold and couplings | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | HYDAC (India) Pvt. Ltd.
NI DAQ for analog input, output, bridge and chassis | NI DAQ | NITK Surathkal Mechanical Department Automation Lab 2 | National Instruments Inc. |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | NI DAQ for analog input, output, bridge and chassis | Mechanical Department | Automation Lab 1 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | VVDN Technologies Pvt. Ltd.
Fused deposition modeling setup for Robotic 3D printing | FDM for robot | NITK Surathkal Mechanical Department Automation Lab 2 | Advance Mechanical Services Pvt. Ltd |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Fused deposition modeling setup for Robotic 3D printing | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Advance Mechanical Services Pvt. Ltd
Delta controller - with IO capabilities, communication port: built in RS232 and RS485, compatible with MODBUS and ASCII/RTU communication protocal, Digital IO's | Delta controller | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Delta controller - with IO capabilities, communication port: built in RS232 and RS485, compatible with MODBUS and ASCII/RTU communication protocal, Digital IO's | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk
0.5 Sqmm Flexible cable and accessories for IO connection | Cable | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | 0.5 Sqmm Flexible cable and accessories for IO connection | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk
PLC- SV2 Series onboard I/O's 16DI/12DQ and one DI/DQ Extension module | Delta controller | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | PLC- SV2 Series onboard I/O's 16DI/12DQ and one DI/DQ Extension module | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk
DVP28SV11T2 and DVP16SP11R supply voltage 24V DC and MPU points | Delta controller | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | DVP28SV11T2 and DVP16SP11R supply voltage 24V DC and MPU points | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk
Programmable logic controller with digital inputs and outputs | Delta controller | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Programmable logic controller with digital inputs and outputs | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk
Delta controller -built in RS232 and RS485, compatible with MODBUS and ASCII/RTU | Delta controller | NITK Surathkal Mechanical Department Automation Lab 2 | Delta Inc |  |  | DST-FIST under level 1 category | Department of Science and Technology Ministry of Science and Technology, Govt of India Technology Bhavan, New Mehrauli Road New Delhi - 110019 | Sensors, Actuators and Controllers for an Industrial Automation Laboratory | Delta controller -built in RS232 and RS485, compatible with MODBUS and ASCII/RTU | Mechanical Department | Automation Lab 2 |  |  | up | UD / PG Laboratory ( For Coursework and Projects) |  |  |  | Harvesters Desk