## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Supplier Email Id | Alert to be sent ( Email id )
Conventional Lathe Machine | CLM | CIPET, Korba | JK Machine Tools | JK-LM-500X300 | 8458 8459 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A conventional lathe machine's primary function is to remove material from a rotating workpiece to create a desired shape or surface finish. | Tool Room | Lab | 457627.12 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 457627.12 |  |  | MS JK Machine Tools,Rajkot Gujurat | jkmachinetools.net@gmail.com | MS JK Machine Tools,Rajkot Gujurat | jkmachinetools.net@gmail.com | korba@cipet.gov.in
CNC Lathe | CNCL | CIPET, Korba | M/s BFW LIMITED,Banglore | NEO2050 | BTC/2310 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A CNC lathe machine, or computer numerical control lathe, is a machine that shapes materials like metal and wood by rotating them around a stationary cutting tool. | Tool Room | Lab | 2771186.44 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 2771186.44 |  |  | M/s BFW LIMITED,Banglore | bfwmarketing@bfw.co.in | M/s BFW LIMITED,Banglore | bfwmarketing@bfw.co.in | korba@cipet.gov.in
CNC Milling Machine (5-AXIS) | CNCM | CIPET, Korba | M/s. Phillips Machine Tools India Private Limited,Mumbai | PEM220 | P7VM12327 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A CNC (computer numerical control) milling machine uses computer code to cut away at a block of material to create a final product | Tool Room | Lab | 1270995 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 1270995 |  |  | M/s Phillips Machine Tools India Private Limited, Mumbai | parts.india@phillipscorp.com | M/s Phillips Machine Tools India Private Limited, Mumbai | parts.india@phillipscorp.com | korba@cipet.gov.in
Laser Engraving Machine (30W) | LASERENG | CIPET, Korba | MS SHREE KRISHNA COMMERCIAL,JAMSEDPUR | EL30W | 84561100 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A CO2 laser cutting machine, also known as a carbon-dioxide laser, uses a focused laser beam to cut, engrave, and etch materials | Tool Room | Lab | 249550 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 249550 |  |  | MS SHREE KRISHNA COMMERCIAL,JAMSEDPUR | shreekrishnacommercial@gmail.com | MS SHREE KRISHNA COMMERCIAL,JAMSEDPUR | shreekrishnacommercial@gmail.com | korba@cipet.gov.in
EDM Machine | EDM | CIPET, Korba | MS JK MACHINES,NEWDELHI | ZNC40 | 240715101 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | EDM machine used for creating complex shapes, intricate geometries, and high-precision parts. | Tool Room | Lab | 1043000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 1043000 |  |  | MS JK MACHINES,NEWDELHI | jkmachines@hotmail.com | MS JK MACHINES,NEWDELHI | jkmachines@hotmail.com | korba@cipet.gov.in
Pillar Type Drilling Machine | PDM | CIPET, Korba | Ms Laxmi Industries Ludhiana | LI-PD-20 | 8459 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A Pillar type drilling machine's primary function is to drill holes in workpieces. | Tool Room | Lab | 185572.88 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 185572.88 |  |  | Ms Laxmi Industries Ludhiana | lak124@rediffmail.com | Ms Laxmi Industries Ludhiana | lak124@rediffmail.com | korba@cipet.gov.in
Pedestal Grinding Machine | PGM | CIPET, Korba | M/S.Krishna machine tools,secunderabad | PG-250 | 8460 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A pedestal Grinder is a specialized machine used in manufacturing to sharpen and recondition cutting tools like drills, end mills, and milling cutters. | Tool Room | Lab | 144000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 144000 |  |  | M/s Krishna Machine Tools, Secunderabad | krishna.machines@gmail.com | M/s Krishna Machine Tools, Secunderabad | krishna.machines@gmail.com | korba@cipet.gov.in
Power Hacksaw Machine | PHM | CIPET, Korba | Ms Machine Tools Traders,Chennai | Champion H-10 | 8461 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A power hcksaw machine's function is to cut the solid and hollow steel material as per the desired length. | Tool Room | Lab | 180000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 180000 |  |  | M/s Machine Tools Traders, Chennai | info@mtt1970.com | M/s Machine Tools Traders, Chennai | info@mtt1970.com | korba@cipet.gov.in
3D Printer Machine | 3DP | CIPET, Korba | Ms Tiot Systems Private Limited,Bhilai | Techb P30+ | 8543 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A 3D printing machine's function is to creating physical objects from digital designs | Tool Room | Lab | 168644 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Fabrication Equipment | 168644 |  |  | Ms Tiot Systems Private Limited,Bhilai | tiotsystems@gmail.com | Ms Tiot Systems Private Limited,Bhilai | tiotsystems@gmail.com | korba@cipet.gov.in
Microprocessor Controlled Automatic Injection Moulding Machine-100 Ton | MCAIMM | CIPET, Korba | S&T Engineering Pvt. Ltd. | STM D100/i380 | 0646 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 1884000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11724000 |  |  | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | korba@cipet.gov.in
Microprocessor Controlled Automatic Injection Moulding Machine-100 Ton | MCAIMM | CIPET, Korba | S&T Engineering Pvt. Ltd. | STM D100/i380 | 0647 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 1884000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11724000 |  |  | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | korba@cipet.gov.in
Microprocessor Controlled Automatic Injection Moulding Machine-100 Ton | MCAIMM | CIPET, Korba | S&T Engineering Pvt. Ltd. | STM D100/i380 | 0648 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 1884000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11724000 |  |  | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | korba@cipet.gov.in
Microprocessor Controlled Automatic Injection Moulding Machine-100 Ton | MCAIMM | CIPET, Korba | S&T Engineering Pvt. Ltd. | STM D100/i380 | 0649 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 1884000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11724000 |  |  | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | korba@cipet.gov.in
Microprocessor Controlled Automatic Injection Moulding Machine-100 Ton | MCAIMM | CIPET, Korba | S&T Engineering Pvt. Ltd. | STM D100/i380 | 0650 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 1884000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11724000 |  |  | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | M/s S & T Engineering (P) Ltd., Coimbatore | tenders@stengineers.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 1 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 10700 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 1 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 10700 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 1 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 10700 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 1.5 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 15300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 15300 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 1.5 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 15300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 15300 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 2 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 16900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 16900 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | 2 Oz. |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 16900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 16900 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Blow Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | Standard |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 11500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11500 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Blow Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | Standard |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 11500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11500 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hand Blow Moulding Machine | HIMM | CIPET, Korba | Kumar Engineering Works | Big |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 19400 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 11500 |  |  | M/s. Kumar Engineering Works, Kolkata | - | M/s. Kumar Engineering Works, Kolkata | - | korba@cipet.gov.in
Hot Air Oven | HAR | CIPET, Korba | Macro Scientific Works Pvt. Ltd. | #OUD-224 | 0919-114 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hot air oven is used to remove moiture from plastics raw materials | Processing | Lab | 90000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 90000 |  |  | M/s. K.K. Impex, Raipur | k.k.impex@outlook.in | M/s. K.K. Impex, Raipur | k.k.impex@outlook.in | korba@cipet.gov.in
Scrap Grinder | SG | CIPET, Korba | Auxilink Projects & Machinery Pvt. Ltd | SG-100F |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Scrap Grinder is used to crush defective plastics prodsuct for reuse. | Processing | Lab | 195762 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 195762 |  |  | M/s. Auxilink Projects & Machinery Pvt. Ltd | santosh.tiwari@auxilinkgroup.com | M/s. Auxilink Projects & Machinery Pvt. Ltd | santosh.tiwari@auxilinkgroup.com | korba@cipet.gov.in
Scrap Grinder | SG | CIPET, Korba | Priyanka Polypack | GND 18 | 01/2024 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Scrap Grinder is used to crush defective plastics prodsuct for reuse. | Processing | Lab | 388000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 388000 |  |  | M/s Vardhman Machinery, Ahmedabad | vardhmaanmachine@gmail.com | M/s Vardhman Machinery, Ahmedabad | vardhmaanmachine@gmail.com | korba@cipet.gov.in
Air Compressor | AC | CIPET, Korba | Indo-Air Compressors Pvt. Ltd | IA 45TZ | 20200924779 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Air Comressor is uded to develop comressed air. | Processing | Lab | 338644 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 338644 |  |  | M/s. K.K. Impex, Raipur | k.k.impex@outlook.in | M/s. K.K. Impex, Raipur | k.k.impex@outlook.in | korba@cipet.gov.in
Air Compressor | AC | CIPET, Korba | Indo-Air Compressors Pvt. Ltd | IA 45TZ | 20220329599 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Air Comressor is uded to develop comressed air. | Processing | Lab | 333180 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 333180 |  |  | M/s. Indo-Air Compressors Pvt. Ltd, Ahmedabad | info.indoair.com | M/s. Indo-Air Compressors Pvt. Ltd, Ahmedabad | info.indoair.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET, Korba | Pratibha Cooling Tower | 50 TR |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Cooling Tower is used water cooling system | Processing | Lab | 63559.32 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 63559.32 |  |  | M/s. Palk Enterprises, Rewari | ent.palak@gmail.com | M/s. Palk Enterprises, Rewari | ent.palak@gmail.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET, Korba | Pratibha Cooling Tower | 50 TR |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Cooling Tower is used water cooling system | Processing | Lab | 63559.32 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 63559.32 |  |  | M/s. Palk Enterprises, Rewari | ent.palak@gmail.com | M/s. Palk Enterprises, Rewari | ent.palak@gmail.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET, Korba | Nilkanth Cooling Tower | NCT 200-05 |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Cooling Tower is used water cooling system | Processing | Lab | 14500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 14500 |  |  | M/s. Nilkanth Cooling Tower | nilkanthcoolingtower@yahoo.com | M/s. Nilkanth Cooling Tower | nilkanthcoolingtower@yahoo.com | korba@cipet.gov.in
Agglomerator | AG | CIPET, Korba | Twist Engineering Works | AG-150 | 2024 01-45 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Agglomerators are used to convert plastic waste, such as films, fibers, or flakes, into larger, denser pellets or agglomerates. | Processing | Lab | 423000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 423000 |  |  | M/s Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | M/s Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | korba@cipet.gov.in
Hot Plate Welding Machine | HPWM | CIPET, Korba | SCS Equipments | SE-160 |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Hot Plate Welding Machine is used joining plastic pipes for gas and water distribution. | Processing | Lab | 333000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 333000 |  |  | M/s Park Industries Ahmedabad | parkindustries9@gmail.com | M/s Park Industries Ahmedabad | parkindustries9@gmail.com | korba@cipet.gov.in
High Speed Mixer | HSP | CIPET, Korba | Ravindra Plastic Machinery Works | RP-10 |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | High-speed plastic mixer is commonly used in plastic processing and manufacturing operations to prepare materials for subsequent processes like extrusion, injection molding, and more. | Processing | Lab | 393200 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 393200 |  |  | M/s. Kapal Industries, Ludhiana | kapalindustries@gmail.com | M/s. Kapal Industries, Ludhiana | kapalindustries@gmail.com | korba@cipet.gov.in
Scissor Lift | SL | CIPET, Korba |  | 3 Feet Height K-SL |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | scissor lifts are used for various applications, including loading/unloading materials, positioning work for assembly, and transferring materials at machine height, enhancing safety and productivity. | Processing | Lab | 84725.42 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 84725.42 |  |  | M/s. Sanvik Ind., Hariyana | sanvikindustry@gmail.com | M/s. Sanvik Ind., Hariyana | sanvikindustry@gmail.com | korba@cipet.gov.in
Scissor Lift | SL | CIPET, Korba |  | 3 Feet Height K-SL |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | scissor lifts are used for various applications, including loading/unloading materials, positioning work for assembly, and transferring materials at machine height, enhancing safety and productivity. | Processing | Lab | 84725.42 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 84725.42 |  |  | M/s. Sanvik Ind., Hariyana | sanvikindustry@gmail.com | M/s. Sanvik Ind., Hariyana | sanvikindustry@gmail.com | korba@cipet.gov.in
Ultrasonic Plastics Welding Machine | UPWM | CIPET, Korba | Johnson Plastosonic Pvt, Ltd. | UPWM-2020 |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Ultrasonic plastic welding machines join thermoplastic parts using high-frequency vibrations to create friction and heat, melting the plastic at the interface and forming a strong, durable bond, without adhesives or fasteners | Processing | Lab | 384000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 384000 |  |  | M/s. Shri Krishna Commercial | shrikrishnacommercial@gmail.com | M/s. Shri Krishna Commercial | shrikrishnacommercial@gmail.com | korba@cipet.gov.in
Gantry Crane |  | CIPET, Korba | A.K. Industries | 3 Ton |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Gantry cranes are used for efficient and safe material handling, particularly for lifting and moving raw materials, finished products, and machinery, optimizing floor space and boosting productivity | Processing | Lab | 362585 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 362585 |  |  | M/s. AK Industries | akindustries@yahoo.com | M/s. AK Industries | akindustries@yahoo.com | korba@cipet.gov.in
Semi Automatic Vertical Injection Moulding Machine | SAVIMM | CIPET, Korba | Delta Machine -Craft | 60-VH |  | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 173850 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 173850 |  |  | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Semi Automatic Horizontal Injection Moulding Machine | SAVIMM | CIPET, Korba | Delta Machine -Craft | PJ-25 | 091017 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 319600 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 319600 |  |  | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Recycling Extruder With Pelletizer | REP | CIPET, Korba | Delta Machine -Craft | PGP-65 | 211216 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | A plastic recycling extruder's primary function is to melt plastic waste and force it through a die to create new plastic products | Processing | Lab | 713900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 713900 |  |  | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | M/s. Delta Machine-Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Dry Mixure | DM | CIPET, Korba | Resonance Automation and Machines | RESOTECH-DMT125 | 2010101DL10093 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba C.G. | Dry Mixturer nvolves blending dry plastic pellets or powders with additives like colorants, stabilizers, or fillers before processing, ensuring consistent quality and efficient production. | Processing | Lab | 211865 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterisation/Analytical/Testing Equipment | 211865 |  |  | M/s. Resonance Automation and Machines | umardin.ramachines@gmail.com | M/s. Resonance Automation and Machines | umardin.ramachines@gmail.com | korba@cipet.gov.in
Muffle Furnance(Upto 1000 °C) | MF | Korba, C.G. | Arcade | ARC-545MF | 1292021 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | Used for high-temperature analysis, particularly for determining ash content, studying thermal degradation, and analyzing the stability of plastic materials under extreme heat. | Testing | Lab | 98489.8305 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 98489.8305 |  |  | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
HDT/VST Apparatus | HDT-VST | Korba, C.G. | Shanta | Nil | SE/034/2021 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | Used to determine the temperature at which a plastic sample begins to deform under a specified load (HDT) or softens under a standard indenter penetration (VST) | Testing | Lab | 350000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 350000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Deep Freezer | DF | Korba, C.G. | Arcade | ARC-2220-HDF | 112-20 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | deep freezers, especially ultra-low temperature (ULT) models, are crucial for preserving samples, conditioning materials for testing, and ensuring accurate results by maintaining stable, low temperatures | Testing | Lab | 138989.8305 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 138989.8305 |  |  | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Impact Tester-Falling Weight Impact Tester for Pipe with all Strikers | IT | Korba, C.G. | DSH | Nil | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used to determine impact resistance, ensuring product durability and compliance with industry standards | Testing | Lab | 95000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 95000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Carbon Black Content Apparatus | CBC | Korba, C.G. | KAISER | KCBC-1 | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | determines the percentage of carbon black, a crucial pigment and UV stabilizer, within a plastic material, ensuring quality and consistency, especially in applications like pipes, films, and sheets. | Testing | Lab | 75000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 75000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Hight Temperature Water Bath(Upto 100 °C) | HTWB | Korba, C.G. | KAISER | Nil | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | Hight Temperature Water Bath is used for Heating the Water | Testing | Lab | 142000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 142000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Hot Air Oven(300°C) | HAO | Korba, C.G. | Nil | EPI/HAO/024 | 4998 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | hot air oven is used for various applications, including drying samples, assessing shrinkage and reversion, determining moisture content, and testing material resistance under controlled temperature conditions | Testing | Lab | 72000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 72000 |  |  | M/s Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | M/s Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Falling Weight Dart Impact Tester for Film | FWDITF | Korba, C.G. | STECH | Nil | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used to evaluate the impact resistance of films and other materials by measuring the energy required for a free-falling dart to rupture a clamped sample | Testing | Lab | 90000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 90000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
End Fittings for Pressure Test of Pipe for UPVC,HDPE and CPVC | EFPT | Korba, C.G. | SAUMYA | Nil | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | Used for end fitting of pipe for pressure test. | Testing | Lab | 430000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 430000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Weighing Balance(Precision Electronic Balance) | WB | Korba, C.G. | SCALETEC | SAB-223CL | F2220122-147 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | It is help to perform density test, CBC test, Ash Content test etc. | Testing | Lab | 91500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 91500 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Viscocity Thermostatic Bath | VTB | Korba, C.G. | HAMCO | HAMC048HI | 220350 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used for precise control of temperature during viscosity measurements | Testing | Lab | 108000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 108000 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s, Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Projector & Hot Plate for Carbon Black Dispersion(cbd)for HDPE Pipes Testing | CBD | Korba, C.G. | ELMECH | EPI/HP/018/H&EPI/PM/019/P | 4363 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | assesses the uniform distribution of carbon black, a crucial UV stabilizer, to ensure the pipe's longevity and prevent degradation | Testing | Lab | 50400 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 50400 |  |  | M/s Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | M/s, Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Opacity Tester | OT | Korba, C.G. | ELMECH | EPI/OT/016 | 4361 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used to determine optical characteristic of plastics including colour, clarity, general appearance & move directly measurable properties | Testing | Lab | 78389.8305 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 78389.8305 |  |  | M/s Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | M/s Elmech Pneumatic Industries Pvt. Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Melting Point Apparatus(Hot Stages) | MPA | Korba, C.G. | WISWO | MPA 200 | 4938-0622 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used to determine the melting point of a plastic sample | Testing | Lab | 84739.8305 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 84739.8305 |  |  | M/s Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | M/s, Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com, crm1@khushbooscientific.com | korba@cipet.gov.in
Compression Moulding Press for Specimen Preparation for Thermoplastics(30T) | CMP | Korba, C.G. | SAUMYA | HYPR-30T | STPL/05-24/158 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used for specimen preparation by forcing a preheated polymer into a heated mold cavity, ensuring the material conforms to the mold shape under pressure and heat, | Testing | Lab | 422881.3559 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 422881.3559 |  |  | M/s Saumya Technocrates Private Limited, Ahemdabad | sales@saumyainternational.com | M/s Saumya Technocrates Private Limited, Ahemdabad | sales@saumyainternational.com | korba@cipet.gov.in
Reversion Oil Bath | ROB | Korba, C.G. | Hexaplast | HP-ROB-01 | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | to determine the reversion characteristics of PVC pipes by immersing them in a heated oil bath, | Testing | Lab | 114406.7797 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 114406.7797 |  |  | M/s Hexaplast Industries Private Limited, Ahmedabad | nakulrana@yahoo.com, sales@hexaplastindia.com | M/s Hexaplast Industries Private Limited, Ahmedabad | nakulrana@yahoo.com, sales@hexaplastindia.com | korba@cipet.gov.in
Izod & Charpy Impact Tester | ICIT | Korba, C.G. | Advance Equipment | AE-AE-ICITC-270 | 182 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | etermining a material's ability to resist fracture under sudden impact | Testing | Lab | 346679.661 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 346679.661 |  |  | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Press Cutting 30 Tonnes with Dies | PC | Korba, C.G. | Park Industries | PCD-200 | Nil | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | crucial for preparing standardized samples for various tests, ensuring accurate and reliable results for properties like tensile strength, compression, and bending | Testing | Lab | 134745.7627 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 134745.7627 |  |  | M/s PARK Industries, Ahemdabad | parkindustries9@gmail.com | M/s PARK Industries, Ahemdabad | parkindustries9@gmail.com | korba@cipet.gov.in
Climatic Chamber | CC | Korba, C.G. | Dinesh Scitific | DS-CC-100 | DS/2023-24/11/1613 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used for testing the durability, reliability, and performance of various products under different environmental conditions | Testing | Lab | 112711.8644 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 112711.8644 |  |  | M/s Dinesh Scientific, Ambala Cantt | dineshvrm@gmail.com, dineshvrmoffice@gmail.com | M/s Dinesh Scientific, Ambala Cantt | dineshvrm@gmail.com, dineshvrmoffice@gmail.com | korba@cipet.gov.in
Co-efficient of Friction | CF | Korba, C.G. | Advance Equipment | AE-CT-TS-P-422 | 161 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | The coefficient of friction testing gives you measurable insights into how plastics, films, and packaging materials interact with various surfaces. | Testing | Lab | 156300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 156300 |  |  | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | M/s San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Contour Cutter with Templates | CT | Korba, C.G. | SCS Equipment | SE-CCT | 009/24 | Sate Govt of Chhattisgarh | DMFT, Korba, C.G. | Establishment of CIPET Centre at Korba C.G. | used for preparing test specimens, particularly for materials IS (Type A,B,&C) | Testing | Lab | 207000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Machine | 207000 |  |  | M/s Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | M/s Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | korba@cipet.gov.in