## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Color Spectrophotometer | Color Spectrophotometer | CIPET IPT Jaipur | Khushboo | LBS826 | C01123A0014 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | To measure colour, whiteness index | CIPET IPT Jaipur |  | 1528637 |  | working | Analytical measurement |  |  |  | Khusboo Scientific | purchase@khusbooscientific.com | Khusboo Scientific | purchase@khusbooscientific.com | cipetiptjaipur@cipet.gov.in
Microprocessor Controlled Injection Molding Machine (150 ton) | Microprocessor Controlled Injection Molding Machine | CIPET IPT Jaipur | NIKITA | 150 T | 27/MPI/22-23 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Manufacture plastic prtoducts by injection molding process | CIPET IPT Jaipur |  | 4089362 |  | working | Analytical measurement |  |  |  | San Engineering Company , Aurangabad | thakkardinesh2003@yahoo.com | San Engineering Company , Aurangabad | thakkardinesh2003@yahoo.com, | cipetiptjaipur@cipet.gov.in
Shaping Machine | Shaping Machine | CIPET IPT Jaipur | Krishna Machine tool | KMT-300KSM | 300KSM | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Production of the horizontal,vertical or flat surfaces,tooling | CIPET IPT Jaipur |  | 435600 |  | working | Analytical measurement |  |  |  | TOP ENGINEERS, Punjab | samroy189@gmail.com | TOP ENGINEERS, Punjab | samroy189@gmail.com | cipetiptjaipur@cipet.gov.in
Vertical Milling Machine | Vertical Milling Machine | CIPET IPT Jaipur | BFW | VM-1400 | 4-22/23/3 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | For shaping, fabrication and jobwork of metallic work pieces | CIPET IPT Jaipur |  | 1259500 |  | working | Analytical measurement |  |  |  | TOP ENGINEERS, Punjab | samroy189@gmail.com | TOP ENGINEERS, Punjab | samroy189@gmail.com | cipetiptjaipur@cipet.gov.in
Planner Machine | Planner Machine | CIPET IPT Jaipur | Lakshmi Planner Machine | LI-PL-1000 | 28/2022 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | For shaping, fabrication and jobwork of metallic work pieces | CIPET IPT Jaipur |  | 686888 |  | working | Analytical measurement |  |  |  | Lakshmi Industries (REGD.) Ludhiana, Punjab | lak124@rediffmail.com | Lakshmi Industries (REGD.) Ludhiana, Punjab | lak124@rediffmail.com | cipetiptjaipur@cipet.gov.in
Horizontal Milling Machine | Horizontal Milling Machine | CIPET IPT Jaipur | Lakshmi | LI-UMM-2 |  | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to create slots,grooves and angled cuts | CIPET IPT Jaipur |  | 1181888 |  | working | Analytical measurement |  |  |  | Lakshmi Industries (REGD.) Ludhiana, Punjab | lak124@rediffmail.com | Lakshmi Industries (REGD.) Ludhiana, Punjab | lak124@rediffmail.com | cipetiptjaipur@cipet.gov.in
Particle Size Analyzer | Particle Size Analyzer | CIPET IPT Jaipur | Anton Paar | PSA1190LD | 83889525 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Measures the size,shapeand distribution of microsize particals | CIPET IPT Jaipur |  | 3321181 |  | working | Analytical measurement |  |  |  | Anton Paar India Pvt. Ltd, Gurugram | sonu.singh@anton-paar.com | Anton Paar India Pvt. Ltd, Gurugram | sonu.singh@anton-paar.com | cipetiptjaipur@cipet.gov.in
Inverted Metallurgical Microscope, Image analysis software and spares | Inverted Metallurgical Microscope, Image analysis software and spares | CIPET IPT Jaipur | Dewinter Optical Inc | DMI ULTIMA | DEW 0904 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Study the properties and microstructure of solid materials , such as metals, alloys and ceramics | CIPET IPT Jaipur |  | 1711000 |  | working | Analytical measurement |  |  |  | Dewinter Optical Inc , New Delh | admin@dewinterindia.com | Dewinter Optical Inc , New Delh | admin@dewinterindia.com | cipetiptjaipur@cipet.gov.in
Modulated Differential Scanning Calorimeter (MDSC) Machine | Modulated Differential Scanning Calorimeter (MDSC) Machine | CIPET IPT Jaipur | Mettlertoleto | NEXTA 200 |  | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Measures the difference in heat flow between a sample and a reference material as a function of time and temperature | CIPET IPT Jaipur |  | 3522300 |  | working | Analytical measurement |  |  |  | Inkarp Instrument Pvt. Ltd., Hyderabad | pvalentine@inkarp.co.in | Inkarp Instrument Pvt. Ltd., Hyderabad | pvalentine@inkarp.co.in | cipetiptjaipur@cipet.gov.in
Planetary Ball Mill Machine | Planetary Ball Mill Machine | CIPET IPT Jaipur | INSMART SYSTEMS | MBM-07 (TWIN BOWL) | MBM/2022/07/05/75 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Pulverization of soft,hard,brittle,and fibrous materials in dry and wet mode | CIPET IPT Jaipur |  | 511239 |  | working | Analytical measurement |  |  |  | Insmart Systems , Hyderabad | info@insmartsystems.in | Insmart Systems , Hyderabad | info@insmartsystems.in | cipetiptjaipur@cipet.gov.in
HDT Tester Machine | HDT VSP Tester Machine | CIPET IPT Jaipur | COESFELD | VIC-40-197-100 | 225160 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | To measure the ability of a polymer to withstand load at high temperature | CIPET IPT Jaipur |  | 4226760 |  | working | Analytical measurement |  |  |  | Venture Instrumentation Pvt LTD | info@venturetechnologies.net | Venture Instrumentation Pvt LTD | info@venturetechnologies.net | cipetiptjaipur@cipet.gov.in
Melt Flow Rate Tester Machine | Melt Flow Rate Tester Machine | CIPET IPT Jaipur | SCHUMO-SIR | Meltflow | 236 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | To measue the flow properties of thermoplastic materials | CIPET IPT Jaipur |  | 2006000 |  | working | Analytical measurement |  |  |  | Multiflo Instruments Pvt. Ltd , Navi Mumbai | nitin.shenoy@multifloinstruments.co.in | Multiflo Instruments Pvt. Ltd , Navi Mumbai | nitin.shenoy@multifloinstruments.co.in | cipetiptjaipur@cipet.gov.in
Twin Screw Extruder for Compounding Machine | Twin Screw Extruder for Compounding Machine | CIPET IPT Jaipur | Specific engineering & Automats | ZV20 Alpha | SEA-2022-761 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | for the production of pipes ,sheets,profiles,and films | CIPET IPT Jaipur |  | 4112300 |  | working | Analytical measurement |  |  |  | Specific engineering and Automats , Vadodara | info@specificgroup.com | Specific engineering and Automats , Vadodara | info@specificgroup.com | cipetiptjaipur@cipet.gov.in
Two roll milling machine | Two roll milling machine | CIPET IPT Jaipur | NEO PLAST | TRM-155 | 99112022 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | For mixing and kneading raw rubber , synthetic rubber , thermoplastic or EVA with chemicals into even materials | CIPET IPT Jaipur |  | 948640 |  | working | Analytical measurement |  |  |  | Neoplast Engineering | snehalpatel@neoplast.com | Neoplast Engineering | snehalpatel@neoplast.com | cipetiptjaipur@cipet.gov.in
Envirnmental Test Chamber | Envirnmental Test Chamber | CIPET IPT Jaipur |  |  |  | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | used to simulate different enviromental conditions to test the performance of materials and compoments | CIPET IPT Jaipur |  | 3786620 |  | working | Analytical measurement |  |  |  | Servo Enterprises |  | Servo Enterprises |  | cipetiptjaipur@cipet.gov.in
Pendulum Impact Testing Machine | Pendulum Impact Testing Machine | CIPET IPT Jaipur | UEEC | IT30 | UEEC/2022/254 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | used to determine the impact strength or toughness of a material under impact loading by measuring the amount of energy the material is ablle to absorb | CIPET IPT Jaipur |  | 297360 |  | working | Analytical measurement |  |  |  | Universal Engineering Equipment Corp, Agra | rht_uppal@rediffmail.com | Universal Engineering Equipment Corp, Agra | rht_uppal@rediffmail.com | cipetiptjaipur@cipet.gov.in
CHNS Elemental Analyser Machine | CHNS | CIPET IPT Jaipur | EUROVECTOR SRL | EURO EA3100 | 10076010 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Determine the elemental composition of a sample | CIPET IPT Jaipur |  | 3811400 |  | working | Analytical measurement |  |  |  | Shiva Global Teknosys, Delhi | contact@shivaglobalteknosys.com | Shiva Global Teknosys, Delhi | contact@shivaglobalteknosys.com | cipetiptjaipur@cipet.gov.in
Energy Dispersive X-ray Fluorescence (EDXRF) Spectrometer System Machine | EDXRF | CIPET IPT Jaipur | ELVATECH | CEP-01 AAEC.412131.001 ELVAX PLUS | E 203 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Measures the inorganic elements based on X- ray emitted by the samples | CIPET IPT Jaipur |  | 5003200 |  | working | Analytical measurement |  |  |  | Labindia Analytical Instruments Pvt. Ltd,Chennai | service.support@labindia.com | Labindia Analytical Instruments Pvt. Ltd,Chennai | service.support@labindia.com | cipetiptjaipur@cipet.gov.in
Xenon Arc Weathrometer | Xenon Arc Weathrometer | CIPET IPT Jaipur | Q-LAB2022 | Q-SON XE-3 | 22-34103-82-X3HBSE | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | To determine weathering properties of plastics under Xenon light exposure | CIPET IPT Jaipur |  | 7727643 |  | working | Analytical measurement |  |  |  | Venture Instrumentation Pvt LTD | info@venturetechnologies.net | Venture Instrumentation Pvt LTD | info@venturetechnologies.net | cipetiptjaipur@cipet.gov.in
Digital Universal Testing Machine | UTM | CIPET IPT Jaipur | FIE | UTE 60 | 02/2023-6925 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | To test the tensile strength(pulling)and compressive strength (pushing) , flexural strength, bending , shear,hardness and torsion testing of metals | CIPET IPT Jaipur |  | 1333400 |  | working | Analytical measurement |  |  |  | FIE instruments | mrk1@fintest.com | Canan testing services | thomas@canantesting.com | cipetiptjaipur@cipet.gov.in
Pyrolysis Reactor Machnie | Pyrolysis Reactor Machnie | CIPET IPT Jaipur | Technosys system | TS_PR | SS316-20B | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Breakdown of plastic waste in the absence of oxygen at variuous temperature to produce liquid oil | CIPET IPT Jaipur |  | 2301000 |  | working | Analytical measurement |  |  |  | Technosys Systems, Jaipur | info@technosysindia.net | Technosys Systems, Jaipur | info@technosysindia.net | cipetiptjaipur@cipet.gov.in
Polymerization Reactor Machine | Polymerization Reactor Machine | CIPET IPT Jaipur | ANTON PAAR | MONOWAVE 400 | 400 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to convert chemical compounds into useful products | CIPET IPT Jaipur |  | 3481885 |  | working | Analytical measurement |  |  |  | Chetan Biotech And Digital Devices, Jaipur | narendra.tanwar@chetanbiotech.com | Chetan Biotech And Digital Devices, Jaipur | narendra.tanwar@chetanbiotech.com | cipetiptjaipur@cipet.gov.in
3D Printing Machine | 3D printer | CIPET IPT Jaipur | AUTO ABODE | AS-1500 | 1500 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | Uses computer - aided design , or CAD , to create objects layer by layer | CIPET IPT Jaipur |  | 1162150 |  | working | Analytical measurement |  |  |  | Autoabode Consumers PVT LTD, Ghaziabad | garg.shubham@me.com | Autoabode Consumers PVT LTD, Ghaziabad | garg.shubham@me.com | cipetiptjaipur@cipet.gov.in
Limiting Oxygen Index (LOI) Tester | LOI Tester | CIPET IPT Jaipur | SHREE ENTERPRISES, MAHARASHTRA | Shree-100 | 100 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to measures the minimum oxygen concentration required to burn a material in a mixture of oxygen and nitrogen | CIPET IPT Jaipur |  | 303680 |  | working | Analytical measurement |  |  |  | SHREE ENTERPRISES,Nagpur, Maharashtra | shreeenterprisengp@gmail.com | SHREE ENTERPRISES,Nagpur, Maharashtra | shreeenterprisengp@gmail.com | cipetiptjaipur@cipet.gov.in
BET Surface Area Analyzer | BET Surface Area Analyzer | CIPET IPT Jaipur | ALTAMIRA INSTRUMENTS | MICRO 100C | 115-240318006KY | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to measure specific surface areas using dynamic BET (Brunauer-Emmett-Teller) single - point method | CIPET IPT Jaipur |  | 4560000 |  | working | Analytical measurement |  |  |  | PARTECH SCIENTIFIC INSTRUMENTS | pankajkadam@partech.in | PARTECH SCIENTIFIC INSTRUMENTS | pankajkadam@partech.in | cipetiptjaipur@cipet.gov.in
Agilent 5800 ICP-OES | Agilent 5800 ICP-OES | CIPET IPT Jaipur | Aligent | ALIGENT 5800 | MY2404CQ08 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | technique in which the composition of elements in (mostly water - dissolved)samples can be determined using plasma and a spectrometer | CIPET IPT Jaipur |  | 9387606 |  | working | Analytical measurement |  |  |  | AGILENT TECHNOLOGIES INDIA PVT LTD | sweta_singh@agilent.com | AGILENT TECHNOLOGIES INDIA PVT LTD | sweta_singh@agilent.com | cipetiptjaipur@cipet.gov.in
Fourier Transform Infrared (FTIR) Spectrometer | Fourier Transform Infrared (FTIR) Spectrometer | CIPET IPT Jaipur | Brooker | Alpha II |  | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to investigates the infrared spectrum and provide information about the molecular structure of unknown substances | CIPET IPT Jaipur |  | 2440000 |  | working | Analytical measurement |  |  |  | LABINDIA ANALYTICAL INSTRUMENTS PRIVATE LIMITED,Pune, MAHARASHTRA- | phatakbp@labindia.com | LABINDIA ANALYTICAL INSTRUMENTS PRIVATE LIMITED,Pune, MAHARASHTRA- | phatakbp@labindia.com | cipetiptjaipur@cipet.gov.in
SHIMADZU GCMS QP 2020NX with PY 3030D | SHIMADZU GCMS QP 2020NX with PY 3030D | CIPET IPT Jaipur | Shimadzu | QP2020NX | 217461 | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to separate,identify and various compounds present in the sample by combining the separation capabilities of gas chromatography with the detection and the analysis power of mass spectroscopy | CIPET IPT Jaipur |  | 10478400 |  | working | Analytical measurement |  |  |  | TOSHVIN ANALYTICAL PRIVATE LIMITED,MAHARASHTRA- | mpandit@toshvin.com | TOSHVIN ANALYTICAL PRIVATE LIMITED,MAHARASHTRA- | mpandit@toshvin.com | cipetiptjaipur@cipet.gov.in
Universal Testing Machine (100 KN) with extensometer and all accessories | Universal Testing Machine (100 KN) with extensometer and all accessories | CIPET IPT Jaipur | Shimadzu | TECN30A+125 |  | Govt. of India | Under establishment of 11 new CIPET centers | Under establishment of 11 new CIPET centers | to test the tensile stress and compressive strength of materials | CIPET IPT Jaipur |  | 13499900 |  | working | Analytical measurement |  |  |  | Technosys Systems, JAIPUR, RAJASTHAN | info@technosysindia.net | Technosys Systems, JAIPUR, RAJASTHAN | info@technosysindia.net | cipetiptjaipur@cipet.gov.in