## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Thermo Gravimetric Analysis-Fourier Transform Infrared Analyzer with Chip Differential Scanning Calorimetry | TGA-FTIR and Chip DSC | Instrument Analysis Lab | TGA -LINSEIS; FTIR: JASCO | STA PT1600 | A71901080718 | IITR SMILE Grant |  |  | TGA DSC DTA Analysis of Powder & Liquid Samples | Chemical Engineering, IIT Roorkee | TGA-FTIR | EUR 120990 | https://www.linseis.com/en/products/simultaneous-thermal-analyzer-tga-dsc/sta-pt-1600/ | Working | Analytical Instrument
Gas Chromatograph-Mass Spectroscope | GC-MS | Instrument Analysis Lab | Perkin Elmer | GC- Clarus-680 MS-Clarus SQ8C | 680S13011607; 648N3020402 | MHRD |  |  | GC-MS analysis of oil & organic samples. | Chemical Engineering, IIT Roorkee | GC-MS | USD 90840 | https://www.perkinelmer.com/category/gas-chromatography-mass-spectrometry-gc-ms | Working | Analytical Instrument
Chemisorb 2720 | Chemisorb 2720 | Instrument Analysis Lab | Micromeritics | Chemisorb 2720 | 137 | FIST-DST Grant (Phase-I) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | TPR, TPD & Chemisorption of catalyst | Chemical Engineering, IIT Roorkee | TPR/TPD Analyzer | USD 25312 | https://www.micromeritics.com/product-showcase/chemisorb-2720-2750.aspx | Working | Analytical Instrument
High Performance Liquid Chromatograph | HPLC | Instrument Analysis Lab | Waters | Binary HPLC Pump: Waters 1525; Dual Absorbance Detector: Waters - 2487; Refractive Index Detector: Waters 2414; Waters 515 HPLC pump | B0425P 595M; D04487; C04214 113M; M05515213A | MHRD |  |  | HPLC analysis of water samples. | Chemical Engineering, IIT Roorkee | HPLC | USD 28692 | https://www.waters.com/waters/en_IN/1525-Binary-HPLC-Pump/nav.htm?cid=534310&locale=en_IN | Working | Analytical Instrument
Ultra Performance Liquid Chromatograph | UPLC | Instrument Analysis Lab | Waters | Acquity Plus | L12CHA939G | MHRD |  |  | UPLC analysis of water samples | Chemical Engineering, IIT Roorkee | UPLC | USD 65273 | https://www.waters.com/waters/en_US/UPLC-UHPLC-system-with-quaternary-or-binary-solvent-management-for-method-development/nav.htm?locale=en_US%27%20title=&cid=10138533&bcid=134528348 | Working | Analytical Instrument
High Pressure Reactor | - | Instrument Analysis Lab | Anton Parr | PARR 4843 | Lot No: 34190 | FIST-DST Grant (Phase-I) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | Used for high pressure reactions | Chemical Engineering, IIT Roorkee | High Pressure Reactor | USD 2300 |  | Working | Reactor
Particle Size Analyzer | - | Instrument Analysis Lab | Ankersmid | CIS-100 | - | MHRD |  |  | Micron sized particle size analyzer | Chemical Engineering, IIT Roorkee | Particle Size Analyzer | EUR 47365.20 |  | Working | Analytical Instrument
Ultra Violet Spectrophotometer | UV Spectrophotometer | Instrument Analysis Lab | Shimadzu | UV1800 | A11454602736 CD | MHRD |  |  | UV analysis of liquid samples. | Chemical Engineering, IIT Roorkee | UV Spectrophotometer | Jap. Yen 935 | https://www.coleparmer.in/i/shimadzu-uv-1800-uv-visible-scanning-spectrophotometer-115-vac/8340020 | Working | Analytical Instrument
Ultrapure (Type-I) Water System | Ultrapure Water System | Instrument Analysis Lab | Merck Millipore | Synergy/Elix Essential | - | MHRD |  |  | It is used for production of Type I ultrapure water. | Chemical Engineering, IIT Roorkee | Milli Q Water | INR 6,38,610 | https://www.merckmillipore.com/IN/en/product/Synergy-Water-Purification-System,MM_NF-C9209 | Working | Type I Ultrpure water purifier
Modular Compact Rheometer | Rheometer | Instrument Analysis Lab | Anton Parr | MCR-100 | 783804 | MHRD |  |  | Rheology analysis of fluid samples. | Chemical Engineering, IIT Roorkee | Rheometer | EUR 27695.75 | https://www.anton-paar.com/in-en/products/details/rheometer-mcr-102-302-502/ | Working | Analytical Instrument
Universal Rheometer | Universal Rheometer | Instrument Analysis Lab | Anton Parr GmbH | MCR-702 | 82533229 | IITR SMILE Grant |  |  | Advanced Rheology analysis of fluid samples. | Chemical Engineering, IIT Roorkee | Universal Rheometer | EUR 193327.50 | https://www.anton-paar.com/in-en/products/details/rheometer-mcr-702-multidrive/ | Working | Analytical Instrument
Fourier Transform Infrared Analyzer | FTIR | Instrument Analysis Lab | Bruker Optik GmbH | Tensor-II | 1459 | MHRD Plan Grant |  |  | Functional group analysis of solid & Liquid samples | Chemical Engineering, IIT Roorkee | FTIR | EUR 36250 | https://www.bruker.com/products/infrared-near-infrared-and-raman-spectroscopy/ft-ir-research-spectrometers.html | Working | Analytical Instrument
Refrigerating Centrifuge | Centrifuge | FIST Lab | Remi | CPR-24 Plus | VCEE-6458 | MHT01-71-103-801 |  |  | It is used for refrigerated centrifugation of samples. | Chemical Engineering, IIT Roorkee | Centrifuge | INR 268800 | https://www.remilabworld.com/ | Working | Centrifuge
Zeta Potential/Nano particle Size Analyser | Zeta/Particle Size Analyzer | FIST Lab | Horiba Limited | SZ-100 |  | FIST-DST Grant (Phase-II) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | For nano particle size & zeta potential measurements. | Chemical Engineering, IIT Roorkee | Zeta/Particle Size Analyzer | JPY 3265017 | https://www.horiba.com/en_en/products/detail/action/show/Product/sz-100-1356/ | Working | Analytical Instrument
Electrochemical Workstation with Frequency Response Analyzer | Electrochemical Workstation | FIST Lab | Metrohm Autolab B V | Multi Autolab M204 | MAC 90058 | FIST-DST Grant (Phase-II) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | This instrument is used for Cyclic Voltametry, EIS measurement etc. | Chemical Engineering, IIT Roorkee | Electrochemical Workstation | AUTOLAB-EUR 20268; FRA- EUR 9500 | https://www.metrohm.com/en-in/products/autolab/autolab-multichannel-line/M204 | Working | Analytical Instrument
Ion Chromatograph | IC | FIST Lab | Metrohm Limited | 882 Compact IC Plus | Anion Analyzer - 1882000012136; Cataion Analyzer- 1882000008137 | FIST-DST Grant (Phase-II) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | For Anion & Cation analysis of water samples. | Chemical Engineering, IIT Roorkee | Ion Chromatograph | CHF 59744 | https://www.metrohm.com/en-sg/products/28820020 | Working | Analytical Instrument
Surface Area & porosity Analyzer | ASAP 2020 | FIST Lab | Micromeritics Instruments Corporation | ASAP 2020 | 1410 | FIST-DST Grant (Phase-II) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | For Surface area measurements of powders. | Chemical Engineering, IIT Roorkee | Multi-point Surface Area Analyzer | USD 60066 | https://www.micromeritics.com/ | Non Working | Analytical Instrument
Energy Dispersive X-Ray Analyzer | EDXRF | FIST Lab | Applied Rigaku Technologies | NEX QC Plus | QC1168 | MHRD |  |  | For measurements of Sulfur content in liquid fuels. | Chemical Engineering, IIT Roorkee | EDXRF | USD 44931 | https://www.rigaku.com/ | Not Working | Analytical Instrument
Total Organic Carbon Analyzer | TOC Analyzer | FIST Lab | Shimadzu (Asia Pacific) Private Limited | TOC-V CPH with ASI | H51314800318AE | FIST-DST Grant (Phase-II) | Funding for Improvement of Science & Technology, Department of Science & Technology |  | TOC analysis of water samples. | Chemical Engineering, IIT Roorkee | TOC Analyzer | JPY 3240000 | https://www.shimadzu.com/ | Working | Analytical Instrument
Chemisorb 2750 | Chemisorb 2750 | Engineering of catalyst & Reaction Kinetics Research Laboratory | Micromeritics, USA | Chemisorb 2750 | 02750_T_0318 | IITR SMILE Grant |  |  | TPR, TPD & Chemisorption of catalyst | Chemical Engineering | TPD machine | USD 51,710.00 | www.micromeritics.com | working | Analytical Instrument
High pressure Reactor Autoclave (450 mL) | Autoclave Reactor | Engineering of catalyst & Reaction Kinetics Research Laboratory | Amar Equiments, Mumbai, India | 1-T-AP-PCS-HT | E-4308 | IITR SMILE Grant |  |  | Used for high pressure reactions | Chmemical Engineeing | Auotclave reactor | INR 5,52,240.00 | www.amarequip.com | working | Analytical Instrument
FTIR | FTIR spectrometer | Heterogeneous Catalysis Lab | BRUKER | TENSOR-II |  | SERB | SERB-DST |  | FTIR | Chemical Engineering | Characterization | 18 Lakh | https://www.bruker.com/products/infrared-near-infrared-and-raman-spectroscopy/ft-ir-research-spectrometers.html | working | Analytical Instrument
Micro-Raman Spectrometer | Raman Spectrometer | Dr. Taraknath Das's Lab | Renishaw | InVia Reflex | 1HV918 | IITR SMILE-2017 | SMILE-2017 |  | Visible excitation at 532 nm and 785 nm | Chemical Engineering | Characterization | (GBP)130847 | https://www.renishaw.com/ | working | Analytical Instrument