## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Spray Dryer |  | DIC SPPU | Technosearch Instruments | SPD-P-111 | SPD-P-111-16/17-17 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 1275000 | https://www.technosearchinstruments.in/spray-dryer.html | Working
Automated Flash Chromatography |  | DIC SPPU | Yamazen | AI 700X | 180513 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 320000 | https://www.yamazenc.co.jp | Working
Gas Chromatograph |  | DIC SPPU | Shimandzu Asia | GC2010plus | C12095403847SA | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 1266230 | https://www.shimadzu.com/an/gc/2010plus3.html | Working
Rotary Evaporator |  | DIC SPPU | Heidolph Instrument | HeiVap value Digital HL/HB/G3 | 200010409 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 298540 | https://heidolph-instruments.com/en/products/Rotary-Evaporators~c19#Models | Working
Ultra-Low Temperature (-80 ̊ C) |  | DIC SPPU | Panasonic | MDF-U55V | 16110266 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 574231 | https://www.phchd.com/eu/biomedical/preservation/ultra-low-freezers/VIP-ULT-freezers/mdf-u55v | Working
Dissolution apparatus |  | DIC SPPU | LabIndia | DS-8000 | DT17010726 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 299500 | https://www.labindia-analytical.com/product/analytical-products/dissolution-tester/ds-8000-basic | Working
UV-Visible Spectrophotometer |  | DIC SPPU | Shimadzu | UV-1800 | A11635581297 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 435750 | https://www.shimadzu.ch/uv-1800 | Working
Gel Documentation System |  | DIC SPPU | Aplegen | Omega Flour | TR1067A.1 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 498000 | https://www.gelcompanystore.com/collections/omega-gel-instruments/products/81-12530-00 | Working
Laminar Air flow |  | DIC SPPU | Micro Filt (India) | (VARTICAL 6X2X2) | 7661 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 194426 | http://www.microfilt.com/vertical-laminar-air-flow.html | Working
Ice Flacker |  | DIC SPPU | BR Biochem | BRF - 20 | SHS201218038 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 139931 | http://www.brbls.com/ | Working
Multimode Microplate Reader |  | DIC SPPU | Biotek | Synergy H1 | 1903134 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 1850000 | https://www.biotek.com/products/detection/ | Working
Nitrogen Evaporator Concentrator |  | DIC SPPU | Athena Technology | AT-EV-24 | NE-201901209 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Healthcare & Pharma | 338000 | https://www.athenatech.in/turbovap-evaporator.html | Working
Deep Freezer (-20 ̊ C) |  | DIC SPPU | Elanpro |  | QAECN600F2161201963 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Biotech, Agriculture & Food Tech | 225400 | https://www.elanpro.net/ | Working
Rotary Shaking Incubator |  | DIC SPPU | Lab-Hosp | LHC78A | NA | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Biotech, Agriculture & Food Tech | 298540 |  | Working
Low Volume Spectrophotometer |  | DIC SPPU | DeNovix | DS-11+ | 303429 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Biotech, Agriculture & Food Tech | 800000 | https://www.denovix.com/ds-11-fx-spectrophotometer-fluorometer/ | Working
Fine Weighing Balance |  | DIC SPPU | Sartorius | Quintix | NA | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Biotech, Agriculture & Food Tech | 359982 | https://www.sartorius.com/en/products/weighing/laboratory-balances | Working
PCR – 96 well |  | DIC SPPU | HiMedia | 96-Prima | LA9491709143421 | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Biotech, Agriculture & Food Tech | 210000 | http://www.himedialabs.com/intl/en/products/Molecular-Biology/PCR-Thermal-Cyclers/Prima-96%E2%84%A2-Thermal-Cycler-96-wells-block-LA949 | Working
Catia Academic discover software |  | DIC SPPU | Dassault Systems | V-5 | 5CB-DIC-EDU | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Electronics & Automation | 627000 | https://www.3ds.com/ | Working
Nitrogen Analyser |  | DIC SPPU | Tulin Equipment | KjelTRON | NA | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Watershed Management | 700000 | http://www.tulin.co.in/ | Working
Mirror Stereoscope |  | DIC SPPU | VRS |  | NA | Government of India | Ministry of Human Resource Development | National Initiative for Design Innovation |  | Design Innovation Centre | Watershed Management | 67260 |  | Working