## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Hot and cold rolling mill | None | MME Workshop | Newfield Engineers Pvt. Ltd., Bangalore | Newfield Engineers Pvt. Ltd., Bangalore | Not available | FIST Project | Departmental FIST project | Departmental FIST project | See the attached file. | Metallurgical and Materials Engineering | Rolling Mill | 3000 Rs per slot for cold rolling and 40000 Rs per slot for hot rolling. Minimum one slot needs to be booked. | ww.vnit.ac.in/meta | Working | Materials Processing | 6098808 Rs. | NA | None | Newfield Engineers Pvt. Ltd., Bangalore | projects@newfieldengineers.com | Dr. Rajesh Khatirkar | rajesh.khatirkar@gmail.com | rajesh.khatirkar@gmail.com
Planetary Ball Mill | Planetary Ball Mill | Mineral Processing Technology Laboratory (MME005) | LABINDIA ANALYTICAL | BM 1200 | NA | Institute Grant | NA | NA | Planetary Ball Mill is suitable for mixing and grinding soft, medium-hard, extremely hard, brittle and fibrous materials for example - grinding geological materials like Rocks, Minerals, Sand, Stem of sediments and soil, Iron Ore, Iron Oxide, all other useful ores etc., Ferrite, Brittle alloys, Graphite etc. | Metallurgical and Materials Engineering | Dr. Ravindra V. Taiwade | NA | NA | Working | Processing | NA | NA | NA | LABINDIA ANALYTICAL NAVI MUMBAI | Shrikant.B@labindia.com | Dr. Ravindra V. Taiwade | rvtaiwade@mme.vnit.ac.in | rvtaiwade@mme.vnit.ac.in
Hydro-cyclone Laboratory Test Rig | Hydro-cyclone Laboratory Test Rig | Mineral Processing Technology (MME 005) | ELOQUENT TECHNOLOGY | E-HCTR-3' | NA | Institute Grant | NA | NA | Hydro-cyclone Laboratory Test Rig is a high-throughput gravity separation device used for separating slurry particles based on particle weight. For example, particles of similar size but different specific gravity, or particles of different size but identical specific gravity. | Metallurgical and Materials Engineering | Processing | NA | NA | Working | Processing | NA | NA | NA | HBS Technologies, Nagpur | hbstechnologies2008@gmail.com | Dr. Ravindra V. Taiwade | rvtaiwade@mme.vnit.ac.in | rvtaiwade@mme.vnit.ac.in
Heat Treatment Furnace | Furnace | Heat Treatment Lab, MEC | HBS, Nagpur and Metrex, New Delhi | None | None | VNIT Nagpur | NA | NA | Furnaces upto 1000 deg C and Furnace upto 1250 deg C | Metallurgical and Materials Engineering | Furnace | Upto 1000 deg C (5000 Rs per sample) and Upto 1250 deg C (7000 Rs per sample) | www.vnit.ac.in/meta | Working | Heat treatment | 2.5 Lakhs and 3.5 Lakhs | NA |  | HBS, Nagpur and Metrex, New Delhi | hbstechnologies2008@gmail.com, metrex73@yahoo.co.in | Rajesh Khatirkar | rajesh.khatirkar@gmail.com | rajesh.khatirkar@gmail.com
Electron Beam Evaporator | E-Beam Evaporator | Thin Film Deposition Laboratory (MME Workshop) | Hydro Pneo Vac Technologies | HPVT 3EB | NA | DST-SERB-CRG R & D Project (No.CRG/2021/002648) | Tailoring the actuation characteristics of SMA/Polyimide sandwich-structured composite for its viability towards actuator development for MEMS and soft robotic systems | Tailoring the actuation characteristics of SMA/Polyimide sandwich-structured composite for its viability towards actuator development for MEMS and soft robotic systems | Electron beam evaporation paves the way to develop thin film with better uniformity and flexibility. The higher deposition rate of the system among other PVD systems extend the liberty to vary the thickness of thin films at ease. Thin films of metals and alloys can be deposited. | Metallurgical and Materials Engineering | Thin Film Deposition | Rs. 1800/- per Hour (User required to bring coating/target materials) | NA | Working | Processing | NA | NA |  | Hydro Pneo Vac Technologies, Bengaluru | info@hpvtvacuum.com | Dr. Ravindra V. Taiwade | rvtaiwade@mme.vnit.ac.in | rvtaiwade@mme.vnit.ac.in
Metco Grinding and Polishing machine | NA | MEC 104 | Chennai Metco Pvt. Ltd | Bainpol VTD | 8720 | VNIT | NA | NA | This Bainpol VTD is used in metallurgical lab for the purpose of the polishing samples to get mirror finished surface as well as for fine grinding the surface. | Metallurgical and Materials Engineering | Metallurgy and Materials Engineering, VNIT | 500 | NA | Working | Testing | 104000 | NA | NA | Chennai Metco Pvt. Ltd | www.chennaimetco.com | Dr. Y. Y. Mahajan | yymahajan@mme.vnit.ac.in | yymahajan@mme.vnit.ac.in
Mini Arc Melting System | MAM-1 | MEC 103, Materials Engineering Centre | Edmund Buhler | MAM-1 | AM 1 | DST-SERB | To develop Biocompatabile materials with a wide supercooled liquid region in Bulk Metallic Glass systems | To develop Biocompatabile materials with a wide supercooled liquid region in Bulk Metallic Glass systems | MAM-1 is used for making alloy button of upto 5 grams. Sucking facility attached to equipment can make rod upto 3 mm in diameter. | Metallurgical and Materials Engineering | Vacuum Arc Melting Furnace | 2000 for making buttons, 5000 for making rods | https://vnit.ac.in/meta/index.php/research-facilities/ | Working | Processing | 2600000 | 2800000 | None | Edmund Bhuhler | masi@techscience.co.in | Jatin Bhatt | jatin1411@yahoo.com | jatin1411@yahoo.com
Simultaneous Thermal Analyzer (ST) | STA | MEC 106 | Setaram | Labsys Evo | 1150 | DST-SERB | To develop Biocompatabile materials with a wide supercooled liquid region in Bulk Metallic Glass systems | To develop Biocompatabile materials with a wide supercooled liquid region in Bulk Metallic Glass systems | STA is used for thermal analysis and kinetics analysis of metallic samples. Non volatile samples with maximum 30 mg with active surface area. | Metallurgical and Materials Engineering | Simultaneous Thermal Analyzer | Rs 1500 per sample | https://vnit.ac.in/meta/index.php/research-facilities/ | Working | Characterization | 2800000 | 3000000 | None | SETARAM Instrumentation | padmanabhan@lcgcindia.com | Jatin Bhatt | jatin1411@yahoo.com | jatin1411@yahoo.com
Carl Zeiss Image Analyser | NA | MEC 104 | Carl Zeiss | AXIOSKOP 2 MAT | NA | VNIT | NA | NA | Axioskop 2 MAT is ideal for: structure analysis, grain size analysis, particle analysis, crack analysis and step height measurement. Camera: AxioCam MR5, AxioVision camera software. | Metallurgical and Materials Engineering | Metallurgy and Materials Engineering, VNIT | 600 | NA | Working | Characterization | 1827488 | NA | NA | Carl Zeiss India pvt. ltd. , Mumbai | www.zeiss.co.in | Dr. Y. Y. Mahajan | yymahajan@mme.vnit.ac.in | yymahajan@mme.vnit.ac.in
Inverted metallurgical microscope OMNI | NA | MEC 104 | Omni Enterprise | Metagraph | OMNI/021 | Vnit | NA | NA | It is ideal for: structure analysis, grain size analysis, particle analysis, crack analysis and step height measurement, Full contrast glare free image , precision mechanical / optical alignment , ball bearing movement, Bright field illumination, polarizer. With Mechanical stage of 150 X 150 mm . | Metallurgical and Materials Engineering | Metallurgy and Materials Engineering, VNIT | 600 per sample basis | NA | Working | Characterization | 482943 | NA | NA | Omni Enterprise Pune | NA | Dr. Y. Y. Mahajan | yymahajan@mme.vnit.ac.in | yymahajan@mme.vnit.ac.in
Hot Mounting Press | NA | MEC 104 | Metco.pvt.ltd | Bainmount Twin- H Auto | 10255 | VNIT | NA | NA | Automatic Hydraulic mounting press with dual cylindrical moulds ,Heater 1600 Watts, Single Phase LCD Parameter Indicator Ideal for Transparent, EPO & Bakelite moulds preparation Preset Programs & Data Storage of Mounting Parameters up to 25 Programs Automatic Water Cooling System Machine size: 650mm X 630mm X 510 mm Setting of temperature, heating time, mounting pressure, cooling time, ram up and down, cycle start can be done and controlled through the touch screen pad | Metallurgical and Materials Engineering | Metallurgy and Materials Engineering, VNIT | Thermosetting Powder - 325 ₹ per sample , Conductive Powder - 775 ₹ per sample | NA | Working | Processing | 509010 | NA | NA | Chennai Metco Pvt. Ltd. | www.chennai.metco.com | Dr. Y. Y. Mahajan | yymahajan@mme.vnit.ac.in | yymahajan@mme.vnit.ac.in
X Ray Diffractometer | XRD | MEC 013 | Spectris Technologies Pvt. Ltd. | PANalytical Xpert’ PRO | 12NC 943003040601 | TEQIP/ VNIT | NA | NA | X-ray powder diffraction (XRD) is a rapid analytical technique primarily used for phase identification of a crystalline material and can provide information on unit cell dimensions. | Metallurgical and Materials Engineering | XRD | Rs. 4500/- + 18 % GST per sample for Industry sample , Rs. 1000/- + 18% GST per sample for Students | https://vnit.ac.in/meta/index.php/laboratories/ | Not Working | Characterization and Testing | Rs. 7905900/- | 1752000/- | NA | Spectris Technologies Pvt.Ltd. | naginamishra@panalytical.com | Dr. J. G.Bhatt | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in
Scanning Electron Microscope | SEM | MEC 013 | JEOL India Pvt. Ltd | JEOL JSM-6380A | MP19300020 | TEQIP (2005) | NA | NA | Scanning Electron Microscope attached with EDS is used to study surface morphology upto scale of 0.1 micron. | Metallurgical and Materials Engineering | SEM | Rs. 4500/- + 18 % GST per sample for Industry sample , Rs. 1500/- + 18% GST per sample for Students | https://vnit.ac.in/meta/index.php/laboratories/ | Working | Characterization and Testing | Rs. 8707340/- | Rs. 8707340/- | No | JEOL India Pvt. Ltd. | info@jeolindia.com | Dr. J G Bhatt | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in
FESEM | FESEM | MEC 013 | JEOL | JEOL JSM-7610F | SM1765001230123 | TEQIP-II( 2016/VNIT/NCB/07) | NA | NA | Field Emission Scanning Electron Microscope to observe surface morphology upto scale of 10 nano meter. This instrument is attached with EDS and EBSD. | Metallurgical and Materials Engineering | FESEM | Rs. 6000/- + 18 % GST per sample for Industry sample , Rs. 2000/- + 18% GST per sample for Students | https://vnit.ac.in/meta/index.php/laboratories/ | Working | Characterization and Testing | Rs. 24168423/- | Rs. 24168423/- | NA | JEOL India Pvt. Ltd | info@jeolindia.com | Dr Jatin Bhatt | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in | jatin1411@yahoo.com, rajikshahchandshah@vnit.ac.in
Inverted metallurgical microscope - Radical | NA | Hall no. 15 | Radical Scientific equipment . Pvt.Ltd | RMM-88 | I-220130 | VNIT | NA | NA | RMM-88 A latest Binocular inverted Metallurgical Microscope equipped with vertical illuminator having centring provision, field and aperture, diaphragm and slot for dropping filters, built-in base, variable solid state transformer, large sturdy stage with co-axial arrangement for x-y axis movements, coarse and fine graduated focussing knobs. Supplied with two coloured filters in metal mount, Rexine cover, wooden base stand with drawer and following optical combination. | Metallurgical and Materials Engineering | Metallurgy and Materials Engineering, VNIT | 600 | NA | Working | Characterization | 245735 | NA | NA | Radical Scientific equipment . Pvt.Ltd | www.radicalindia.com | Dr. Y. Y. Mahajan | yymahajan@mme.vnit.ac.in | yymahajan@mme.vnit.ac.in
COMSOL Multiphysics software | COMSOL | MEC110 | COMSOL Multiphysics software | NA | NA | Plan Grant | NA | NA | Comsol Software version 5.6 with Comsol Multiphysics, Metal Processing Module, Corrosion Module, Heat Transfer Module. | Metallurgical and Materials Engineering | NA | NA | NA | Working | NA | NA | NA | NA | Trident Techlabs | p.bhandari@tridenttechlabs.com | Dr. Chaitanya Joshi | chaitanyajoshi@mme.vnit.ac.in | chaitanyajoshi@mme.vnit.ac.in
Wire Electric Discharge Machine with stabilizer. |  | New workshop building |  | Eco-35 | 84563000 | Plan Grant | NA | NA | Practical for UG/PG/Research work & Testing | Metallurgical and Materials Engineering |  | NA | GeM | Working | Processing | NA | NA |  | M/s. J. K. Machines, C-46, Mangolpuri Industrial Area, Phase-1 North West Delhi-110083 | jk.machines@hotmail.com | Dr. A.A.Likhite | alikhite@gmail.com | alikhite@gmail.com
SEM Electropolishing Unit | NA | MEC 108 | Twintex | PPS 6010 | NA | Plan Grant | NA | NA | The electropolishing unit is used to prepare samples for SEM and EBSD | Metallurgical and Materials Engineering | Electropolishing | 500 per samples | https://vnit.ac.in/meta/index.php/laboratories/ | Working | Characterization | NA | NA | NA | Lingass Technology | bolraja@lingaastechnology.in | Dr. SR Reddy | srreddy@mme.vnit.ac.in | srreddy@mme.vnit.ac.in