## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Simulator for multiparameter patient monitor with spO2 analyzer |  | SAHRDAYA COLLEGE OF ENGINEERING AND TECHNOLOGY | Fluke Biomedical | PROSIM 4,SPOTLIGHT-2 | 6038049, 6033076 | AICTE-MODROB ASPIRATIONAL | All India Council fo Technical Education (A Statutory body under Ministry of Education. Govt. of India) Nelson Mandela Marg, VasantKunj, New Delhi-110070 | Modernization and removal of obsolescence of Clinical Instrumentatiion Laboratory | Analyzing the functioning of Multiparameter patient monitor | BIOMEDICAL ENGINEERING | Ms. Sony N S | 701656 | https://www.flukebiomedical.com/products/biomedical-test-equipment/patient-simulators/prosim-4-vital-signs-patient-simulator https://www.flukebiomedical.com/products/biomedical-test-equipment/patient-simulators/prosim-4-vital-signs-patient-simulator | Working | Testing Equipment |  |  |  | Helix Private Ltd. | mail@helixindia.com | Helix Private Ltd. | mail@helixindia.com | sonyns@sahrdaya.ac.in
Gas Flow Analyzer |  | SAHRDAYA COLLEGE OF ENGINEERING AND TECHNOLOGY | Fluke Biomedical | VT-650 | 6033700 | AICTE-MODROB ASPIRATIONAL | All India Council fo Technical Education (A Statutory body under Ministry of Education. Govt. of India) Nelson Mandela Marg, VasantKunj, New Delhi-110071 | Modernization and removal of obsolescence of Clinical Instrumentatiion Laboratory | Analyzing the functioning of Ventilatot | BIOMEDICAL ENGINEERING | Ms. Sony N S | 561756 | https://www.flukebiomedical.com/products/biomedical-test-equipment/gas-flow-analyzers-ventilator-testers/vt650-gas-flow-analyzer-ventilator-tester | Working | Testing Equipment |  |  |  | Helix Private Ltd. | mail@helixindia.com | Helix Private Ltd. | mail@helixindia.com | sonyns@sahrdaya.ac.in
Infusion Device Analyzer |  | SAHRDAYA COLLEGE OF ENGINEERING AND TECHNOLOGY | Fluke Biomedical | IDA1S | 6076067 | AICTE-MODROB ASPIRATIONAL | All India Council fo Technical Education (A Statutory body under Ministry of Education. Govt. of India) Nelson Mandela Marg, VasantKunj, New Delhi-110072 | Modernization and removal of obsolescence of Clinical Instrumentatiion Laboratory | Analyzing the functioning of Infusion and syringe pump | BIOMEDICAL ENGINEERING | Ms. Sony N S | 332686.25 | https://www.flukebiomedical.com/products/biomedical-test-equipment/infusion-pump-analyzers/ida-1s-infusion-device-analyzer | Working | Testing Equipment |  |  |  | Helix Private Ltd. | mail@helixindia.com | Helix Private Ltd. | mail@helixindia.com | finto@sahrdaya.ac.in
Defibrillator Analyzer |  | SAHRDAYA COLLEGE OF ENGINEERING AND TECHNOLOGY | Fluke Biomedical | Impulse 6000D | 6082024 | AICTE-MODROB ASPIRATIONAL | All India Council fo Technical Education (A Statutory body under Ministry of Education. Govt. of India) Nelson Mandela Marg, VasantKunj, New Delhi-110073 | Modernization and removal of obsolescence of Clinical Instrumentatiion Laboratory | Analyzing the functioning of Defibrillator | BIOMEDICAL ENGINEERING | Ms. Sony N S | 531000 | https://www.flukebiomedical.com/products/biomedical-test-equipment/defibrillator-analyzers/impulse-6000d-defibrillator-analyzer | Working | Testing Equipment |  |  |  | Helix Private Ltd. | mail@helixindia.com | Helix Private Ltd. | mail@helixindia.com | finto@sahrdaya.ac.in