## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Falling Impact Tester For Pipe |  | Testing Department | CIPET AHEMDABAD | [6 empty] | Testing Department |  |  |  | Working
Di-Electric Strength Tester |  | Testing Department | CIPET AHEMDABAD | [6 empty] | Testing Department |  |  |  | Working
Shore Hardness A & D Digital |  | Testing Department | BLUE STAR | [6 empty] | Testing Department |  |  |  | Working
Contour Cutter |  | Testing Department | M/s ATS FAAR SPA | [6 empty] | Testing Department |  |  |  | Working
Comparative Tracking Index |  | Testing Department | M/S CEAST SPA | [6 empty] | Testing Department |  |  |  | Working
Hydraulic Compression press |  | Testing Department | CIPET AHEMDABAD | [6 empty] | Testing Department |  |  |  | Working
UTM (Universal Testing Machine) |  | Testing Department | SHIMADZU | [6 empty] | Testing Department |  |  |  | Working
Mechanical Impact Tester |  | Testing Department | CIPET | [6 empty] | Testing Department |  |  |  | Working
Flexural Creep Tester |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Barcol Hardness Tester |  | Testing Department | BAABAR COLMAN | [6 empty] | Testing Department |  |  |  | Working
Coefficient of Friction Tester |  | Testing Department | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Burst Strength Tester |  | Testing Department | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Opacity Meter |  | Testing Department | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Impact Tester(Izod & Charpy) |  | Testing Department | TENIUS OLSEN | [6 empty] | Testing Department |  |  |  | Working
Incubator |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
UTM (Universal Testing Machine) |  | Testing Department | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Gloss Meter |  | Testing Department | S.C DEY & COMP. | [6 empty] | Testing Department |  |  |  | Working
Haze Meter |  | Testing Department | S.C DEY & COMP. | [6 empty] | Testing Department |  |  |  | Working
IP 5 X |  | Testing Department | KEY ENGINNERING | [6 empty] | Testing Department |  |  |  | Working
Insulation Resistance Tester |  | Testing Department | PROLILIC ENGINNERS | [6 empty] | Testing Department |  |  |  | Working
Digital Hydrostatic tester |  | Testing Department | HEXA PLAST | [6 empty] | Testing Department |  |  |  | Working
Opacity Tester |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Hydraustatic Pr. Testing |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Barcol Hardness Tester |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Film Impact Tester |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Pipe Bending Tester |  | Testing Department | DAKSHA SHREE | [6 empty] | Testing Department |  |  |  | Working
High Voltage Tester |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Rockwell Hardness |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Mechanical Strength Tester |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Shore Hardness A & D Digital |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Flexing Machine |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Mechanical Impact Strength Tester |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Di-Electric Strength Tester |  | Testing Department | S.C DEY & COMP. | [6 empty] | Testing Department |  |  |  | Working
Strength Of seam |  | Testing Department | DAKSHA SHREE | [6 empty] | Testing Department |  |  |  | Working
Brust Strength Tester |  | Testing Department | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Pipe Notch Cutter |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Elmendorf Tear Tester |  | Testing Department | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Barcol Hardness Test |  | Testing Department | VERTEX ENGINEERS | [6 empty] | Testing Department |  |  |  | Working
Heat Reversion Oven |  | Testing Department | CIPET AHEMDABAD | [6 empty] | Testing Department |  |  |  | Working
Enviromental Stress Cracking tester |  | Testing Department | CIPET AHEMDABAD | [6 empty] | Testing Department |  |  |  | Working
Precision Weighing Balance |  | Testing Department | METTLER TOLEDO | [6 empty] | Testing Department |  |  |  | Working
Density Kit |  | Testing Department | METTLER TOLEDO | [6 empty] | Testing Department |  |  |  | Working
Deep Freezer |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Hot Oil Bath |  | Testing Department | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Melt Flow Index Tester (Automatic) |  | Testing Department | CEAST | [6 empty] | Testing Department |  |  |  | Working
Humidifier |  | Testing Department | M.B INSTRUMENT | [6 empty] | Testing Department |  |  |  | Working
Humidifier |  | Testing Department | M.B INSTRUMENT | [6 empty] | Testing Department |  |  |  | Working
Glow Wire Tester |  | Testing Department | SCR ELEKTRONIKS | [6 empty] | Testing Department |  |  |  | Working
Heat Resistance Tester |  | Testing Department | CIPET | [6 empty] | Testing Department |  |  |  | Working
Analytical Weighing Balance |  | Testing Department | METTLER TOLEDO | [6 empty] | Testing Department |  |  |  | Working
Water Bath (Hot & Cold) |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
HDT/VSP Tester |  |  | GOTECH | [6 empty] | Testing Department |  |  |  | Working
Climatic Chamber |  |  | CM EMRIROTECH SYSTEM | [6 empty] | Testing Department |  |  |  | Working
QUV (Weathrometer) |  |  | VENTURE TECHNOLOGIES | [6 empty] | Testing Department |  |  |  | Working
Carbon Black Content Tester |  |  | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Carbon Black Dispersion Tester |  |  | SAUMYA TECHNOCRATES | [6 empty] | Testing Department |  |  |  | Working
Melting Point Apparatus |  |  | VEEGO INSTRUMENTS | [6 empty] | Testing Department |  |  |  | Working
Hot air Oven |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Electronic Weighing balance |  |  | TRUE WEIGHT DIGITAL | [6 empty] | Testing Department |  |  |  | Working
Fume Hood |  |  | GODERAJ | [6 empty] | Testing Department |  |  |  | Working
Digital Constant temp waterbath |  |  | NOVA INSTRUMENTS | [6 empty] | Testing Department |  |  |  | Working
Glow wire tester |  |  | APS INSTRUMENTS | [6 empty] | Testing Department |  |  |  | Working
Di chromate |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
MFI Manual |  |  | ORACLE EQUIPMENTS | [6 empty] | Testing Department |  |  |  | Working
Accelerated Weathering Test |  |  | DEEPAK POLYPLAST | [6 empty] | Testing Department |  |  |  | Working
C.B.C Apparatus |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
HDT/VST Apparatus |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Flammablity Chamber |  |  | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Accelerated Weathering Tester |  |  | DEEPAK POLYPLAST | [6 empty] | Testing Department |  |  |  | Working
Constant Temperature Oil Bath |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Conditioning Chamber |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Accelerated Weathering Test |  |  | DEEPAK POLYPLAST | [6 empty] | Testing Department |  |  |  | Working
Moisture Meter |  |  | PANOMEX INC | [6 empty] | Testing Department |  |  |  | Working
Soxhlet Apparatus |  |  | BHAGWATI CHEMICAL | [6 empty] | Testing Department |  |  |  | Working
Water Proofness Tester |  |  | P.S.I SALES | [6 empty] | Testing Department |  |  |  | Working
Differential Scanning Calorimetry |  |  | T.A INSTRUMENTS | [6 empty] | Testing Department |  |  |  | Working
Hot Water Bath |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Karl Fisher Tester |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Atomic Absorption Spectroscopy |  |  | THERMO FISHER | [6 empty] | Testing Department |  |  |  | Working
Gas Chromatography |  |  | THERMO FISHER | [6 empty] | Testing Department |  |  |  | Working
Thermogravimetric Analysis |  |  | PERKIN ELMER | [6 empty] | Testing Department |  |  |  | Working
Hot Air Oven |  |  | DAKSHA SHREE | [6 empty] | Testing Department |  |  |  | Working
Muffle Furnace |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Muffle Furnace |  |  | ELMECH PNEUMATIC | [6 empty] | Testing Department |  |  |  | Working
Fumigation Tester |  |  | CIPET | [6 empty] | Testing Department |  |  |  | Working
UV Tester |  |  | VENTURE TECHNOLOGIES | [6 empty] | Testing Department |  |  |  | Working
UV Tester |  |  | VENTURE TECHNOLOGIES | [6 empty] | Testing Department |  |  |  | Working
Spectrophotometer |  |  | IGENE LABSERVE | [6 empty] | Testing Department |  |  |  | Working