## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Digital Power Meter | DPM | Instrumentation Lab | HIOKI | PW3337 | 230804501 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of electric parameter | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 424800 |  | UP | Testing equipment |  |  |  | Aarav Enterprises, New Delhi | aaraventerprises.del@gmail.com | Aarav Enterprises, New Delhi | aaraventerprises.del@gmail.com | head@hre.iitr.ac.in
Vibration Tester | VT | Instrumentation Lab | Fluke | 805 FC | 60320010 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of vibration | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 417646 |  | UP | Testing equipment |  |  |  | SPI Engineers Pvt. Ltd. , New Delhi | sales@spiengineers.com | SPI Engineers Pvt. Ltd. , New Delhi | sales@spiengineers.com | head@hre.iitr.ac.in
Sound level meter | SM | Instrumentation Lab | Uni-T | UT 352 | C173072368 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of sound level | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 24190 |  | UP | Testing equipment |  |  |  | Russel Technologies India Pvt. Ltd, Lucknow | info@russelltech-india.com | Russel Technologies India Pvt. Ltd, Lucknow | info@russelltech-india.com | head@hre.iitr.ac.in
Pressure Gauge | PT | Instrumentation Lab | Endress+Hauser | CERABAR | VC003F2119 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of absolute pressure | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 353769 |  | UP | Testing equipment |  |  |  | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic level sensors | ULS | Instrumentation Lab | Endress+Hauser | FMU 44 | VC000321107 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water level | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 242136 |  | UP | Testing equipment |  |  |  | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic level sensors | ULS | Instrumentation Lab | Endress+Hauser | FMU 40 | VC00392109A | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water level | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 200914 |  | UP | Testing equipment |  |  |  | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic transit time flowmeter | UTTF | Instrumentation Lab | Baker+Hughes GE | PT 900 | M04240025 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water discharge in pipe | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 1809500 |  | UP | Testing equipment |  |  |  | ATC ngineering System Pvt. Ltd., Noida | ashoktaruchoudhuri@yahoo.co.in | ATC ngineering System Pvt. Ltd., Noida | ashoktaruchoudhuri@yahoo.co.in | head@hre.iitr.ac.in
Propeller current Meter | PCM | Instrumentation Lab | SEBA | UF-1 |  | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of velocity at water channel | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 296475 |  | UP | Testing equipment |  |  |  | Seba hydrometric GmbH & Co.Kg, Germany | Duester@seba.de | Seba hydrometric GmbH & Co.Kg, Germany | Duester@seba.de | head@hre.iitr.ac.in
Data logger | DAQ | Instrumentation Lab | Campbell Sceintific | CR6 | 23174 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Data acquiring from the instruments | Department of Hydro and Renewable Energy | Instrumentation Laboratory | 424027 |  | UP | Testing equipment |  |  |  | Campbell Scientific India Pvt. Ltd., New Delhi | asharma@campbellsci.in | Campbell Scientific India Pvt. Ltd., New Delhi | asharma@campbellsci.in | head@hre.iitr.ac.in
Butterfly valve (On/Off Type) | Vl | COE on ULH & HKT | Cair Euromatic | ABF-C350-Z-IT-PRO | 77057 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For pipeline of Ultralow head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 205372 |  | UP | Instrument is for ultra low head test rig |  |  |  | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | head@hre.iitr.ac.in
Butterfly valve (modulating type ) | Vl | COE on ULH & HKT | Cair Euromatic | ABF-C-350-3PK-ISU | 77059 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For pipeline of Ultralow head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 205371 |  | UP | Instrument is for ultra low head test rig |  |  |  | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | head@hre.iitr.ac.in
Electromagnetic Flowmeter of 350 mm | EMF | COE on ULH & HKT | M/s Emerson Process Management (India) Pvt. Ltd. | EM FLOWMETER | 13729173 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring discharge in ultra low head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 425191 |  | UP | Instrument is for ultra low head test rig |  |  |  | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
Temperature Sensor and transmitter | TempS | COE on ULH & HKT | M/s Emerson Process Management (India) Pvt. Ltd. | R-214C | 5709091928 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring temperature in ultra low head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 64310 |  | Down | Instrument is for ultra low head test rig |  |  |  | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
Torquemeter | Tqm | COE on ULH & HKT | M/S HBK GmbH | SGR 511-E | 13838 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring torque in ultra low head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 1009112 |  | Down | Instrument is for ultra low head test rig |  |  |  | M/S HBK GmbH | adesh.bhatt@hbkworld.com | M/S HBK GmbH | adesh.bhatt@hbkworld.com | head@hre.iitr.ac.in
Absolute pressure transmitter | APT | COE on ULH & HKT | M/s Emerson Process Management (India) Pvt. Ltd. | R-3051T | 68457704 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring absolute pressure in ultra low head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 67667 |  | Down | Instrument is for ultra low head test rig |  |  |  | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
Differential pressure transmitter | DPT | COE on ULH & HKT | M/s Emerson Process Management (India) Pvt. Ltd. | R-3051C | 21982070 | External | Ministry of New and Renewable Energy ( R & D Division) Government of India | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring differentialpressure in ultra low head turbine test rig | Department of Hydro and Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | 67195 |  | Down | Instrument is for ultra low head test rig |  |  |  | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in