## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
VECTOR NETWORK ANALIZER | VNA |  | keysight | n9917a | NA | external-AICTE | AICTE-MODROB | Modernization and removal of obsolescence(MODROB) scheme | They are used to characterize the electrical properties or performance of an RF component or network of components | ELECTRONICS AND COMMUNICATION ENGINEERING | Modernization and removal of obsolescence(MODROB) scheme | 1765000 | https://gnit.ac.in | working | Testing |  | 1765000 |  | vishal vyapar vikash | info@vvvindia.com | NA | NA | anurima.majumdar@gnit.ac.in
Tektronix 200 MHz, 2 Channels DSO | DSO |  | techtronics | TBS 1202B | NA | external | UGC-MRP | Analysis and Measurements of Crosstalk in High Speed and High Frequency Multilayered Printed Circuit Boards | A digital storage oscilloscope is a special kind of storage oscilloscope that stores the input signal for years and displays it on a CRT screen when desired. Digital storage oscilloscope (DSO) is totally reversed to the working of analog storage oscilloscope. | ELECTRONICS AND COMMUNICATION ENGINEERING | R & D | 61950 | https://gnit.ac.in | partially working | Testing |  | 61950 |  | Techno Scientific Co. | sales@techno_scientific.com | NA | NA | head_ece.gnit@jisgroup.org
Analog,Digital and Mixed-Mode Communication System Software Vissim/comm Suite | Vissim |  | NA | NA | NA | external | UGC-MRP | Analysis of The Impact of Channel Noise on MIMO ad Hoc Network Utility Maximization for QoS provisioning. | VisSim is a visual block diagram program for the simulation of dynamical systems and model-based design of embedded systems, with its own visual language | ELECTRONICS AND COMMUNICATION ENGINEERING | R & D | 315000 | https://gnit.ac.in | Licence expired | Fabrication |  | 315000 |  | NA | NA | TRIDENT TECHLABS Pvt. Ltd. | s.chatterjee@tridenttechlabs.com | head_ece.gnit@jisgroup.org
Tanner Software | Tanner Software |  | EDA Solutions |  | NA | external | UGC-MRP | Mobility Analysis and Modelling of noise in sub-micron 3D Surrounded Gate MOS DEVICE | Tanner EDA provides a complete line of software solutions that drive innovation for the design, layout and verification of analog and mixed-signal (A/MS) | ELECTRONICS AND COMMUNICATION ENGINEERING | R & D | 299250 | https://gnit.ac.in | Licence expired | Characterization |  | 299250 |  |  | NA | TRIDENT TECHLABS Pvt. Ltd. | s.chatterjee@tridenttechlabs.com | head_ece.gnit@jisgroup.org
FT-IR Spectometer | NA |  | PerKinElmer | Spectrum Two | NA | external | DST-FIST | Centre of Nanoscience and Technology Research (CNTR) | Using for the identification of unknown materials and confirmation of production materials and revealing the composition of solids, liquids, and gases. | ELECTRONICS AND COMMUNICATION ENGINEERING | DST-FIST | 1007663 | https://gnit.ac.in | working | Characterization |  | 1007663 |  | Perkin Elmer | NA | NA | NA | sunipa.roy@gnit.ac.in
Utra- CENTRIFUGE | NA |  | REMI | RM 12C & RM-1215 | NA | external | DST-FIST | Centre of Nanoscience and Technology Research (CNTR) | Forgrowing routine application in biochemical and clinical labs, for Hematocrit,Corpuscle Percentage contents in blood, Serum analysis and precipitate separation etc | ELECTRONICS AND COMMUNICATION ENGINEERING | DST-FIST | 37600 | https://gnit.ac.in | working | Characterization |  | 37600 |  | S.S Enterprise(REMI) | NA | NA | NA | sunipa.roy@gnit.ac.in
Spin Coater | NA |  | Delta Scientific Equipment Pvt. Ltd | DELTASPIN-MC | NA | external | DST-FIST | Centre of Nanoscience and Technology Research (CNTR) | Forthin film material spin coating applications for universities, laboratory and R & D centers to deposit uniform thin films onto flat substrates of several stages. | ELECTRONICS AND COMMUNICATION ENGINEERING | DST-FIST | 109200 | https://gnit.ac.in | working | Fabrication |  | 109200 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
Fluroscence spectro photo meter | FL6500 |  | PerKinElmer | UVSN4200011 | FL65K22021001 | NA | DST-FIST | NA | Flurourencence spectrophoto meter | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 2200000 | https://gnit.ac.in | working | Testing |  | 2200000 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
HALL EFFECT measurement setup | GM |  | SES Instruments Pvt. Ltd | DPS-50C,DHE-21C,DGM-202 | NA | NA | DST-FIST | NA | measurement of Hall Effect | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 200000 | https://gnit.ac.in | working | Characterization |  | 200000 |  | NA | NA | NA | NA | Dr Sreyasree Basu
UV/VIS spectrophotometer | UV/VIS |  | LABMAN Scientific Instruments | NA | NA | NA | DST-FIST | NA | UV characteriszation | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 125000 | https://gnit.ac.in | working | Characterization |  | 125000 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
Fume Hood | ELECTRONIC TEST BENCH |  | GB ENTERPRISE | NA | NA | NA | DST-FIST | NA | WORKING BENCH | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 115000 | https://gnit.ac.in | working | Fabrication |  | 115000 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
Annealing tube furnace | NA |  | GB ENTERPRISE | NA | NA | NA | DST-FIST | NA | annealing | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 100000 | https://gnit.ac.in | working | Characterization |  | 115000 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
Double distillation unit | NA |  | GB ENTERPRISE | NA | NA | NA | DST-FIST | NA | Purification | ELECTRONICS AND COMMUNICATION ENGINEERING | NA | 72000 | https://gnit.ac.in | working | Characterization |  | 115000 |  | NA | NA | NA | NA | sunipa.roy@gnit.ac.in
27U Modrob-Server (HP Proliant DL180 G6 8LF HDD)& Val Rack(VAL/COM) | NA |  | Trishita Marketing(P) Ltd. | 27U Modrob-Server : HP Proliant DL80G68LF , Val Rack(VAL/COM) : DIGILINK fibre optics Liu24 port Rack mount | 27U Modrob-Server SL No: SGH2163PB9, Val Rack(VAL/COM) SL No- VALRACK27U | (Government) | AICTE-MODROB | MODROB (AICTE funded) lab for Research | Server alongwith Rack | Computer Science and Engineering | MODROB (Faculty Research and high end Project | 280000 | https://gnit.ac.in | Working | Software |  | 280000 |  | Trishita Marketing(P) Ltd. | info@trisita.com | 27U Modrob-Server :HP ,Val Rack(VAL/COM):DIGILINK | NA | head_cse.gnit@jisgroup.org
Workstation HP Z200SFF(XA870PA#ACJ) & Monitor | NA |  | Trishita Marketing(P) Ltd. | HP Z200SFF(XA870PA#ACJ) | Workstation SL No: SGH235RJCZ, Monitor SL No- NK11111H4(HP2011X) | (Government) | AICTE-MODROB | MODROB (AICTE funded) lab for Research | Workstation | Computer Science and Engineering | MODROB (Faculty Research and high end Project | 800000 | https://gnit.ac.in | Working | Software |  | 800000 |  | Trishita Marketing(P) Ltd. | info@trisita.com | HP inc. | NA | head_cse.gnit@jisgroup.org
Network Materials and UPS (Digilink Patch cord -LC-SCSM Duplex Length 1M & Adapter-SC-SM-ZR-SLEEVE, Digilink Connector S/SC type with 0.9mm boot | NA |  | Trishita Marketing(P) Ltd. | Conversion Technology, Emerson[COM1220013]-3KVA TRVE online UPS | UPS Serial No-COM1220013 | (Government) | AICTE-MODROB | MODROB (AICTE funded) lab for Research | Switch, Router and UPS | Computer Science and Engineering | MODROB (Faculty Research and high end Project | 400000 | https://gnit.ac.in | Partially working | Software |  | 400000 |  | Trishita Marketing(P) Ltd. | info@trisita.com | Conversion Technology, Emerson | NA | head_cse.gnit@jisgroup.org
Laminar Air Flow Chamber | LAFC |  | S.D Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Horizontal Model, Quality Working Chamber (SS 304) | Food Technology | Food Microbiology | 51513 | https://gnit.ac.in | Working | Microbial testing and analysis |  | 51513 |  | S.D. Equipments | sd_ins_equip@hotmail.com | NA | NA | head_ft.gnit@jisgroup.org
BOD Shaker Incubator | BOD-SI |  | Sicco | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | 2 shelves (250ml*16 Nos flask) | Food Technology | Food Microbiology | 1,000,00.00 | https://gnit.ac.in | Working | Testing |  | 1,000,00.00 |  | Sicco | siccoscien_cal@yahoo.co.in | NA | NA | head_ft.gnit@jisgroup.org
Canning Unit | CU |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Along with Double Seeming Machine & Rotor | Food Technology | Food Procesing | 233000 | https://gnit.ac.in | Working | Analytical |  | 233000 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Spray Dryer | SD |  | SM Scientech | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Table Top Mini Lab Model | Food Technology | Food Procesing | 449280 | https://gnit.ac.in | Working | Analytical |  | 449280 |  | SM Scientech | info@smscientific.com | NA | NA | head_ft.gnit@jisgroup.org
Homoginizer | HG |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Standard Lab Model | Food Technology | Food Procesing | 175000 | https://gnit.ac.in | Working | Analytical |  | 175000 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Tray dryer | TD |  | Omega Instruments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | 16"*21"*1.25" | Food Technology | Food Procesing | 2,000,00.00 | https://gnit.ac.in | Working | Analytical |  | 2,000,00.00 |  | Omega Instruments | info@omegaipl.com | NA | NA | head_ft.gnit@jisgroup.org
Fluid bed dryer | FBD |  | SM Scientech | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Table Top Lab Model | Food Technology | Food Procesing | 169884 | https://gnit.ac.in | Working | Analytical |  | 169884 |  | SM Scientific | info@smscientific.com | NA | NA | head_ft.gnit@jisgroup.org
Ice cream Freezer | ICFZ |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Standard Lab Model with Churner | Food Technology | Food Procesing | 255320 | https://gnit.ac.in | Working | Analytical |  | 255320 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Pulper | PP |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Capacity 10kg, lab model | Food Technology | Food Procesing | 31200 | https://gnit.ac.in | Working | Analytical |  | 31200 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Single Screw Extruder | SSE |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Standard lab model | Food Technology | Food Procesing | 457600 | https://gnit.ac.in | Working | Analytical |  | 457600 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Plate Freezer | PFZ |  | Suan Scientific Instruments & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Standard lab model | Food Technology | Food Procesing | 227760 | https://gnit.ac.in | Working | Analytical |  | 227760 |  | Suan Scientific Instruments & Equipments | suan.instruments@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Bottle washing Machine | BWM |  | S. A Industries | Lab Model | NA | External GOVT. OF West Bengal | West Bengal State Food Processing & Horticulture Development Corporation | Food processing and training centre | Lab Model | Food Technology | Unit Operation of chemical Engioneering | 25000 | https://gnit.ac.in | Working | Analytical |  | 25000 |  | S. A Industries | sales@s-aindustries.com | NA | NA | head_ft.gnit@jisgroup.org
Fruit washing Tank | FWT |  | S. A Industries | Lab Model | NA | External GOVT. OF West Bengal | West Bengal State Food Processing & Horticulture Development Corporation | Food processing and training centre | Lab Model | Food Technology | Unit Operation of chemical Engioneering | 18000 | https://gnit.ac.in | Working | Analytical |  | 18000 |  | S. A Industries | sales@s-aindustries.com | NA | NA | head_ft.gnit@jisgroup.org
Steam Jacketed kettle | SJK |  | Janata Supplier | Lab Model | NA | External GOVT. OF West Bengal | West Bengal State Food Processing & Horticulture Development Corporation | Food processing and training centre | Lab Model | Food Technology | Unit Operation of chemical Engioneering | 60000 | https://gnit.ac.in | Working | Analytical |  | 60000 |  | Janata Supplier | jantaindustries.co@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Electronic Balance | EB |  | Sartorius | BT224S | 22890396 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: BT2245 Capacity: 220gm | Food Technology | R & D | 71000 | https://gnit.ac.in | Working | Analytical |  | 71000 |  | Astha Digital | http://www.wasserlab.com | NA | NA | head_ft.gnit@jisgroup.org
UV vis Spectr+A24:P24ophoto Meter | UV-Vis-SPM |  | Jasco International Co. Ltd. | V-630 | B152661148 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: V-630 SL NO. B152661148 Jasco International CO. LTD. | Food Technology | R & D | 350000 | https://gnit.ac.in | Working | Analytical |  | 350000 |  | BDS Analytical | sujal@bdsanalytical.com | NA | NA | head_ft.gnit@jisgroup.org
Freeze Dryer | FZD |  | Eyela | FDU-1200 | 10902476 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: FDU-1200 with Eyela | Food Technology | R & D | 592800 | https://gnit.ac.in | Working | Analytical |  | 592800 |  | Omega Instruments | info@omegaipl.com | NA | NA | head_ft.gnit@jisgroup.org
Cooling Centrifuge | CC |  | Remi | C-24BL | VCBP-2049 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Remi Model: C-24BC | Food Technology | R & D | 250000 | https://gnit.ac.in | Working | Analytical |  | 250000 |  | Bhatacharya &Co. | rajib.1230@yahoo.com | NA | NA | head_ft.gnit@jisgroup.org
Rheo Meter | RHM |  | Brookfield | RVDVIII Ultra | 8489231 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Brookfeild Model: RVDIII Ultra | Food Technology | R & D | 350000 | https://gnit.ac.in | Working | Analytical |  | 350000 |  | Brookfield Engineering labrotories | sales@brookfieldengineering.com | NA | NA | head_ft.gnit@jisgroup.org
UV vis Spectrophoto Meter | UV-SPM |  | Perkin Elmer | Lambda 25 | 501S11022308 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: Lambda 25 SL NO. 501511022308 PerkinElmer | Food Technology | R & D | 803200 | https://gnit.ac.in | Working | Analytical |  | 803200 |  | Perkin Elmer | Goutam.Bhattacharjee@perkinelmer.com | NA | NA | head_ft.gnit@jisgroup.org
Spectro Flurimeter | SFM |  | Perkin-Elmer | LS45 | 87761 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: LS 45 SL NO. 87761 Parkin Elmer | Food Technology | R & D | 750000 | https://gnit.ac.in | Working | Analytical |  | 750000 |  | Perkin Elmer | Goutam.Bhattacharjee@perkinelmer.com | NA | NA | head_ft.gnit@jisgroup.org
Rotary Evaporator | RE |  | Eyela | N-1200A | 61021088 | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Model: N-1200A (With eyela) SL NO. 61021088 | Food Technology | R & D | 349875 | https://gnit.ac.in | Working | Analytical |  | 349875 |  | Omega Instruments | info@omegaipl.com | NA | NA | head_ft.gnit@jisgroup.org
Microscope Binocular- Olympus | MBO |  | Olympus Opto Systems India Pvt. Ltd. | CH20i | 15A0727 | EXTERNAL-GOVT. OF INDIA | UGC | Studies on the Antagonistic effect of Lactic Acid bacteria in Soy-pea nut milk based Fermented Food. | with USB Camera 3mp, C type eyepiece Adaptor | Food Technology | R & D | 1,000,00.00 | https://gnit.ac.in | Working | Analytical |  | 1,000,00.00 |  | Avighna Scientific | avighnascientific@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
FTIR Spectrophotometer with ATR | FTIR-SPM-ATR |  | Bruker | AlphaII | 13128837 | EXTERNAL-GOVT. OF INDIA | AICTE-MODROB | Development of updated technology aided conducting basic training of UG students project work advanced FAQC laboratory for and innovative research oriented | Alpha IIEco FTIR Spectrophotometer with ATR Quick Snap Sampling Module | Food Technology | R & D | 1500000 | https://gnit.ac.in | Working | Analytical |  | 1500000 |  | Lab India Analytical | mukherjee@labindia.com | NA | NA | head_ft.gnit@jisgroup.org
Digital Moisture Meter | DMM |  | A&D Instruments Pvt. Ltd. | MX-50 | P1071430 | EXTERNAL-GOVT. OF INDIA | AICTE-MODROB | Development of updated technology aided conducting basic training of UG students project work advanced FAQC laboratory for and innovative research oriented | Determination of moisture | Food Technology | R & D | 165000 | https://gnit.ac.in | Working | Analytical |  | 165000 |  | LABROTARORY CHEMICAL SYNDICATE | labequipsyndicate@gmail.com | NA | NA | head_ft.gnit@jisgroup.org
Muffle Furnace | MF |  | SD Industries & Equipments | Lab Model | NA | EXTERNAL-GOVT. OF INDIA | Ministry of Food Processing Industries | Departmental infrastructural development | Maxiumum Temperature 1000 C, Inner Chamber Size: 6"*6"*6" | Food Technology | Chemistry of Food | 16000 | https://gnit.ac.in | Working | Analytical |  | 16000 |  | S.D Instruments & Equipments | sd_ins_equip@hotmail.com | NA | NA | head_ft.gnit@jisgroup.org
Off -Grid Solar power plant | NA |  | M/S ANJALI ENTERPRISE | Solar power plant 2 kw | 1 | AICTE | AICTE-MODROB | Development of Electrical Generation System Laboratory | Solar power plant 2 KW | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 232937 | https://gnit.ac.in | working | Analytical |  | 232937 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Single cylinder Diesel Engine | NA |  | M/S ANJALI ENTERPRISE | 4stroke 5 HP | 2 | AICTE | AICTE-MODROB |  | 4stroke 5 HP | Electrical Engineering | ELECRIC GENERATION LAB | 144117 | https://gnit.ac.in | working | Analytical |  | 144117 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Pelton turbine test rig | NA |  | M/S ANJALI ENTERPRISE | NA | 3 | AICTE | AICTE-MODROB |  | 100 W, heavy duty, closed circuit | Electrical Engineering | ELECRIC GENERATION LAB | 155917 | https://gnit.ac.in | working | Analytical |  | 155917 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Parabolic dish concentrated solar cooker | NA |  | M/S ANJALI ENTERPRISE | NA | 4 | AICTE | AICTE-MODROB |  |  | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 63817 | https://gnit.ac.in | working | Analytical |  | 63817 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Wind Turbine Power Plant | NA |  | M/S ANJALI ENTERPRISE | NA | 5 | AICTE | AICTE-MODROB |  |  | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 159017 | https://gnit.ac.in | working | Analytical |  | 159017 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Bio Gas Plant | NA |  | M/S ANJALI ENTERPRISE | 20 kg | 6 | AICTE | AICTE-MODROB |  | 20 kg | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 80617 | https://gnit.ac.in | working | Analytical |  | 80617 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Flat plates Solar collector | NA |  | M/S ANJALI ENTERPRISE | 250 LPD | 7 | AICTE | AICTE-MODROB |  | 250 LPD | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 91817 | https://gnit.ac.in | working | Analytical |  | 91817 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Pyranometer | NA |  | M/S ANJALI ENTERPRISE | 4CPC Version | 11 | AICTE | AICTE-MODROB |  |  | Electrical Engineering | RENEWABLE LAB(PROJECT LAB) | 47017 | https://gnit.ac.in | working | Analytical |  | 47017 |  | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | M/S ANJALI ENTERPRISE | anjalienterprise2014@gmail.com | head_ee.gnit@jisgroup.org
Packed Bed | NA |  | Custom made | NA | NA | External | AICTE-MODROB | Robust adaptive |  | Electronics and Computer Science |  | 260000 | https://gnit.ac.in | Working | Analytical |  | NA |  | UltraTech | NA | UltraTech | NA | adhish.chakrabarty@gnit.ac.in